# Draft
Save Our Indian River Lagoon
Project Plan 2021 Update
for
Brevard County, Florida

Prepared by:

Tetra Tech, Inc.

and

Closewaters, LLC

Prepared for:

Brevard County, Natural Resources Management Department

January 2021

Table of Contents

Draft Save Our Indian River Lagoon Project Plan 2021 Update for Brevard County, Florida	1

Acknowledgements	vii

Executive Summary	xi

Section 1.	Background	1

1.1.	Return on Investment and Economic Value	3

1.1.1	Areas of Economic Value at Risk	4

1.2.	Maximizing Benefits and Managing Risk	5

1.2.1	Project Selection to Maximize Return on Investment	6

Section 2.	Approach, Outputs, and Outcomes	8

2.1.	Plan Focus Area	8

2.2.	Plan Outputs and Outcomes	10

Section 3.	Pollutant Sources in the IRL Watershed	12

Section 4.	Project Options	15

4.1.	Projects to Reduce Pollutants	15

4.1.1	Public Outreach and Education	16

4.1.2	WWTF Upgrades	23

4.1.3	Sprayfield and Rapid Infiltration Basin Upgrades	26

4.1.4	Package Plant Connections	28

4.1.5	Sewer Laterals Rehabilitation	30

4.1.6	Septic System Removal and Upgrades	33

4.1.7	Stormwater Treatment	61

4.2.	Projects to Remove Pollutants	77

4.2.1	Muck Removal	77

4.2.2	Treatment of Muck Interstitial Water	84

4.2.3	Spoil Management Areas	86

4.2.4	Vegetation Harvesting	87

4.2.5	Surface Water Remediation System	90

4.2.6	Enhanced Circulation	91

4.3.	Projects to Restore the Lagoon	96

4.3.1	Oyster Restoration	96

4.3.2	Planted Shorelines	100

4.3.3	Clam Restoration and Aquaculture	104

4.3.4	Seagrass Planting	106

4.4.	Projects to Respond to New Information	108

4.4.1	Adaptive Management to Report, Reassess, and Respond	109

4.4.2	Cost-share for Substitute Projects	110

4.4.3	Additional Project Benefits	110

4.4.4	Responding to Implemented Projects	111

4.4.5	Research Needs	128

4.5.	Unfunded Projects	130

Section 5.	Project Funding	136

5.1.	Contingency Fund Reserve	136

5.2.	Revenue Projection Update	137

5.3.	Project Funding Allocations	137

Section 6.	Summary of the Plan through the 2021 Update	140

6.1.	Progress Toward the Local Targets for Maximum Total Loads	140

6.2.	Plan Summary	144

Appendix A: Funding Needs and Leveraging Opportunities	160

Appendix B: References	162

Appendix C: Seagrasses	177

Loss of Seagrass	177

Nutrient Content of Seagrass	178

Draft Evaluation Criteria for Planting Seagrass	180

References	180

Appendix D: Withdrawn Projects	182

Appendix E: Long Descriptions of Figures	195

Figure 11: Decline of Commercial Fishing in Brevard County	195

Figure 22. Summary of the Save Our Indian River Lagoon Outputs and Outcomes	195

Figure 41: Grass Clippings Example for a Typical Lot	196

Figure 42: Septic System Removal Projects in Banana River Lagoon	196

Figure 43: Septic System Removal Projects in Banana River Lagoon, continued	196

Figure 44: Septic System Removal Projects in Banana River Lagoon, continued	197

Figure 45: Septic System Removal Projects in North IRL	197

Figure 46: Septic System Removal Projects in North IRL, continued	197

Figure 47: Septic System Removal Projects in North IRL, continued	197

Figure 48: Septic System Removal Projects in North IRL, continued	198

Figure 49: Septic System Removal Projects in North IRL, continued	198

Figure 410: Septic System Removal Projects in North IRL, continued	198

Figure 411: Septic System Removal Projects in Central IRL	199

Figure 412: Septic System Removal Projects in Central IRL, continued	199

Figure 413: Septic System Removal Projects in Central IRL, continued	200

Figure 414: Septic System Removal Projects in Central IRL, continued	200

Figure 415: Quick Connection Septic System Removal Locations in North Brevard County	200

Figure 416: Quick Connection Septic System Removal Locations in Central Brevard County	200

Figure 417: Quick Connection Septic System Removal Locations in South Brevard County	201

Figure 418: Example In-Ground Nitrogen-Reducing Biofilter Septic System	201

Figure 419: Septic System Upgrades in North Brevard County	201

Figure 420: Septic System Upgrades in Central Brevard County	201

Figure 421: Septic System Upgrades in South Brevard County	202

Figure 422: Stormwater Projects in North Brevard County	202

Figure 423: Stormwater Projects in Central Brevard County	202

Figure 424: Stormwater Projects in South Brevard County	202

Figure 425: Location of Muck Removal Projects in the Northern Banana River Lagoon	203

Figure 426: Location of Muck Removal Projects in the Southern Banana River Lagoon	203

Figure 427: Location of Muck Removal Projects in North IRL	203

Figure 428: Location of Muck Removal Projects in Central IRL	203

Figure 429: Phase I Potential Enhanced Circulation Project Locations	204

Figure 430: Shoreline Survey to Identify Locations Appropriate for Oyster Bars and Planted Shorelines	204

Figure 431: Estimated Economic Value of Some Seagrass Services	204

Figure 433: Completed Projects in North Brevard County	204

Figure 434: Completed Projects in South Brevard County	205

Figure 436. Turbidity Levels Before, During, and After Turkey Creek Muck Removal	205

Figure 437. Distribution of Oyster Sizes, Age, and Average Number Per Unit	205

Figure 435. Countywide Groundwater Nutrient Concentrations for TN (top) and TP (bottom)	206

Figure 51: Evolution of Project Funding Allocations	206

Figure C-1: Mean Areal Extent of Seagrass and Mean Length of Transects	207

Figure C-2: Mean Chlorophyll-a Concentrations	207

Photographs on cover:

Top from http://spacecoastdaily.com/2013/09/hands-across-lagoon-set-for-sept-28/

Bottom left from the Central Boulevard baffle box upgrade in the City of Cape Canaveral

Bottom middle from the muck dredging project in the City of Cocoa Beach

Bottom right from the Bomalaski oyster bar project in Merritt Island

List of Tables

Table 11: Economic Impact Scenarios Based Upon the Condition of the IRL	3

Table 21: Summary of Load Reductions and Projects in Central IRL Zone SEB	8

Table 31: Loading from Different Sources in Each Sub-lagoon	13

Table 41: Estimated TN and TP Not Attenuated in Fiscal Year 2014-2015	16

Table 42: Reductions from Fertilizer Ordinance Compliance as of Fiscal Year 2014-2015	17

Table 43: Project for Additional Fertilizer Ordinance Compliance	17

Table 44: Project for Grass Clippings Campaign	19

Table 45: Estimated TN Reductions and Costs from Reducing Excess Irrigation	20

Table 46: Estimated TN and TP Reductions and Costs from Stormwater Best Management Practice Maintenance	21

Table 47: Project for Septic System Maintenance Program	22

Table 48: Project for Oyster Gardening Program	23

Table 49: TN Concentrations in WWTF Reclaimed Water	24

Table 410: Projects for WWTF Upgrades to Improve Reclaimed Water	25

Table 411: Projects for Sprayfield or Rapid Infiltration Basin Upgrades for Public Facilities	27

Table 412: Projects for Sprayfield or Rapid Infiltration Basin Upgrades for Private Facilities	27

Table 413: Projects for Package Plant Connection	29

Table 414: Projects for Sewer Laterals Rehabilitation	32

Table 415: Original Estimate of TN Loading and Cost to Connect for Septic Systems	33

Table 416: Updated Estimate of TN Loading based on ArcGIS-Based Nitrate Load Estimation Toolkit and Updated Cost to Connect for Septic Systems	34

Table 417: Septic Systems by Soil Hydraulic Conductance Class within 55 Yards of Surface Waters	34

Table 418: Septic Systems in Very High and High Hydraulic Conductance Soils Distributed by Distance to Surface Waters	34

Table 419: Projects for Septic System Removal	36

Table 420: Projects for Septic System Removal by Sewer Connection	51

Table 421: Projects for Septic System Upgrades	57

Table 422: Traditional Stormwater Best Management Practices with TN and TP Removal Efficiencies	62

Table 423: Low Impact Development and Green Infrastructure Best Management Practices and TN and TP Removal Efficiencies	63

Table 424: TN and TP Removal Efficiencies for Biosorption Activated Media	64

Table 425: Projects for Stormwater Treatment	65

Table 426: Muck Acreages in the IRL System	78

Table 427: Banana River Lagoon Estimated Costs and Nutrient Reductions for Muck Removal Project Areas	78

Table 428: Projects for Muck Removal	79

Table 429: Projects for Treatment of Interstitial Water	85

Table 430: Estimated Costs and Nutrient Reductions for Vegetation Harvesting	88

Table 431: Projects for Vegetation Harvesting	89

Table 432: Summary of Annual Benefits and Ten-Year Costs of a Surface Water Remediation System	90

Table 433: Phase I Top Ranked Potential Enhanced Circulation Project Locations	91

Table 434: Computed Hydraulics for Connections at Select Locations	94

Table 435: Projects for Oyster Restoration	98

Table 436: Pollutant Load Reductions for Shoreline Management Practices	100

Table 437: Projects for Planted Shorelines	103

Table 438: Projects for Clam Restoration	105

Table 439: Average Nutrients in Seagrass from 1996-2009	106

Table 440: Average Seagrass Lost and Nutrients Made Available to Other Primary Producers in 2015	107

Table 441: Costs for Pilot Study to Evaluate Seagrass Planting Techniques	108

Table 442: Cost-share Offered for Project Requests Submitted for the 2021 Update	110

Table 443: Pollutants Removed by Different Project Types	111

Table 444: Save Our Indian River Lagoon Tax Funds Expended on Completed Construction Projects (as of October 31, 2020)	112

Table 445: Save Our Indian River Lagoon Tax Funds Contracted or Expended on Projects Underway (as of October 31, 2020)	115

Table 446: Unfunded Public Outreach and Education Projects	130

Table 447: Unfunded Wastewater Treatment Facility (WWTF) Reclaimed Water Upgrade Projects	131

Table 448: Unfunded Package Plant Connection Projects	131

Table 449: Unfunded Sprayfield or Rapid Infiltration Basin Upgrade Projects	131

Table 450: Unfunded Septic to Sewer Projects	133

Table 451: Unfunded Muck Dredging and Interstitial Treatment Projects	134

Table 61: Banana River Lagoon Project Reductions to Meet Five-Month Total Maximum Daily Load	141

Table 62: Banana River Lagoon Project Reductions Compared to Full Year Loading	141

Table 63: North IRL Project Reductions to Meet Five-Month Total Maximum Daily Load	142

Table 64: North IRL Project Reductions Compared to Full Year Loading	142

Table 65: Central IRL Project Reductions to Meet Five-Month Total Maximum Daily Load	143

Table 66: Central IRL Project Reductions Compared to Full Year Loading	143

Table 67: Annual Muck Flux, Muck Interstitial Water, Oyster Bar, and Planted Shoreline Project Benefits Compared to Annual Nutrient Loadings from Muck Flux	144

Table 68: Summary of Projects, Estimated TN and TP Reductions, and Costs	145

Table 69: Timeline for Funding Needs (Table 46 in the Original Save Our Indian River Lagoon Project Plan)	152

Table C-1: Estimates of Biomass for Halodule Species	179

Table C-2: Total Biomass in Seagrasses Along Brevard County	179

Table C-3: Estimates of Nutrient Content for Halodule wrightii (percentage of dry weight)	179

Table C-4: Average Amount of Nutrients Contained in Seagrass from 1996–2009	180

Table C-5: Guide for Ranking Potential Seagrass Restoration Sites	181

Table D-1: Summary of Project Withdrawals from the Plan	182

List of Figures

Figure ES-1: Save Our Indian River Lagoon Project Implementation ScheduleTable ES-1: Summary of Project Types, Costs, and Nutrient Reductions in the 2020 Update of the Save Our Indian River Lagoon Project Plan	xiii

Figure 11: Decline of Commercial Fishing in Brevard County	5

Figure 12: Likelihood of a Healthy IRL as Nutrients are Removed	7

Figure 21: Locations of the Banana River Lagoon (BRL), North IRL (NIRL), and Central IRL (CIRL) Sub-lagoons	9

Figure 31: Banana River Lagoon TN (left) and TP (right) Annual Average Loads by Source	13

Figure 32: North IRL TN (left) and TP (right) Annual Average Loads by Source	14

Figure 33: Central IRL TN (left) and TP (right) Annual Average Loads by Source	14

Figure 41: Grass Clippings Example for a Typical Lot	19

Figure 42: Septic System Removal Projects in Banana River Lagoon	38

Figure 43: Septic System Removal Projects in Banana River Lagoon, continued	39

Figure 44: Septic System Removal Projects in Banana River Lagoon, continued	40

Figure 45: Septic System Removal Projects in North IRL	41

Figure 46: Septic System Removal Projects in North IRL, continued	42

Figure 47: Septic System Removal Projects in North IRL, continued	43

Figure 48: Septic System Removal Projects in North IRL, continued	44

Figure 49: Septic System Removal Projects in North IRL, continued	45

Figure 410: Septic System Removal Projects in North IRL, continued	46

Figure 411: Septic System Removal Projects in Central IRL	47

Figure 412: Septic System Removal Projects in Central IRL, continued	48

Figure 413: Septic System Removal Projects in Central IRL, continued	49

Figure 414: Septic System Removal Projects in Central IRL, continued	50

Figure 415: Quick Connection Septic System Removal Locations in North Brevard County	52

Figure 416: Quick Connection Septic System Removal Locations in Central Brevard County	53

Figure 417: Quick Connection Septic System Removal Locations in South Brevard County	54

Figure 418: Example In-Ground Nitrogen-Reducing Biofilter Septic System	55

Figure 419: Septic System Upgrades in North Brevard County	58

Figure 420: Septic System Upgrades in Central Brevard County	59

Figure 421: Septic System Upgrades in South Brevard County	60

Figure 422: Stormwater Projects in North Brevard County	74

Figure 423: Stormwater Projects in Central Brevard County	75

Figure 424: Stormwater Projects in South Brevard County	76

Figure 425: Location of Muck Removal Projects in the Northern Banana River Lagoon	80

Figure 426: Location of Muck Removal Projects in the Southern Banana River Lagoon	81

Figure 427: Location of Muck Removal Projects in North IRL	82

Figure 428: Location of Muck Removal Projects in Central IRL	83

Figure 429: Phase I Potential Enhanced Circulation Project Locations	93

Figure 430: Shoreline Survey to Identify Locations Appropriate for Oyster Bars and Planted Shorelines	102

Figure 431: Estimated Economic Value of Some Seagrass Services	106

Figure 432: Types of Seagrass Planting Units for Pilot Study, Jeb Unit (left), Peat Pot (middle), and Safe Pot (right)	108

Figure 433: Completed Projects in North Brevard County	119

Figure 434: Completed Projects in South Brevard County	120

Figure 435. Countywide Groundwater Nutrient Concentrations for TN (top) and TP (bottom)	123

Figure 436. Turbidity Levels Before, During, and After Turkey Creek Muck Removal	126

Figure 437. Distribution of Oyster Sizes, Age, and Average Number Per Unit	127

Figure 51: Evolution of Project Funding Allocations	138

Figure 52: Funding for Reduce, Remove, Restore, and Respond Projects	139

Figure C-1: Mean Areal Extent of Seagrass and Mean Length of Transects	177

Figure C-2: Mean Chlorophyll-a Concentrations	177

Figure C-3: Conceptual Model Illustrating a Shift in Biomass Among Major Primary Producers with Increasing Nutrient Enrichment	178

# Acknowledgements

We would like to thank the following people who provided input in the development and update of this plan:

2020 Citizen Oversight Committee:

- John Windsor (2019 Vice Chair, 2020 Chair), Lagoon Advocacy Member

- Terry Casto, Lagoon Advocacy Alternate

- Courtney Barker (2020 Vice Chair), Finance Member

- Todd Swingle, Finance Alternate

- David Lane (2018 Vice Chair, 2019 Chair), Tourism Member

- Laurilee Thompson, Tourism Alternate

- Stephany Eley (2018 Chair), Education/Outreach Member

- Kimberly Newton, Education/Outreach Alternate

- Lorraine Koss (2017 Chair), Science Member

- Charles Venuto, Science Alternate

- John Luznar, Technology Member

- Vinnie Taranto, Technology Alternate

- Jay Moynahan, Real Estate Member

- Dennis Basile, Real Estate Alternate

Citizen Oversight Committee Past Members:

- Gene Artusa, Real Estate Member, First Term

- Danielle Bowden, Real Estate Member, First Term, Partial Second Term

- John Byron (2017 Vice Chair), Technology Member, First Term

- John Durkee, Education/Outreach Alternate, First Term

- Melissa Martin, Education/Outreach Alternate, Partial Second Term

- Karen McLaughlin, Tourism Alternate, First Term

Guest Speakers at Citizen Oversight Committee Meetings:

  - Holly Abeels, Florida Sea Grant

  - Scott Barber, City of Cocoa Beach

  - Drew Bartlett, Florida Department of Environmental Protection

  - Jeff Beal, Florida Fish and Wildlife Conservation Commission

  - Alix Bernard, City of Rockledge

  - Stephen Berry, Jones Edmunds & Associates

  - Robert Bolton, City of Vero Beach

  - Bill Buckman, ASAP Septic

  - Randy Burden, EcoSense

  - Captain Frank Catino, City of Satellite Beach Mayor

  - Borja Crane-Amores, Florida Department of Environmental Protection

  - Dr. Duane De Freese, Indian River Lagoon National Estuary Program and Council

  - Stacy Delano, Tourist Development Council

  - Dr. Melina Donnelly, University of Central Florida

  - Rich Dunkel, Irrigreen

  - Joe Faella, Brevard County Mosquito Control

  - Dr. Beth Falls, Ocean Research Conservation Association

  - Edward Fontanin, Brevard County Utility Services

  - Dr. Austin Fox, Florida Institute of Technology

  - Dr. Xueqing Gao, Florida Department of Health

  - Lisa Good, Blue Life

  - Roxanne Groover, Florida Onsite Wastewater Association

  - Lauren Hall, St. Johns River Water Management District

  - Dr. Dennis Hanisak, Florida Atlantic University Harbor Branch Oceanographic Institute

  - Carter Henne, Sea & Shoreline

  - Andrea Hill, Brevard Zoo

  - Dr. Chuck Jacoby, St. Johns River Water Management District

  - Steve Krzyston, Rockledge Gardens

  - Jim Langenbach, P.E., B.C.E.E., Geosyntec Consultants

  - Beth Lemke, Planning Solutions

  - Dr. Claudia Listopad, Applied Ecology, Inc.

  - Chris Little, City of Palm Bay Utilities

  - Adam Marrara, Florida Home Inspection Bureau

  - Senator Debbie Mayfield, District 17

  - Benjamin Melnick, Florida Department of Environmental Protection

  - Dr. Jennifer Mitchell, St. Johns River Water Management District

  - Dr. Martha Monroe, University of Florida

  - Lori Morris, St. Johns River Water Management District

  - Robert Musser, Canaveral Port Authority

  - Dr. Todd Osborne, University of Florida

  - Dr. Drew Palmer, Florida Institute of Technology

  - Jeff Rapolti, Brevard County Stormwater Utility

  - Ralph Reigelsperger, City of Melbourne

  - Jill Reyes, RSM US LLP

  - Antony Rios, Environmental Conservation Solutions LLC

  - Annie Roddenberry, Florida Fish and Wildlife Conservation Commission

  - Stephen Rowe, Anchor Plumbing

  - Tony Sasso, Keep Brevard Beautiful

  - Linda Seals, Brevard County Extension Services

  - Dr. Ann Shortelle, St. Johns River Water Management District

  - Morris Smith, Jr., Morris Smith Engineering

  - Marty Smithson, Sebastian inlet

  - Dr. Leesa Souto, Marine Resources Council

  - Susan Sperling, Marketing Talent Network Advertising

  - Megan Stolen, Hubbs SeaWorld Research Institute

  - Dr. James Sullivan, Florida Atlantic University Harbor Branch Oceanographic Institute

  - Joshua Surprenant, City of Cape Canaveral

  - Jennifer Thompson, Brevard County Stormwater Utility

  - Cynthia Thurman, Brevard County

  - Bill Tredik, St. Johns River Water Management District

  - Dr. John Trefry, Florida Institute of Technology

  - Al Vazquez, CloseWaters LLC

  - Dr. Tom Waite, Florida Institute of Technology

  - Dr. Linda Walters, University of Central Florida

  - Dr. Marty Wanielista, University of Central Florida

  - Aaron Watkins, Florida Department of Environmental Protection Central District

  - Dr. Robert Weaver, Florida Institute of Technology

  - Missy Weiss, S.E.A. a Difference Environmental Services

  - Dr. John Windsor, Florida Institute of Technology

  - Keith Winsten, Brevard Zoo

  - Walter C. Wood, Marketing Talent Network Advertising

  - Dr. Gary Zarillo, Florida Institute of Technology

  - Jake Zehnder, Brevard Zoo

Scientist Subject Matter Experts Consulted during Original Plan Development:

- Dr. Duane De Freese, Indian River Lagoon National Estuary Program and Indian River Lagoon Council Executive Director

- Dr. Richard (Grant) Gilmore, expert in Indian River Lagoon fisheries and ecology

- Dr. Charles Jacoby, St. Johns River Water Management District Supervising Environmental Scientist

- Dr. Kevin Johnson, Florida Institute of Technology Associate Professor, Marine and Environmental Systems

- Dr. Mitchell A Roffer, Florida Institute of Technology Adjunct Professor, President Roffer's Ocean Fishing Forecasting Service, Inc.

- Dr. Jonathan Shenker, Florida Institute of Technology Associate Professor of Marine Biology

- Dr. John Trefry, Florida Institute of Technology Professor of Marine and Environmental Systems

- Martin S. Smithson, Sebastian Inlet District Administrator

- Joel Steward, St. Johns River Water Management District Supervising Environmental Scientist (Retired)

- Dr. John Windsor, Florida Institute of Technology Oceanography and Environmental Science Professor Emeritus and Program Chair

Economic Impacts Subject Matter Experts Consulted during Original Plan Development:

- Jim Brandenburg, Brevard County Property Appraiser Information Technology

- Eric Garvey, Brevard County Tourism Development Council Executive Director

- Herb Hiller, Brevard County Tourism Development Council Consultant on Ecotourism

- Vince Lamb, Indian River Lagoon Council Management Board, Florida Master Naturalist, Entrepreneur

- Dr. Michael H. Slotkin, Florida Institute of Technology Associate Professor, Nathan M. Bisk School of Business

- Laurilee Thompson, Brevard County Tourism Development Council, Commercial Fisheries Expert, Entrepreneur

- Dr. Alexander Vamosi, Florida Institute of Technology Associate Professor, Nathan M. Bisk School of Business

Agencies and Local Governments Consulted during Original Plan Development:

- Florida Department of Environmental Protection

- Florida Department of Health

- Space Coast Association of REALTORS®

- Space Coast Tourism Development Council

- St. Johns River Water Management District

- Brevard County Budget Office

- Brevard County Natural Resources Management Department

- Brevard County Property Appraiser Information Technology

- Brevard County Utility Services Department

- City of Melbourne

- City of Palm Bay

- City of Titusville

- City of West Melbourne

# Executive Summary

The Indian River Lagoon (IRL) system includes Mosquito Lagoon, Banana River Lagoon, and Indian River. This is a unique and diverse system that connects Volusia, Brevard, Indian River, St. Lucie, Martin, and Palm Beach counties. The IRL is part of the National Estuary Program, one of 28 estuaries of National Significance, and has one of the greatest diversity of plants and animals in the nation. A large portion of the IRL system, 71% of its area and nearly half its length, is within Brevard County and provides County residents and visitors many opportunities and economic benefits.

However, the balance of this delicate ecosystem has been disturbed as development in the area has led to harmful impacts. Stormwater runoff from urban and agricultural areas, wastewater treatment facility (WWTF) discharges, septic systems, and excess fertilizer applications have led to harmful levels of nutrients and sediments entering the lagoon. These pollutants create cloudy conditions in the lagoon and feed algal blooms, both of which negatively affect the seagrass community that provides habitat for much of the lagoon’s marine life. In addition, these pollutants lead to muck accumulation, which releases (fluxes) nutrients and hydrogen sulfide, depletes oxygen, and creates a lagoon bottom that is not hospitable to seagrass, shellfish, or other marine life.

Efforts have been ongoing for decades to address these sources of pollution. Despite significant load reductions, in the last five years, signs of human impact to the IRL system have been magnified. In 2011, the “superbloom” occurred, an intense algal bloom in the Mosquito Lagoon, Banana River Lagoon, and North IRL, as well as a secondary, less intense bloom in the Central IRL. There have also been recurring brown tides; unusual mortalities of dolphins, manatees, and shorebirds; and large fish kills due to low dissolved oxygen from decomposing algae.

Local governments and the St. Johns River Water Management District have been proactive in implementing projects over the last several decades. However, to restore the lagoon to health and prosperity, additional funds are needed to eliminate current excess loading and remove the legacy of previous excess loading. Therefore, the County placed a Save Our Indian River Lagoon 0.5 cent sales tax referendum on the ballot in November 2016, which passed and will provide a funding stream for the types of projects listed in this plan for Brevard County and its municipalities.

The Save Our Indian River Lagoon Project Plan outlines local projects planned to meet water quality targets and improve the health, productivity, aesthetic appeal, and economic value of the lagoon. Implementation of these projects is contingent upon funding raised through the 0.5 cent sales tax. This sales tax funding would also allow the County to leverage additional dollars in match funding from state and federal grant programs because the IRL ecosystem is valued not only in Florida but also nationally. Funding implementation of this plan would help to restore this national treasure. Lagoon ecosystem response may lag several years behind completion of nutrient reductions; however, major steps must begin now to advance progress on the long road to recovery.

In the development of this plan, Subject Matter Experts were consulted to provide feedback on the plan elements. The experts all agreed that there is a "critical mass" of nutrient reductions that must be achieved to see a beneficial result in the IRL. This critical level of nutrient reduction will be achieved through the implementation of the projects in this plan. During plan development, it was estimated that the benefit of restoring the lagoon has a present value of $6 billion and a cost of $300 million. Therefore, implementing this plan to restore the IRL is an excellent investment in the future of Brevard County’s community and economy with a benefit to cost ratio of 20:1.

In order to restore the lagoon’s balance, Brevard County seeks to accelerate implementation of a multi-pronged approach to Reduce pollutant and nutrient inputs to the lagoon from fertilizer, reclaimed water from WWTFs, septic systems, and stormwater; Remove the accumulation of muck from the lagoon bottom; Restore water-filtering oysters and related lagoon ecosystem services; and monitor progress to Respond to changing conditions, technologies, and new information by amending the plan to include actions that will be most successful and cost-effective for significantly improving the health, productivity, and natural resilience of the IRL.

The portfolio of projects in this plan were selected as the most cost-effective suite of options to achieve water quality and biological targets for the lagoon system. Investment has been distributed among a set of project types with complimentary benefits to reduce future risk of failure. Nearly half (originally one-third) of the effort and expense is split among multiple projects to reduce incoming load to healthy levels, restore natural filtration, measure success, and respond with annual plan updates. Slightly more than half (originally two-thirds) of the effort and expense is directed toward muck removal to address decades of past excess nutrient loading. Nitrogen and phosphorus released each year as muck decays are now larger than any current source of nutrient pollution to lagoon waters.

The plan projects have been prioritized and ordered to deliver improvements to the lagoon in the most beneficial spatial and temporal sequence so that the implementation of this plan is expected to result in a healthy IRL system. If a future project is ready to move forward earlier than scheduled in the plan, if such advancement is consistent with temporal sequencing goals in the plan and is recommended by the Citizen Oversight Committee, and if there are sufficient Trust Fund dollars available, the County Manager (for budget changes less than $100,000) or Brevard County Commission have the authority to adjust the project schedule at any time to ensure that approved projects funded in the plan move forward as soon as feasible.

This 2021 Update to the Save Our Indian River Lagoon Project Plan contains the fifth set of project updates, new approved projects, and schedule accelerations to the plan. Local stakeholders submitted projects annually to Brevard County for inclusion in the plan. The appointed Citizen Oversight Committee reviewed the submitted projects and made a recommendation to the Board of County Commissioners on which projects should be added to the Save Our Indian River Lagoon Project Plan. This update includes those projects that were reviewed by the Citizen Oversight Committee and approved for inclusion by the Board of County Commissioners.

The timing of the projects is shown in Figure ES-1. A summary of the types of projects included in the plan, as well as the associated costs and total nitrogen (TN) and total phosphorus (TP) reduction benefits are shown in Table ES-1. Despite the considerable cost of restoration, analysis demonstrates that the economic cost of inaction is double the cost of action. Furthermore, although there are many tangible and intangible benefits for saving the lagoon, the readily estimated return on investment for three benefits – tourism, waterfront property values, and commercial fisheries – is approximately 10% to 26%.

Figure ES-1: Save Our Indian River Lagoon Project Implementation Schedule
Table ES-1: Summary of Project Types, Costs, and Nutrient Reductions in the 2020 Update of the Save Our Indian River Lagoon Project Plan

| Project Category | Project Type | Estimated Total Project Cost | Nitrogen Reductions (lbs/yr) | Average Cost per Pound per Year of TN | Phosphorus Reductions (lbs/yr) | Average Cost per Pound per Year of TP |
| --- | --- | --- | --- | --- | --- | --- |
| Reduce | Public Education | $1,425,000 | 28,879 | $49 | 2,013 | $708 |
| Reduce | WWTF Upgrades for Reclaimed Water | $24,711,400 | 64,458 | $383 | 13,760 | $1,796 |
| Reduce | Rapid Infiltration Basin/Sprayfield Upgrades | $6,265,507 | 8,965 | $699 | 2,141 | $2,926 |
| Reduce | Package Plant Connection | $2,584,794 | 1,812 | $1,426 | To be determined | To be determined |
| Reduce | Sewer Lateral Rehabilitation | $1,580,000 | 6,196 | $255 | 188 | $8,404 |
| Reduce | Septic System Removal by Sewer Extension | $110,990,852 | 94,547 | $1,174 | To be determined | To be determined |
| Reduce | Septic System Removal by Sewer Connection | $11,280,000 | 21,446 | $526 | To be determined | To be determined |
| Reduce | Septic System Upgrades | $29,248,485 | 37,981 | $770 | To be determined | To be determined |
| Reduce | Stormwater Projects | $47,261,101 | 275,359 | $172 | 38,211 | $1,237 |
| Remove | Muck Removal | $108,152,240 | 207,990 | $520 | 17,815 | $6,071 |
| Remove | Treatment of Muck Interstitial Water | $46,945,641 | 481,059 | $98 | 28,361 | $1,655 |
| Remove | Vegetation Harvesting | $1,086,096 | 17,442 | $62 | 1,703 | $638 |
| Restore | Oyster Bars | $9,832,825 | 24,766 | $397 | 781 | $12,590 |
| Restore | Planted Shorelines | $107,280 | 447 | $240 | 152 | $706 |
| Restore | Clam Restoration | $60,000 | 1,000 | $60 | To be determined | To be determined |
| Respond | Projects Monitoring | $10,000,000 | - | - | - | - |
| Respond | Contingency | $20,258,580 | - | - | - | - |
| Respond | Inflation | $57,065,372 | - | - | - | - |
| Total | Total | $488,855,173 | 1,272,347 | $384 (average) | 105,125 | $4,650 (average) |

# Background

The Indian River Lagoon (IRL) system includes Mosquito Lagoon, Banana River Lagoon, and Indian River. A large portion of the IRL system, 71% of its area and nearly half its length, is within Brevard County (County) and provides County residents and visitors many opportunities.

However, the balance of this delicate ecosystem has been disturbed as development in the area has led to harmful impacts. Stormwater runoff from urban and agricultural areas, wastewater treatment facility (WWTF) discharges, septic systems, and excess fertilizer applications have led to harmful levels of nutrients and sediments entering the lagoon. In addition, these pollutants lead to muck accumulation on the lagoon bottom, which fluxes nutrients and creates a lagoon bottom that is not conducive to seagrass, shellfish, or benthic invertebrate growth.

Efforts have been ongoing to address these sources of pollution. The Indian River Lagoon System and Basin Act of 1990 (Chapter 90-262, Laws of Florida) was enacted to protect the IRL system from WWTF discharges and the improper use of septic tanks. The act includes three objectives: elimination of surface water discharges, investigation of feasibility of reuse, and centralization of wastewater collection and treatment facilities (Florida Department of Environmental Protection 2016). This act led to the removal of effluent discharges to the lagoon from more than 40 WWTFs (St. Johns River Water Management District, 2016a).

Stormwater regulations were adopted in unincorporated Brevard County in 1978 and adopted statewide in 1989. Due to stormwater regulations, stormwater treatment systems were constructed along with all new development exceeding size thresholds. Privately owned and operated stormwater treatment systems have prevented more than a million pounds of sediments from entering the lagoon since 1989 (St. Johns River Water Management District, 2016a). Stormwater treatment projects also reduce nutrient inputs to the lagoon. In addition, dredging projects have been ongoing since 1998 to remove muck from the lagoon and major tributaries, including Crane Creek, Turkey Creek, and St. Sebastian River (St. Johns River Water Management District, 2016a). These stormwater treatment and muck removal projects contributed to significant improvements in water quality and water clarity in the lagoon, which allowed for a great expansion of seagrass from 2000–2010.

However, recently, human impacts on the IRL system have been magnified. In 2011, the “superbloom” occurred, an intense algal bloom in the Mosquito Lagoon, Banana River Lagoon, and North IRL, as well as a secondary, less intense bloom in Central IRL. The extent and longevity of the bloom had a detrimental impact on seagrass. There have also been recurring brown tides; unusual mortalities of dolphins, manatees, and shorebirds; and large fish kills due to low dissolved oxygen from decomposing algae.

In 2009, to improve lagoon water quality and restore seagrass, the Florida Department of Environmental Protection adopted total maximum daily loads for total nitrogen (TN) and total phosphorus (TP) allowed to discharge to the Banana River Lagoon, North IRL, and Central IRL. The purpose of these total maximum daily loads is to reduce nutrients that lead to algae growth, which block sunlight from seagrass and create low dissolved oxygen conditions that affect fish in the lagoon. To implement these total maximum daily loads, the Florida Department of Environmental Protection adopted three basin management action plans that outline responsibilities for reductions by the local stakeholders, list projects, and stipulate a timeline for implementation. The intent of the nutrient reductions is to provide water quality conditions that should result in seagrass growth in the lagoon at historical levels. Brevard County has a major responsibility in all three basin management action plans along with its 16 municipalities, Florida Department of Transportation District 5, Patrick Air Force Base, National Aeronautics and Space Administration – Kennedy Space Center, and agriculture. The Florida Department of Environmental Protection updated all three basin management action plans in 2020.

From 2012 to 2015, Brevard County led an effort with its municipalities, Florida Department of Transportation District 5, and Patrick Air Force Base to update the estimates of nutrient loadings to the lagoon. The County and its partners teamed with several consultants to develop the Spatial Watershed Iterative Loading model that revised the estimates of loading by source to the lagoon (refer to Section 2 for more details). The revised loading estimates were compared to seagrass area to recommend refinement of state and federal approved total maximum daily loads. The loading estimates and total maximum daily load targets referenced in this plan are from these local efforts, as they are based on the most up-to-date data and analyses even though the state and federal total maximum daily loads have not been officially updated.

Damage to the lagoon has been occurring for decades and will require time and money to reverse. An important example is the accumulation of muck on the bottom of 10% of the IRL. This muck kills marine life and releases stored pollutants into the IRL. To address the damage to the IRL system, in 1990, Brevard County implemented a stormwater utility assessment, which established an annual assessment rate of $36 per year per equivalent residential unit that stayed at this level until 2014. The rate increased to $52 per equivalent residential unit for 2014 and 2015 and increased to $64 per equivalent residential unit in 2016. This raised collections from $3.4 million (in 2014) to $6.0 million (in 2016). Of the funding raised, a portion is available for capital improvement programs or other stormwater best management practices and is split between water quality improvement programs and flood control and mitigation programs. In addition, funding is spent on annual program operating expenses. Operation and maintenance includes National Pollutant Discharge Elimination System permit compliance activities (street sweeping, trap and box cleaning, and aquatic weed harvesting), outfall/ditch treatments, small scale oyster restoration, as well as harvesting and replanting of floating vegetative islands.

While revenues from this stormwater assessment have funded many projects, a significant portion of projects have been partially funded by grants. When applicable, federal water quality grants provide up to 60% matching funds, state total maximum daily load grants provide up to 50% match, and St. Johns River Water Management District cost-share grants fund up to 33% of construction. All these grant programs are highly competitive and subject to variable state and federal appropriations, as well as changing priorities.

Due to funding limitations and the continuing degradation of key indicators of health in the IRL, such as seagrass and fish, Brevard County identified a need for additional funding to implement projects identified as critical to lagoon restoration. Therefore, the County placed a Save Our Indian River Lagoon 0.5 cent sales tax referendum on the ballot in November 2016. This referendum passed by more than 60% of the votes and provides a funding mechanism for the projects listed in this plan and annual updates for the County and its municipalities. Revenue collection from the sales tax began in January 2017.

This Save Our Indian River Lagoon Project Plan outlines projects planned to meet updated total maximum daily load targets and improve the health, productivity, aesthetic appeal, and economic value of the lagoon. Almost all these projects require sales tax funding to be implemented. Furthermore, the local sales tax funding could be used to leverage significantly more in match funding from state and federal grant programs. The IRL ecosystem is an asset valued not only in Florida but also nationally; therefore, implementation of this plan would help to restore this national treasure. If additional funding is provided through matching funds from other sources, additional projects may be implemented, which would increase the overall plan cost, and/or project timelines may be moved up to allow the benefits of those projects to occur earlier than planned. Response of the lagoon ecosystem may lag for several years behind completion of nutrient reduction implementation; however, action must be accelerated now to ensure restoration succeeds over time.

## Return on Investment and Economic Value

The economic value of the lagoon system was evaluated during development of this plan. It was estimated that at least a total present value of $6 billion is tied to restoration of the Indian River Lagoon (IRL). There is approximately $2 billion in benefits from restoration and an estimated $4 billion in damages if the IRL is not brought back to health during the next decade. If viewing this project plan purely as a financial investment that pays the $2 billion in benefits alone (i.e. not counting the avoidance of the $4 billion loss), the projected pretax internal rate of return is 10%, if the plan takes 10 years to implement.

Table 11 documents projections of three economic engines likely to have significant economic impacts on Brevard County residents with positive impacts if the IRL is restored versus negative impacts if the IRL is not restored. Additional detail on each of these impacts is provided in Section 1.1.1. The upper part of the table lists the economic benefits for restoring a healthy IRL while the lower part of the table lists the economic costs of declining IRL health in the absence of restoration through plan implementation.

Economic impacts in the table are expressed both as annual cash flows and as the discounted expected present value of those cash flows over a 30-year financial plan period. Expected present value is an economic indicator used in business to express the present monetary value of a future stream of cash flows. This expected monetary value discounts the future stream by an interest rate and discounts it further by a probability factor to account for the uncertainty of future events. Therefore, the expected present value of IRL economic benefits shown in Table 11 is much less than the sum of those future cash flows.

Table 11: Economic Impact Scenarios Based Upon the Condition of the IRL

| Economic Benefits for Restoring a Healthy IRL and Costs of Declining IRL Health | Annual Cash Flow | Expected Present Value |
| --- | --- | --- |
| Tourism and Recreation Growth Benefits | $95 million | $997 million |
| Property Value Growth Benefits | $81 million | $852 million |
| Rebirth of Commercial Fishing Benefits (excludes indirect benefits) | $15 million | $159 million |
| Healthy Residents and Tourists Benefits | Not quantified | Not quantified |
| Total Benefits | $191 million | $2.01 billion |
| Tourism and Recreation at Risk Damages | -$237 million | -$3 billion |
| Property Value at Risk Damages | -$92 million | -$1.2 billion |
| Decline of Commercial Fishing (excludes indirect impacts) | -$6 million | -$87 million |
| Potential Pathogen Impacts to Residents and Tourists | Not quantified | Not quantified |
| Total Damages | -$335 | -$4.29 billion |

Today there is a $6 billion decision point for the IRL. Despite unprecedented algae blooms and fish kills, conditions could become worse. If large-scale fish kills continue with increasing frequency, algae blooms continue or become toxic, or there is a pathogen outbreak, then real estate, tourism, and the quality of life and health for Brevard County residents would likely suffer.

### Areas of Economic Value at Risk

#### Tourism and Recreation

Today's tourism revenue in Brevard County comes primarily from the beaches. To diversify the tourism base and increase revenue, Brevard County has developed a plan to increase ecotourism, a globally growing and high value sector of tourism that depends on restoration and maintenance of a healthy Indian River Lagoon (IRL). High value ecotourism relies on exceptional natural experiences including fishing, bird watching, kayaking, paddle boarding, camping, hiking, and nature tours. In the short-term, there are opportunities for tourists to participate in restoration experiences, such as collecting mangrove seeds by kayak or canoe, planting mangrove seedlings, or establishing colonies of clams, oysters, or mussels. A successful example of Brevard County ecotourism is the world famous annual Space Coast Birding and Wildlife Festival that brings $1.2 million annually to the County and attracts approximately 5,000 visitors.

#### Property Value

While the economic benefits of IRL restoration are likely to increase property value throughout the County, to be conservative this plan assessed the exposure only to properties with frontage on Mosquito Lagoon, IRL, Banana River Lagoon, Sykes Creek, and connected waterways. Approximately 11.2% of the County's $27 billion in taxable property value is directly on the IRL. Therefore, more than $3 billion in taxable property value is directly at risk with ongoing IRL issues, such as algal blooms and fish kills. Furthermore, a weighted-average millage rate of 18.58 results in an estimated annual tax revenue of $56 million that is also at risk in the absence of IRL restoration. The $852 million of incremental expected present value assumes a 20% improvement in IRL frontage property value, which would be 90% likely after 10 years with the IRL restored.

Consultants for the County surveyed the Space Coast Association of REALTORS® to assess the likely impacts of IRL health on the waterfront property value. Approximately 170 REALTORS® most familiar with the waterfront market replied to the survey. These professionals assessed that waterfront IRL property values would increase 22% on average over five years if the IRL were healthy and would decrease by 25% over five years if the lagoon were not restored.

#### Commercial Fishing

IRL restoration is critical to the recovery of a once thriving, valuable, and world-class fishery, both commercial and recreational. In 1995, the commercial fish harvest in Brevard County was $22 million annually. While a 1995 ban on commercial net fishing marked economic decline, the degradation of the lagoon system contributed considerably to a severe reduction in value of only $6.7 million annually in 2015, based on Florida Fish and Wildlife Conservation Commission data (see Figure 11). These numbers do not include the many indirect benefits of a robust commercial fishing industry including fresh local fish for restaurants, employment, commerce of supplies and services for the industry, and benefits of local fresh fish for residents and visitors.

Figure 11: Decline of Commercial Fishing in Brevard County

Figure 11 Long Description

In addition, a healthy fish population is critical to the brand of any coastal community. Historically Brevard County was once home to a world-class abundance and diversity of rare and widespread species of fish, crabs, shrimp, and clams that made the IRL a global brand. That brand can be restored along with the fish and shellfish of the IRL.

#### Healthy Residents and Tourists

Septic systems within Brevard County can pollute groundwater that migrates to the lagoon. This groundwater moves slowly toward the lagoon through soils that attenuate some but not all these pollutants. It would cost at least $1.19 billion to convert all 59,500 septic tanks to central sewage treatment. While total conversion is cost prohibitive, this plan targets the septic systems with the highest potential impacts to the lagoon. Targeted action includes connection to the central sewer system or upgrade to advanced treatment systems that remove significantly more nutrients and pathogens than traditional septic systems.

Although there are studies that have identified pathogens migrating from septic systems into waterways, it is not possible to estimate the economic impact of potential disease from these waterborne pathogens. The conversion of septic systems is expensive relative to other types of nutrient reduction projects; however, the additional health benefits associated with septic system upgrades make this option a priority beyond only the abatement of nutrients.

## Maximizing Benefits and Managing Risk

There is much at stake with regard to both economic outcomes and the incremental funding critical to restoration; therefore, the County chose to address the unavoidable risks inherent in a multi-year, large-scale restoration plan in a transparent and objective manner. To help ensure objectivity, the County retained outside consultants to assess risk and to estimate potential positive or negative outcomes.

The approach for this plan to evaluate the different project options included using expected monetary value models; a decision science tool used in business to improve decision-making and planning in a context of unavoidable uncertainty. Expected monetary value is a financial model of probability-weighted outcomes expressed in quantified financial terms that are comparable across multi-year planning periods. To compare outcomes, expected present value was used as a key metric. Expected present value has the benefit of valuing future financial costs and benefits in common present day terms to take into account the value of time and to facilitate comparisons of initiatives spanning long periods of time.

As part of this methodology, consultants engaged Subject Matter Experts to assess the uncertainties of project scenarios. Subject Matter Experts include scientists, property value experts, tourism experts, lagoon advocates, and agency staff. Subject Matter Experts brought expertise in Indian River Lagoon (IRL) science, nutrient reduction technologies, waterborne pathogens, and relevant law or county financial and accounting parameters needed for the expected monetary value models. Information gathered during these assessments was used to document the key interdependence of initiatives, minimize risk, and maximize the likely return on investment.

### Project Selection to Maximize Return on Investment

Assessment of risk by Subject Matter Experts determined that the amount and speed of nutrient reductions are the two most critical factors affecting the success of restoring Indian River Lagoon (IRL) health. Therefore, those projects with the greatest nutrient reduction benefit for the least cost are recommended for funding and, of those, the projects with the greatest benefits are planned for implementation first. Three other key criteria drove this plan:

- Achieving sufficient nutrient abatement through a blend of options was a key success factor for restoration.

- No one type of project alone could achieve an adequate nutrient abatement.

- The target for nutrient reduction must be sufficient to minimize the need for recurring expensive muck removal, which is important for future cost avoidance.

The plan sequences a diversity of project types, implementing the highest nutrient reduction impact early and implementing other projects concurrently to achieve a multi-pronged blend of total nutrient abatement as quickly as possible with minimal risk. Another important consideration for project sequencing was how quickly projects could produce significant nutrient pollution reduction. For decades, man-made nutrient pollution from fertilizers, septic systems, and stormwater runoff have been introduced at varying distances from the IRL. The soils are still saturated with those nutrients. Therefore, if all sources of nutrient pollution ended today, groundwater would continue to transport nutrients accumulated in the soil into the IRL with every rain event for decades in the future. However, soils next to the IRL will purge themselves quickly, in days or weeks. Septic system conversions near the lagoon or near drainage conduits into the lagoon are likely to produce water quality and reduced pathogen benefits in the lagoon in weeks or months whereas septic conversions more distant from waterways are not anticipated to generate lagoon benefits for several decades. Therefore, whenever possible, project selection and sequencing scheduled nutrient abatements closest to the IRL first.

Undoing the damage to a unique and complex biological system as large as the IRL carries inherent risk. The County made the decision to be open and transparent about that risk. Assessing that risk diligently has allowed the County to mitigate and manage risk proactively in the development of this plan.

Two subjective risk assessments were conducted by an independent consultant working with top science Subject Matter Experts most knowledgeable about the IRL. The first assessment was conducted with individual Subject Matter Experts and occurred before plan projects were defined. These experts assessed that the likelihood of a healthy fish population in the IRL would begin to rise faster after reaching a critical point of nutrient reduction. Therefore, there is a "critical mass" of nutrient reduction needed to achieve significant and sustainable IRL health benefits. The Subject Matter Experts also assessed that the likelihood of recovery would continue to improve as more nutrients are removed from the IRL and then begin to decline if too many nutrients were removed. The result of that first risk assessment reinforced the objective of reducing nutrients in the IRL as quickly as possible through the definition and sequencing of the projects in this plan.

A second uncertainty assessment was conducted in a meeting at the Florida Institute of Technology with a group of water quality, toxicity, muck, fish, algae, invertebrates, and seagrass Subject Matter Experts. First, the experts were briefed about the projects proposed in this plan. The experts were then asked their subjective assessment of the likelihood of a healthy lagoon after this plan was implemented in each sub-lagoon. Sub-lagoons were assessed because the experts had commented previously that each sub-lagoon functioned differently. This group assessment indicated higher likelihoods of success than the first assessment. However, the scientists continued to voice concern about the restoration of the IRL in the absence of regulatory reform needed to prevent new development from adding more septic system and stormwater pollution to the lagoon. Therefore, updated regulations are needed as a complement to this plan to ensure timely and sustained success in restoring health to the IRL.

Figure 12 represents the input from the Subject Matter Experts.

Figure 12: Likelihood of a Healthy IRL as Nutrients are Removed

There are other large-scale aquatic system restoration efforts that have been successful in achieving restoration. Some of these systems were damaged even more so than the IRL, but they have recovered through the implementation of extensive, multi-year, and multi-pronged restoration plans. These include the Chesapeake Bay, Cuyahoga River, Lake Erie, and Tampa Bay. These areas have reaped enormous economic and quality of life benefits as a result of dedicated investments in their restoration.

# Approach, Outputs, and Outcomes

The amount and distribution of nutrient loading from the sources described in Section 3 were examined to determine the key locations where nutrient reduction projects are needed and the extent of reductions required from each source to achieve the County’s proposed total maximum daily loads for each sub-lagoon. For each source, a reduction goal is set and projects are proposed to meet the goal. The estimated cost for each project is also included. Information on expected project efficiencies and project costs were gathered from data collected by the County in implementation of similar projects, as well as literature results from studies in Florida, where available, and across the country. The most cost-effective projects are selected and prioritized to maximize the nutrient reductions that can be achieved.

## Plan Focus Area

This plan focuses on projects implemented in three sub-lagoons in the Indian River Lagoon (IRL) system: Banana River Lagoon, North IRL, and Central IRL. Figure 21 shows the locations of these sub-lagoons. All the Banana River Lagoon watershed and the majority of the North IRL watershed are located within Brevard County. However, only a portion of the Central IRL watershed is located within the County. As shown in Figure 21, Central IRL Zone A is located entirely in Brevard, whereas Zone SEB straddles Brevard and Indian River counties. For Zone SEB, the County has completed several projects in this area and the St. Johns River Water Management District is completing projects along the C-54 Canal and on the Wheeler property to treat the Sottile Canal. The reductions from these projects (in pounds per year [lbs/yr] for total nitrogen [TN] and total phosphorus [TP]) should be sufficient to meet the estimated need for reductions in the Brevard County portion of Zone SEB, as shown in Table 21. This plan includes some additional beneficial projects located in Zone SEB to help ensure that the necessary reductions are achieved throughout Brevard County; however, most of the projects proposed in this plan for the Central IRL fall within Central IRL Zone A.

Table 21: Summary of Load Reductions and Projects in Central IRL Zone SEB

| Category | Annual TN Load (lbs/yr) | Five-Month TN Load (lbs/yr) | Annual TP Load (lbs/yr) | Five-Month TP Load (lbs/yr) |
| --- | --- | --- | --- | --- |
| Stormwater and Baseflow Loading | 248,233 | 79,956 | 34,901 | 11,242 |
| Atmospheric Deposition Loading | 22,371 | 7,206 | 404 | 130 |
| Point Sources Loading | 0 | 0 | 0 | 0 |
| Total Loading | 270,604 | 87,162 | 35,305 | 11,372 |
| Target Percent Reductions | 18.0% | 38.0% | 16.0% | 35.0% |
| Targeted Reductions | 48,709 | 33,121 | 5,649 | 3,980 |
| Completed County Projects (2010-February 2016) | 29,890 | 12,454 | 9,643 | 4,018 |
| C-54 Project | 65,974 | 27,489 | 10,558 | 4,399 |
| Wheeler Property Project | 36,582 | 15,243 | 21,784 | 9,077 |
| Total Project Reductions | 132,446 | 55,186 | 41,985 | 17,494 |
| % of Targeted Reductions Achieved | 271.9% | 166.6% | 743.2% | 439.5% |

In addition, a small portion of the County is located within the Mosquito Lagoon. Brevard County does not have stormwater outfalls, septic systems, or point sources in this sub-lagoon.

Figure 21: Locations of the Banana River Lagoon (BRL), North IRL (NIRL), and Central IRL (CIRL) Sub-lagoons

## Plan Outputs and Outcomes

There are several outcomes expected from implementation of the plan. The plan outputs represent the project types included to Reduce external loads to the lagoon, Remove internal sources from the lagoon, Restore the natural filtration systems, and Respond to the changing conditions and opportunities. The outcomes from these outputs are the results, impacts, and accomplishments that will occur due to plan implementation (Figure 22). The timeframes for reaching various outcomes may be impacted by many factors outside Brevard County control, including federal and state legislation and weather; however, division of outcomes into short-term, mid-term, and long-term categories is meant to illustrate the sequence and approximate schedule of anticipated natural recovery.

Figure 22. Summary of the Save Our Indian River Lagoon Outputs and Outcomes

Figure 22 Long Description

# Pollutant Sources in the IRL Watershed

Pollutant loads in the Indian River Lagoon (IRL) watershed are generated from multiple external sources that discharge to the lagoon. Excess loads also accumulate in nutrient sinks within the lagoon, which release nutrients to the water column during certain conditions.

External sources fall into the following major categories:

- Stormwater runoff that occurs when rainfall hits the land and cannot soak into the ground:

  - Urban stormwater runoff is generated by rainfall and excess irrigation on impervious areas associated with urban development. Urban runoff picks up and transports nutrient loading from fertilizers, grass clippings, and pet waste, as well as other pollutants including sediments, pesticides, oil, and grease. Stormwater ponds and baffle boxes reduce the nutrient loading in stormwater; however, proper maintenance of these systems is necessary to maintain their performance.

  - Agricultural stormwater runoff occurs on agricultural land and this runoff also carries nutrients from fertilizers, as well as livestock waste, pesticides, and herbicides. This source of stormwater runoff is not addressed in this plan as the County does not have jurisdiction over agricultural use. The Florida Department of Agriculture and Consumer Services has an agricultural best management practice program, and they work with agricultural producers to control the loading from this source.

  - Natural stormwater runoff comes from the natural lands in the basin. This source is not addressed by this plan as natural loading does not need be controlled.

- Baseflow is the groundwater flow that contributes loading to the IRL. Due to the sandy soils in the basin and excess irrigation, nutrients can soak quickly into the groundwater with little removal. This groundwater can recharge surface water in ditches, canals, tributaries, or the IRL.

  - Excess fertilizer that soaks into the ground past the root zones.

  - Septic systems, both functioning and failing, contribute nutrient loading to the groundwater.

  - Leaking sewer pipes located above the water table can contribute nutrient loading to the groundwater.

- Atmospheric deposition that falls on both the land and the lagoon itself:

  - Nutrients in the atmosphere fall into the basin largely during rainfall events. The sources of these nutrients are from power plants, cars, and other sources that burn fossil fuels. However, because of atmospheric conditions and weather patterns, not all the nutrients from atmospheric deposition are generated within the watershed. Atmospheric loading is not directly addressed by this plan as air quality and air emission standards are regulated by the federal Clean Air Act and are not within the County’s control. However, the stormwater projects and in-lagoon projects will treat some of the nutrient loading from atmospheric deposition that falls on the land and lagoon surface.

- Point sources that treat collected sewage and discharge treated effluent:

  - The direct wastewater treatment facility (WWTF) discharges to the lagoon have been largely removed, and most of the facilities in the basin use the treated effluent for reclaimed water irrigation. However, depending on the level of treatment at the WWTF, the reclaimed water can have an excessive concentration of nutrients that may contribute loading to the baseflow.

  - There have been issues with inflow and infiltration into the sanitary sewer collection system. Large rain events can result in large amounts of water entering the sewer collection system, and this additional water can cause sewer overflows that contribute nutrients and bacteria to local waterbodies.

In addition to these external sources of loading to the lagoon, nutrients from muck (muck flux) is an internal source of loading within the lagoon itself. Muck is made up of organic materials from soil erosion on the land and from decay of organic matter (leaves, grass clippings, algae, and aquatic vegetation) in the lagoon. As these organic materials decay, they constantly flux nutrients into the water column above, where they add to the surplus of nutrients coming from external sources.

Table 31 summarizes the estimated total nitrogen (TN) and total phosphorus (TP) loading in pounds per year (lbs/yr) from these sources in the Banana River Lagoon (including canals), North IRL, and Zone A of the Central IRL. The stormwater runoff and baseflow/septic systems loading estimates are from the Spatial Watershed Iterative Loading model, the point source loading estimates were based on the facility monthly operating reports and discharge monitoring reports, and the atmospheric deposition loads are from measured data at nearby stations. The muck flux load estimates are calculated based on the muck area in each portion of the lagoon and flux estimates from studies in the lagoon (refer to Section 4.2.1 for more details). The loading from these sources is also shown graphically in Figure 31, Figure 32, and Figure 33.

Table 31: Loading from Different Sources in Each Sub-lagoon

| Source | Banana River Lagoon TN (lbs/yr) | Banana River Lagoon TP (lbs/yr) | North IRL TN (lbs/yr) | North IRL TP (lbs/yr) | Central IRL Zone A TN (lbs/yr) | Central IRL Zone A TP (lbs/yr) |
| --- | --- | --- | --- | --- | --- | --- |
| Stormwater Runoff | 119,923 | 15,064 | 328,047 | 45,423 | 279,351 | 43,193 |
| Baseflow/Septic, Leaking Sewer, Reclaimed Water | 164,225 | 22,613 | 344,111 | 47,383 | 370,129 | 50,966 |
| Atmospheric Deposition | 175,388 | 3,222 | 301,977 | 5,505 | 49,456 | 892 |
| Point Sources | 17,484 | 3,370 | 14,711 | 1,029 | 0 | 0 |
| Muck Flux | 393,948 | 43,216 | 247,078 | 17,583 | 16,927 | 2,277 |

Figure 31: Banana River Lagoon TN (left) and TP (right) Annual Average Loads by Source

Figure 32: North IRL TN (left) and TP (right) Annual Average Loads by Source

Figure 33: Central IRL TN (left) and TP (right) Annual Average Loads by Source

# Project Options

To restore the lagoon’s balance, Brevard County has been implementing a multi-pronged approach to Reduce pollutant and nutrient inputs to the lagoon, Remove the accumulation of muck from the lagoon bottom, and Restore water-filtering oysters and related lagoon ecosystem services. This plan also recommends funding for project monitoring, needed for accountability and to Respond to changing conditions and opportunities. Response funds will be used to track progress, measure cost effectiveness, and report on performance. Each year, the Citizen Oversight Committee (additional details are included in Section 4.4.1) will review monitoring reports and make recommendations to the Brevard County Board of County Commissioners to redirect remaining plan funds to those efforts that will be most successful and cost-effective. Although research is important to better understand factors that significantly impact the health, productivity, and natural resilience of the Indian River Lagoon (IRL), funding for research is not included in this project plan.

Several goals were set to help select the projects for this plan. The goal for the Reduce projects is to achieve the proposed total maximum daily load for each sub-lagoon (refer to Section 6 for additional details on the total maximum daily loads). The goal for the Remove projects is to achieve about a 25% reduction in estimated recycling of internal loads. The goals for the Restore projects are to filter the entire volume of the lagoon annually and to reduce shoreline erosion. The most cost-effective projects in each category were selected to maximize nutrient reductions, minimize lag time in lagoon response, reduce risk, and optimize the return on investment.

Section 4.1 through Section 4.5 provide information on the proposed projects, estimated nutrient reduction benefits, and costs, as well as the ongoing studies needed to measure and assess the project efficiencies and benefits to the lagoon system.

## Projects to Reduce Pollutants

An important step in restoring the lagoon system is reducing the amount of pollutants that enter the Indian River Lagoon (IRL) through stormwater runoff and groundwater. Reduction efforts include source control (such as fertilizer reductions) to reduce the amount of pollutants generated, as well as treatment to reduce pollutants that have already been discharged before they are washed off in stormwater runoff or enter the groundwater system and ultimately discharge to the IRL. Monitoring of these projects will be performed to verify the estimated effectiveness of each project type implemented (refer to Section 4.4).

The benefits from fertilizer management and public education, wastewater treatment facility (WWTF) upgrades for reclaimed water, and stormwater treatment are seen fairly quickly in the lagoon system. Public education about fertilizer and other sources of pollution addresses nutrients at their source and prevents these nutrients from entering the system. WWTF upgrades result in reduced nutrients in the treated effluent, which is then used throughout the basin for reclaimed water irrigation. The stormwater projects will capture and treat runoff, which is currently untreated or inadequately treated, before it reaches the lagoon.

While greatly beneficial, septic system removal or upgrade projects may take longer to result in a nutrient reduction to the lagoon. The septic systems in key areas must be removed or upgraded to see the full benefits. In addition, septic systems contribute nutrient loading to the lagoon through groundwater, and the travel time of the nutrient plumes through the groundwater to a waterbody vary throughout the basin depending on watershed conditions.

The following subsections summarize (1) public education and outreach efforts; (2) infrastructure improvements for WWTFs; (3) sprayfield and rapid infiltration basin upgrades; (4) package plant connections; (5) sewer laterals rehabilitation; (6) septic system removal and upgrades; and (7) stormwater treatment projects.

### Public Outreach and Education

The education and outreach campaigns are summarized in the sections below.

Approximately 81,700 lbs/yr of TN and 4,200 lbs/yr of TP enter the lagoon watershed from excess fertilizer application.

#### Fertilizer Management

It is a common practice to apply fertilizer on urban and agricultural land uses. However, excessive and inappropriately applied fertilizer pollutes surrounding waters and stormwater. To help address fertilizer as a source of nutrient loading, local governments located within the watershed of a waterbody or water segment that is listed as impaired by nutrients are required to adopt, at a minimum, the Florida Department of Environmental Protection’s Model Ordinance for Florida-Friendly Fertilizer Use on Urban Landscapes (Section 403.067, Florida Statutes). Brevard County and its municipalities adopted fertilizer ordinances that included the required items from the Model Ordinance in December 2012, as well as additional provisions in 2013 and 2014. Local fertilizer ordinances are posted online at the Brevard County Extension website. These ordinances require zero phosphorus year-round, nitrogen to be at least 50% slow release, no nitrogen use during the rainy season, and variable surface water protection buffers.

Florida Department of Agriculture and Consumer Services compiled information on the fertilizer sales by county, as well as the estimated nutrients from those fertilizers. It is important to note that all fertilizer sold in a county may not be applied within that county because a portion of that fertilizer may be transported to another county. However, details on the amount of fertilizer transported between counties is not tracked. Therefore, the information in the Florida Department of Agriculture and Consumer Services reports is simply the best estimate of the amount of fertilizer used, and the associated nutrient content, in a county.

Based on the Florida Department of Agriculture and Consumer Services information, the lawn fertilizer sold in Brevard County in fiscal year 2014-2015 contained 408,220 pounds of nitrogen and 32,520 pounds of phosphorus. The fertilizer applied is attenuated through several naturally occurring physical, chemical, and biological processes including uptake by grass. The environmental attenuation/uptake for urban fertilizer is 80% for nitrogen (Florida Department of Environmental Protection, 2017) and 90% for phosphorus. The estimated total nitrogen (TN) and total phosphorus (TP) that is applied but is not naturally attenuated is shown in Table 41. It is important to note that not all the un-attenuated nutrients will migrate to the lagoon, either through runoff or baseflow (groundwater that enters ditches, canals, and tributaries), but these numbers provide an idea of the excess nutrients that could be reduced as a result of public education and changes in fertilizer use.

Table 41: Estimated TN and TP Not Attenuated in Fiscal Year 2014-2015

| Parameter | Pounds Sold Fiscal Year 2014-15 (Lawn Only) | Environmental Attenuation (%) | Fiscal Year 2014-15 Pounds (Lawn Only) after Attenuation |
| --- | --- | --- | --- |
| TN | 408,220 | 80% | 81,644 |
| TP | 32,520 | 90% | 3,252 |

When recent sales data are compared to the fertilizer sold in fiscal year 2013-2014, which is before adoption of the more protective amendments to the ordinance, significant reductions are observed. These reductions in pounds per year (lbs/yr) from the implementation of the ordinance are shown in Table 42.

Table 42: Reductions from Fertilizer Ordinance Compliance as of Fiscal Year 2014-2015

| Parameter | Fiscal Year 2013-14 Pounds (Lawn Only) after Attenuation: Pre-Ordinance | Fiscal Year 2014-15 Pounds (Lawn Only) after Attenuation: Post-Ordinance | Reductions from Ordinance to Date (lbs/yr) |
| --- | --- | --- | --- |
| TN | 127,540 | 81,644 | 45,896 |
| TP | 12,640 | 3,252 | 9,388 |

Based on studies by the University of Florida, approximately 0.03% of applied nitrogen ends up in runoff during establishment of sodded Bermudagrass on a 10% slope. Nitrogen leaching ranged from 8% to 12% of the amount applied (Trenholm and Sartain, 2010). Therefore, nitrogen leaching from fertilizer into the groundwater is 300 to 400 times as much as the nitrogen running off in stormwater. To help address the leaching issue, the Brevard County fertilizer ordinance encourages the use of slow release nitrogen fertilizer. Slow release fertilizer decreases nitrogen leaching by about 30% (University of Florida-Institute of Food and Agricultural Sciences, 2012). In addition, the ordinance requires that fertilizer with zero phosphorus is used.

The public education and outreach campaign will be expanded to include focus on slow release and zero phosphorus fertilizers. An important component of this will be to reach out to stores within the County to ensure they are making slow release and zero phosphorus fertilizers more visible and to add signage to let buyers know which fertilizers are compliant with all local ordinances. This would cost approximately $125,000 per year for a period of five years. If an additional 25% of fertilizer users switch to 50% slow release nitrogen and zero phosphorus formulations, compliant with the ordinance, this would result in a reduction of 6,123 lbs/yr of TN and 813 lbs/yr of TP.

In 2019, the University of Florida Institute of Food and Agricultural Sciences and MTN Marketing conducted a survey that was concentrated on fertilizer awareness questions. The results from the 2019 survey were compared to similar questions from the 2015 Blue Life survey to evaluate changes in fertilizer use. Based on the survey results, 33.33% of respondents in 2019 stated that they use slow release nitrogen fertilizer compared to only 6.30% in 2015, which is a 27% increase in the usage of slow release fertilizer. Therefore, as part of the 2021 Update, the estimated nitrogen reductions from the expanded fertilizer education was updated to 27%, which results in an estimated reduction of 6,613 lbs/yr of TN. The TP reductions were kept at 25% compliance because, the way the survey was setup, participants were only able to select one option for the type of fertilizer used. Therefore, an update on the use of zero phosphorus formulas could not be obtained. The estimated reductions are shown in Table 43.

Table 43: Project for Additional Fertilizer Ordinance Compliance

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | 58a | Expanded Fertilizer Education* | Brevard County | All | 6,613 | $95 | 813 | $769 | $625,000 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan.

In 2018, the Citizen Oversight Committee recommended extending the fertilizer education and outreach beyond the original plan recommendation of five years to all ten years of the plan. The $625,000 for this project will be redistributed as follows: (1) $125,000 in Year 1 to create the education campaign and begin implementation, (2) $50,000 per year to continue implementation in Years 2–10, and (3) an additional $50,000 in Year 6 (for a total of $100,000 in this year) to evaluate program success and update the outreach materials, as needed.

#### Grass Clippings

Grass clippings contain nutrients and those nutrients are released in stormwater or the lagoon as they decompose (Brevard County Natural Resources Management Department, 2017). St. Augustine grass contains 2.5% nitrogen and 0.2–0.5% (average of 0.5%) phosphorus and Bahia grass contains 2% nitrogen (University of Florida-Institute of Food and Agricultural Sciences, 2015). According to Okaloosa County Extension (2017), a 7,500-square foot lawn produces about 3,000 pounds of clippings per year. Unfortunately, the percentage of those total clippings that end up in stormwater is not known.

To estimate the potential nutrient reduction impact of a grass clippings campaign, it was assumed that the average home lot size is 10,000 square feet with a 100-foot by 100-foot boundary, with 2,500 square feet of built space and 7,500 square feet of lawn. The University of Florida-Institute of Food and Agricultural Sciences estimated that 3,000 pounds of grass clippings are produced annually from a healthy lawn of this size. It was assumed that most of the grass clippings in Brevard County are from St. Augustine grass, which means that 3,000 pounds of clippings contains approximately 75 pounds of TN and 10.5 pounds of TP.

It was also assumed that the standard mower size is two feet wide. From one roadside pass along 100 feet of the average lawn with a two-foot wide mower, 200 square feet or 2.6% of the total lawn clippings could be cast into the road. This equals 0.02 pounds of TN and 0.0027 pounds of TP per foot per year left in the road. With about 3,800 miles of roads in the Indian River Lagoon (IRL) Basin within Brevard County, of which approximately 1,250 miles are paved with curb and gutter and are most likely to allow the ready transport of grass clippings to the lagoon in stormwater, the potential nutrient release from those grass clippings could be up to 260,000 lbs/yr of TN and 35,640 lbs/yr of TP from mowing along both sides of the road.

If Brevard County expects a similar rate of awareness of 24% as Alachua County (2012), then a potential 200,000 lbs/yr of TN and 27,000 lbs/yr of TP may be entering the stormwater. If a successful grass clippings campaign in Brevard County can capture an increase of awareness similar to Alachua County (from 24% to 69%), then there is a potential reduction of 88,920 lbs/yr of TN and 12,189 lbs/yr of TP. In addition, assuming the environmental attenuation/uptake for grass clippings is similar to the urban fertilizer uptake of 80% for nitrogen and 90% for phosphorus, the estimated reductions would be 17,800 lbs/yr of TN and 1,200 lbs/yr of TP.

This estimate assumes a simplified worst-case scenario in which everyone leaves a portion of their clippings in the road; however, it does not take into account the number of driveways, sidewalks, medians, and other impervious surfaces that grass clippings could be falling or the grass clippings being directly cast into the IRL, canals, and other waterways. Using the available information, this provides an order of magnitude estimate of the potential benefits of a grass clippings campaign for the IRL.

Figure 41: Grass Clippings Example for a Typical Lot

Figure 41 Long Description

The Marine Resources Council proposed a partnership between the IRL Basin counties to pursue a grass clippings campaign similar to the Alachua County campaign. The Citizen Oversight Committee recommended contributing $20,000 in Year 1 of the plan towards the research and marketing to develop the campaign. This was followed by an annual investment of $20,000 per year for Years 2 through 10 for media and promotional materials targeting Brevard County. Therefore, the total project cost is $200,000. Table 44 summarizes the costs and benefits of implementing the grass clippings campaign.

Table 44: Project for Grass Clippings Campaign

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2018 | 58b | Grass Clippings Campaign+ | Brevard County | All | 17,800 | $11 | 1,200 | $167 | $200,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

Market research needed to guide development of a grass clipping campaign was contracted through the Marine Resources Council to a community-based social marketing firm, Uppercase Inc. Survey results from 2018 are reported in Section 4.4.3.

#### Excess Irrigation

Fertilizer nutrients are more susceptible to leaching if turfgrass is overwatered, carrying nutrients beyond the reach of the turf roots. During excess watering, soluble nutrients, such as highly mobile nitrate, wash through the soil from the root zone too quickly. Excess irrigation is easy to accomplish in Florida’s sandy soils as these soils typically hold no more than 0.75 inches of water per foot of soil depth (Hochmuth et al., 2016). This excess irrigation is part of the baseflow contributing nutrient loading to the IRL.

From June 2015 to May 2016, 470,737 pounds of TN in fertilizer were sold within Brevard County. Florida Department of Agriculture and Consumer Services Urban Turf Fertilizer Rule (RE-1.003[2], Florida Administrative Code) does not specify a percentage of slow-released nitrogen in fertilizer or separately track slow-release nitrogen from all nitrogen sources. However, if it is assumed that 50% of fertilizer was soluble nitrogen (compliant with local fertilizer ordinances), then the total soluble nitrogen sold in Brevard County could be as high as 235,368 lbs/yr. If 13% of soluble nitrogen were leached, up to 30,597 lbs/yr of TN could potentially be entering the groundwater. If like South Florida survey respondents 50% of irrigation users in Brevard County are not over-irrigating, and if an outreach campaign can impact half of those who do over-irrigate, fertilizer leaching could be reduced by 7,649 lbs/yr of TN. As noted above, the environmental attenuation/uptake for urban fertilizer is 80% for nitrogen (Florida Department of Environmental Protection, 2017). Therefore, the total amount of TN that could be reduced by reducing excess irrigation is 1,530 lbs/yr.

Conducting an outreach campaign with an initial $50,000 social marketing research and development investment and $25,000 in annual implementation, the total 10-year budget would be $300,000. This results in an average of $196 per pound of TN reduced per year (see Table 45). Funding for this education campaign is not recommended at this time.

Table 45: Estimated TN Reductions and Costs from Reducing Excess Irrigation

| Project | Cost | Estimated TN Reductions (lbs/yr) | Cost per Pound per year of TN Removed |
| --- | --- | --- | --- |
| Irrigation Education | $300,000 | 1,530 | $196 |

#### Stormwater Pond Maintenance

Wet detention ponds, also known as stormwater ponds, are one method used to remove nutrients from stormwater as mandated by Florida Statutes 403.0891. Retention/detention time of water in the pond accommodates the removal of accumulated nutrients by allowing material to settle and be absorbed. By itself, an optimally sized and properly maintained stormwater pond typically provides a 35–40% removal of nitrogen and 65% removal of phosphorus through settling (Florida Department of Environmental Protection and Water Management Districts, 2010). Additional behaviors and technologies can be combined with ponds to increase removal rates. On the other hand, poor pond maintenance practices can decrease nutrient removal rates or worse yet, release nutrients to downstream waterbodies.

A stormwater pond maintenance program would initially focus on vegetative buffers and their appropriate maintenance to reduce stormwater pollution. Brevard County contains 4,175 stormwater ponds covering 13,276 acres with 6,976,338 linear feet of shoreline. The average size of a pond is 3.2 acres with 1,671 linear feet of shoreline. These numbers include ponds affiliated with both residential and commercial areas. The average load to stormwater ponds is 11.4 pounds of TN per acre of land surrounding the pond annually according to the Florida Department of Environmental Protection’s Spreadsheet Tool for Estimating Pollutant Loads. Assuming that a 50-foot perimeter directly impacts the pond, there are 8,008 acres contributing 91,288 pounds of TN annually to the ponds. Of this, up to 40% of the TN is removed through retention in the pond leaving a potential 54,773 lbs/yr of TN to enter the lagoon. For TP, approximately 18,836 lbs/yr is entering the stormwater pond. Of this, up to 65% of the TP is removed through retention in the pond leaving a potential of 6,593 lbs/yr TP to enter the lagoon.

Creating a 10-foot-wide low-maintenance buffer zone of un-mowed ornamental grasses has the potential to remove about 25% of the TN and TP entering the pond (United States Environmental Protection Agency, 2005). This amount increases with the width of the buffer and the addition of woody vegetation. For the plan calculations, the assumption was made that convincing homeowners to not mow a 10-foot buffer is the easiest practice to achieve. The pond will remove up to 40% of the remaining TN. Assuming that the education campaign can reach at least half of the 48% of people unaware of what stormwater is, the reduction could be 3,286 lbs/yr of TN and 396 lbs/yr of TP.

Conducting an outreach campaign with an initial $50,000 social marketing research and development investment plus $25,000 in annual implementation, would require a 10-year total budget of $300,000. This would result in reductions at $91 per pound of TN and $750 per pound of TP (see Table 46). Additionally, during focus group research in the first year, it may be possible to identify other best management practices that homeowners’ associations are willing to adopt that would further improve the performance of their stormwater pond. This would improve the cost effectiveness of this campaign. Funding for this education campaign is not recommended at this time.

Table 46: Estimated TN and TP Reductions and Costs from Stormwater Best Management Practice Maintenance

| Project | Cost | Estimated TN Reductions (lbs/yr) | Cost per Pound Per Year of TN Removed | Estimated TP Reductions (lbs/yr) | Cost per Pound per Year of TP Removed |
| --- | --- | --- | --- | --- | --- |
| Stormwater Best Management Practice Maintenance Education | $300,000 | 3,300 | $91 | 400 | $750 |

#### Septic Systems and Sewer Laterals Maintenance

Nationwide, 10–20% of septic systems are failing from overuse, improper maintenance, unsuitable drainfield conditions, and high-water tables. When septic systems are older and failing or are installed over poor soils close to the groundwater table or open water, they can be a major contributor of nutrients and bacterial and viral pathogens to the system (De and Toor 2017; United States Environmental Protection Agency, 2002).

A properly functioning septic tank and drainfield system reduces TN by 30–40%. However, the reduction has been measured at 0–20% in adverse conditions. The best available studies estimate a 10% reduction in nitrogen within a properly maintained tank versus an improperly maintained tank. The remaining 20–30% of nitrogen removal occurs in a properly functioning drainfield (Anderson 2006). If 15% of systems are failing and failing systems attenuate 30% less of the nitrogen load, these systems may pose far greater impacts to the groundwater, tributaries, and lagoon than the average impact reported for properly functioning systems. Without the 30% reduction, the potential load to the IRL and its tributaries is estimated to be 27.2 lbs/yr of TN for properties within 55 yards (instead of 19 lbs/yr of TN for functioning systems), 5.2 lbs/yr of TN for properties between 55 and 219 yards away (instead of 3.6 lbs/yr of TN for functioning systems), and 1.1 lbs/yr of TN for properties more than 219 yards away (instead of 0.8 lbs/yr of TN for functioning systems).

There are an estimated 53,204 septic systems in Brevard County within the IRL Basin. As noted in Section 4.1.6, the total loading of septic systems within 55 yards of the IRL and its tributaries is calculated at 299,590 lbs/yr of TN, the total loading of systems between 55 and 219 yards is 86,575 lbs/yr of TN, and the total loading of septic systems further than 219 yards is 10,805 lbs/yr of TN. If the failure rate in Brevard County is about 15%, and if failing systems receive 30% less attenuation, then failing systems within 55 yards of open water are contributing 13,481 lbs/yr of TN, failing systems between 55 and 219 yards of open water are contributing 3,896 lbs/yr of TN, and failing tanks further than 219 yards are contributing 486 lbs/yr of TN. By factoring in this failure rate, the total additional loading to the IRL from failing septic systems is approximately 17,863 lbs/yr of TN.

A 10-year outreach campaign budget of $300,000, which includes $50,000 for research and campaign development and $25,000 per year for implementation to improve septic system maintenance, reduce excess use, and prevent harmful additives, would strive to reduce the number of failing systems countywide by 25%, thereby reducing the excess loading from failing systems by 4,466 lbs/yr of TN. This would result in average cost of $67 per pound of TN (see Table 47).

Table 47: Project for Septic System Maintenance Program

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2018 | 58c | Septic System Maintenance Education+ | Brevard County | All | 4,466 | $67 | Not applicable | Not applicable | $300,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

Market research needed to guide development of a septic maintenance campaign was contracted with state grant funding through the Marine Resources Council to the University of Central Florida. Survey results from 2018 are reported in Section 4.4.3. In reaching out to citizens to participate in the survey, it was found that many people are unsure of whether they are on central sewer or a septic system. When developing the septic system maintenance education program, Brevard County will identify opportunities to educate people who are on central sewer about proper maintenance of their sewer laterals. Adding this education component to the septic system maintenance education campaign is not anticipated to require additional funding.

#### Lagoon Loyal Program

Using funding from the fertilizer education and septic system maintenance education programs, the marketing company MTN Advertising was contracted to create an outreach campaign to engage Brevard citizens in IRL restoration efforts. The Lagoon Loyal campaign uses an incentive program to motivate positive actions that benefit the IRL (website). Citizens can create an online Lagoon Loyal profile that suggests various activities that benefit the lagoon. Completing each activity earns points, which can accumulate and be redeemed for discounts to local area businesses. The businesses providing discounts are given display materials that indicate their participation, which also advertises the program to their customers. Combined with social media marketing and traditional media advertising, the program uses the slogan “Let’s Be Clear…” to share easy actions that citizens can take to reduce their contribution to lagoon pollution. Message selection is guided by focus groups and survey responses from citizens who either care for a yard or maintain a septic system. The program also maintains landing pages to facilitate the septic upgrade and removal grants available to the owners of eligible locations.

#### Oyster Gardening Program

Most of the IRL system in Brevard County no longer has a sufficient oyster population to allow for natural recruitment of oysters to suitable substrate (Futch, 1967). Therefore, to create the oyster bars, the oysters must be grown and then carefully placed on appropriate substrate in the selected locations. To help grow the oyster population, in fiscal year 2013–2014, the Board of County Commissioners approved $150,000 to launch the Oyster Gardening Program. This program is a citizen-based oyster propagation program where juvenile oysters are raised under lagoon-front homeowners’ docks for about six months before being used to populate constructed oyster bar sites. Oyster Gardening participants receive spat-on-shell oysters plus all supplies needed to care for their oysters. The Oyster Gardening Program is executed in partnership with the Brevard Zoo. The project continued during fiscal year 2014–2015 with funding from the state and has continued with annual County funding.

In 2020, the Citizen Oversight Committee approved $300,000 from the Save Our Indian River Lagoon Tax to fund the Oyster Gardening Program through September 2021 (Table 48).

Table 48: Project for Oyster Gardening Program

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2020 | 193 | Oyster Gardening Program+ | Brevard County | All | Not applicable | Not applicable | Not applicable | Not applicable | $300,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### WWTF Upgrades

88% of reclaimed water in the County is used in public access areas and for landscape irrigation.

The direct wastewater treatment facility (WWTF) discharges to the Indian River Lagoon (IRL) have been largely removed, and the majority of facilities in the basin use the treated effluent for reclaimed water irrigation. While the use of reclaimed water for irrigation is an excellent approach to conserving potable water, if the reclaimed water is high in nutrient concentrations, the application of the reclaimed water for irrigation can result in nutrients leaching into the groundwater. It is important to note that there are no regulations on the concentration of nutrients in reclaimed water that is used for irrigation. However, University of Florida-Institute of Food and Agricultural Sciences studies indicate that a nitrogen concentration of 5 to 9 milligrams per liter is optimal for turfgrass growth, and each year a maximum amount of 1 pound of nitrogen can be applied per 1,000 square feet of turf (University of Florida-Institute of Food and Agricultural Sciences, 2013a and 2013b). Nitrogen leaching increases significantly when irrigation is greater than 2 centimeters per week (0.75 inches per week), even if the nitrogen concentrations are half of the maximum Institute of Food and Agricultural Sciences recommendation of 9 milligrams per liter.

In Brevard County, 88% of the reclaimed water is used in public access areas and for landscape irrigation. The total reclaimed water used countywide is approximately 18.5 million gallons per day, which is applied over 7,340 acres. The unincorporated County and city WWTFs with the reclaimed water flows, total nitrogen (TN) concentrations based on permit data and loads in pounds per year (lbs/yr) are shown in Table 49. This table also summarizes the excess TN in the reclaimed water after environmental attenuation/uptake (75% for TN [Florida Department of Environmental Protection, 2017]), for both the current TN effluent concentration and if the facility were upgraded to achieve a TN effluent concentration of 6 milligrams per liter (the City of Palm Bay Water Reclamation Facility update will achieve a TN effluent concentration of 7.5 milligrams per liter and the City of Melbourne Grant Street WWTF will achieve a TN effluent concentration of 5 milligrams per liter).

Table 49: TN Concentrations in WWTF Reclaimed Water

| Facility | Permitted Capacity (million gallons per day) | Reclaimed Water Flow (million gallons per day) | TN Concentration (milligrams per liter) | TN After Attenuation (lbs/yr) | TN After Attenuation and Upgrade (lbs/yr) |
| --- | --- | --- | --- | --- | --- |
| City of Palm Bay Water Reclamation Facility | 4.0 | 1.20 | 29.4 | 27,305 | 6,966 |
| City of Melbourne Grant Street WWTF | 5.5 | 2.08 | 21.0 | 33,806 | 8,049 |
| City of Titusville Osprey WWTF | 2.75 | 1.67 | 12.7 | 16,415 | 7,755 |
| Brevard County Port St. John WWTF | 0.5 | 0.35 | 12.6 | 3,413 | 1,625 |
| Cape Canaveral Air Force Station WWTF | 0.8 | 0.80 | 11.9 | 7,368 | 3,714 |
| City of West Melbourne Ray Bullard Water Reclamation Facility | 2.5 | 0.85 | 11.1 | 7,302 | 3,947 |
| Brevard County Barefoot Bay Water Reclamation Facility | 0.9 | 0.48 | 10.3 | 3,826 | 2,229 |
| Brevard County South Beaches WWTF | 8.0 | 1.12 | 9.3 | 8,061 | 5,201 |
| Brevard County North Regional WWTF | 0.9 | 0.26 | 8.9 | 1,791 | 1,207 |
| Rockledge WWTF | 4.5 | 1.40 | 7.0 | 7,584 | 6,501 |
| Brevard County South Central Regional WWTF | 5.5 | 3.79 | 6.7 | 19,653 | 17,600 |
| City of Titusville Blue Heron WWTF | 4.0 | 0.84 | 4.8 | 4,993 | Not applicable |
| City of Cape Canaveral Water Reclamation Facility | 1.8 | 0.88 | 3.8 | 4,141 | Not applicable |
| City of Cocoa Jerry Sellers Water Reclamation Facility | 4.5 | 1.44 | 3.5 | 6,241 | Not applicable |
| Brevard County Sykes Creek WWTF | 6.0 | 1.48 | 3.4 | 3,895 | Not applicable |
| City of Cocoa Beach Water Reclamation Facility | 6.0 | 3.66 | 2.5 | 11,331 | Not applicable |

Based on a 2007 study by United States Environmental Protection Agency, the cost to upgrade WWTFs to meet advanced wastewater treatment standards is approximately $4,200,000 per plant. This cost is in 2006 dollars, which, when inflated to 2016 dollars and costs are included for design and permitting, is approximately $6,000,000 per facility. Where cost estimates were available for facility upgrades, these costs were used instead of the inflated estimated costs. Due to the high cost per pound of TN and total phosphorus (TP) removed to upgrade some of these facilities compared to other projects in this plan, only those facilities in Table 410 are recommended for upgrades as part of this plan. This table also includes the WWTF upgrade projects submitted as part of an annual update to the plan.

As part of the public education and outreach efforts, customers who use reclaimed water for irrigation should be informed of the nutrient content in the reuse water because they can and should eliminate or reduce the amount of fertilizer added to their lawn and landscaping. This information can be provided to the customers through their utility bill.

Table 410: Projects for WWTF Upgrades to Improve Reclaimed Water

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Removed | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Removed | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | 2016-17 | City of Palm Bay Water Reclamation Facility* | City of Palm Bay | Central IRL | 20,240 | $180 | 102 | $35,656 | $3,636,900 |
| Original | 2016-02a | City of Titusville Osprey WWTF* | City of Titusville | North IRL | 8,660 | $1,016 | Not applicable | Not applicable | $8,800,000 |
| 2018 | 59 | Grant Street Water Reclamation Facility Nutrient Removal Improvements+ | City of Melbourne | Central IRL | 18,052 | $375 | 9,671 | $700 | $6,769,500 |
| 2019 | 99 | Cocoa Beach Water Reclamation Facility Upgrade+ | City of Cocoa Beach | Banana | 2,520 | $375 | 685 | $1,380 | $945,000 |
| 2020 | 2016-2b | City of Titusville Osprey Nutrient Removal Upgrade Phase 2+ | City of Titusville | North IRL | 3,626 | $83 | Not applicable | Not applicable | $300,000 |
| 2020 | 138 | Ray Bullard Water Reclamation Facility Biological Nutrient Removal Upgrade+ | City of West Melbourne | Central IRL | 11,360 | $375 | 3,302 | $1,290 | $4,260,000 |
| - | - | Total | - | - | 64,458 | $383 (average) | 13,760 | $1,796 (average) | $24,711,400 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan. The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Sprayfield and Rapid Infiltration Basin Upgrades

Another opportunity to reduce the nutrient loading from the wastewater treatment facilities (WWTFs) is to upgrade the disposal locations, either sprayfields or rapid infiltration basins, for the treated effluent. The sprayfields and rapid infiltration basins could be modified to include biosorption activated media to provide additional nutrient removal. Examples of biosorption activated media include mixes of soil, sawdust, zeolites, tire crumb, vegetation, sulfur, and spodosols (Wanielista et al., 2011). Based on a pilot project in the City of DeLand, the potential removal of adding biosorption activated media to a sprayfield or rapid infiltration basin is 83% for total nitrogen (TN) and 66% for total phosphorus (TP) (City of DeLand and University of Central Florida, 2018). The loads for the facilities in Brevard County that dispose of reclaimed water to a sprayfield or rapid infiltration basin were estimated based on permit and discharge monitoring report information (where available). Attenuation rates were based on ArcGIS-Based Nitrate Load Estimation Toolkit (Rios et al., 2013) model results for each specific package plant location. Then the biosorption activated media efficiency rate was applied to determine the TN that could be removed (in pounds per year [lbs/yr]). Costs were estimated for each upgrade and the upgrades that could be made for the least cost per pound of TN are recommended for pilot project funding as part of this plan (see Table 411 and Table 412). Information on nutrient concentrations or the size of the sprayfield/rapid infiltration basin were missing from several facilities. As this information is gathered, additional upgrades may be found to be cost-effective.

Table 411: Projects for Sprayfield or Rapid Infiltration Basin Upgrades for Public Facilities

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr)* | TN Cost per Pound per Year | TP Reduction (lbs/yr)* | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2017 | 6 | Long Point Park Upgrade+ | Brevard County Parks Department | Central IRL | 163 | $625 | Not applicable | Not applicable | $101,854 |
| 2019 | 2016-51 | Port St. John Wastewater Treatment Plant – Rapid Infiltration Basin+ | Brevard County | North IRL | 4,116 | $238 | 915 | $1,071 | $980,100 |
| 2019 | 204 | Cape Canaveral Air Force Station Regional WWTF – Rapid Infiltration Basin+ | Brevard County | Banana | 4,625 | $1,130 | 1,226 | $4,264 | $5,227,200 |
| - | - | Total | - | - | 8,904 | $709 (average) | 2,141 | $2,947 (average) | $6,309,154 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

* The starting TN and TP concentrations assume that the facility has been upgraded to achieve the basin management action plan effluent requirements.

Table 412: Projects for Sprayfield or Rapid Infiltration Basin Upgrades for Private Facilities

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2019 | 2016-20 | Canebreaker Condo – Sprayfield+ | Brevard County | North IRL | 61 | $590 | To be determined | To be determined | $36,000 |
| - | - | Total | - | - | 61 | $590 | To be determined | To be determined | $36,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Package Plant Connections

Package plants are miniature wastewater treatment facilities (WWTFs) that serve small communities producing more than 2,000 gallons of effluent per day. The most common package plant treatment methods are extended aeration, sequencing batch reactors, and oxidation ditches; the same biological treatment methods used in larger wastewater treatment plants. The smallest package plants often use the same technology as advanced septic systems. Following this treatment, the effluent is disposed of in rapid infiltration basins (ponds), sprayfields, or drainfields (United States Environmental Protection Agency, 2000).

Most package plants were removed in the 1990s following the Indian River Lagoon System and Basin Act of 1990. However, opportunities still exist to address some of the worst remaining package plants by upgrading the existing plant, adding nutrient scrubbing technology, or preferably connecting them to central sewer where the wastewater will receive further treatment and disposal far from the lagoon. A few of these package plants are located along the Indian River Lagoon (IRL) and, therefore, pose a substantial nutrient risk due to their effluent concentration and disposal methods. Table 413 lists the estimated total nitrogen (TN) reductions in pounds per year (lbs/yr) and costs to connect the package plants to the sewer system. Based on the information in this table, the cost to connect the package plants to the sewer are higher than the cost per pound of other projects in this plan; therefore, none of the package plant projects are recommended at this time.

Table 413: Projects for Package Plant Connection

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2021 | 197 | South Shores Utility Connection+ | Brevard County | Central IRL | 929 | $1,401 | To be determined | To be determined | $1,301,154 |
| 2021 | 199 | River Grove I & II Mobile Home Park Connection+ | Brevard County | Central IRL | 697 | $1,441 | To be determined | To be determined | $1,004,640 |
| 2021 | 192 | Oak Point Wastewater Treatment Facility Improvements+ | Oak Point Mobile Home Park | North IRL | 186 | $1,500 | 0 | Not applicable | $279,000 |
| - | - | Total | - | - | 1,812 | $1,426 (average) | To be determined | To be determined | $2,584,794 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Sewer Laterals Rehabilitation

Sewage overflows following heavy rainfall events are an indicator of illegal connections or inadequate sewer asset conditions. There are three major components of wastewater flow in a sanitary sewer system: (1) base sanitary (or wastewater) flow, (2) groundwater infiltration, and (3) rainfall inflow. Virtually every sewer system has some infiltration and/or inflow. Historically, small amounts of infiltration and/or inflow are expected and tolerated. However, infiltration and/or inflow becomes excessive when it causes overflows, health, and/or environmental risks. Overflows from the South Beaches Wastewater Treatment Facility (WWTF) sewer system have occurred 7 of the last 13 years, including significant overflows following Hurricane Matthew in 2016 and Hurricane Irma in 2017. Less frequent overflows and line breaks have occurred in other sewer service areas.

In 2012, in recognition of aging infrastructure and increasingly frequent issues, the Brevard County Utility Services Department engaged seven professional engineering firms to perform independent field evaluations of the condition of the sewage infrastructure assets located in each of the County’s seven independent sewer service areas. The output of this investigation was identification of $134 million in specific capital improvement needs required over a ten-year period to bring County-owned sewer system assets up to a fully-functional, reliable, affordable, efficient, and maintainable condition (Brevard County Utility Services, 2013). The field evaluation results and corresponding 10-year Capital Improvement Program Plan were presented to the Brevard County Commission in 2013. In response, the Commission approved financing the entire Capital Improvement Program Plan and increased the County’s sewer service rates to repay the debt. Plan implementation began in 2014 and projects are progressing quickly.

Because there was already a capital improvement plan and funding mechanism for updating the County’s aging sewer system infrastructure, the original Save Our Indian River Lagoon Project Plan did not include analysis or funding for sewer system repairs. Unfortunately, even in areas where capital improvements have been made, infiltration and/or inflow continues to be a problem that contributes to overflows that discharge untreated wastewater into the Indian River Lagoon (IRL). This indicates the probability of problems outside the County-owned assets and could include illegal connections and/or leaks in the privately owned lateral connections of homes and businesses to the County sewer system.

Identifying problems on the customer side of the connection required smoke testing each building or private residence to determine if leaks or illegal connections are present. The extent of infiltration and/or inflow on the customer side of the connections is unknown and, therefore, the nutrient loading associated with these issues are also unknown. As a first step to determine the extent of infiltration and/or inflow problems with the sewer laterals, the County partnered with the City of Satellite Beach on a pilot project to perform smoke testing of more than 12,000 buildings and residences within the area of concern in March through July of 2018. Smoke testing results are included in Section 4.4.3.

Repair of privately-owned portions of the sewer system is not funded in the County's adopted Capital Improvement Program Plan for the Wastewater Utility; therefore, consideration has been given to the use of the Save Our Indian River Lagoon Tax funding. The Brevard County Utility Services Department estimates that infiltration and/or inflow due to rainfall and flooding associated with Hurricane Irma, caused 1,835 pounds per year (lbs/yr) of total nitrogen (TN) and 350 lbs/yr of total phosphorus (TP) to enter the lagoon from sewer overflowing from the South Beaches Regional WWTF sewer system. Staff reviewed 13 years of storm-related release data (2004–2017) to estimate the average annual nutrient load to the lagoon from emergency sewage overflows. If repairing private connections could prevent similar overflows in the future, then the average annual nitrogen reduction benefit of such repairs would be approximately 988 lbs/yr of TN. The average cost effectiveness of sewer expansion projects funded in the 2017 Plan Supplement was $852 per pound of nitrogen removed, thus the cost to reduce 988 lbs/yr of TN loading by implementing septic to sewer projects would be $841,842. Therefore, the 2018 Update allocated $840,000 to assist property owners with the cost to repair leaky sewer connections expected to be found through smoke testing.

After smoke testing was complete, based on the leaks identified, the cost to make the repairs in the pilot area was estimated at $646,200. A second pilot area for smoke testing was added in 2019 and three more areas were added in 2020; however, funds were not added to assist owners with making repairs in these areas. Instead, the Citizen Oversight Committee and Brevard County Board of County Commissioners decided in 2020 to make the $840,000 of funding available to offer grants county-wide for the repair of leaky laterals within the watershed of the IRL. Table 414 summarizes the sewer laterals rehabilitation projects. It should be noted that smoke testing alone does not result in nutrient load reductions; identified issues must be repaired to achieve a nutrient load reduction benefit. Therefore, the funding for this type of project is focused on repairs to achieve reductions.

The Save Our Indian River Lagoon Trust Fund will also be used to conduct performance monitoring to measure the nutrient reduction benefits of repairing privately-owned leaky lateral connections. In addition to documenting less groundwater leaking into pipes and overwhelming the sewer infrastructure, monitoring will also seek to document improvement in groundwater quality that may occur when the leaks are repaired. The results of performance monitoring will be used to consider expansion of this program from the Satellite Beach pilot areas to other city and county sewer service areas. The lessons learned from this pilot study and a pilot study in Titusville (added in the 2019 Update) will be applied to future sewer lateral evaluation and repair projects.

Table 414: Projects for Sewer Laterals Rehabilitation

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per year of TN Removed | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Removed | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2018, 2021 | 63ab | Satellite Beach Lateral Smoke Testing and Countywide Repair/ Replacement+ | Brevard County | Banana | 988 | $850 | 188 | $4,468 | $840,000 |
| 2019 | 100 | Osprey Basin Lateral Smoke Testing+ | City of Titusville | North IRL | 640 | Not applicable | Not applicable | Not applicable | $200,000 |
| 2020 | 114 | Barefoot Bay Lateral Smoke Testing+ | Brevard County Utility Services Department | Central IRL | 864 | Not applicable | Not applicable | Not applicable | $90,000 |
| 2020 | 115 | South Beaches Lateral Smoke Testing+ | Brevard County Utility Services Department | Central IRL | 1,662 | Not applicable | Not applicable | Not applicable | $200,000 |
| 2020 | 116 | Merritt Island Lateral Smoke Testing+ | Brevard County Utility Services Department | North IRL | 2,042 | Not applicable | Not applicable | Not applicable | $250,000 |
| - | - | Total | - | - | 6,196 | $1,230 (average) | 188 | $8,404 (average) | $1,580,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Septic System Removal and Upgrades

Septic systems are commonly used where central sewer does not exist. When properly sited, designed, constructed, maintained, and operated, septic systems are often a safe means of disposing of domestic waste but still add nutrients to the system. However, when septic systems are older and failing or are installed over poor soils close to the groundwater table or open water, they can be a major contributor of nutrients and bacterial and viral pathogens to the system. To address this source, options for both septic system removal and septic system upgrades were evaluated. It is important to note that although the County is taking the lead on these projects, the Florida Department of Health is responsible for the regulation and permitting of septic systems. The County will coordinate with Florida Department of Health on the septic system projects recommended in this plan.

#### Septic System Removal by Sewer Extension

In 2018, Brevard County conducted a more detailed evaluation of septic system impacts to surface waters through both groundwater monitoring and modeling using the Florida Department of Environmental Protection-approved ArcGIS-Based Nitrate Load Estimation Toolkit (Rios et al., 2013). This evaluation found that groundwater conductance and soil types were more important for nitrogen transport from septic systems than was previously accounted for in the approach used for ranking in the original Save Our Indian River Lagoon Plan. Therefore, for the 2019 Update, the approach to prioritize areas for septic system connection to the sewer system was modified. The updated approach and recommended projects are summarized below.

The updated approach to rank areas for septic system impacts used information on the potential nutrient contribution from the ArcGIS-Based Nitrate Load Estimation Toolkit (Rios et al., 2013). Potential nutrient contributions were determined based on numerous factors, but after testing model sensitivity to these factors, a simplified approach was developed for Brevard County that was based primarily on the spatial location of the septic system (i.e. Barrier Island, Merritt Island, Mainland, or Melbourne Tillman Water Control District), soil type (soil hydraulic conductance), and the minimum distance to waterbodies (Applied Ecology, 2018).

A direct comparison between the previous model that adapted studies from Martin and St. Lucie counties (Table 415) and the new model tailored to Brevard County’s soil and water (Table 416) is difficult. For loading in pounds per year (lbs/yr), the previous study estimated total nitrogen (TN), which is the sum of nitrate, nitrite, ammonia, and organic nitrogen, whereas the new approach using the ArcGIS-Based Nitrate Load Estimation Toolkit estimated only nitrate and ammonia. Through the detailed ArcGIS-Based Nitrate Load Estimation Toolkit analysis it was also determined that there are 6,260 fewer septic systems in the IRL Basin than estimated in the original plan.

Table 415: Original Estimate of TN Loading and Cost to Connect for Septic Systems

| Septic System Distance from Surface Water | Number of Septic Systems | TN Load Per System (lbs/yr) | TN Load (lbs/yr) | Cost per System to Connect | Total Cost | Cost per Pound per Year of TN |
| --- | --- | --- | --- | --- | --- | --- |
| Less than 55 yards | 15,090 | 27.095 | 408,863 | $20,000 | $301,800,000 | $738 |
| Between 55 and 219 yards | 25,987 | 6.865 | 178,395 | $20,000 | $519,740,000 | $2,913 |
| Greater than 219 yards | 18,361 | 0.001 | 10 | $20,000 | $367,220,000 | $37,624,010 |
| Total in IRL Basin | 59,438 | 9.880 (average) | 587,268 | $20,000 | $1,188,760,000 | $2,024 (average) |

Table 416: Updated Estimate of TN Loading based on ArcGIS-Based Nitrate Load Estimation Toolkit and Updated Cost to Connect for Septic Systems

| Septic System Distance from Surface Water | Number of Septic Systems | TN Load per System (lbs/yr) | TN Load (lbs/yr) | Cost per System to Connect | Total Cost | Cost per Pound per Year of TN |
| --- | --- | --- | --- | --- | --- | --- |
| Less than 55 yards | 15,737 | 19.037 | 299,590 | $33,372 | $525,175,164 | $1,753 |
| Between 55 and 219 yards | 23,969 | 3.612 | 86,575 | $33,372 | $799,893,468 | $9,239 |
| Greater than 219 yards | 13,472 | 0.802 | 10,805 | $33,372 | $449,587,584 | $41,611 |
| Total in IRL Basin | 53,178 | 7.465 (average) | 396,970 | $33,372 | $1,774,656,216 | $4,471 (average) |

Those septic systems within 55 yards of surface waters were further analyzed by soil hydraulic conductivity since it was found to be a highly influential variable in nutrient loading from septic systems. Hydraulic conductance is the ability of water to move through pore space in the soil with sandy soils having a higher conductance compared to loamy and clay soils. As shown in Table 417, nitrogen loading is much higher in the very high and high conductivity soils compared to the average for all soils within 55 yards. Although only half of the septic systems are in very high and high conductance soils, these account for 76% of the nitrogen loading.

Table 417: Septic Systems by Soil Hydraulic Conductance Class within 55 Yards of Surface Waters

| Hydraulic Conductivity of Septic Systems Within 55 yards of Surface Water | Number of Septic Systems | TN Load per System (lbs/yr) | TN Load (lbs/yr) | Cost per System to Connect | Total Cost | Cost per Pound per Year of TN |
| --- | --- | --- | --- | --- | --- | --- |
| Very High | 1,899 | 34.926 | 66,324 | $33,372 | $63,373,428 | $956 |
| High | 6,304 | 26.021 | 164,039 | $33,372 | $210,377,088 | $1,283 |
| Medium | 3,230 | 12.198 | 39,401 | $33,372 | $107,791,560 | $2,736 |
| Low | 3,396 | 5.930 | 20,141 | $33,372 | $113,331,312 | $5,628 |
| Very Low | 908 | 10.664 | 9,683 | $33,372 | $30,301,776 | $3,129 |
| Total | 15,737 | 19.037 (average) | 299,588 | $33,372 | $525,175,164 | $1,753 (average) |

Table 418 shows those properties with septic systems in very high and high hydraulic conductance soils distributed by distance to surface waterbodies. Waterfront properties served by septic systems, including those properties adjacent to the lagoon, tributary rivers and creeks, or on canals or drainage ditches that discharge to the lagoon contribute 48% of all septic system loading in the IRL watershed in Brevard County. Changes in the 2019 Update shifted septic to sewer and septic upgrade projects as much as feasible to areas of high conductivity soils located adjacent to waterways that contribute the greatest loading to the IRL.

Table 418: Septic Systems in Very High and High Hydraulic Conductance Soils Distributed by Distance to Surface Waters

| Septic System Distance from Surface Water (yards) | Number of Septic Systems | TN Load per System (lbs/yr) | TN Load (lbs/yr) | Cost per System to Connect | Total Cost | Cost per Pound per Year of TN |
| --- | --- | --- | --- | --- | --- | --- |
| 0-11 | 5,584 | 33.838 | 188,956 | $33,372 | $186,349,248 | $986 |
| 12-22 | 1,207 | 16.404 | 19,799 | $33,372 | $40,280,004 | $2,034 |
| 23-33 | 465 | 17.466 | 8,121 | $33,372 | $15,517,980 | $1,911 |
| 34-44 | 384 | 12.458 | 4,784 | $33,372 | $12,814,848 | $2,679 |
| 45-55 | 563 | 15.456 | 8,702 | $33,372 | $18,788,436 | $2,159 |
| Total in IRL Basin | 8,203 | 28.083 (average) | 230,362 | $33,372 | $273,750,516 | $1,188 |

For the funded opportunities that were identified using the new ranking method, the number of lots that could be connected, associated cost of the connection, and estimated TN reductions are shown in Table 419. Figure 410 through Figure 414 show the location of each of these areas. These funded opportunities, including the quick connection projects described below, represent the connection of approximately 4% of the septic systems in Brevard County within the IRL Basin but reduce over 17% of the nutrient load contribution attributed to existing septic systems in Brevard.

Another opportunity for removing septic systems is to use a hybrid septic tank effluent pumping system. In this system, effluent from the septic tank is connected to sewer pressure lines. Small-diameter pipes, which can be installed relatively quickly, are used instead of the gravity sewer system. A high pressure ½ horse power pump (115 volt) pumps the effluent from the septic system to a force main or gravity sewer system. The City of Vero Beach is installing these systems and they are leaving the drainfields in place, which saves money and allows for a backup in the event that a power outage affects the septic tank effluent pumping system. If the drainfield is not left in place, a 500-gallon pump chamber is installed to allow enough reserve capacity to address power outages. Each septic tank effluent pumping system also has an emergency generator receptacle to address long-term power outages associated with hurricanes. The estimated cost per connection is $6,000 to $10,000, which includes the cost of the pipes. The City of Vero Beach maintains the septic tank effluent pumping system and pumps out the septic tank when needed. The customer pays the electrical costs to operate the pump for this system.

For highly ranked properties located within the vicinity of a pressure line or gravity sewer system, the septic tank effluent pumping system may be a good option instead of the septic system upgrades described below. If septic tank effluent pumping systems are selected as a preferred option anywhere in Brevard County, specific locations for septic tank effluent pumping system installation can be submitted for funding consideration through the annual project funding request and plan update process.

Table 419: Projects for Septic System Removal

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | 2016-47 | Sykes Creek - Zone N* | Brevard County | Banana | 2,784 | $935 | Not applicable | Not applicable | $2,603,016 |
| Original | 2016-48 | Sykes Creek - Zone M* | Brevard County | Banana | 1,798 | $1,039 | Not applicable | Not applicable | $1,868,832 |
| Original | 2016-49 | Sykes Creek - Zone T* | Brevard County | Banana | 3,360 | $1,470 | Not applicable | Not applicable | $4,939,056 |
| Original | 2016-29 | South Banana - Zone B* | Brevard County | Banana | 915 | $1,495 | Not applicable | Not applicable | $1,368,252 |
| Original | 2016-30 | City of Rockledge* | City of Rockledge | North IRL | 712 | $703 | Not applicable | Not applicable | $500,580 |
| Original | 2016-31 | City of Cocoa - Zone K* | City of Cocoa | North IRL | 1,663 | $722 | Not applicable | Not applicable | $1,201,392 |
| Original | 109 | City of Titusville - Zones A-G* | City of Titusville | North IRL | 1,563 | $769 | Not applicable | Not applicable | $1,201,392 |
| Original | 203 | South Central - Zone A* | Brevard County | North IRL | 3,655 | $922 | Not applicable | Not applicable | $3,370,572 |
| Original | 2016-35 | South Beaches - Zone A* | Brevard County | North IRL | 1,306 | $945 | Not applicable | Not applicable | $1,234,764 |
| Original | 2016-32 | City of Cocoa - Zone J* | City of Cocoa | North IRL | 3,259 | $963 | Not applicable | Not applicable | $3,136,968 |
| Original | 2016-36 | South Beaches - Zone O* | Brevard County | North IRL | 136 | $979 | Not applicable | Not applicable | $133,488 |
| Original | 2016-33 | City of Melbourne* | City of Melbourne | North IRL | 878 | $988 | Not applicable | Not applicable | $867,672 |
| Original | 2020-34 | South Central - Zone F* | City of Melbourne | North IRL | 1,688 | $1,008 | Not applicable | Not applicable | $1,701,972 |
| Original | 2016-37 | South Beaches - Zone P* | Brevard County | North IRL | 489 | $1,024 | Not applicable | Not applicable | $500,580 |
| Original | 2016-27 | Sharpes - Zone A* | Brevard County | North IRL | 5,248 | $1,183 | Not applicable | Not applicable | $6,207,192 |
| Original | 2016-38 | City of Titusville - Zone H* | City of Titusville | North IRL | 910 | $1,284 | Not applicable | Not applicable | $1,168,020 |
| Original | 2016-40 | Rockledge - Zone B* | City of Rockledge | North IRL | 4,037 | $1,323 | Not applicable | Not applicable | $5,339,520 |
| Original | 2016-28 | South Central – Zone D (Melbourne)* | City of Melbourne | North IRL | 177 | $1,500 | Not applicable | Not applicable | $265,500 |
| Original | 2016-39 | City of Palm Bay – Zone A* | City of Palm Bay | Central IRL | 2,136 | $1,203 | Not applicable | Not applicable | $2,569,644 |
| Original | 2016-46 | City of Palm Bay – Zone B* | City of Palm Bay | Central IRL | 6,809 | $1,220 | Not applicable | Not applicable | $8,309,628 |
| 2017 | 1 | Breeze Swept Septic to Sewer Connection+ | City of Rockledge | North IRL | 2,002 | $440 | Not applicable | Not applicable | $880,530 |
| 2017 | 2a | Merritt Island Septic Phase Out Project+ | Merritt Island Redevelopment Agency | North IRL | 2,501 | $128 | Not applicable | Not applicable | $320,000 |
| 2017 | 4 | Hoag Sewer Conversion+ | City of Melbourne | Central IRL | 101 | $852 | Not applicable | Not applicable | $86,031 |
| 2017 | 5 | Pennwood Sewer Conversion | City of Melbourne | Central IRL | 48 | $847 | Not applicable | Not applicable | $40,632 |
| 2018 | 60 | Sylvan Estates Septic-to-Sewer Conversion+ | City of West Melbourne | Central IRL | 1,073 | $1,455 | Not applicable | Not applicable | $1,561,215 |
| 2018 | 61 | Riverside Drive Septic-to-Sewer Conversion+ | City of Melbourne | North IRL | 305 | $872 | Not applicable | Not applicable | $265,960 |
| 2018 | 62 | Roxy Avenue Septic-to-Sewer Conversion+ | City of Melbourne | North IRL | 102 | $872 | Not applicable | Not applicable | $88,944 |
| 2020 | 145 | Merritt Island - Zone F+ | Brevard County Utility Services Department | Banana | 1,292 | $851 | Not applicable | Not applicable | $1,100,000 |
| 2020 | 50b | South Central - Zone C+ | Brevard County Utility Services Department | North IRL | 5,146 | $1,283 | Not applicable | Not applicable | $6,600,000 |
| 2020 | 136 | Micco - Zone B+ | Brevard County Utility Services Department | Central IRL | 8,687 | $1,036 | Not applicable | Not applicable | $9,000,000 |
| 2020 | 146 | Merritt Island - Zone C+ | Brevard County Utility Services Department | Banana | 1,419 | $1,113 | Not applicable | Not applicable | $1,580,000 |
| 2020 | 147 | Sykes Creek - Zone R+ | Brevard County Utility Services Department | Banana | 2,925 | $1,197 | Not applicable | Not applicable | $3,500,000 |
| 2020 | 150 | South Central - Zone D+ | Brevard County Utility Services Department | North IRL | 3,387 | $1,410 | Not applicable | Not applicable | $4,774,500 |
| 2020 | 148 | North Merritt Island - Zone E+ | Brevard County Utility Services Department | Banana | 2,541 | $1,431 | Not applicable | Not applicable | $3,635,000 |
| 2020 | 151 | Merritt Island - Zone G+ | Brevard County Utility Services Department | Banana | 11,078 | $1,500 | Not applicable | Not applicable | $16,617,000 |
| 2020 | 152 | Sharpes - Zone B+ | Brevard County Utility Services Department | North IRL | 2,692 | $1,500 | Not applicable | Not applicable | $4,038,000 |
| 2020 | 153 | Cocoa - Zone C+ | Brevard County Utility Services Department | North IRL | 3,499 | $1,500 | Not applicable | Not applicable | $5,248,500 |
| 2021 | 3 | Micco Sewer Line Extension (Phase I and II)+ | Brevard County | Central IRL | 1,493 | $1,500 | Not applicable | Not applicable | $2,239,500 |
| 2021 | 189 | Avendia del Rio Septic to Sewer+ | City of Melbourne | Central IRL | 71 | $986 | Not applicable | Not applicable | $70,000 |
| 2021 | 190 | Bowers Septic to Sewer+ | City of Melbourne | North IRL | 120 | $1,225 | Not applicable | Not applicable | $147,000 |
| 2021 | 191 | Kent and Villa Espana Septic to Sewer Conversion+ | City of Melbourne | North IRL | 542 | $1,310 | Not applicable | Not applicable | $710,000 |
| - | - | Total | - | - | 94,547 | $1,174 (average) | Not applicable | Not applicable | $110,990,852 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan. The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

Figure 42: Septic System Removal Projects in Banana River Lagoon

Figure 42 Long Description

Figure 43: Septic System Removal Projects in Banana River Lagoon, continued

Figure 43 Long Description

Figure 44: Septic System Removal Projects in Banana River Lagoon, continued

Figure 44 Long Description

Figure 45: Septic System Removal Projects in North IRL

Figure 45 Long Description

Figure 46: Septic System Removal Projects in North IRL, continued

Figure 46 Long Description

Figure 47: Septic System Removal Projects in North IRL, continued

Figure 47 Long Description

Figure 48: Septic System Removal Projects in North IRL, continued

Figure 48 Long Description

Figure 49: Septic System Removal Projects in North IRL, continued

Figure 49 Long Description

Figure 410: Septic System Removal Projects in North IRL, continued

Figure 410 Long Description

Figure 411: Septic System Removal Projects in Central IRL

Figure 411 Long Description

Figure 412: Septic System Removal Projects in Central IRL, continued

Figure 412 Long Description

Figure 413: Septic System Removal Projects in Central IRL, continued

Figure 413 Long Description

Figure 414: Septic System Removal Projects in Central IRL, continued

Figure 414 Long Description

#### Septic System Removal by Sewer Connection

The detailed septic analysis also identified 4,496 properties located within 30 feet of existing sewer infrastructure; however, not all potential opportunities have been identified due to incomplete records. The highest loading “Quick Connect” opportunities are included in Table 420 based on their ability to connect to gravity or force main sewer and are shown in Figure 415 through Figure 417.

Quick Connects to gravity sewer will be funded on a prorated basis of $700 per pound of nitrogen loading to the lagoon reduced, up to a maximum of $18,000 for connection to force main sewer and a maximum of $12,000 for connection to gravity sewer. Funding allocation for this grant program is based on the number of highest priority connection opportunities within each sub-lagoon as reported in Table 420.

Table 420: Projects for Septic System Removal by Sewer Connection

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | TN Cost per Pound per Year | TP Reduction (lbs/yr) | TP Cost per Pound per Year | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2019 | 2016-16 | Banana Quick Connects – 144 lots+ | Brevard County | Banana | 3,224 | $592 | Not applicable | Not applicable | $1,908,000 |
| 2019 | 2016-18 | North IRL Quick Connects – 463 lots+ | Brevard County | North IRL | 11,339 | $531 | Not applicable | Not applicable | $6,018,000 |
| 2019 | 2016-19 | Central IRL Quick Connects – 269 lots+ | Brevard County | Central IRL | 6,883 | $487 | Not applicable | Not applicable | $3,354,000 |
| - | - | Total | - | - | 21,446 | $526 (average) | Not applicable | Not applicable | $11,280,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

Figure 415: Quick Connection Septic System Removal Locations in North Brevard County

Figure 415 Long Description

Figure 416: Quick Connection Septic System Removal Locations in Central Brevard County

Figure 416 Long Description

Figure 417: Quick Connection Septic System Removal Locations in South Brevard County

Figure 417 Long Description

#### Septic System Upgrades

In locations where providing sewer service is not feasible due to distance from sewer infrastructure, facility capacity, or insufficient density of high-risk systems, there are options to upgrade the highest risk septic systems to increase the nutrient and pathogen removal efficiency. In recent years, research has been conducted on passive treatment systems, which provide significant treatment efficiencies without monthly sewer fees or highly complex maintenance needs for mechanical features.

In July 2018, the Florida Department of Health adopted new rules that allow for In-Ground Nitrogen-Reducing Biofilters under the drainfield of septic systems (Figure 418). This passive nitrogen-reducing technology is a result of the Florida Onsite Sewage Nitrogen Reduction Strategies project and the Springs and Aquifer Protection Act. Pilot projects to install this new system are currently in progress throughout the state and Brevard County is a participating partner in these initial installations. This passive In-Ground Nitrogen-Reducing Biofilter system is expected to remove 65% of nitrogen from the effluent and cost an extra $4,000 above the typical costs of a conventional septic system. This system requires 51” of soil above the groundwater and, therefore, may not be appropriate in areas with shallow groundwater.

Figure 418: Example In-Ground Nitrogen-Reducing Biofilter Septic System

Figure 418 Long Description

The current ruling by Florida Department of Health only allows woodchips within the denitrification layer of this system; however, other biosorption activated media can also enhance nutrient and bacterial removal before the effluent reaches the drainfield or groundwater and potentially remove more than 65% of nitrogen from effluent. A test of the biosorption activated media removal capacity was conducted at Florida’s Showcase Green Envirohome in Indialantic, Florida. This test location is a residential site built with stormwater, graywater, and wastewater treatment in a compact footprint onsite (Wanielista et al., 2011). The media used in this study was Bold & Gold®, which is a patented blend of mineral materials, sand, and clay. In this study, the effluent to the septic tank was evenly divided between a sorption filter media bed/conventional drainfield (innovative system) and to a conventional drainfield. The study found that the TN and TP removal efficiencies were 76.9% and 73.6%, respectively, for the Bold & Gold plus drainfield system, which was significantly higher than the 45.5% TN removal and 32.1% TP removal from a conventional drainfield alone.

In 2019, Brevard County entered into agreement with the Florida Department of Health to test In-Ground Nitrogen Reducing Biofilter septic systems with known nitrogen-reducing media. The first six septic systems under this agreement were installed in summer 2020 using Bold & Gold wastewater filtration media. To measure effectiveness of the alternative media, these systems will be monitored quarterly for one year. The agreement allows for testing of other nitrogen-reducing media as they become available.

In areas where septic systems are in close proximity to a surface waterbody but are not in a location where connection to the sewer system is feasible, adding biosorption activated media to the drainfield or upgrading to the passive nitrogen removing systems could be used to retrofit the existing septic systems. The estimated cost for these retrofits was increased from $16,000 per septic system in the original plan to $18,000 each in the 2019 Update. Any operations and maintenance costs associated with these upgrades, once installed, will be the responsibility of the owner. To be conservative and to match the Florida Department of Health rule, the estimates of the TN reductions that could be achieved are based on an efficiency of 65% removal, which is the average efficiency from the two studies described above that tested biosorption activated media in the drainfield.

In areas where the In-Ground Nitrogen-Reducing Biofilters system or biosorption activated media retrofits are not appropriate, National Sanitation Foundation 245 certified aerobic treatment units would be the best option. National Sanitation Foundation 245 certification verifies that these advanced septic systems remove at least 50% of nitrogen within the septic tank, although some systems have been shown to remove up to 80% of nitrogen. The drainfield is credited with removing another 15% of nitrogen, which brings the total nitrogen removed by the advanced septic system to 65%. Due to the electrical plumbing requirements of aerobic treatment units, the owner is required to have a maintenance agreement with a septic company and an operating permit from the Florida Department of Health.

There are options for other types of distributed onsite sewage treatment systems that are approved by the Florida Department of Environmental Protection as miniature sewage treatment plants sized for residential and commercial use. These systems provide additional opportunities to improve nutrient removal from sites where connection to central sewer is not feasible and are eligible options for septic system upgrades as part of this plan. Both the Save Our Indian River Lagoon Project Plan and Springs and Aquifer Protection Act have highlighted the need for other wastewater options that have less impact on surface water and groundwater. Brevard County will continue to vet these options as they become available in Florida.

To prioritize the septic systems for upgrade, the scoring matrix used in the original Save Our Indian River Lagoon Project Plan was replaced in the 2019 Update based on ArcGIS-Based Nitrate Load Estimation Toolkit modeling performed during determination of the Nitrogen Reduction Overlay area adopted in the Countywide Septic Ordinance, as noted above.

The septic systems with the highest loading in each sub-lagoon are recommended for retrofit upgrades to reduce the impacts of these septic systems on the waterbodies. The costs and nutrient reductions by sub-lagoon are shown in Table 421. The locations of these septic system upgrades are shown in Figure 419, Figure 420, and Figure 421. This upgrade opportunity addresses 2% of the septic systems in the IRL drainage basin.

Septic retrofit upgrades will be funded on a prorated basis of $700 per pound of nitrogen loading to the lagoon reduced, up to a maximum of $18,000 per septic parcel. Funding allocation for this grant program is based on the number of highest priority upgrade opportunities within each sub-lagoon as reported in Table 421. Septic retrofit upgrades are available to properties not included within a funded septic to sewer project area. Table 421 also summarizes the septic system upgrade projects approved as part of an annual update.

In some circumstances, properties qualified for septic system upgrade funding may be near a sewer line. These septic upgrade funds can be used to connect the qualified property to sewer as this option results in a greater reduction in nitrogen loading to the lagoon.

Table 421: Projects for Septic System Upgrades

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN | TP Reduction (lbs/yr) | Cost per Pound per Year of TP | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | 51 | Banana River Lagoon – 100 lots* | Brevard County | Banana | 1,934 | $931 | Not applicable | Not applicable | $1,800,000 |
| Original | 52 | North IRL – 586 lots* | Brevard County | North IRL | 13,857 | $761 | Not applicable | Not applicable | $10,548,000 |
| Original | 53 | Central IRL – 939 lots* | Brevard County | Central IRL | 22,190 | $762 | Not applicable | Not applicable | $16,902,000 |
| - | - | Total | - | - | 37,981 | $770 (average) | Not applicable | Not applicable | $29,250,000 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan. The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

Figure 419: Septic System Upgrades in North Brevard County

Figure 419 Long Description

Figure 420: Septic System Upgrades in Central Brevard County

Figure 420 Long Description

Figure 421: Septic System Upgrades in South Brevard County

Figure 421 Long Description

### Stormwater Treatment

Stormwater runoff contributes 33.6% of the external TN loading and 43.4% of the external TP loading to the lagoon annually.

Stormwater runoff from urban areas carries pollutants that affect surface waters and groundwater. These pollutants include nutrients, pesticides, oil and grease, debris and litter, and sediments. In Brevard County, there are more than 1,500 stormwater outfalls to the IRL.

There are a variety of best management practices that can be used to capture and treat stormwater to remove or reduce these pollutants before the stormwater runoff reaches a waterbody or infiltrates to the groundwater. Potential stormwater best management practices that could help restore the Indian River Lagoon (IRL) system include:

- Traditional best management practices – These are the typical practices used to treat stormwater runoff and include wet detention ponds, retention, swales, dry detention, baffle boxes, stormwater reuse, alum injection, street sweeping, catch basin inserts/inlet filters, floating islands/managed aquatic plant systems. Descriptions of these traditional best management practices and expected total nitrogen (TN) and total phosphorus (TP) efficiencies are shown in Table 422.

- Low impact development/green infrastructure – These practices use natural stormwater management techniques to minimize runoff and help prevent pollutants from getting into stormwater runoff. These best management practices address the pollutants at the source so implementing them can help decrease the size of traditional retention and detention basins and can be less costly than traditional best management practices (University of Florida Institute of Food and Agricultural Sciences, 2016). Descriptions of low impact development and green infrastructure best management practices and estimated efficiencies are shown in Table 423.

- Denitrification best management practices – These practices use a soil media, known as biosorption activated media to increase the amount of denitrification that occurs, which increases the amount of TN and TP removed. Biosorption activated media includes mixes of soil, sawdust, zeolites, tire crumb, vegetation, sulfur, and spodosols. Additional details about denitrification best management practices are included below.

- Best management practices to reduce baseflow intrusion – These practices are modifications to existing best management practices help reduce intrusion of captured groundwater baseflow into stormwater drainage systems. These best management practices include backfilling canals so that they do not cut through the baseflow, modifying canal cross-sections to maintain the same storage capacity while limiting the depth, installing weirs to control the water levels in the best management practice, or adding a cutoff wall to prevent movement into the baseflow.

- Re-diversion to the St. Johns River – There are portions of the current IRL Basin that historically flowed towards the St. Johns River. By re-diverting these flows back to the St. Johns River, the excess stormwater runoff, as well as the additional freshwater inputs, to the IRL would be removed. The re-diversion projects would include a treatment component so that the runoff is treated before being discharged to the St. Johns River. The St. Johns River Water Management District has taken the lead on large-scale projects while the County has re-diverted more than 400 acres in the Crane Creek basin and partnered with the St. Johns River Water Management District to increase re-diversion from the Melbourne-Tillman Water Control District canal system.

Table 422: Traditional Stormwater Best Management Practices with TN and TP Removal Efficiencies

| Best Management Practice | Definition | TN Removal Efficiency | TP Removal Efficiency | Source |
| --- | --- | --- | --- | --- |
| Wet detention ponds | Permanently wet ponds that are designed to slowly release a portion of the collected stormwater runoff through an outlet structure. Recommended for sites with moderate to high water table conditions. Provide removal of both dissolved and suspended pollutants through physical, chemical, and biological processes. | 8%-44% | 45%-75% | Florida Department of Environmental Protection et al., 2010 |
| Off-line retention | Recessed area that is designed to store and retain a defined quantity of runoff, allowing it to percolate through permeable soils into the groundwater aquifer. Runoff in excess of the specified volume of stormwater does not flow into the retention system storing the initial volume of stormwater. | 40%-84% | 40%-84% | Harper et al., 2007 |
| On-line retention and swales | Recessed area that is designed to store and retain a defined quantity of runoff, allowing it to percolate through permeable soils into the groundwater aquifer. Runoff in excess of the specified volume of stormwater does flow through the retention system that stores the initial volume of stormwater. | 30%-74% | 30%-74% | Harper et al., 2007 |
| Dry detention | Designed to store a defined quantity of runoff and slowly release it through an outlet structure to adjacent surface waters. After drawdown of the stored runoff is completed, the storage basin does not hold any water. Used in areas where the soil infiltration properties or seasonal high-water table elevation will not allow the use of a retention basin. | 10% | 10% | Harper et al., 2007 |
| 2nd generation baffle box | Box chambers with partitions connected to a storm drain. Water flows into the first section of the box where most pollutants settle out. Overflows into the next section to allow further settling. Water ultimately overflows to the stormwater pipe. Floating trays capture leaves, grass clippings, and litter to prevent them from dissolving in the stormwater. | 19.05% | 15.5% | GPI, 2010 |
| Stormwater reuse | Reuse of stormwater from wet ponds for irrigation. Compare volume going to reuse to total volume of annual runoff to pond. | Amount of water not discharged annually | Amount of water not discharged annually | Not applicable |
| Alum injection | Chemical treatment systems that inject aluminum sulfate into stormwater systems to cause coagulation of pollutants. | 50% | 90% | Harper et al., 2007 |
| Street sweeping | Cleaning of pavement surfaces to remove sediments, debris, and trash deposited by vehicle traffic. Prevents these materials from being introduced into the stormwater system. | TN content in dry weight of material collected annually | TP content in dry weight of material collected annually | University of Florida, 2011 |
| Catch basin inserts/inlet filters | Devices installed in storm drain inlets to provide water quality treatment through filtration of organic debris and litter, settling of sediment, and adsorption of hydrocarbon by replaceable filters. | TN content in dry weight of material collected annually | TP content in dry weight of material collected annually | University of Florida, 2011 |
| Managed Aquatic Plant System | Aquatic plant-based best management practices that remove nutrients through a variety of processes related to nutrient uptake, transformation, and microbial activities. | 10% with 5% pond coverage | 10% with 5% pond coverage | Florida Department of Environmental Protection, 2018 |

Table 423: Low Impact Development and Green Infrastructure Best Management Practices and TN and TP Removal Efficiencies

| Best Management Practice | Definition | TN Removal Efficiency | TP Removal Efficiency | Source |
| --- | --- | --- | --- | --- |
| Permeable pavement | Hard, yet penetrable, surfaces reduce runoff by allowing water to move through them into groundwater below (University of Florida Institute of Food and Agricultural Sciences, 2016). | 30%-74% | 30%-74% | Harper et al., 2007 |
| Bioswales | An alternative to curb and gutter systems, bioswales convey water, slow runoff, and promote infiltration. Swales may be installed along residential streets, highways, or parking lot medians (University of Florida Institute of Food and Agricultural Sciences, 2016). Must be designed for conveyance, greater in length than width, have shallow slopes, and include proper landscaping. | 38%-89% | 9%-80% | Florida Department of Environmental Protection, 2014 |
| Green roofs | These systems can significantly reduce the rate and quantity of runoff from a roof and provide buildings with thermal insulation and improved aesthetics (University of Florida Institute of Food and Agricultural Sciences, 2016). Retention best management practice covered with growing media and vegetation that enables rainfall infiltration and evapotranspiration of stored water. Including a cistern capture, retain, and reuse water adds to effectiveness. | 45% (without cistern) 60%-85% (with cistern) | Not applicable | Florida Department of Environmental Protection, 2014 |
| Bioretention basins/rain gardens | Small vegetated depressions in the landscape collect and filter stormwater into the soil (University of Florida Institute of Food and Agricultural Sciences, 2016). Constructed adjacent to roof runoff and impervious areas. | 30%-50% | 30%-90% | Florida Department of Environmental Protection, 2014 |
| Tree boxes | Bioretention systems with vertical concrete walls designed to collect/retain specified volume of stormwater runoff from sidewalks, parking lots and/or streets. Consists of a container filled with a soil mixture, a mulch layer, under-drain system, and shrub or tree (Florida Department of Environmental Protection, 2014). | 38%-65% | 50%-80% | Florida Department of Environmental Protection, 2014 |

Due to the importance of treating dry season baseflow to the lagoon, Brevard County has found that ditch denitrification is the most cost-effective best management practice. Biosorption activated media can be added in existing best management practices or to new best management practices to improve the nutrient removal efficiency. The removal efficiencies of using biosorption activated media in various stormwater treatment projects (Wanielista, 2015) are summarized in Table 424. While the efficiencies in Table 424 are only for Bold & Gold, other types of biosorption activated media may be used in a project, if there is Florida-specific information available on the removal efficiencies for that media.

Table 424: TN and TP Removal Efficiencies for Biosorption Activated Media

| Location in Best Management Practice Treatment Train | Material | TN Removal Efficiency | TP Removal Efficiency |
| --- | --- | --- | --- |
| Bold & Gold as a first best management practice, example up-flow filter in baffle box and a constructed wetland | Expanded Clay Tire Chips | 55% | 65% |
| Bold & Gold in up-flow filter at wet pond and dry basin outflow | Organics Tire Chips Expanded Clay | 45% | 45% |
| Bold & Gold in inter-event flow using up-flow filter at wet pond and down-flow filter at dry basin | Expanded Clay Tire Chips | 25% | 25% |
| Bold & Gold down-flow filters 12-inch depth at wet pond or dry basin pervious pavement, tree well, rain garden, swale, and strips | Clay Tire Crumb Sand and Topsoil | 60% | 90% |

Note: From Wanielista, 2015

The County’s proposed total maximum daily loads include two components: (1) a total maximum daily load for the five-month period (January – May) that is critical for seagrass growth, and (2) a total maximum daily load for the remaining seven months of the year to avoid algal blooms and protect healthy dissolved oxygen levels. In 2019, Brevard County updated the estimates for nutrient loading entering the lagoon through each stormwater ditch and outfall. The update incorporated more recent land use data, more recent rainfall and evapotranspiration data, and improved stormwater infrastructure mapping and topography. There are more than 2,000 hydrologically distinct catchment basin areas within the lagoon watershed countywide. These connect to the lagoon through more than 1,500 stormwater ditches and outfall structures. For the purpose of maximizing seagrass response to stormwater treatment, these new loading estimates for catchment basins were prioritized based on the amount of nutrients migrating into the stormwater system as groundwater baseflow during a five-month season found to be most critical to annual seagrass expansion or loss.

The stormwater project benefits were estimated, as follows, to ensure both components of the total maximum daily load are adequately addressed. The five-month total maximum daily load covers the dry season in this area when there is minimal rainfall and stormwater runoff; therefore, the benefits of stormwater biosorption activated media projects during this period were based only on January–May baseflow loading estimates from the Spatial Watershed Iterative Loading model. The estimated project treatment efficiencies used for January to May baseflow only are 55% for TN and 65% for TP. To estimate annual load reduction benefits, the annual baseflow and stormwater loading estimates from the Spatial Watershed Iterative Loading model were used with a project efficiency of 45% for TN and 45% for TP. The estimated TN and TP reductions in pounds per year (lbs/yr) accomplished by using biosorption activated media upstream of these priority outfalls are summarized in Table 422. The locations of the basins to be treated are shown in Figure 422, Figure 423, and Figure 424. Projects approved as part of an annual update to the plan are also included in Table 425.

Table 425: Projects for Stormwater Treatment

| Year Added | Project Number | Project Name | Responsible Entity | Sub-Lagoon | TN Reduction (lbs/yr) | Cost per Pound of TN Removed | TP Reduction (lbs/yr) | Cost per Pound of TP Removed | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | - | Basin 1329* | Brevard County | Banana | 51 | $76 | 8 | $483 | $3,864 |
| Original | - | Basin 611* | Brevard County | Banana | 1,354 | $130 | 115 | $873 | $176,300 |
| Original | - | Basin 828* | Brevard County | Banana | 1,397 | $155 | 127 | $785 | $215,900 |
| Original | - | Basin 951* | Brevard County | Banana | 1,562 | $166 | 154 | $812 | $258,900 |
| Original | - | Basin 691* | Brevard County | Banana | 1,749 | $172 | 183 | $682 | $300,600 |
| Original | - | Basin 984* | Brevard County | Banana | 1,412 | $178 | 143 | $873 | $251,100 |
| Original | - | Basin CCB-E* | Brevard County | Banana | 1,335 | $182 | 210 | $596 | $243,400 |
| Original | - | Basin 873* | Brevard County | Banana | 775 | $182 | 69 | $1,439 | $141,500 |
| Original | - | Basin CCB-F* | Brevard County | Banana | 1,043 | $195 | 158 | $632 | $203,100 |
| Original | - | Basin 497* | Brevard County | Banana | 952 | $196 | 95 | $1,051 | $186,700 |
| Original | - | Basin 925* | Brevard County | Banana | 895 | $197 | 90 | $1,115 | $176,000 |
| Original | - | Basin 1066* | Brevard County | Banana | 1,150 | $202 | 173 | $579 | $232,200 |
| Original | - | Basin 602* | Brevard County | Banana | 1,135 | $203 | 122 | $817 | $230,000 |
| Original | - | Basin 998* | Brevard County | Banana | 953 | $204 | 144 | $696 | $194,400 |
| Original | - | Basin 1002* | Brevard County | Banana | 903 | $205 | 126 | $792 | $185,300 |
| Original | - | Basin CCAFS-4A* | Brevard County | Banana | 2,091 | $208 | 296 | $675 | $435,000 |
| Original | - | Basin 979A* | Brevard County | Banana | 1,162 | $209 | 173 | $721 | $242,300 |
| Original | - | Basin 781* | Brevard County | Banana | 817 | $209 | 82 | $1,224 | $170,900 |
| Original | - | Basin CCB-G* | Brevard County | Banana | 956 | $211 | 147 | $680 | $201,300 |
| Original | - | Basin 539* | Brevard County | Banana | 935 | $212 | 98 | $1,023 | $198,200 |
| Original | - | Basin CCAFS-6B* | Brevard County | Banana | 3,907 | $212 | 545 | $505 | $829,500 |
| Original | - | Basin 1037* | Brevard County | Banana | 708 | $212 | 97 | $1,029 | $150,400 |
| Original | - | Basin CCAFS-3A* | Brevard County | Banana | 2,896 | $221 | 450 | $611 | $640,700 |
| Original | - | Basin CCAFS-5A* | Brevard County | Banana | 1,967 | $225 | 281 | $713 | $442,300 |
| Original | - | Basin CCB-B* | Brevard County | Banana | 760 | $226 | 110 | $905 | $172,100 |
| Original | - | Basin CC-B2A* | Brevard County | Banana | 774 | $228 | 125 | $803 | $176,700 |
| Original | - | Basin CCAFS-1A* | Brevard County | Banana | 2,531 | $229 | 390 | $705 | $580,100 |
| Original | - | Basin 674* | Brevard County | Banana | 1,206 | $230 | 145 | $859 | $277,900 |
| Original | - | Basin 650* | Brevard County | Banana | 1,251 | $232 | 160 | $937 | $289,900 |
| Original | - | Basin 1222* | Brevard County | Banana | 931 | $235 | 135 | $739 | $218,800 |
| Original | - | Basin CCAFS-6D* | Brevard County | Banana | 905 | $236 | 107 | $931 | $213,200 |
| Original | - | Basin 1024* | Brevard County | Banana | 668 | $237 | 104 | $960 | $158,700 |
| Original | - | Basin CCAFS-6A* | Brevard County | Banana | 734 | $243 | 81 | $1,231 | $178,300 |
| Original | - | Basin CCAFS-2A* | Brevard County | Banana | 1,778 | $244 | 309 | $648 | $434,200 |
| Original | - | Basin 1304* | Brevard County | Banana | 736 | $245 | 110 | $905 | $180,200 |
| Original | - | Basin CCB-C* | Brevard County | Banana | 525 | $249 | 83 | $1,209 | $130,700 |
| Original | - | Basin 1172* | Brevard County | Banana | 919 | $249 | 133 | $754 | $228,800 |
| Original | - | Basin CCB-D* | Brevard County | Banana | 628 | $250 | 103 | $972 | $156,700 |
| Original | - | Basin 1067* | Brevard County | Banana | 811 | $250 | 114 | $876 | $202,600 |
| Original | - | Basin 484* | Brevard County | Banana | 445 | $251 | 40 | $2,495 | $111,800 |
| Original | - | Basin CCB-I* | Brevard County | Banana | 1,337 | $253 | 187 | $934 | $338,000 |
| Original | - | Basin 730* | Brevard County | Banana | 576 | $255 | 61 | $1,628 | $146,900 |
| Original | - | Basin 483* | Brevard County | Banana | 708 | $261 | 84 | $1,189 | $184,400 |
| Original | - | Basin CCB-H* | Brevard County | Banana | 629 | $261 | 102 | $977 | $163,900 |
| Original | - | Basin 601* | Brevard County | Banana | 506 | $261 | 52 | $1,912 | $132,100 |
| Original | - | Basin 1309* | Brevard County | Banana | 593 | $262 | 89 | $1,118 | $155,500 |
| Original | - | Basin 1280B* | Brevard County | Banana | 551 | $263 | 81 | $1,228 | $145,100 |
| Original | - | Basin 350* | Brevard County | Banana | 695 | $266 | 85 | $1,174 | $184,500 |
| Original | - | Basin 997* | Brevard County | Banana | 545 | $266 | 83 | $1,206 | $144,900 |
| Original | - | Basin 476* | Brevard County | Banana | 680 | $266 | 78 | $1,274 | $181,100 |
| Original | - | Basin 479* | Brevard County | Banana | 445 | $268 | 42 | $2,379 | $119,300 |
| Original | - | Basin 520* | Brevard County | Banana | 400 | $269 | 35 | $2,843 | $107,600 |
| Original | - | Basin 1037A* | Brevard County | Banana | 540 | $270 | 79 | $1,258 | $145,700 |
| Original | - | Basin 537* | Brevard County | Banana | 591 | $272 | 68 | $1,464 | $161,100 |
| Original | - | Basin 543* | Brevard County | Banana | 511 | $272 | 54 | $1,853 | $139,300 |
| Original | - | Basin 1187* | Brevard County | Banana | 645 | $275 | 85 | $1,182 | $177,400 |
| Original | - | Basin CCAFS-9A* | Brevard County | Banana | 614 | $277 | 129 | $774 | $170,100 |
| Original | - | Basin 1124* | Brevard County | Banana | 533 | $278 | 78 | $1,287 | $148,100 |
| Original | - | Basin 585* | Brevard County | Banana | 474 | $279 | 48 | $2,083 | $132,000 |
| Original | - | Basin 591* | Brevard County | Banana | 399 | $279 | 37 | $2,698 | $111,200 |
| Original | - | Basin 508* | Brevard County | Banana | 546 | $281 | 59 | $1,683 | $153,600 |
| Original | - | Basin 673* | Brevard County | Banana | 595 | $282 | 70 | $1,421 | $167,900 |
| Original | - | Basin CCAFS-4C* | Brevard County | Banana | 801 | $288 | 115 | $1,085 | $230,900 |
| Original | - | Basin 638* | Brevard County | Banana | 445 | $292 | 47 | $2,112 | $130,200 |
| Original | - | Basin 940B* | Brevard County | Banana | 523 | $293 | 75 | $1,329 | $153,200 |
| Original | - | Basin CC-B2C* | Brevard County | Banana | 430 | $298 | 63 | $1,579 | $128,000 |
| Original | - | Basin CC-B4B* | Brevard County | Banana | 411 | $304 | 66 | $1,506 | $125,100 |
| Original | - | Basin 592* | Brevard County | Banana | 359 | $305 | 34 | $2,903 | $109,500 |
| Original | - | Basin 716* | Brevard County | North IRL | 1,157 | $108 | 84 | $1,188 | $124,800 |
| Original | - | Basin 622* | Brevard County | North IRL | 1,172 | $130 | 86 | $1,162 | $152,100 |
| Original | - | Basin 608* | Brevard County | North IRL | 744 | $138 | 69 | $1,455 | $102,800 |
| Original | - | Basin 286* | Brevard County | North IRL | 839 | $154 | 63 | $1,578 | $129,500 |
| Original | - | Basin 668* | Brevard County | North IRL | 1,508 | $156 | 139 | $720 | $235,400 |
| Original | - | Basin 659* | Brevard County | North IRL | 784 | $157 | 56 | $1,797 | $122,700 |
| Original | - | Basin 384* | Brevard County | North IRL | 986 | $161 | 84 | $1,193 | $158,700 |
| Original | - | TV-St. Johns Basin* | Brevard County | North IRL | 2,588 | $162 | 351 | $569 | $419,300 |
| Original | - | Basin 253* | Brevard County | North IRL | 1,242 | $167 | 132 | $760 | $207,100 |
| Original | - | Basin 911* | Brevard County | North IRL | 1,004 | $168 | 90 | $1,108 | $168,500 |
| Original | - | Basin 560* | Brevard County | North IRL | 572 | $169 | 41 | $2,447 | $96,800 |
| Original | - | TV-ST Teresa Basin* | Brevard County | North IRL | 2,872 | $171 | 426 | $528 | $492,400 |
| Original | - | Basin 16* | Brevard County | North IRL | 1,095 | $172 | 176 | $567 | $188,800 |
| Original | - | Basin 338* | Brevard County | North IRL | 1,938 | $176 | 210 | $713 | $340,900 |
| Original | - | Basin 1419* | Brevard County | North IRL | 1,735 | $181 | 249 | $603 | $313,800 |
| Original | - | TV-Addison Canal Basin* | Brevard County | North IRL | 7,070 | $181 | 914 | $301 | $1,280,300 |
| Original | - | Basin 199* | Brevard County | North IRL | 1,125 | $181 | 108 | $929 | $204,100 |
| Original | - | Basin 973* | Brevard County | North IRL | 2,134 | $182 | 307 | $570 | $387,600 |
| Original | - | TV-Chain of Lakes Basin* | Brevard County | North IRL | 4,707 | $182 | 683 | $403 | $857,100 |
| Original | - | Basin 498* | Brevard County | North IRL | 1,243 | $183 | 118 | $847 | $227,900 |
| Original | - | Basin 662* | Brevard County | North IRL | 977 | $184 | 101 | $995 | $180,000 |
| Original | - | Basin 1399* | Brevard County | North IRL | 1,498 | $185 | 232 | $539 | $276,500 |
| Original | - | Basin CO-2K* | Brevard County | North IRL | 1,448 | $186 | 204 | $612 | $269,500 |
| Original | - | Basin 1430* | Brevard County | North IRL | 2,361 | $186 | 347 | $576 | $439,700 |
| Original | - | TV-La Paloma Basin* | Brevard County | North IRL | 2,146 | $186 | 314 | $557 | $399,600 |
| Original | - | Basin CO-2QA* | Brevard County | North IRL | 1,354 | $187 | 199 | $627 | $253,200 |
| Original | - | Basin 895* | Brevard County | North IRL | 1,130 | $189 | 135 | $740 | $213,100 |
| Original | - | TV-South Marine Basin* | Brevard County | North IRL | 1,252 | $189 | 176 | $567 | $237,200 |
| Original | - | Basin 176* | Brevard County | North IRL | 797 | $191 | 74 | $1,357 | $152,400 |
| Original | - | Basin 1396* | Brevard County | North IRL | 1,011 | $192 | 147 | $680 | $193,900 |
| Original | - | Basin RL-2A* | Brevard County | North IRL | 1,715 | $192 | 246 | $610 | $329,500 |
| Original | - | Basin 62* | Brevard County | North IRL | 721 | $192 | 118 | $847 | $138,500 |
| Original | - | Basin 141* | Brevard County | North IRL | 1,049 | $193 | 163 | $614 | $202,100 |
| Original | - | Basin 19* | Brevard County | North IRL | 818 | $193 | 128 | $779 | $157,600 |
| Original | - | TV-Main Street Basin* | Brevard County | North IRL | 1,298 | $193 | 189 | $662 | $250,200 |
| Original | - | Basin 94* | Brevard County | North IRL | 1,141 | $194 | 178 | $562 | $221,500 |
| Original | - | Basin 115* | Brevard County | North IRL | 1,372 | $194 | 199 | $627 | $266,900 |
| Original | - | Basin 478* | Brevard County | North IRL | 896 | $195 | 80 | $1,254 | $174,400 |
| Original | - | Basin RL-3B* | Brevard County | North IRL | 2,158 | $196 | 307 | $652 | $422,400 |
| Original | - | Basin 992* | Brevard County | North IRL | 1,241 | $197 | 186 | $671 | $244,000 |
| Original | - | Basin 865* | Brevard County | North IRL | 879 | $198 | 109 | $918 | $174,300 |
| Original | - | Basin 388* | Brevard County | North IRL | 1,203 | $198 | 130 | $768 | $238,700 |
| Original | - | Basin 116* | Brevard County | North IRL | 936 | $199 | 142 | $703 | $185,700 |
| Original | - | Basin 193* | Brevard County | North IRL | 1,297 | $199 | 193 | $646 | $257,700 |
| Original | - | Basin 1377* | Brevard County | North IRL | 1,324 | $199 | 200 | $625 | $263,400 |
| Original | - | TV-Parrish Basin* | Brevard County | North IRL | 1,070 | $199 | 163 | $612 | $213,200 |
| Original | - | Basin 26* | Brevard County | North IRL | 900 | $200 | 138 | $726 | $179,500 |
| Original | - | Basin RL-3*I | Brevard County | North IRL | 3,009 | $200 | 423 | $650 | $600,700 |
| Original | - | Basin 1392* | Brevard County | North IRL | 1,050 | $200 | 159 | $629 | $210,600 |
| Original | - | Basin 204* | Brevard County | North IRL | 622 | $201 | 55 | $1,810 | $125,000 |
| Original | - | Basin 451* | Brevard County | North IRL | 1,075 | $201 | 123 | $811 | $216,100 |
| Original | - | Basin 1335 (Sherwood Park)* | Brevard County | North IRL | 1,452 | $201 | 209 | $598 | $292,400 |
| Original | - | Basin 72* | Brevard County | North IRL | 1,038 | $202 | 150 | $668 | $209,300 |
| Original | - | TV-Sycamore Basin* | Brevard County | North IRL | 1,246 | $202 | 184 | $680 | $251,900 |
| Original | - | Basin 1387* | Brevard County | North IRL | 890 | $203 | 125 | $799 | $180,400 |
| Original | - | Basin 474* | Brevard County | North IRL | 801 | $204 | 76 | $1,309 | $163,100 |
| Original | - | Basin 157* | Brevard County | North IRL | 898 | $204 | 90 | $1,110 | $183,500 |
| Original | - | Basin 816* | Brevard County | North IRL | 678 | $205 | 130 | $770 | $138,800 |
| Original | - | TV-Marina Basin* | Brevard County | North IRL | 1,169 | $205 | 170 | $587 | $239,500 |
| Original | - | Basin 410* | Brevard County | North IRL | 1,322 | $205 | 158 | $791 | $271,300 |
| Original | - | Basin 1456* | Brevard County | North IRL | 952 | $205 | 138 | $727 | $195,400 |
| Original | - | Basin 824* | Brevard County | North IRL | 721 | $206 | 103 | $967 | $148,500 |
| Original | - | Basin 833* | Brevard County | North IRL | 1,083 | $207 | 183 | $545 | $224,300 |
| Original | - | Basin 254* | Brevard County | North IRL | 581 | $207 | 45 | $2,229 | $120,200 |
| Original | - | Basin 575* | Brevard County | North IRL | 662 | $208 | 54 | $1,859 | $137,600 |
| Original | - | Basin 218* | Brevard County | North IRL | 491 | $208 | 39 | $2,562 | $102,100 |
| Original | - | Basin CO-2I* | Brevard County | North IRL | 979 | $209 | 146 | $687 | $204,500 |
| Original | - | Basin 155* | Brevard County | North IRL | 913 | $209 | 94 | $1,068 | $191,100 |
| Original | - | Basin 1464* | Brevard County | North IRL | 968 | $210 | 134 | $746 | $202,800 |
| Original | - | Basin 1368* | Brevard County | North IRL | 1,125 | $211 | 162 | $616 | $237,200 |
| Original | - | Basin 738* | Brevard County | North IRL | 497 | $211 | 51 | $1,980 | $104,900 |
| Original | - | Basin 832* | Brevard County | North IRL | 962 | $211 | 159 | $629 | $203,400 |
| Original | - | Basin 314* | Brevard County | North IRL | 827 | $212 | 86 | $1,166 | $175,100 |
| Original | - | Basin 1458* | Brevard County | North IRL | 947 | $212 | 128 | $780 | $200,500 |
| Original | - | Basin 901* | Brevard County | North IRL | 1,895 | $212 | 232 | $860 | $401,100 |
| Original | - | Basin 1256* | Brevard County | North IRL | 1,580 | $213 | 236 | $635 | $337,000 |
| Original | - | TV-South Street Basin* | Brevard County | North IRL | 900 | $215 | 131 | $762 | $193,300 |
| Original | - | Basin 829* | Brevard County | North IRL | 812 | $216 | 161 | $621 | $175,200 |
| Original | - | Basin 6* | Brevard County | North IRL | 716 | $216 | 84 | $1,191 | $154,900 |
| Original | - | Basin 22* | Brevard County | North IRL | 622 | $217 | 69 | $1,458 | $134,800 |
| Original | - | Basin 439* | Brevard County | North IRL | 585 | $217 | 53 | $1,898 | $127,100 |
| Original | - | Basin 10* | Brevard County | North IRL | 953 | $218 | 144 | $696 | $207,400 |
| Original | - | Basin 413* | Brevard County | North IRL | 915 | $218 | 103 | $975 | $199,200 |
| Original | - | Basin 1263* | Brevard County | North IRL | 914 | $218 | 132 | $759 | $199,500 |
| Original | - | Basin 758* | Brevard County | North IRL | 533 | $219 | 49 | $2,023 | $116,900 |
| Original | - | Basin 835* | Brevard County | North IRL | 1,134 | $220 | 159 | $785 | $249,000 |
| Original | - | Basin 1078* | Brevard County | North IRL | 1,017 | $221 | 150 | $666 | $224,800 |
| Original | - | Basin 831* | Brevard County | North IRL | 733 | $221 | 105 | $950 | $162,200 |
| Original | - | TV-Royal Palm Basin* | Brevard County | North IRL | 878 | $223 | 127 | $786 | $195,500 |
| Original | - | Basin 499* | Brevard County | North IRL | 761 | $223 | 78 | $1,289 | $169,800 |
| Original | - | Basin 1381* | Brevard County | North IRL | 968 | $224 | 146 | $686 | $216,500 |
| Original | - | Basin 1342* | Brevard County | North IRL | 1,034 | $224 | 157 | $637 | $231,700 |
| Original | - | Basin 1298* | Brevard County | North IRL | 1,667 | $224 | 229 | $765 | $374,200 |
| Original | - | Basin 112* | Brevard County | North IRL | 734 | $226 | 107 | $931 | $165,700 |
| Original | - | Basin RL-3A* | Brevard County | North IRL | 796 | $226 | 113 | $881 | $179,800 |
| Original | - | Basin 89* | Brevard County | North IRL | 1,084 | $226 | 150 | $835 | $245,100 |
| Original | - | Basin 2159* | Brevard County | Central IRL | 2,754 | $148 | 350 | $500 | $407,500 |
| Original | - | Basin 2185* | Brevard County | Central IRL | 1,208 | $162 | 94 | $1,064 | $196,200 |
| Original | - | Basin 2163* | Brevard County | Central IRL | 1,264 | $163 | 89 | $1,118 | $205,500 |
| Original | - | Basin 1736* | Brevard County | Central IRL | 4,263 | $167 | 551 | $499 | $710,600 |
| Original | - | Basin 1604* | Brevard County | Central IRL | 2,916 | $167 | 425 | $529 | $486,400 |
| Original | - | Basin 2239* | Brevard County | Central IRL | 1,643 | $169 | 261 | $479 | $276,900 |
| Original | - | Basin 1762* | Brevard County | Central IRL | 4,250 | $169 | 621 | $443 | $716,700 |
| Original | - | Basin 2222* | Brevard County | Central IRL | 1,534 | $169 | 226 | $552 | $258,700 |
| 2017 | 13 | Central Boulevard Baffle Box+ | City of Cape Canaveral | Banana | 481 | $72 | 14 | $2,479 | $34,700 |
| 2017 | 14 | Church Street Type II Baffle Box+ | City of Cocoa | North IRL | 937 | $94 | 135 | $652 | $88,045 |
| 2017 | 15 | Bayfront Stormwater Project+ | City of Palm Bay | Central IRL | 348 | $88 | 83 | $369 | $30,624 |
| 2017 | 16 | Gleason Park Reuse+ | City of Indian Harbour Beach | Banana | 48 | $88 | 9 | $469 | $4,224 |
| 2017 | 18 | Denitrification Retrofit of Johns Road Pond+ | Brevard County | North IRL | 1,199 | $88 | Not applicable | Not applicable | $105,512 |
| 2017 | 19 | St. Teresa Basin Treatment+ | City of Titusville | North IRL | 3,100 | $88 | 459 | $594 | $272,800 |
| 2017 | 20 | South Street Basin Treatment+ | City of Titusville | North IRL | 987 | $88 | 156 | $557 | $86,856 |
| 2017 | 21 | La Paloma Basin Treatment+ | City of Titusville | North IRL | 2,367 | $88 | 346 | $602 | $208,296 |
| 2017 | 22 | Kingsmill-Aurora Phase Two+ | Brevard County | North IRL | 4,176 | $88 | 814 | $451 | $367,488 |
| 2017 | 23 | Denitrification Retrofit of Huntington Pond+ | Brevard County | North IRL | 1,190 | $88 | Not applicable | Not applicable | $104,720 |
| 2017 | 24 | Denitrification Retrofit of Flounder Creek Pond+ | Brevard County | North IRL | 856 | $88 | Not applicable | Not applicable | $75,328 |
| 2017 | 34 | Cliff Creek Baffle Box+ | City of Melbourne | North IRL | 3,952 | $88 | 797 | $436 | $347,781 |
| 2017 | 35 | Thrush Drive Baffle Box+ | City of Melbourne | North IRL | 3,661 | $88 | 773 | $417 | $322,200 |
| 2018 | 64 | Stormwater Low Impact Development Convair Cove 1 – Blakey Boulevard+ | City of Cocoa Beach | Banana | 30 | $155 | 3 | $1,550 | $4,650 |
| 2018 | 65 | Stormwater Low Impact Development Convair Cove 2 – Dempsey Drive+ | City of Cocoa Beach | Banana | 29 | $155 | 3 | $1,498 | $4,495 |
| 2018 | 66 | Big Muddy at Cynthia Baffle Box+ | City of Indian Harbour Beach | Banana | 269 | $155 | 48 | $869 | $41,695 |
| 2018 | 67 | Grant Place Baffle Box+ | City of Melbourne | Central IRL | 937 | $88 | 193 | $427 | $82,481 |
| 2018 | 68 | Crane Creek/M-1 Canal Flow Restoration+ | St. Johns River Water Management District | Central IRL | 23,113 | $88 | 2,719 | $748 | $2,033,944 |
| 2018 | 69 | Apollo/GA Baffle Box+ | City of Melbourne | North IRL | 3,381 | $88 | 479 | $621 | $297,522 |
| 2019 | 66b | Big Muddy at Cynthia Baffle Box Expansion+ | City of Indian Harbour Beach | Banana | 167 | $155 | 10 | $2,584 | $25,837 |
| 2019 | 85 | Basin 1304 Bioreactor+ | Brevard County | Banana | 958 | $94 | 127 | $709 | $90,000 |
| 2019 | 87 | Fleming Grant Biosorption Activated Media+ | Brevard County | Central IRL | 602 | $94 | 91 | $622 | $56,588 |
| 2019 | 88 | Espanola Baffle Box+ | City of Melbourne | Central IRL | 1,119 | $94 | 148 | $711 | $105,186 |
| 2019 | 89 | Basin 1298 Bioreactor+ | Brevard County | North IRL | 917 | $94 | 116 | $743 | $86,198 |
| 2019 | 90 | Johns Road Pond Biosorption Activated Media+ | Brevard County | North IRL | 245 | $94 | 37 | $622 | $23,030 |
| 2019 | 91 | Burkholm Road Biosorption Activated Media+ | Brevard County | North IRL | 685 | $94 | 104 | $619 | $64,390 |
| 2019 | 92 | Carter Road Biosorption Activated Media+ | Brevard County | North IRL | 665 | $94 | 101 | $619 | $62,510 |
| 2019 | 93 | Wiley Avenue Biosorption Activated Media+ | Brevard County | North IRL | 954 | $87 | 144 | $575 | $82,735 |
| 2019 | 94 | Broadway Pond Biosorption Activated Media+ | Brevard County | North IRL | 456 | $94 | 69 | $621 | $42,864 |
| 2019 | 95 | Cherry Street Baffle Box+ | City of Melbourne | North IRL | 980 | $94 | 174 | $529 | $92,120 |
| 2019 | 96 | Spring Creek Baffle Box+ | City of Melbourne | North IRL | 1,057 | $94 | 232 | $428 | $99,358 |
| 2019 | 97 | Titusville High School Baffle Box+ | City of Titusville | North IRL | 1,190 | $94 | 166 | $674 | $111,813 |
| 2019 | 98 | Coleman Pond Managed Aquatic Plant System+ | City of Titusville | North IRL | 1,240 | $28 | 198 | $177 | $35,000 |
| 2020 | 110 | Osprey Plant Pond Managed Aquatic Plant Systems+ | City of Titusville | North IRL | 606 | $99 | 88 | $682 | $60,000 |
| 2020 | 117 | Basin 10 County Line Road Woodchip Bioreactor+ | Brevard County Stormwater | North IRL | 597 | $122 | 90 | $809 | $72,773 |
| 2020 | 118 | Basin 26 Sunset Road Serenity Park Woodchip Bioreactor+ | Brevard County Stormwater | North IRL | 605 | $122 | 92 | $802 | $73,810 |
| 2020 | 119 | Basin 141 Irwin Avenue Woodchip Bioreactor+ | Brevard County Stormwater | North IRL | 567 | $122 | 86 | $804 | $69,174 |
| 2020 | 120 | Draa Field Pond Managed Aquatic Plant Systems+ | City of Titusville | North IRL | 256 | $122 | 38 | $823 | $31,281 |
| 2020 | 121 | Basin 2258 Babcock Road Woodchip Bioreactor+ | Brevard County Stormwater | Central IRL | 412 | $122 | 62 | $810 | $50,203 |
| 2020 | 122 | Basin 22 Hunting Road Serenity Park Woodchip Bioreactor+ | Brevard County Stormwater | North IRL | 329 | $122 | 50 | $802 | $40,077 |
| 2020 | 124 | Floating Wetlands to Existing Stormwater Ponds+ | City of Cocoa | North IRL | 12 | $125 | 3 | $499 | $1,497 |
| 2020 | 125 | Diamond Square Stormwater Pond+ | City of Cocoa | North IRL | 85 | $122 | 23 | $451 | $10,383 |
| 2020 | 127 | Basin 5 Dry Retention+ | Town of Indialantic | North IRL | 113 | $148 | 18 | $927 | $16,680 |
| 2020 | 128 | Jackson Court Stormwater Treatment Facility+ | City of Satellite Beach | Banana | 56 | $148 | 8 | $1,033 | $8,266 |
| 2020 | 129 | Forrest Avenue 72-inch Outfall Baseflow Capture/Treatment+ | City of Cocoa | North IRL | 94 | $148 | 12 | $1,163 | $13,956 |
| 2021 | 169 | Sherwood Park Enhancement+ | City of Melbourne | North IRL | 1,762 | $57 | 670 | $149 | $99,708 |
| 2021 | 174 | St. Johns 2 Baffle Box+ | City of Titusville | North IRL | 1,992 | $122 | 611 | $398 | $243,070 |
| 2021 | 123 | Ray Bullard Water Reclamation Facility Stormwater Management Area+ | City of West Melbourne | Central IRL | 1,317 | $122 | 400 | $402 | $160,674 |
| 2021 | 175 | High School Baffle Box+ | City of Melbourne | North IRL | 1,183 | $122 | 319 | $452 | $144,326 |
| 2021 | 176 | Funeral Home Baffle Box+ | City of Melbourne | North IRL | 481 | $122 | 129 | $455 | $58,682 |
| 2021 | 177 | North and South Lakemont Ponds Floating Wetlands+ | City of Cocoa | North IRL | 107 | $122 | 25 | $522 | $13,054 |
| 2021 | 178 | Marina B Managed Aquatic Plant Systems+ | City of Titusville | North IRL | 55 | $122 | 7 | $953 | $6,670 |
| 2021 | 179 | Lori Laine Basin Pipe Improvement Project+ | City of Satellite Beach | Banana | 117 | $150 | 21 | $835 | $17,525 |
| - | - | Total | - | - | 275,3659 | $172 (average) | 38,211 | $1,237 (average) | $47,284,663 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan. The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

Figure 422: Stormwater Projects in North Brevard County

Figure 422 Long Description

Figure 423: Stormwater Projects in Central Brevard County

Figure 423 Long Description

Figure 424: Stormwater Projects in South Brevard County

Figure 424 Long Description

## Projects to Remove Pollutants

The purpose of the projects in this section is to remove pollutants that have accumulated in the lagoon. Brevard County has already begun to remove deep accumulations of muck from the lagoon bottom. Dredging to remove muck in other locations of the lagoon will continue, as well as treatment of the interstitial water when feasible. These muck removal projects have more immediate benefits on the lagoon water quality than external reduction projects because the nutrient flux is reduced as soon as muck is dredged from the system whereas it takes time for the external load reduction benefits to reach the lagoon. The County is also evaluating opportunities to use new treatment technologies to provide surface water remediation. In addition, the St. Johns River Water Management District, Indian River Lagoon (IRL) National Estuary Program, and Florida Institute of Technology are evaluating opportunities for enhanced circulation projects, which will allow additional water to flow into the lagoon system to help remove the built-up sediments and muck. The following sections describe the County’s proposed muck removal projects, scrubbing of muck interstitial water, as well as potential surface water remediation and potential circulation enhancement projects.

### Muck Removal

Muck flux contributes 45% of the TN and 49% of TP load to the Banana River Lagoon each year.

The muck in the Indian River Lagoon (IRL) increases turbidity, inhibits seagrass growth, promotes oxygen depletion in sediments and the water above, stores and releases nutrients, covers the natural bottom, and destroys healthy communities of benthic organisms (Trefry, 2013). When muck is suspended within the water column due to wind or human activities such as boating, these suspended solids limit light availability and suppress seagrass growth. Even for deeper water areas without seagrass growth, muck remains a nutrient source that potentially affects a broader area of the lagoon through nutrient flux and resuspension of fine sediments and their subsequent transport. As shown in Table 31, the annual release of nutrients from decaying muck is almost as much as the annual external loading delivered by stormwater and groundwater baseflow combined. The muck deposits cover an estimated 6,700 acres of the lagoon system bottom in Brevard County (Trefry, 2018).

The muck deposits in the lagoon flux nutrients that enter the water column and contribute to algal blooms and growth of macroalgae. Muck flux rates for nitrogen and phosphorus have been estimated through studies in the IRL system. For this plan, the average flux rates used are 150 pounds of total nitrogen (TN) per acre per year and 20 pounds of total phosphorus (TP) per acre per year (Trefry, 2018) except where specific measurements indicate otherwise.

The focus of the muck removal projects for this plan is on large deposits of muck in big, open water sites within the lagoon itself. Several of the canal systems that directly connect to the lagoon are also included for muck removal. The goal of the muck removal is to reduce TN and TP muck flux loads by 25%, which should result in a significant improvement in water quality and seagrass extent, as well as a reduced risk of massive algal blooms and fish kills. A 70% efficiency for muck removal projects was applied. This efficiency accounts for two factors: (1) each target dredge area has less than 100% muck cover, and (2) some pockets of muck within dredged areas will inevitably be left behind regardless of the dredge technology used. In 2018 and 2019, the Florida Institute of Technology conducted evaluations of the muck deposits throughout the lagoon system for Brevard County (Fox and Trefry, 2018; Fox and Trefry, 2019; Shenker, 2018; Souto, 2018; Trefry et al., 2019a and 2019b; Zarillo and Listopad, 2019). The updated muck acreage estimates are shown in Table 426.

Table 426: Muck Acreages in the IRL System

| Muck Reduction Targets | Open Banana | Banana Canals | North IRL | North IRL Canals | Central IRL | Central IRL Canals | Mosquito Lagoon |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Muck area (acres) | 1,276 | 752 | 3,035 | 51 | 59 | 37 | 398 |
| Muck flux (pounds of TN per year) | 281,148 | 112,800 | 233,992 | 7,650 | 40,226 | 5,550 | 7,164 |
| Funded dredging sites (acres) | 223 | 0 | 251 | 0 | 0 | 0 | 0 |
| Flux from funded dredging sites (pounds of TN per year) | 123,723 | 0 | 85,325 | 0 | 0 | 0 | 0 |
| Flux reduction from funded sites (pounds of TN per year) | 86,606 | 0 | 59,728 | 0 | 0 | 0 | 0 |
| Percent of total flux reduced by dredging the funded sites | 31% | 0% | 26% | 0% | 0% | 0% | 0% |

Using the information from the Florida Institute of Technology, Brevard County reevaluated the priority muck locations for dredging. The estimated area and nutrient flux in pounds per year (lbs/yr) using average flux rates for Brevard County or site-specific data collected by the Florida Institute of Technology are shown in Table 427 for the recommended projects. Table 428 provides a summary of the recommended projects and the projects submitted as part of an annual plan. The locations of these projects are shown in Figure 425 and Figure 427.

As dredging proceeds, upland input of muck components must be reduced to prevent new muck accumulation. Therefore, land-based source control measures for nutrients, organic waste, and erosion are needed. Without source controls, muck removal will need to be frequently repeated, which is neither cost-effective nor beneficial to the lagoon’s health. Public awareness and commitment are needed to control future muck accumulation. Activities that contribute organic debris and sediment to stormwater and open water must be curtailed. Additional scientific assessment should be carried out to evaluate and optimize the dredging process.

Table 427: Banana River Lagoon Estimated Costs and Nutrient Reductions for Muck Removal Project Areas

| Location | Sub-Lagoon | Cubic Yards | Acres | TN Flux (pounds per acre per year) | TP Flux (pounds per acre per year) |
| --- | --- | --- | --- | --- | --- |
| Port Canaveral South | Banana | 420,000 | 55 | 919 | 50 |
| Pineda Banana River Lagoon | Banana | 195,000 | 28 | 767 | 35 |
| Patrick Air Force Base | Banana | 205,000 | 26 | 357 | 21 |
| Cocoa Beach Golf | Banana | 975,000 | 140 | 303 | 21 |
| Titusville Railroad West | North IRL | 90,000 | 70 | 294 | 12 |
| National Aeronautics and Space Administration Causeway East | North IRL | 285,000 | 34 | 919 | 44 |
| Rockledge A | North IRL | 125,000 | 38 | 285 | 31 |
| Titusville Railroad East | North IRL | 115,000 | 36 | 214 | 9 |
| Eau Gallie Northeast | North IRL | 250,000 | 73 | 205 | 29 |

Table 428: Projects for Muck Removal

| Year Added | Project Number | Project Name | Responsible Entity | Sub-Lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Removed | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Removed | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | 2016-10a | Port Canaveral South* | Brevard County | Banana | 35,382 | $415 | 1,925 | $7,636 | $14,700,000 |
| Original | 2016-5a | Pineda Banana River Lagoon* | Brevard County | Banana | 15,033 | $454 | 686 | $9,949 | $6,825,000 |
| Original | 2016-11a | Patrick Air Force Base* | Brevard County | Banana | 6,497 | $1,104 | 382 | $18,783 | $7,175,000 |
| Original | 168a | Cocoa Beach Golf*^ | Brevard County | Banana | 29,694 | $719 | 2,058 | $10,374 | $21,350,000 |
| Original | 2016-06a | Titusville Railroad West* | Brevard County | North IRL | 14,406 | $219 | 588 | $5,357 | $3,150,000 |
| Original | 2016-07a | National Aeronautics and Space Administration Causeway East* | Brevard County | North IRL | 21,872 | $456 | 1,047 | $9,527 | $9,975,000 |
| Original | 2016-04a | Rockledge A* | Brevard County | North IRL | 7,581 | $577 | 825 | $5,303 | $4,375,000 |
| Original | 2016-08a | Titusville Railroad East* | Brevard County | North IRL | 5,393 | $746 | 227 | $17,731 | $4,025,000 |
| Original | 54a | Eau Gallie Northeast* | Brevard County | North IRL | 10,476 | $835 | 1,482 | $5,904 | $8,750,000 |
| 2017 | 41a | Grand Canal Muck Dredging+ | Brevard County | Banana | 10,185 | $240 | 1,358 | $1,797 | $2,440,971 |
| 2017 | 42a | Sykes Creek Muck Dredging+ | Brevard County | Banana | 19,635 | $240 | 2,618 | $1,797 | $4,705,428 |
| 2018 | 70a | Cocoa Beach Muck Dredging – Phase III+ | City of Cocoa Beach | Banana | 4,095 | $336 | 780 | $1,764 | $1,376,305 |
| 2018 | 71 | Merritt Island Muck Removal – Phase 1+ | Brevard County | Banana | 8,085 | $957 | 1,540 | $5,022 | $7,733,517 |
| 2018 | 72a | Muck Removal of Indian Harbour Beach Canals+ | City of Indian Harbour Beach | Banana | 3,780 | $961 | 720 | $5,044 | $3,631,815 |
| 2018 | 2016-3a | Muck Re-dredging in Turkey Creek+ | Brevard County | Central IRL | 5,691 | $38 | 221 | $973 | $215,000 |
| 2019 | 101 | Cocoa Beach Muck Dredging Phase II-B+ | City of Cocoa Beach | Banana | 6,300 | $939 | 840 | $7,045 | $5,917,650 |
| 2020 | 144 | Satellite Beach Muck Dredging+ | City of Satellite Beach | Banana | 3,885 | $485 | 518 | $3,638 | $1,884,225 |
| - | - | Total | - | - | 207,990 | $520 (average) | 17,815 | $6,075 (average) | $108,229,911 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan. The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

^ The Cocoa Beach Golf project is not fully funded at this time. A total of $21,350,000 is available and Brevard County is looking for options to fund the remaining $12,775,000 for dredging plus associated interstitial water treatment.

Figure 425: Location of Muck Removal Projects in the Northern Banana River Lagoon

Figure 425 Long Description

Figure 426: Location of Muck Removal Projects in the Southern Banana River Lagoon

Figure 426 Long Description

Figure 427: Location of Muck Removal Projects in North IRL

Figure 427 Long Description

Figure 428: Location of Muck Removal Projects in Central IRL

Figure 428 Long Description

### Treatment of Muck Interstitial Water

Interstitial water refers to the water content that is present within the muck material. Sampling and testing conducted by Florida Institute of Technology researchers has shown that the majority of nutrients are bound to solid particles in the muck; however, the interstitial water also contains a significant amount of dissolved nutrients. When the muck material is dredged, interstitial water nutrients are pumped with the muck and lagoon water in a slurry to the dredged material management area. At the dredged material management area, the muck slurry is processed in a settling pond where sediments settle out and overflow water is returned to the Indian River Lagoon (IRL). Treatment of this overflow water represents a significant opportunity to prevent return of these nutrients to the IRL.

Working with the dredging industry, sewage treatment industry, stormwater treatment entrepreneurs and industrial waste treatment engineers, feasible and reasonably cost-effective concentration targets for return water to the IRL were initially identified as 2,000–3,000 parts per billion for total nitrogen (TN) and 75–100 parts per billion for total phosphorus (TP). Treatment options for TP were demonstrated during the state-funded initial dredging of Turkey Creek, with Florida Institute of Technology researchers providing independent third-party verification of performance levels. These targets can be achieved through a variety of technologies including, but not limited to, coagulants, polymers, biosorption activated media, or a combination of these technologies. Costs associated with these technologies vary by technology, target nutrient reduction levels, and interstitial nutrient concentrations. Open market costs were initially collected through three bid solicitations: (1) Mims Boat Ramp muck removal project, (2) Sykes Creek muck removal project, and (3) Grand Canal muck removal project. More recent dredging experience indicates that concentration targets for TN may need to be adjustable and procured as bid options or alternates to allow market conditions to identify what targets are most cost-effective.

To encourage partnering entities and applicants for Save Our Indian River Lagoon Trust Fund dollars to take advantage of this opportunity to enhance the performance of muck removal projects by removing interstitial water nutrients from the dredge slurry during muck dredging operations whenever project configuration allows, a separate cost-share was developed to account for this added cost and associated nutrient reduction benefit. Using available cost information from Turkey Creek, Mims, and Sykes Creek, County staff considered how to incentivize the addition of this processing step as soon as possible into permitted muck removal projects, as well as future projects. When the substitute project request form was distributed to the public in 2018, staff estimated that a cost-share of $200 per pound of TN removed would be sufficient to entice most partners to agree to stipulate a specific condition in their bids and dredging contracts that return water not exceed 3,000 parts per billion of TN nor 100 parts per billion of TP. However, based on recent bids for nutrient mitigation alternatives for sediment dewatering for Sykes Creek (Tetra Tech, 2015), Grand Canal, and Mims, the cost-share used for County projects in the 2019 Update was reduced to $50 per pound of TN removed. This cost will remain volatile until a contractor meets the concentration targets long enough to more accurately determine cost.

The recommended locations for interstitial water treatment and load reductions in pounds per year (lbs/yr) are shown in Table 429.

Table 429: Projects for Treatment of Interstitial Water

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Removed | TP Reduced (lbs/yr) | Cost per Pound per Year of TP Removed | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2017 | 40 | Mims Muck Removal: Outflow Water Nutrient Removal+* | Brevard County | North IRL | 2,803 | $143 | 244 | $1,639 | $400,000 |
| 2018 | 2016-10b | Port Canaveral South+ | Brevard County | Banana | 42,688 | $50 | 3,887 | $549 | $2,134,419 |
| 2018 | 2016-5b | Pineda Banana River Lagoon+ | Brevard County | Banana | 19,820 | $50 | 1,804 | $549 | $990,980 |
| 2018 | 2016-11b | Patrick Air Force Base+ | Brevard County | Banana | 20,836 | $50 | 1,897 | $549 | $1,041,800 |
| 2018 | 168b | Cocoa Beach Golf+^ | Brevard County | Banana | 99,098 | $30 | 9,022 | $334 | $3,013,100 |
| 2018 | 41b | Grand Canal+ | Brevard County | Banana | 89,025 | $175 | To be determined | To be determined | $15,579,397 |
| 2018 | 42b | Sykes Creek+ | Brevard County | Banana | 64,278 | $175 | To be determined | To be determined | $11,248,704 |
| 2018 | 2016-06b | Titusville Railroad West+ | Brevard County | North IRL | 9,148 | $50 | 833 | $549 | $457,375 |
| 2018 | 2016-07b | National Aeronautics and Space Administration Causeway East+ | Brevard County | North IRL | 28,967 | $50 | 2,637 | $549 | $1,448,355 |
| 2018 | 2016-04b | Rockledge A+ | Brevard County | North IRL | 12,705 | $50 | 1,157 | $549 | $635,244 |
| 2018 | 2016-08b | Titusville Railroad East+ | Brevard County | North IRL | 11,688 | $50 | 1,064 | $549 | $584,424 |
| 2018 | 54b | Eau Gallie Northeast+ | Brevard County | North IRL | 25,410 | $50 | 2,313 | $549 | $1,270,487 |
| 2018 | 2016-3b | Muck Interstitial Water Treatment for Turkey Creek+ | Brevard County | Central IRL | Not applicable | Not applicable | 688 | Not applicable | Part of dredging cost |
| 2018 | 72b | Muck Interstitial Water Treatment for Indian Harbour Beach Canals+ | City of Indian Harbour Beach | Banana | 27,418 | $200 | To be determined | To be determined | $5,483,600 |
| 2020 | 113 | Satellite Beach Interstitial Water Treatment+ | City of Satellite Beach | Banana | 29,978 | $102 | 3,059 | $1,000 | $3,057,756 |
| - | - | Total | - | - | 483,862 | $98 (average) | 28,605 | $1,655 (average) | $47,345,641 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

* Outflow Water Nutrient Removal for the Mims Muck Removal project was funded, bid, and awarded to the lowest successful bidder; however, the contractor was unsuccessful at reducing outflow water nutrient concentrations as much as required by the contract. Therefore, only partial reductions were achieved and the Save Our Indian River Lagoon 0.5 cent sales tax funding was not used.

^ The Cocoa Beach Golf project is not fully funded at this time. A total of $3,013,100 is available and Brevard County is looking for options to fund the remaining $1,941,800.

### Spoil Management Areas

As Brevard County seeks to execute muck dredging projects, the availability of upland processing areas for the treatment of dredge spoils has become a growing concern. These working sites, referred to as temporary spoil management areas or in the industry as dredged material management areas, are upland parcels of land that can be used as needed for the temporary processing of dredge spoils until such time as the materials can be moved offsite to a permanent beneficial use or disposal location.

To move muck dredging projects forward in a timely manner, initial project locations were selected to make use of existing dredged material management areas through the County’s long-standing partnership with the Florida Inland Navigation District. The Florida Inland Navigation District manages Florida’s Intracoastal Waterway for which it has acquired eight dredged material management area sites distributed from north to south along the 72 miles of the Indian River Lagoon (IRL), not the Banana River, in Brevard County. Only three of these Florida Inland Navigation District dredged material management areas are presently developed; however, the County is working on partnership agreements with the Florida Inland Navigation District to construct dredged material management area facilities at their remaining sites.

The eight Florida Inland Navigation District sites are insufficient to meet the volume and timing of muck dredging projects included in this plan. As the distance between dredging sites and dredged material management areas increase, more booster pumps are required. Booster pumps can complicate project operations and increase cost, particularly as multiple boosters become necessary. Booster pumps are required as project pump distances approach one-mile and are required at one-mile intervals thereafter. Each booster pump adds approximately $1 per cubic yard of material dredged. Pump distances for the Eau Gallie and Sykes Creek projects have five- to seven-mile pump distances to the Florida Inland Navigation District sites and project amounts in excess of 400,000 cubic yards each.

As a supplement to the Florida Inland Navigation District sites, Brevard County staff investigated lease and purchase options for the development of additional multi-use spoil management areas. Lease options for parcels of interest resulted in unfavorable cost-benefit ratios on these short-term investments due to the up-front costs of site development including design, permitting, mitigation, and construction. Similar cost effectiveness issues arise from depending on private sector contractors to provide a temporary dredged material management area as part of construction costs. The contractor passes along most or all the costs of providing a dredged material management area, but the County does not have the benefit of using the site multiple times over the 10-year timespan of this plan or thereafter.

Fee simple purchase and development of spoil management areas, designed with multi-use options for the implementation of regional surface water or stormwater treatment projects, emerges as the most cost-effective long-term option. Through fee simple site acquisition and a prescribed site use and management plan, investments in acquisition and development costs, including required mitigation, can be recovered. For example, the acquisition of a spoil management site four miles closer than the nearest Florida Inland Navigation District site could reduce booster pump costs by $1.6 million on a single 400,000 cubic yard muck removal project. This savings can offset site acquisition and development costs associated with the parcel.

Publicly owned dredged material management area sites could be used for stormwater or surface water treatment, when not being used for dredging. These additional uses can be factored into site selection and design to provide supplementary lagoon benefits. Therefore, land acquisition shall be considered an eligible muck management project cost, particularly when the site can be designed to provide multi-use regional surface water or stormwater treatment alongside or intermittently between usages for muck management. A preliminary project design and construction layout with cost evaluation (comparison to an existing, more distant dredged material management area) shall be part of the site selection and land acquisition decision process.

Another factor to consider when evaluating long-term operations and the feasibility of muck dredging projects is the strategy for final disposal and the development of permanent beneficial use or disposal locations. Often left to the contractor as part of their construction and implementation plan, a final disposition strategy is in many cases not part of the dredging project plan. The dependency on private sector contractors to provide a final disposition strategy and permanent material disposal site can have consequences that a managed permanent disposal site can avoid. These consequences can increase the contractor’s risk and drive up project costs.

A managed disposal site would consider the fiscal, environmental, and social implications of the site. A final disposition strategy evaluates the appropriateness of the disposal site in terms of the local community and future development, the environmental proximity to surface waters and runoff potential, groundwater protection, hauling costs, and minimizing risk by providing a defined disposal site. A defined material disposal site, laid-out in the project design, provides a level of security at the time of project bidding that reduces risk to the contractor and potentially lowers the project cost. Staff investigation into the purchase, use and reclamation of existing borrow pits are an example of final disposal areas that are being considered. Similar to what is seen with the development of temporary spoil management areas, the most cost-effective long-term option for the disposal of muck material should include the evaluation of fee simple purchase options and the development of spoil disposal areas.

### Vegetation Harvesting

Mechanical removal or harvest of aquatic vegetation rather than treatment with herbicides or other control mechanisms may be one method of reducing nutrient loads to the Indian River Lagoon (IRL) and its tributaries. The use of aquatic plants for nutrient management has been considered since at least the 1960s (Boyd, 1969). The harvest of aquatic vegetation removes nutrients from the waterbody rather than recycling them through decomposition and settlement of the plant material into the sediment. Most freshwater plants do not tolerate the salinity of the IRL and, upon release (such as floating plants washed out of canals) to the lagoon, will die and decompose adding a nutrient load directly to the IRL.

Aquatic vegetation can occur either in mixed stands or as large monocultures. It is not uncommon for invasive plants to form largely monotypic stands. The plant material can form dense floating mats that prevent light diffusion into the water column, thus shading the bottom and limiting benthic habitat. The dense layer of vegetation also limits exchange of gases across the water surface and can cause depletion of dissolved oxygen under the mat. At greater densities, vegetation may also form floating islands or tussocks and incorporate woody plants.

Common invasive plants present in waterways that connect to the IRL are hydrilla, water lettuce, duck weed, and water hyacinth, and these plants present the greatest opportunity for harvest and removal of nutrients through plant biomass. However, native vegetation can be intermixed with exotics. Examples of common native aquatic vegetation that may also be removed includes cattails, fanwort, coontail, bladderwort, and water lilies.

The removal of aquatic vegetation may be accomplished in several ways. For canals or waterbodies with small surface area, booms laid across the water surface can divert flow to screening and sorting facilities for removal of floating vegetation. Also, in canals, drag lines or back hoes can be used for removal of submerged vegetation or modified front end loaders with baskets can collect floating plant material. There are also specifically designed harvesters and shredders that move through the water and cut and remove vegetation (Florida Department of Environmental Protection, 2012).

The cost-share for vegetation harvesting was based on actual annualized costs and laboratory analyses of the total nitrogen (TN) and total phosphorus (TP) content of plant material removed from floating vegetative islands in eight Brevard County stormwater ponds (see Table 430). Cost-share reimbursement of approved projects will be based on laboratory analysis of plant material to determine true nitrogen removal. Eligible cost-share will be adjusted as additional cost and nutrient removal benefit data are collected.

Table 430: Estimated Costs and Nutrient Reductions for Vegetation Harvesting

| Project | Annualized Cost | Annualized TN Reductions (lbs/yr) | Cost per Pound per Year of TN Reduction | Annualized TP Reductions (lbs/yr) | Cost per Pound per Year of TP Reduction |
| --- | --- | --- | --- | --- | --- |
| Vegetation Harvesting | $198,868 | 1,812 | $110 | 191 | $1,041 |

Table 431 summarizes the approved projects for vegetation harvesting.

Table 431: Projects for Vegetation Harvesting

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Reduction | TP Reduction (lbs/yr) | Cost per Pound per Year of TN Reduction | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2020 | 111 | Draa Field Vegetation Harvesting+ | City of Titusville | North IRL | 574 | $87 | - | - | $50,000 |
| 2020 | 112 | County Wide Stormwater Pond Harvesting+ | Brevard County Stormwater | North IRL | 140 | $100 | 28 | $500 | $14,000 |
| 2021 | 171 | Mechanical Aquatic Vegetation Harvesting+ | Melbourne-Tillman Water Control District | Central IRL | 16,636 | $61 | 1,664 | $608 | $1,011,976 |
| 2021 | 172 | Horseshoe Pond Vegetative Harvesting+ | Brevard County Stormwater | North IRL | 74 | $110 | 7 | $1,163 | $8,140 |
| 2021 | 173 | North and South Lakemont Ponds Vegetation Harvesting+ | City of Cocoa | North IRL | 18 | $110 | 4 | $495 | $1,980 |
| - | - | Total | - | - | 17,442 | $62 (average) | 1,703 | $638 (average) | $1,086,096 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Surface Water Remediation System

In 2016, AquaFiber Technologies Corporation had a technology that could treat up to 25 cubic feet per second (16 million gallons per day) of water from Turkey Creek, which is a major tributary to the Central Indian River Lagoon (IRL). This project would reduce total suspended solids by more than 90%, remove algal blooms and cyanobacteria to improve the lagoon’s color and clarity, improve the dissolved oxygen concentration by returning water with near 100% oxygen saturation, and produce a biomass that can be processed into fertilizer pellets or used as a feedstock for waste-to-energy utilities to produce electricity.

This project would remove an estimated 35,633 pounds per year (lbs/yr) of total nitrogen (TN) and 2,132 lbs/yr of total phosphorus (TP) from the watershed. The facility would cost $19,720,760 for design, permitting, construction, and use of a technology to destroy the biomass onsite. The cost to operate and maintain the remediation facility is estimated to be $6,271,200 per year. Table 432 summarizes the benefits and costs of nutrient removal for this project for a 10-year period. On an annual basis, the yearly costs would be $8,243,276, which would result in an annual cost per pound per year of TN removed of $231 and cost per pound per year of TP removed of $3,867.

Brevard County also received information from Phosphorus Free Water Solutions, which has a pay for performance treatment technology to reduce phosphorus, nitrogen, color, and turbidity in surface waters. Phosphorus Free evaluated a project to treat 50 cubic feet per second of water from Turkey Creek. Based on the measured concentrations in Turkey Creek, Phosphorus Free Water Solutions provided two options for treating nitrogen. The measured phosphorus concentration in Turkey Creek is very low and it would not be cost-effective to remove additional phosphorus from the system through this technology. The first option would use the basic nitrogen removal process, which would remove a portion of the dissolved organic nitrogen. This option would reduce TN by 53% or 50,353 lbs/yr at a cost of $6,797,000 or $135 per pound of TN removed. The second option would include an additional treatment step to increase the removal of dissolved organic nitrogen. This option would reduce TN by 86% or 81,469 lbs/yr at a cost of $13,035,000 or $160 per pound of TN removed (Table 432). The costs for each scenario do not include the capital costs to construct the treatment facility, only the annual pay for performance cost estimates for a ten-year contract for treatment.

Table 432: Summary of Annual Benefits and Ten-Year Costs of a Surface Water Remediation System

| Project | Ten-Year Project Cost | TN Reduction (lbs/yr) | Cost per pound per Year of TN Removed | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Removed |
| --- | --- | --- | --- | --- | --- |
| AquaFiber | $82,432,760 | 35,633 | $2,313 | 2,132 | $38,665 |
| Phosphorus Free Option 1 | $67,970,000 | 50,353 | $1,350 | To be determined | To be determined |
| Phosphorus Free Option 2 | $130,350,000 | 81,469 | $1,600 | To be determined | To be determined |

These technologies have not yet been tested in estuarine systems; therefore, these remediation systems are not recommended at this time. However, these types of treatment technologies offer additional benefits that should be more thoroughly explored to better assess the total value to restoring and maintaining lagoon health. In 2020, Brevard County received a grant to collaborate with AquaFiber Technologies Corporation to pilot test their surface water remediation technologies. Unfortunately, AquaFiber had to cancel the project due to COVID-19 related economic hardships. Brevard County continues to investigate potential surface water remediation technologies and a portion of the Respond funding may be used to incentivize pilot testing. As feasible technologies are proven, projects may be added to future plan updates.

### Enhanced Circulation

The 2011 superbloom occurred in the Banana River Lagoon, North Indian River Lagoon (IRL), and southern Mosquito Lagoon. These areas have long residence times, which means that water in these areas stagnates and nutrients can build up leading to additional algal blooms. Options to address this condition are to increase circulation by replacing causeways with bridges, installing culverts under causeways, or increasing ocean exchange by adding culverts, pump stations, or inlets to provide new connections to the ocean. Addressing manmade causeways that interfere with natural circulation should be beneficial without unintended consequences and modeling can help prioritize actions, but implementation is costly and requires participation by the Florida Department of Transportation.

New artificial ocean exchange projects introduce a lot of unknowns. While the residence time of water in the IRL system would decrease, the input ocean water with its complement of marine life has the potential to alter the lagoon ecosystem. Whether the amount of ocean exchange needed to have a beneficial impact on the system can be achieved without causing unintended harm to the lagoon is unknown. Artificial ocean exchange projects are costly with significant social implications and permitting hurdles to overcome. For these reasons, causeway replacements are encouraged while ocean exchange projects are not a recommended component of this plan. Other entities are taking the lead on evaluating options. The results of evaluations by the St. Johns River Water Management District and the IRL National Estuary Program are summarized below.

The St. Johns River Water Management District contracted with CDM Smith and Taylor Engineering to identify potential locations where enhanced circulation projects would be beneficial. The first phase of the project (CDM Smith et al., 2014) involved a literature review and geographic information system desktop analysis. All the locations considered in Phase I, including the top ranked locations, are shown in Figure 429. From this first phase, ten locations were identified for future evaluation as shown in Table 433. The external projects are those that could potentially connect the IRL system with the Atlantic Ocean whereas internal projects are connections within the IRL (CDM Smith et al., 2015).

Table 433: Phase I Top Ranked Potential Enhanced Circulation Project Locations

| Project Site | Project Description | Zone | Project Type | Rank |
| --- | --- | --- | --- | --- |
| D | Canaveral Lock* | Banana River Lagoon | External | 1 |
| C | Port Canaveral* | Banana River Lagoon | External | 2 |
| 15 | Sykes Creek/Merritt Island Causeway* | Banana River Lagoon | Internal | 3 |
| B | Pad 39-A* | Banana River Lagoon | External | 4 |
| 16 | Cocoa Beach Causeway | Banana River Lagoon | Internal | 5 |
| 23 | South Banana River | Banana River Lagoon | Internal | 6 |
| E | Patrick Air Force Base * | Banana River Lagoon | External | 7 |
| 20 | Minuteman Causeway | Banana River Lagoon | Internal | 8 |
| 1 | Port Canaveral (East) | Banana River Lagoon | External | 9 |
| 8 | Coconut Point Park* | Central and Southern Portion of IRL Study Area | External | 10 |

Source: CDM Smith et al. 2015.

* Sites evaluated in Phase 2 of the CDM Smith and Taylor Engineering project for the St. Johns River Water Management District.

As part of the second phase of the project, six of the top ranked sites were further evaluated to assess the water volumes. These sites are noted in Table 433. Based on the initial evaluation of the sites, CDM Smith and Taylor Engineering determined that a project at the Sykes Creek/Merritt Island Causeway was not feasible. This location had a relatively new bridge crossing with built-up abutment protection that precludes construction of culverts and the increase of bridge openings. In addition, this connection would only provide an internal connection in the IRL and would not increase the tidal exchange. The five remaining sites were evaluated for the following types of connections (additional information in Table 434):

- Port Canaveral (Project Site C) – Culvert connection

- Pad 39-A (Project Site B) – Culvert connection

- Patrick Air Force Base (Project Site E) – Culvert connection

- Canaveral Lock (Project Site D) – Open channel flow by keeping the Canaveral Lock open over extended periods. Additional maintenance dredging may be needed to remove sediment deposition near the gates.

- Coconut Point Park (Project Site 8) – Culvert connection

- Coconut Point Park (Project Site 8) – Inlet connection with an inlet that is at least 1,350-feet long, with an average depth of about 25 feet below mean sea level.

Source: CDM Smith et al. 2015.

Figure 429: Phase I Potential Enhanced Circulation Project Locations

Figure 429 Long Description

Table 434: Computed Hydraulics for Connections at Select Locations

| Site/Potential Project | Flood Prism (million cubic feet) | Ebb Prism (million cubic feet) | Maximum Flow (cubic feet per second) | Estimated Impacted Area for 0.27 Foot Tide Range (acres) |
| --- | --- | --- | --- | --- |
| Port Canaveral Culvert (Project Site C) | 1.51 | -1.08 | 89 | 92 to 128 |
| Pad 39-A Culvert (Project Site B) (estimated) | 1.38 to 1.51 | -1.08 to -1.59 | Not applicable | 92 to 135 |
| Patrick Air Force Base Culvert (Project Site E) (estimated) | 1.38 to 1.51 | -1.08 to -1.59 | Not applicable | 92 to 135 |
| Canaveral Lock Open Channel Flow (Project Site D) | 68.67 | -83.03 | -4,670 | 5,839 to 7,060 |
| Coconut Point Park Culvert (Project Site 8) | 1.38 | -1.59 | -94 | 117 to 135 |
| Coconut Point Park Inlet (Project Site 8) | 1,890 | Not applicable | 111,000 | 160,698 |

Source: CDM Smith et al. 2015.

Note: Positive flow is towards the IRL.

A screening matrix was used to evaluate the costs and benefits of the project based on the criteria for the tidal prism, area affected, land acquisition, relative costs, ease of construction, seagrass loss, and benefit to cost ratio. The top ranked project from this evaluation is the Port Canaveral culvert (CDM et al., 2015). It is important to note that a culvert will likely not provide the amount of exchange needed to provide a significant benefit to the lagoon. The size of the lagoon in Brevard County is more than 150,000 acres. The second ranked project is the Canaveral Lock open channel. This option may have challenges moving forward based on past experience with sediment blocking submarines from using the port after the lock was held open for an extended period of time. In addition, there are limited data for estimating the water quality benefits and unintended ecological consequences that could result from keeping the lock open.

In 2019, the Florida Institute of Technology received $800,000 in funding from the Florida Legislature, which is administered by the Florida Department of Education, to plan and perform studies at sites within the lagoon and along the coast to restore lagoon inflow. The first phase of the study gathered baseline data and performed modeling on existing water quality, biological parameters, and hydrologic conditions at potential locations for future temporary permitted inflow test structures. The Phase 1 modeling and engineering project research was conducted in parallel with the biological and water quality monitoring to gather data for an enhanced circulation pilot project. The first phase of the project was completed in September 2020. Phase 1 provided baseline biological and geochemical data near the three proposed inflow locations: Port Canaveral and south Cocoa Beach in Brevard County and Bethel Creek in Indian River County. Modeling results were provided for different flow rates in each location based on preliminary engineering concepts for three structure options: pipe with no pump, pump and pipe, and weir. In 2020, the Florida Institute of Technology received another $800,000 in funding from the Florida Legislature, which is also administered by the Florida Department of Education, for Phase 2 of the study, which will identify the location for a temporary inflow pilot system, begin the engineering design for this location, and start the permitting process (Florida Institute of Technology, 2020).

Temporary Inlet: Another potential option for ocean exchange is when a large storm creates an opening. Instead of immediately filling in the new opening, an evaluation should be completed using available models to determine the potential benefits of temporarily stabilizing the opening long enough to provide significant ocean exchange for short-term water quality benefits, but not long enough to excessively alter beach erosion and sand transport into the lagoon.

Causeway Modification: In 2018, the IRL National Estuary Program, in partnership with the Canaveral Port Authority, worked with the Florida Institute of Technology to assess the potential for modifications of the State Road 528 and State Road 520 causeways and bridge structures to enhance circulation in the northern portion of the Banana River Lagoon and adjacent North IRL. The Florida Institute of Technology used the United States Army Corps of Engineers Coastal Modeling System for this evaluation (Zarillo, 2018).

The model was set up to reproduce the physical conditions of 2015 to ensure the model was well calibrated. Measured data, including water levels, freshwater inflows, wind velocity, and topography, were used to drive the model. Nine model tests were performed to represent current conditions and scenarios with hypothetical bridge spans over the Banana River Lagoon and North IRL. Three of the model tests included flow relief structures embedded in the State Road 528 and State Road 520 causeways. The tests were run using numerical tracer dye concentration throughout the model domain to track the dye concentration reduction throughout the model simulation. Circulation in the model occurred through ocean exchanges though the Sebastian Inlet, freshwater inflows, and wind (Zarillo 2018).

The model results indicated that modifying the bridge and causeway structures would have a detectible influence on exchange rates within the Banana River Lagoon and North IRL. Longer bridge spans over the Banana River Lagoon along State Road 528 combined with longer bridge spans over State Road 520 resulted in a 10% net reduction in the dye concentration in the Banana River Lagoon between State Road 528 and State Road 520 at the end of the 340-day model run. The net improvement in exchange in the Banana River Lagoon immediately to the north of State Road 528 was predicted to be 5%, if bridge spans are present on both state roads. The study concluded that a significant improvement in exchange in the Banana River Lagoon study area and adjacent North IRL would require bridge spans on both State Road 520 and State Road 528 (Zarillo, 2018).

In 2019, Dr. Zarillo expanded his circulation model to include Mosquito Lagoon and the ocean inlet at New Smyrna instead of a closed boundary at Haulover Canal. This expanded model was run again to estimate the impact of causeways on residence time in various compartments of the IRL. In this study, longer bridge spans over the Banana River Lagoon along State Road 528 and State Road 520 resulted in a 17% net reduction in the dye concentration in the Banana River Lagoon between State Road 528 and State Road 520 at the end of the 340-day model run. The net improvement in exchange in the Banana River Lagoon immediately to the north of State Road 528 was predicted to be 8% and exchange within Sykes Creek improved by 20% (Zarillo, 2019).

In response to the 2019 model results, the St. Johns River Water Management District offered to use their state-of-the-art ecological modeling tools to quantify water quality improvements and algal bloom reductions anticipated from the proposed causeway modifications. At the request of Brevard County, Port Canaveral, and IRL National Estuary Program, the Florida Department of Transportation agreed to pause their causeway widening project for six months until the ecological impacts could be estimated and evaluated. The modeling results confirmed the improvement in residence time identified in Dr. Zarillo's modeling but found little corresponding change in chlorophyll a concentrations (St. Johns River Water Management District, 2020).

## Projects to Restore the Lagoon

Another component of this plan is to implement projects that will restore important, filtering ecosystem services within and adjacent to the lagoon to improve water quality and resilience. Oyster reefs provide ecosystem services including improved water quality, shoreline stabilization, carbon burial, and habitat (Grabowski et al., 2012). Creating oyster bars and planting shorelines with natural vegetation will help to filter excess nutrients and suspended solids from the lagoon (Grizzle et al., 2008; Reidenbach et al., 2013), which will improve water quality, allowing for seagrass growth (Newell and Koch, 2004) and may reduce the number and severity of algal blooms in the lagoon system. Oyster bars and planted shorelines also create habitat for more than 300 different lagoon species. These types of projects take years before the full benefits are seen in the lagoon as it takes some time for the oysters and vegetation to grow and become established.

The sections below summarize the oyster restoration and planted shoreline projects that are proposed, as well as considerations for seagrass planting.

### Oyster Restoration

The primary mechanism by which oyster bars remove nitrogen is by increasing local denitrification rates.

In addition to the fisheries value of oysters, they provide a variety of nonmarket ecosystem services, with a combined estimated economic value between $5,500 and $99,000 per hectare per year (Grabowski et al., 2012). Restored oyster bars have been shown to result in a positive net effect on the removal and sequestration of nitrogen compared to unrestored sites. As nitrogen is a major contributor to algal blooms and resulting increased turbidity, removal of nitrogen from the system often yields water quality benefits. The nitrogen is removed through three pathways: (1) assimilation of the nitrogen in the shell and tissues of the oysters, (2) enhanced burial of nitrogen into the sediments surrounding oyster bars, and (3) conversion to gaseous form with return to the atmosphere through microbe-related denitrification (zu Ermgassen, 2016).

The primary mechanism by which oysters remove nitrogen from the system is by increasing local denitrification rates (Grabowski et al., 2012). While the impacts of oyster bars may be localized, they also influence the larger ecosystem. For example, a study by Sharma et al. (2016) found that even with limited bio-filtration and nonsignificant reef effects on water velocity, there was a “shadow” effect on seagrass beds between the reef and shoreline, which resulted in higher localized seagrass area five years after deployment relative to other nearby areas. Further, in a study by Kroeger (2012), it was noted that the eastern section of Mobile Bay had experienced harmful algal blooms that caused fish kills. These conditions occur in the summer months when denitrification by restored oysters would be highest. Therefore, the nitrogen removal associated with the oyster bar project in the bay may make a noticeable contribution to the local water quality by avoiding peak nitrogen concentrations that may trigger algal blooms. In a study by Kellogg et al. (2013), the denitrification rates associated with oyster bars from various studies were documented. Based on these studies, the average effect of denitrification rate is 291 micromoles of total nitrogen (TN) per square meter per hour, which equates to 0.04 pounds of TN per square meter per year (161.9 pounds of TN per acre per year). A 2017 study was also conducted in the Mosquito Lagoon to determine the local benefits from oyster bed restoration. This study found that the average denitrification rate is 450 kilograms of TN per hectare per year (401.5 pounds of TN per acre per year) and measured nitrogen sequestration in oyster tissues and shells is 0.04 pounds of TN per square foot, which equates to 4,741.1 pounds of TN per acre per year (Schmidt and Gallagher, 2017).

The focus for oyster restoration in the Indian River Lagoon (IRL) system is to provide filtration, sequestration, denitrification, and scour protection along the shoreline (see Section 4.3.2 for details on scour protection). The goal is not to restore historical oysters in the system because information is not available on where oysters were historically located. In addition, seagrass are a more critical component of the system, so restoration efforts aim to use the beneficial aspects of oysters in protecting seagrass from waves and increasing light availability (Newell and Koch, 2004) while minimizing the competition for space. Therefore, sites are evaluated for relative seagrass and oyster habitat requirements such as salinity, depth, and bottom type. Further detailed metrics for site selection and success criteria are currently under development. Oyster bars may be constructed in submerged areas deeper than seagrass or as narrow bars along the shoreline to act as a living wave break to reduce erosion.

The oysters from the Oyster Gardening Program have been used to develop several pilot bars and demonstration sites in the IRL. In fiscal year 2014–2015, the County received a $410,000 appropriation from the Florida Legislature for the Indian River Lagoon Oyster Restoration Project. This pilot study was completed in fall 2016. The design of oyster wave breaks funded by the Save Our Indian River Lagoon tax is based on monitoring results from the pilot bars and wave tank studies at Florida Institute of Technology that tested the oyster bar stability and wave attenuation of different designs. From these studies the importance of reef location and seasonal water depth (Anderson, 2016) as well as the ability of the reef to act as a wave break (Weaver et al., 2017) were highlighted.

To create enough oyster bar area to filter the volume of lagoon water annually, approximately 20 miles (105,600 feet) of oyster bars is needed with a width of six feet. These bars will be placed throughout the IRL system along mosquito impoundments, parks, and private properties where owners want to participate. Based on the pilot project costs and knowing that larger bars will be constructed more efficiently (using information from the pilot projects), it is estimated that the 20 miles of oyster bars could be constructed at a cost of $10 million.

With the recent study on oyster bars in the IRL system (Schmidt and Gallagher, 2017), the benefits associated with oyster bars versus planted shorelines could be delineated. For the proposed oyster bar along 20 miles (105,600 feet) of shoreline with a width of six feet (total of 633,600 square feet), the estimated reductions are 25,344 pounds per year (lbs/yr) of TN and 906 lbs/yr of total phosphorus (TP). These estimates are based on the estimated TN reduction rate of 0.04 pounds of TN per square foot of oyster bar from Schmidt and Gallagher 2017 and the estimated TP reduction rate of 0.001 pounds of TP per square foot of oyster bar from Kellogg et al. (2013). The projects for oyster bar restoration are summarized in Table 435.

Table 435: Projects for Oyster Restoration

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Reduction | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Reduction | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Original | 2016-55 | Banana River Lagoon Oyster Bars* | Brevard County | Banana | 7,986 | $395 | 200 | $15,755 | $3,151,051 |
| Original | 2016-56 | North IRL Oyster Bars* | Brevard County | North IRL | 7,439 | $395 | 186 | $15,780 | $2,935,159 |
| Original | 2016-57 | Central IRL Oyster Bars* | Brevard County | Central IRL | 1,194 | $395 | 30 | $15,705 | $471,137 |
| 2018 | 75 | Marina Isles Oyster Bar+ | Brevard Zoo | Banana | 60 | $445 | 20 | $1,335 | $26,700 |
| 2018 | 76 | Bettinger Oyster Bar+ | Brevard Zoo | Banana | 24 | $445 | 8 | $1,335 | $10,680 |
| 2018 | 78a | McNabb Park Oyster Bar+ | City of Cocoa Beach | Banana | 72 | $473 | 24 | $1,419 | $34,056 |
| 2018 | 79 | Gitlin Oyster Bar+ | Brevard Zoo | Banana | 36 | $445 | 12 | $1,335 | $16,020 |
| 2018 | 80 | Coconut Point/Environmentally Endangered Lands Oyster Bar+ | Brevard Zoo | Central IRL | 96 | $470 | 2 | $22,560 | $45,120 |
| 2018 | 81 | Wexford Oyster Bar+ | Brevard Zoo | Central IRL | 70 | $445 | 24 | $1,298 | $31,150 |
| 2018 | 82a | Riverview Park Oyster Bar+ | City of Melbourne | Central IRL | 230 | $473 | 78 | $1,395 | $108,790 |
| 2018 | 83 | Bomalaski Oyster Bar+ | Brevard Zoo | North IRL | 20 | $445 | 7 | $1,271 | $8,900 |
| 2018 | 73 | Riverview Senior Resort Oyster Bar+ | Brevard County | Central IRL | 77 | $394 | 2 | $15,152 | $30,304 |
| 2019 | 104 | Brevard Zoo Banana River Oyster Project+ | Brevard Zoo | Banana | 1,476 | $395 | 37 | $15,757 | $583,020 |
| 2019 | 105 | Brevard Zoo Central IRL Oyster Project+ | Brevard Zoo | Central IRL | 408 | $395 | 10 | $16,116 | $161,160 |
| 2019 | 106 | Brevard Zoo North IRL Oyster Project+ | Brevard Zoo | North IRL | 864 | $395 | 22 | $15,513 | $341,280 |
| 2020 | 139 | Brevard Zoo North IRL Oyster Project 2+ | Brevard Zoo | North IRL | 841 | $400 | 21 | $16,019 | $336,400 |
| 2020 | 140 | Brevard Zoo Central IRL Oyster Project 2+ | Brevard Zoo | Central IRL | 677 | $400 | 17 | $15,929 | $270,800 |
| 2020 | 141 | Brevard Zoo Banana River Oyster Project 2+ | Brevard Zoo | Banana | 662 | $400 | 17 | $15,576 | $264,800 |
| 2020 | 142 | Brevard Zoo Oyster Reef Adjustments North IRL+ | Brevard Zoo | North IRL | 68 | $400 | 2 | $13,600 | $27,200 |
| 2020 | 143 | Brevard Zoo Oyster Reef Adjustments Banana River+ | Brevard Zoo | Banana | 32 | $400 | 1 | $12,800 | $12,800 |
| 2021 | 184 | Brevard Zoo North Indian River Lagoon Oyster Project 3+ | Brevard Zoo | North IRL | 1,056 | $397 | 26 | $16,124 | $419,232 |
| 2021 | 185 | Brevard Zoo Central Indian River Lagoon Tributary Pilot Oyster Project+ | Brevard Zoo | Central IRL | 581 | $397 | 15 | $15,377 | $230,657 |
| 2021 | 186 | Brevard Zoo North Indian River Lagoon Individual Oyster Project+ | Brevard Zoo | North IRL | 436 | $397 | 11 | $15,736 | $173,092 |
| 2021 | 187 | Brevard Zoo Central Indian River Lagoon Oyster Project 3+ | Brevard Zoo | Central IRL | 218 | $397 | 5 | $17,309 | $86,546 |
| 2021 | 188 | Brevard Zoo Banana River Oyster Project 3+ | Brevard Zoo | Banana | 143 | $397 | 4 | $14,193 | $56,771 |
| - | - | Total | - | - | 24,766 | $397 (average) | 781 | $12,590 (average) | $9,832,825 |

Note: The projects highlighted in green and marked with an asterisk were identified in the original plan. The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update. As specific project locations are added each year, the amount of funding for the original projects is reduced accordingly to keep the total funding allocation constant for projects that restore natural filtration processes (including oyster, clam, and planted shoreline projects).

### Planted Shorelines

Typically, efforts to protect shorelines have involved hardened structures, such as seawalls, rock revetments, or bulkheads, to dampen or reflect wave energy. Although these types of structures may mitigate shoreline retreat, they accelerate scour and the ecological damages that result can be great (Scyphers et al., 2011). The planted shoreline approach incorporates natural habitats into a shoreline stabilization design; maintains the connectivity between aquatic, intertidal, and terrestrial habitats; and minimizes the adverse impacts of shoreline stabilization on the estuarine system. These efforts range from maintaining or transplanting natural shoreline vegetation without additional structural components to incorporating shoreline vegetation with hardened features, such as rock sills or oyster bars, in settings with higher wave energy (Currin et al., 2010). Selection of the most appropriate management system begins with a site analysis to evaluate the type of shoreline, amount of energy that a shoreline experiences, sediment transport forces, type and location of ecological resources, and adjacent land uses (Restore America’s Estuaries, 2015).

Oyster bars can function as natural breakwaters, in addition to providing nutrient removal benefits through denitrification, as noted in Section 4.3.1. The rate of vertical oyster bar growth on unharvested bars (2–6.7 centimeters per year) is greater than predicted sea-level rise rate (2–6 millimeters per year); therefore, bars could serve as natural protection against shoreline erosion, shoreline habitat loss, and property damage and loss along many estuarine shorelines (Ridge et al., 2017). Oyster bars reduce erosion of other estuarine habitats such as salt marshes and submerged aquatic vegetation by serving as a living breakwater that attenuates wave energy and stabilizes sediments (Grabowski et al., 2012).

As part of a study for the Chesapeake Bay, Forand et al. (2014) evaluated the pollutant load reductions from planted shoreline projects in the area. The results of this evaluation are shown in Table 436, and were used to update the United States Environmental Protection Agency Chesapeake Bay Program Office estimate of the total nitrogen (TN) and total phosphorus (TP) reductions per foot of planted shoreline. It is important to note that the information in this table is from states up north where temperatures become much cooler for longer periods of time than what occurs in Brevard County. Therefore, the benefits associated with planted shorelines in the Indian River Lagoon (IRL) system will likely be greater than those estimated here.

Table 436: Pollutant Load Reductions for Shoreline Management Practices

| Source | TN (pounds per foot per year) | TP (pounds per foot per year) | Study Location |
| --- | --- | --- | --- |
| Ibison 1990 | 1.65 | 1.27 | Virginia |
| Ibison 1992 | 0.81 | 0.66 | Virginia |
| Proctor 2012 | Not applicable | 0.38 or 0.29 | Virginia |
| Maryland Department of the Environment 2011 | 0.16 | 0.11 | Maryland |
| Baltimore County mean (Forand 2013) | 0.27 | 0.18 | Maryland |
| Chesapeake Bay Program Office Scenario Builder 2012 | 0.02 | 0.0025 | Chesapeake Bay Program policy threshold that comes from one stream restoration site in Maryland |
| New Interim Chesapeake Bay Program Office Rate (Expert Panel, 2013) | 0.20 | 0.068 | Chesapeake Bay Program Office policy thresholds that comes from six stream restoration sites |

Note: Table is from Forand et al., 2014.

The estimated nutrient reductions from planted shorelines can be calculated using Chesapeake Bay Program Office recommended rates of 0.2 pounds of TN per linear foot and 0.068 pounds of TP per linear foot (Forand et al., 2014.), which is for an average planting width of 24 feet. These values were adjusted for the proposed average planting width of eight feet, which results in a reduction of 0.067 pounds of TN per linear foot and 0.023 pounds of TP per linear foot. Shoreline planting projects can be combined with oyster bar breakwater projects or they may be conducted along separate stretches of shoreline. At this time, the plan does not recommend a total length of planted shoreline. Planted shoreline projects will be considered for funding annually as partners submit projects for the plan. A cost-share of $16 per linear foot of shoreline, planted in eight-foot wide swaths, was established by using typical nursery installation costs and standard canopy dimensions for native shoreline species found in Brevard County. This equates to $240 per pound of nitrogen reduced by shoreline plantings.

The County conducted a survey of the shorelines, in conjunction with the University of Central Florida, to determine if the shoreline included a bulkhead/seawall, hardened slope/riprap, or no structure to help identify potential locations for future oyster bars and planted shorelines (Donnelly et al., 2018) (Figure 430).

Table 437 summarizes the approved projects for planted shorelines and the estimated load reductions in pounds per year (lbs/yr).

Figure 430: Shoreline Survey to Identify Locations Appropriate for Oyster Bars and Planted Shorelines

Figure 430 Long Description

Table 437: Projects for Planted Shorelines

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Reduction | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Reduction | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2018 | 77a | Cocoa Beach Country Club Planted Shoreline+ | Marine Resources Council | Banana | 67 | $239 | 23 | $696 | $16,014 |
| 2018 | 77b | Lagoon House Shoreline Restoration Planting+ | Marine Resources Council | Central IRL | 100 | $240 | 34 | $705 | $23,961 |
| 2018 | 78b | McNabb Park Planted Shoreline+ | City of Cocoa Beach | Banana | 24 | $240 | 8 | $720 | $5,760 |
| 2018 | 82b | Riverview Park Planted Shoreline+ | City of Melbourne | Central IRL | 77 | $240 | 26 | $711 | $18,480 |
| 2019 | 102 | Brevard Zoo Banana River Plant Project+ | Brevard Zoo | Banana | 13 | $240 | 4 | $780 | $3,120 |
| 2019 | 103 | Brevard Zoo North IRL Plant Project+ | Brevard Zoo | North IRL | 3 | $240 | 1 | $720 | $720 |
| 2020 | 130 | Brevard Zoo North IRL Plant Project 2+ | Brevard Zoo | North IRL | 41 | $240 | 14 | $703 | $9,840 |
| 2020 | 131 | Brevard Zoo Central IRL Plant Project+ | Brevard Zoo | Central IRL | 8 | $240 | 3 | $640 | $1,920 |
| 2020 | 132 | Brevard Zoo Banana River Plant Project 2+ | Brevard Zoo | Banana | 2 | $240 | 1 | $480 | $480 |
| 2020 | 133 | Fisherman's Landing+ | Marine Resources Council | Central IRL | 20 | $240 | 7 | $686 | $4,800 |
| 2020 | 135 | Rotary Park+ | Marine Resources Council | Central IRL | 20 | $240 | 7 | $686 | $4,800 |
| 2021 | 180 | Scottsmoor Impoundment+ | Marine Resources Council | North IRL | 44 | $240 | 15 | $704 | $10,560 |
| 2021 | 181 | Riveredge+ | Marine Resources Council | North IRL | 17 | $240 | 6 | $680 | $4,080 |
| 2021 | 182 | Newfound Harbor Drive+ | Marine Resources Council | Banana | 7 | $240 | 2 | $840 | $1,680 |
| 2021 | 183 | Brevard Zoo North Indian River Lagoon Plant Project 3+ | Brevard Zoo | North IRL | 4 | $240 | 1 | $960 | $960 |
| - | - | Total | - | - | 447 | $240 (average) | 152 | $705 (average) | $107,175 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Clam Restoration and Aquaculture

Another potential tool for nutrient extraction, scour prevention, and water filtration in the Indian River Lagoon (IRL) is through clam aquaculture and restoration. Like oysters, clams can remove nitrogen from a system by burying it in sediments and enhancing the denitrification process through increased microbial activity in biodeposits (Clements and Comeau, 2019). The harvesting of clam shells and tissues can also extract nitrogen, as bivalves directly incorporate nitrogen (i.e., from consumption of phytoplankton and detritus; not dissolved nitrogen in the water) into their tissues and shells (Clements and Comeau, 2019).

Studies suggest that bivalve aquaculture has the potential to stimulate rates of denitrification equal to that of wild oyster beds and that the impacts of biodeposition from aquaculture are minimal (Clements and Comeau, 2019). The culture gear (bags, cover netting) used by growers creates a favorable environment for a myriad of plants and animals, such as juvenile fish and crabs, by providing habitat, substrate, and protection. This is especially significant since shellfish aquaculture leases can only be located in areas of the lagoon that undergo a resource survey to ensure the site is devoid of seagrasses and other marine life.

The exploration of clam aquaculture in Brevard County as a mitigation tool to extract excess nutrients from the IRL is warranted. According to the University of Florida Clam Farm Benefits Calculator, a single littleneck clam can filter 4.5 gallons of seawater per day and remove 0.09 grams of nitrogen when harvested. Therefore, in 2020, the Citizen Oversight Committee approved allocating $60,000 in funds to stimulate bivalve aquaculture in Brevard County. This funding would be used to sponsor 10 farms with up to $6,000 per farmer to plant up to 500,000 clams each. The funding would help to offset licensure, lease, and/or material costs. It is estimated that the clams from this stimulus project would remove 1,000 lbs/yr of TN at a cost of $60 per pound of TN (Table 438). This program will also help promote education directed toward awareness of local aquaculture industries and their dependence on water quality to create mindfulness of the effects of eutrophication in a visceral, practical way. IRL clam restoration may lead to opportunities for successful partnerships with local clam farmers. Public sentiment toward clam restoration has been positive and the nutrient-removal aspects of shellfish aquaculture align with the Plan’s goals.

In addition, a statewide partnership aims to restore clams in the IRL using genetic stock able to withstand the unfavorable condition of an algae bloom-ridden lagoon. The IRL Clam Restoration project is a cooperative venture between the Coastal Conservation Association, Florida Fish and Wildlife Conservation Commission, University of Florida Whitney Lab, Brevard Zoo, and Florida Oceanographic Society. They collected brood stock living in the IRL, spawned them, and have begun outplanting these “super clams” in bags or under cover netting to strategic locations in the IRL (based upon historical sites and current water quality trends) including existing partner habitat restoration and commercial lease areas. Next steps include tracking survivorship and growth. One final goal is to establish brood stock that will serve as the optimized variety (phenotype) lines for further stock enhancement.

In 2020, grant funding was requested (but has not yet been secured) to outplant super clam progeny at 100 sites throughout the lagoon. The sites would be a combination of private properties and public locations so that volunteers can assist with restoration. This project would help to obtain information on survival rates in different locations to improve restoration efforts.

Table 438: Projects for Clam Restoration

| Year Added | Project Number | Project Name | Responsible Entity | Sub-lagoon | TN Reduction (lbs/yr) | Cost per Pound per Year of TN Reduction | TP Reduction (lbs/yr) | Cost per Pound per Year of TP Reduction | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2021 | 194 | Aquaculture Stimulus Project+ | Brevard County | All | 1,000 | $60 | Not applicable | Not applicable | $60,000 |
| - | - | Total | - | - | 1,000 | $60 | Not applicable | Not applicable | $60,000 |

Note: The projects highlighted in tan and marked with a plus sign were added to the plan as part of an annual update.

### Seagrass Planting

The original Indian River Lagoon (IRL) Surface Water Improvement and Management Plan of 1989, as well as subsequent management plans up to and including the current basin management action plans, target a healthy, estuarine ecosystem populated by seagrasses. Seagrasses provide crucial benefits to Florida’s estuaries by providing food and shelter to a variety of animals, improving water quality, and preventing erosion of sediment (Orth et al., 2006). In total, the lagoon’s 72,000 acres of seagrass could provide an economic benefit of more than $900 million per year (Figure 431; Dewsbury et al., 2016).

Note: Adapted from Dewsbury et al., 2016

Figure 431: Estimated Economic Value of Some Seagrass Services

Figure 431 Long Description

One key ecological role for seagrasses is to absorb and cycle nitrogen and phosphorus (Romero et al., 2006). Seagrasses do not remove these nutrients permanently, but they compete for them against phytoplankton and macroalgae and hold them longer. By stabilizing the cycling of nutrients, seagrasses can increase a system’s ability to absorb nutrient loads without the initiation of detrimental blooms of phytoplankton or macroalgae (Schmidt et al., 2012). The contribution of seagrasses can be evaluated by examining the quantity of nutrients bound in its aboveground and belowground structures (its mass of biological material or biomass), with this approach treating uptake and release of nutrients as offsetting components of the nutrient cycle (Table 439).

Table 439: Average Nutrients in Seagrass from 1996-2009

| Sub-lagoon | Acres | Seagrass (pounds per 100 acres) | Nitrogen (pounds per 100 acres) | Phosphorus (pounds per 100 acres) |
| --- | --- | --- | --- | --- |
| Southern Mosquito Lagoon | 14,000 | 45,000 | 1,000 | 100 |
| Banana River Lagoon | 21,000 | 45,000 | 1,000 | 100 |
| North IRL | 19,000 | 37,000 | 900 | 90 |
| Central IRL | 7,000 | 36,000 | 900 | 90 |

Seagrass restoration may be necessary because more than 30,000 acres of seagrasses were shaded to the point of loss during the superbloom in 2011, recovery has been limited, and the brown tide in 2016 exacerbated the situation. In fact, the Banana River Lagoon in Brevard County experienced the largest initial losses of seagrass (Appendix C). The absence of seagrasses has made the sediments less stable, which will hamper future colonization and spread. After the loss of seagrass, nitrogen and phosphorus became available to phytoplankton, drift algae, and other primary producers (Table 440). Seagrasses may need some help to recover in the short-term, with more rapid recovery helping to stabilize nutrient cycling and reducing the amount of nutrients available to phytoplankton. Measures that could help seagrasses recover include protecting existing seagrass to promote expansion or protecting areas from waves to reduce the movement of sediment and allow seagrasses to colonize. Planting Halodule wrightii would be the initial focus because planting may accelerate recovery, as Halodule wrightii is the most common species in the lagoon (Dawes et al., 1995), and this species is a successful pioneer due to its relatively rapid growth and tolerance of varying conditions.

Table 440: Average Seagrass Lost and Nutrients Made Available to Other Primary Producers in 2015

| Sub-lagoon | Reduction in Acres | Seagrass Reduction* (pounds per 100 acres) | Nitrogen Reduction (pounds per 100 acres) | Phosphorus Reduction (pounds per 100 acres) |
| --- | --- | --- | --- | --- |
| Southern Mosquito Lagoon | 0 | 15,000 | 300 | 30 |
| Banana River Lagoon | 12,000 | 37,000 | 900 | 90 |
| North IRL | 1,000 | 8,000 | 200 | 20 |
| Central IRL | 4,000 | 20,000 | 500 | 50 |

* Changes in seagrass cover yield changes in biomass of seagrass within the same number of acres.

Planting seagrass is not a trivial undertaking; it requires considerable planning, resources, and time. For example, having suitable conditions is critical as shown in Tampa Bay where stakeholders invested more than $500 million in projects to reduce nutrient pollution before they saw any return from planting seagrass (Lewis et al., 1999). Costs documented during a workshop on seagrass restoration ranged upward of $1.4 million per acre for larger scale projects (Treat and Lewis, 2006). Some of the lessons learned from past projects are selecting sites that will support seagrass growth, employing optimal methods for planting (e.g., type of planting units, use of chemicals to enhance growth, and density of initial planting), and protecting newly planted seagrass from disturbance (e.g., grazing, waves, exposure, and low salinity) until it is established. These factors must be tailored to a specific location; therefore, one or more pilot studies are needed prior to attempting full-scale seagrass restoration.

A proposed two-year pilot study would evaluate 10 acres of seagrass using three planting techniques with the goal of sequestering 80 pounds per year (lbs/yr) of total nitrogen (TN) and 8 lbs/yr of total phosphorus (TP). The costs for this study are summarized in Table 441, and the three planting techniques that would be evaluated are shown in Figure 432. The first technique is the Jeb unit in which approximately three to five shoots with their rhizomes in a biodegradable pellet filled with a growth medium would be installed by hand or planted mechanically. The encapsulated rhizomes resist uprooting, and they can be produced in large quantities relatively quickly and transported easily. The second technique is the peat pot in which approximately 25 shoots will be rooted in a four-inch pot. The relatively large pot and well-rooted shoots yield protection from uprooting due to grazing or loss due to moving sediment. However, the units take more time to grow and plant. The third technique is the safe pot in which approximately 25 shoots will be wrapped in a three-inch coconut coir pot. The unit provides protection from grazing pressure and sediment transport.

Similar or more complex pilot studies could be designed to investigate other key components of successful restoration. Overall, successful seagrass planting at the scale of tens of thousands of acres will benefit from strategic investment in optimizing techniques. Appendix C includes additional details about seagrass. The seagrass planting pilot project is not recommended at this time due to inadequate water quality conditions throughout much of the lagoon. As conditions improve, opportunities to test seagrass planting techniques will be evaluated.

Table 441: Costs for Pilot Study to Evaluate Seagrass Planting Techniques

| Task | Quantity | Unit Cost | Total Cost |
| --- | --- | --- | --- |
| Design and permit | 1 | $50,000 | $50,000 |
| Install linear feet of breakwater | 100 | $550 | $55,000 |
| Deploy planting units | - | - | - |
| Technique 1: Jeb units | 30,000 | $4 | $120,000 |
| Technique 2: Peat pots | 1,940 | $5 | $9,700 |
| Technique 3: Safe pots | 2,420 | $9 | $21,780 |
| Herbivore excluders | 220 | $369 | $81,180 |
| Install herbivore excluders | 1 | $37,000 | $37,000 |
| Remove herbivore excluders | 220 | $44 | $9,680 |
| Maintain sites and enhance sediment monthly | 24 | $14,080 | $337,920 |
| Monitor quarterly | 8 | $1,000 | $8,000 |
| Final report | 1 | $3,000 | $3,000 |
| Total | Not applicable | Not applicable | $733,260 |

Figure 432: Types of Seagrass Planting Units for Pilot Study, Jeb Unit (left), Peat Pot (middle), and Safe Pot (right)

## Projects to Respond to New Information

The funding raised from the Save Our Indian River Lagoon sales tax will go towards the projects listed in the sections above that will reduce or remove pollutants and restore the lagoon. In addition, $10 million of the funding, over a period of 10 years, will go towards monitoring efforts to measure the success, nutrient removal efficiency, and cost effectiveness of projects included in this plan and in future updates of this plan. Measuring effectiveness is important for reporting progress toward total load reduction targets and for refining project designs to be more effective with each iteration. The monitoring data will be used to determine which projects are providing the most benefit in the most cost-effective manner so that the plan can be updated, as needed. The data will also be used to ensure the lagoon is responding as anticipated to the reductions made so that changes to the plan can be implemented if the lagoon is not responding as expected.

### Adaptive Management to Report, Reassess, and Respond

The Indian River Lagoon (IRL) is located along the Space Coast, which is also known as a global center for exploration, innovation, and development of cutting edge technology. With a dedicated funding source and a brilliant community dedicated to meeting the challenges of today and tomorrow, it is wise to have a process that allows this plan to be updated and revised as new opportunities and better solutions are developed. The intent of the proposed adaptive management strategy is to provide a process that not only allows but also fosters the development and implementation of better tools and techniques and allows the tax rate to be reduced accordingly or retired ahead of schedule.

Although this plan was developed with the best information available in 2016, identifying the sources of water quality pollution and pairing those problems with the most timely and cost-effective solutions is a rapidly changing field of knowledge. To respond to change and take advantage of future opportunities, monitoring is necessary. Even without change in the industry, monitoring will provide data to support and refine the application of existing technology. An adaptive management approach is used to provide a mechanism to make adjustments to the plan based on new information. As projects from this plan are implemented, the actual costs and nutrient reduction benefits will be tracked, and the plan will be modified, as needed, as project performance in the lagoon basin is better understood.

This plan will be updated approximately annually with information from implemented projects and adjustments to the remaining projects. A volunteer committee of diversely skilled citizens has been assembled to assist the County with the annual plan updates. The Citizen Oversight Committee consists of seven representatives and seven alternates that represent the following fields of expertise: science, technology, economics/finance, real estate, education/outreach, tourism, and lagoon advocacy. The League of Cities nominated representatives for three fields of expertise and nominated alternates for the remaining four fields of expertise. The Brevard County Board of County Commissioners nominated representatives for the other four fields of expertise and alternates for the remaining three fields of expertise. All Citizen Oversight Committee representatives and alternates were appointed by the Brevard County Board of County Commissioners. Appointees serve for two-year terms, after which time they may be considered for reappointment or replacement. The first term ended in February 2019 and the second term ended in February 2021. The Committee’s recommendations for plan updates will be presented at least annually to the Board of County Commissioners, and changes to the plan will be approved by the Board of County Commissioners.

Brevard County staff provides project monitoring reports to the Citizen Oversight Committee and works with them to recommend adjusting the planned projects, as needed. The adaptive management process allows for alternative projects to be submitted by the county, municipalities, and other community partners to be reviewed by the Citizen Oversight Committee for inclusion in the next annual update to this plan. Projects that deliver comparable nutrient removal benefits may be approved for inclusion in the plan. If a new approved project costs more than the average cost per pound of total nitrogen (TN) for that project type listed in this plan at the time of project submittal, the requesting partner must provide the balance of the costs. The requesting partner will be allowed reasonable overhead cost to manage the project from design and permitting through construction completion.

As projects are implemented, progress toward meeting the County's proposed revisions to the total maximum daily loads are being tracked. Adjustments to the types and locations of projects implemented will be made to ensure that total maximum daily loads can be achieved in all Brevard County portions of the lagoon.

### Cost-share for Substitute Projects

For the 2021 Update, local municipalities and partners were once again invited to submit new projects for inclusion in the Save Our Indian River Lagoon Project Plan. The projects submitted were required to deliver comparable nutrient removal benefits as those projects listed in the original plan and plan updates for each sub-lagoon.

The requesting partners each submitted a “Save Our Indian River Lagoon Project Plan Project Submittal Request” to Brevard County for review of the proposed projects. The project requests were provided to the Citizen Oversight Committee to evaluate the potential for inclusion in the plan. The projects recommended by the Citizen Oversight Committee were included in the draft plan update presented to the Brevard County Board of County Commissioners for approval.

To determine the amount of funding that a project would be eligible to receive from the Save Our Indian River Lagoon Trust Fund, the estimated total nitrogen (TN) reductions from the project were multiplied by the allowable cost per pound per year of TN shown below in Table 442 for that project type. The costs shown in Table 442 were included in the application instructions provided to the partners in July 2020 and were an average of the actual or engineer’s estimate of cost per pound of TN removed from the projects previously listed in the Save Our Indian River Lagoon Project Plan, as amended, or comparable projects recently planned or completed elsewhere in the Indian River Lagoon (IRL) watershed.

Table 442: Cost-share Offered for Project Requests Submitted for the 2021 Update

| Project Type | Average Cost per Pound per Year of TN |
| --- | --- |
| Wastewater Treatment Facility (WWTF) Upgrades for Reclaimed Water | $343 |
| Sewer Lateral Rehabilitation | $255 |
| Rapid Infiltration Basin/Sprayfield Upgrades | $136 |
| Septic System Removal by Sewer Extension | $1,500 |
| Septic System Removal by Sewer Connection | $487 |
| Septic System Upgrades | $770 |
| Stormwater Projects | - |
| Mainland | $122 |
| Merritt Island | $163 |
| Beaches | $150 |
| Vegetation Harvesting | $110 |
| Muck Removal | $520 |
| Treatment of Muck Interstitial Water | $98 |
| Oyster Bar | $397 |
| Planted Shorelines | $240 |

### Additional Project Benefits

Although the eligible Save Our Indian River Lagoon Trust Fund contribution to new projects is determined based on the amount of total nitrogen (TN) removed, the benefits of implementing these projects include reductions in other pollutant sources, as well. These projects will reduce a multitude of different contaminates to meet water quality targets and improve the health, productivity, aesthetic appeal, and economic value of the lagoon. These additional benefits vary according to project design and site-specific conditions but often include significant reduction of pathogenic bacteria, viruses, human and animal wastes, chemicals, metals, plastics, and sediments (see Table 443).

Table 443: Pollutants Removed by Different Project Types

| Stormwater | Septic System Removal | Septic System Upgrade | Muck Removal |
| --- | --- | --- | --- |
| Nitrogen Phosphorus Sediments Escherichia coli Viruses Fecal coliform Pesticides Metals Oil Litter | Nitrogen Phosphorus Escherichia coli Viruses Fecal coliform Pharmaceuticals Biochemical oxygen demand | Nitrogen Phosphorus Escherichia coli Viruses Fecal coliform Biochemical oxygen demand | Nitrogen Phosphorus Clay sediments Hydrogen sulfide Biochemical oxygen demand |

This Save Our Indian River Lagoon Project Plan is an adaptable document informed by science and under supervision of the community. As monitoring updates our understanding of Indian River Lagoon (IRL) pollutants, the plan projects will target funds to the most successful and cost-effective projects.

### Responding to Implemented Projects

During the first years of plan implementation, dozens of projects have been completed throughout the Indian River Lagoon (IRL) system as shown in Figure 433 and Figure 434. The implementation of these projects provided new cost information and actual pollution reduction measurements used to update the project cost-effectiveness for the 2021 Update. The project costs and Save Our Indian River Lagoon Tax Fund money expended on completed projects are shown in Table 444. Table 445 summarizes the Save Our Indian River Lagoon Tax Fund money that has been contracted and/or expended on projects that are currently underway.

Table 444: Save Our Indian River Lagoon Tax Funds Expended on Completed Construction Projects (as of October 31, 2020)

| Project Number | Project | Project Type | Estimated Total Cost | Final Total Cost | Change in Total Cost | Eligible Save Our Indian River Lagoon Cost | Final Save Our Indian River Lagoon Cost | Change in Save Our Indian River Lagoon Cost |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6 | Long Point Park Denitrification | Package Plant Rapid Infiltration Basin Upgrade | $101,854.00 | $22,206.73 | -$79,647.27 | $101,854.00 | $22,206.73 | -$79,647.27 |
| 1 | Breeze Swept Septic to Sewer | Septic to Sewer | $3,400,000.00 | $3,400,000.00 | $0.00 | $880,530.00 | $880,530.00 | $0.00 |
| 2 | Merritt Island Redevelopment Agency Phase 1 Septic to Sewer* | Septic to Sewer | $3,138,098.00 | To be determined | To be determined | $128,875.00 | $128,874.70 | $0.00 |
| 99 | Cocoa Beach Water Reclamation Facility Upgrades | Wastewater Treatment Facility Upgrades | $5,920,320.00 | $6,554,233.00 | $633,913.00 | $945,000.00 | $945,000.00 | $0.00 |
| 15 | Bayfront Stormwater Ponds | Stormwater | $630,955.97 | $635,702.00 | $4,746.03 | $30,624.00 | $30,624.00 | $0.00 |
| 13 | Central Boulevard Baffle Box | Stormwater | $41,700.00 | $43,700.00 | $2,000.00 | $34,700.00 | $34,700.00 | $0.00 |
| 14 | Church Street Baffle Box | Stormwater | $233,455.00 | $233,455.00 | $0.00 | $88,045.00 | $88,045.00 | $0.00 |
| 16 | Gleason Park Reuse Expansion | Stormwater | $11,000 | $7,193.40 | -$3,806.60 | $4,224.00 | $4,224.00 | $0.00 |
| 98 | Coleman Pond Managed Aquatic Plant System | Stormwater | $35,000 | $11,437.50 | -$23,562.50 | $35,000.00 | $11,437.50 | -$23,562.50 |
| 19 | St. Teresa | Stormwater | $375,250.00 | $474,291.97 | $99,041.97 | $272,800.00 | $272,800.00 | $0.00 |
| 20 | South Street | Stormwater | $475,125.00 | $683,969.16 | $208,844.16 | $86,856.00 | $86,856.00 | $0.00 |
| 21 | La Paloma | Stormwater | $375,250.00 | $462,346.97 | $87,096.97 | $208,296.00 | $208,296.00 | $0.00 |
| 34 | Cliff Creek Baffle Box | Stormwater | $350,000.00 | $737,611.90 | $387,611.90 | $347,781.00 | $347,781.00 | $0.00 |
| 87 | Basin 2134 Fleming Grant Biosorption Activated Media | Stormwater | $172,300.00 | $169,300.00 | -$3,000.00 | $56,588.00 | $56,588.00 | $0.00 |
| 92 | Basin 115 Carter Road Biosorption Activated Media | Stormwater | $156,078.50 | $146,949.78 | -$9,128.72 | $62,510.00 | $62,510.00 | $0.00 |
| 94 | Basin 832 Broadway Pond Biosorption Activated Media | Stormwater | $269,751.16 | $269,750.16 | -$1.00 | $42,864.00 | $42,864.00 | $0.00 |
| 117 | Basin 10 County Line Road Woodchip Bioreactor | Stormwater | $180,116.00 | $166,174.16 | -$13,941.84 | $72,773.00 | $72,773.00 | $0.00 |
| 85 | Basin 1304 Bioreactor | Stormwater | $125,000.00 | $141,988.14 | $16,988.14 | $90,000.00 | $90,000.00 | $0.00 |
| 89 | Basin 1298 Bioreactor | Stormwater | $125,000.00 | $136,100.03 | $11,100.03 | $86,198.00 | $86,198.00 | $0.00 |
| 90 | Basin 51 Johns Road Biosorption Activated Media | Stormwater | $116,905.00 | $154,000.00 | $37,095.00 | $23,030.00 | $23,030.00 | $0.00 |
| 91 | Basin 100 Burkholm Road Biosorption Activated Media | Stormwater | $117,735.00 | $141,457.00 | $23,722.00 | $64,390.00 | $64,390.00 | $0.00 |
| 127 | Indialantic Basin 5 Dry Retention Pond | Stormwater | $74,700.00 | $62,718.35 | -$11,981.65 | $16,680.00 | $16,680.00 | $0.00 |
| 124 | Floating Wetlands to Existing Stormwater Ponds | Stormwater | $50,000.00 | $14,336.00 | -$35,664.00 | $1,497.00 | $1,497.00 | $0.00 |
| 2016-03 | Turkey Creek Hurricane Dredge and Interstitial Treatment | Muck Removal & Interstitial Treatment | $1,545,522.00 | $1,098,630.71 | -$446,891.29 | $215,000.00 | $137,328.81 | -$77,671.19 |
| 70 | Cocoa Beach Muck Dredging Phase III | Muck Removal | $3,109,817.57 | $2,903,356.00 | -$206,461.57 | $1,376,305.00 | $1,376,305.00 | $0.00 |
| 40 | Mims Muck Dredging Interstitial Treatment** | Interstitial Treatment | $2,162,286.00 | $1,546,186.86 | -$616,099.14 | $400,000.00 | $0.00 | -$400,000.00 |
| 73 | Riverview Senior Oyster Bar | Oyster | $30,304.00 | $30,304.00 | $0.00 | $30,400.00 | $30,304.00 | -$96.00 |
| 83 | Bomalaksi Oyster Bar | Oyster | $8,900.00 | $8,900.00 | $0.00 | $8,900.00 | $8,900.00 | $0.00 |
| 76 | Bettinger Oyster Bar | Oyster | $10,680.00 | $10,680.00 | $0.00 | $10,680.00 | $10,680.00 | $0.00 |
| 79 | Gitlin Oyster Bar | Oyster | $16,020.00 | $16,020.00 | $0.00 | $16,020.00 | $16,020.00 | $0.00 |
| 75 | Marina Isles Oyster Restoration | Oyster | $26,700.00 | $26,700.00 | $0.00 | $26,700.00 | $26,700.00 | $0.00 |
| 80 | Brevard Zoo Coconut Point/Environmentally Endangered Lands Oyster Restoration | Oyster | $45,120.00 | $45,120.00 | $0.00 | $45,120.00 | $45,120.00 | $0.00 |
| 77a | Cocoa Beach Country Club Living Shoreline | Living Shoreline | $16,080.00 | $16,080.00 | $0.00 | $16,080.00 | $16,080.00 | $0.00 |
| 77b | Lagoon House Living Shoreline | Living Shoreline | $24,000.00 | $24,000.00 | $0.00 | $24,000.00 | $24,000.00 | $0.00 |
| 103 | Brevard Zoo North Plant Project | Living Shoreline | $720.00 | $720.00 | $0.00 | $720.00 | $720.00 | $0.00 |
| 133 | Fisherman's Landing Living Shoreline | Living Shoreline | $4,800.00 | $4,800.00 | $0.00 | $4,800.00 | $4,800.00 | $0.00 |
| 135 | Rotary Park Living Shoreline | Living Shoreline | $4,800.00 | $4,800.00 | $0.00 | $4,800.00 | $4,800.00 | $0.00 |
| - | Total | - | $23,481,343.20 | $20,405,218.82 | $61,973.62 | $5,860,640.00 | $5,279,662.74 | -$580,976.96 |

* Other phases not yet completed.

** Not paid due to not meeting contract requirements.

Table 445: Save Our Indian River Lagoon Tax Funds Contracted or Expended on Projects Underway (as of October 31, 2020)

| Project Number | Project | Project Type | Save Our Indian River Lagoon Plan Funding | Save Our Indian River Lagoon Funds Contracted | Save Our Indian River Lagoon Expenditures for Projects Underway |
| --- | --- | --- | --- | --- | --- |
| 58 | Expanded Fertilizer Education | Public Education | $625,000 | $224,966 | $170,428 |
| 58 | Grass Clippings Campaign | Public Education | $200,000 | $35,000 | $20,000 |
| 58 | Septic System Maintenance Education | Public Education | $300,000 | $124,961 | $97,625 |
| 193 | Brevard Zoo Oyster Gardening | Public Education | $300,000 | $300,000 | $150,000 |
| 2016-02 | City of Titusville Osprey WWTF | WWTF Upgrade | $9,100,000 | $9,100,000 | $793,155 |
| 2016-17 | City of Palm Bay Water Reclamation Facility | WWTF Upgrade | $3,636,900 | $3,636,900 | $339,562 |
| 59 | City of Melbourne Grant Street Water Reclamation Facility | WWTF Upgrade | $6,769,500 | $6,769,500 | $0 |
| 63ab | Satellite Beach Pilot & County-wide Repair/Replacement | Sewer Laterals | $840,000 | $840,000 | $4,228 |
| 114 | Barefoot Bay Lateral Smoke Testing | Sewer Laterals | $90,000 | $90,000 | $0 |
| 115 | South Beaches Lateral Smoke Testing | Sewer Laterals | $200,000 | $200,000 | $0 |
| 116 | Merritt Island Lateral Smoke Testing | Sewer Laterals | $250,000 | $250,000 | $0 |
| 2016-48 | Sykes Creek - Zone M | Septic System Removal | $1,868,832 | $1,868,832 | $87,200 |
| 2016-47 | Sykes Creek - Zone N | Septic System Removal | $2,603,016 | $2,603,016 | $70,850 |
| 2016-49 | Sykes Creek - Zone T | Septic System Removal | $4,939,056 | $4,939,056 | $140,200 |
| 109 | City of Titusville - Zones A-G | Septic System Removal | $1,201,392 | $1,201,392 | $0 |
| 2016-50 | South Central - Zone C | Septic System Removal | $6,600,000 | $6,600,000 | $202,875 |
| 2020-34 | South Central - Zone F | Septic System Removal | $1,701,972 | $1,701,972 | $0 |
| 2016-35 | South Beaches - Zone A | Septic System Removal | $1,234,764 | $18,000 | $18,000 |
| 2 | Merritt Island Septic Phase Out Project | Septic System Removal | $320,000 | $320,000 | $233,148 |
| 61 | Riverside Drive Septic-to-Sewer Conversion | Septic System Removal | $265,960 | $265,960 | $0 |
| 62 | Roxy Avenue Septic-to-Sewer Conversion | Septic System Removal | $88,944 | $88,944 | $0 |
| 3 | Micco Sewer Line Extension | Septic System Removal | $2,038,500 | $2,038,500 | $201,681 |
| 4 | Hoag Sewer Conversion | Septic System Removal | $86,031 | $86,031 | $13,520 |
| 5 | Pennwood Sewer Conversion | Septic System Removal | $40,632 | $40,632 | $17,074 |
| 60 | Sylvan Estates Septic-to-Sewer Conversion | Septic System Removal | $1,561,215 | $1,561,215 | $764,558 |
| 2016-16 | Banana Septic System 144 Quick Connections | Septic System Removal | $1,908,000 | $0 | $0 |
| 2016-18 | North IRL Septic System 463 Quick Connections | Septic System Removal | $6,018,000 | $504,000 | $0 |
| 2016-19 | Central IRL Septic System 269 Quick Connections | Septic System Removal | $3,354,000 | $0 | $0 |
| 51 | Banana River Lagoon 100 Septic System Upgrades | Septic System Upgrades | $1,800,000 | $18,000 | $0 |
| 52 | North IRL 586 Septic System Upgrades | Septic System Upgrades | $10,548,000 | $446,100 | $176,100 |
| 53 | Central IRL 939 Septic System Upgrades | Septic System Upgrades | $16,902,000 | $700,187 | $106,187 |
| 66 | Big Muddy at Cynthia Baffle Box | Stormwater | $67,532 | $67,532 | $9,388 |
| 18 | Denitrification Retrofit of Johns Road Pond | Stormwater | $105,512 | $105,512 | $27,230 |
| 22 | Kingsmill-Aurora Phase Two | Stormwater | $367,488 | $367,488 | $0 |
| 23 | Denitrification Retrofit of Huntington Pond | Stormwater | $104,720 | $104,720 | $9,074 |
| 24 | Denitrification Retrofit of Flounder Creek Pond | Stormwater | $75,328 | $75,328 | $19,923 |
| 35 | Thrush Drive Baffle Box | Stormwater | $322,200 | $322,200 | $0 |
| 93 | Wiley Avenue Biosorption Activated Media Basin 193 | Stormwater | $82,735 | $82,735 | $0 |
| 97 | Titusville High School Baffle Box | Stormwater | $111,813 | $111,813 | $0 |
| 111 | Draa Field Vegetation Harvesting | Stormwater | $50,000 | $50,000 | $0 |
| 110 | Osprey Plant Pond Managed Aquatic Plant Systems | Stormwater | $60,000 | $60,000 | $0 |
| 112 | County Wide Stormwater Pond Harvesting | Stormwater | $14,000 | $14,000 | $0 |
| 118 | Basin 26 Sunset Road Serenity Park Woodchip Bioreactor | Stormwater | $73,810 | $73,810 | $0 |
| 119 | Basin 141 Irwin Avenue Woodchip Bioreactor | Stormwater | $69,174 | $69,174 | $0 |
| 120 | Draa Field Pond Managed Aquatic Plant Systems | Stormwater | $31,281 | $31,281 | $0 |
| 122 | Basin 22 Huntington Road Serenity Park Woodchip Bioreactor | Stormwater | $40,077 | $40,077 | $0 |
| 68 | Crane Creek/M-1 Canal Flow Restoration | Stormwater | $2,033,944 | $2,033,944 | $100,000 |
| 121 | Basin 2258 Babcock Street Woodchip Bioreactor | Stormwater | $50,203 | $50,203 | $0 |
| 169 | Sherwood Park Stormwater Quality Project | Stormwater | $392,108 | $392,108 | $0 |
| 2016-10 | Port Canaveral South & Interstitial Treatment | Muck & Interstitial | $16,834,419 | $0 | $0 |
| 2016-05 | Pineda Banana River Lagoon & Interstitial Treatment | Muck & Interstitial | $7,815,980 | $0 | $0 |
| 2016-11 | Patrick Air Force Base & Interstitial Treatment | Muck & Interstitial | $8,216,800 | $0 | $0 |
| 168 | Cocoa Beach Golf Muck & Interstitial Treatment | Muck & Interstitial | $24,363,100 | $24,363,100 | $0 |
| 41 | Grand Canal Muck & Interstitial Treatment | Muck & Interstitial | $18,020,368 | $18,020,368 | $1,853,883 |
| 42 | Sykes Creek Muck & Interstitial Treatment | Muck & Interstitial | $15,954,132 | $1,078,266 | $821,371 |
| 71 | Merritt Island Muck Removal – Phase 1 | Muck & Interstitial | $7,733,517 | $0 | $0 |
| 72 | Muck Removal of Indian Harbour Beach Canals & Interstitial Treatment | Muck & Interstitial | $9,115,415 | $9,115,415 | $0 |
| 101 | Cocoa Beach Muck Dredging Phase II-B | Muck & Interstitial | $5,917,650 | $5,917,650 | $2,660,313 |
| 2016-06 | Titusville Railroad West & Interstitial Treatment | Muck & Interstitial | $3,607,375 | $146,361 | $115,355 |
| 2016-07 | National Aeronautics and Space Administration Causeway East & Interstitial Treatment | Muck & Interstitial | $11,423,355 | $209,255 | $178,944 |
| 2016-04 | Rockledge A Muck & Interstitial Treatment | Muck & Interstitial | $5,010,244 | $175,340 | $126,366 |
| 2016-08 | Titusville Railroad East & Interstitial Treatment | Muck & Interstitial | $4,609,424 | $204,017 | $145,080 |
| 54 | Eau Gallie Northeast Muck & Interstitial Treatment | Muck & Interstitial | $10,020,487 | $98,323 | $62,449 |
| 106 | Brevard Zoo North IRL Oyster Project | Oyster Bars | $341,280 | $341,280 | $164,994 |
| 139 | Brevard Zoo North IRL Oyster Project 2 | Oyster Bars | $336,400 | $336,400 | $0 |
| 105 | Brevard Zoo Central IRL Oyster Project | Oyster Bars | $161,160 | $161,160 | $0 |
| 140 | Brevard Zoo Central IRL Oyster Project 2 | Oyster Bars | $270,800 | $270,800 | $34,969 |
| 102 | Brevard Zoo Banana River Plant Project | Planted Shorelines | $3,120 | $3,120 | $0 |
| 130 | Brevard Zoo North IRL Plant Project 2 | Planted Shorelines | $9,840 | $9,840 | $4,507 |
| - | Respond and Monitoring | Respond | $10,000,000 | - | $1,280,281 |
| - | Total | - | $251,208,505 | $111,075,784 | $11,220,518 |

Figure 433: Completed Projects in North Brevard County

Figure 433 Long Description

Figure 434: Completed Projects in South Brevard County

Figure 434 Long Description

#### Fertilizer Management Outreach

As noted in Section 4.1.1, in 2019, the University of Florida Institute of Food and Agricultural Sciences and MTN Marketing conducted a survey that was concentrated on fertilizer awareness questions. The results from the 2019 survey were compared to similar questions from the 2015 Blue Life survey to evaluate changes in fertilizer use. Based on the survey results, 33.33% of respondents in 2019 stated that they use slow release nitrogen fertilizer compared to only 6.30% in 2015, which is a 27% increase in the usage of slow release fertilizer. This resulted in better than anticipated cost effectiveness. The cost per pound of total nitrogen (TN) removed improved from an initial estimate of $102 to a revised estimate of $95. The total phosphorus (TP) reductions were kept at the original plan estimate of an additional 25% compliance because, the way the survey was setup, participants were only able to select one option for the type of fertilizer used. Therefore, an update on the use of zero phosphorus formulas could not be obtained.

Also in 2019, Brevard County amended the fertilizer ordinance to require all fertilizer retail stores to display signage at the point of sale informing the public on the ordinance and best practices for fertilizer management. Focus groups were conducted to enhance the design of the sign. A total of 132 signs were distributed to 53 retails stores across Brevard County. In summer 2020, the stores were surveyed for compliance with the ordinance. Only eight stores were out of compliance with no signage posted. Request for compliance letters were issued to the eight stores and additional signs were delivered to stores that could not locate the original signs. The stores were receptive of the letters and willing to come into compliance.

#### Grass Clipping Outreach

Uppercase, Inc. conducted a survey between September 9, 2018 and November 11, 2018 reaching out to citizens of Brevard, Martin, and Volusia counties through advertisements on social media sites, in popular mobile apps, on Google advertisements, in instant messenger, and other online and app platforms, as well as on the counties' social media pages. The survey received 733 responses from the three counties. When asked which items in the list provided are pollutants, 61% of respondents said grass clippings were a pollutant and 50% said leaves were a pollutant. Landscape professionals were more likely to say grass clippings were a pollutant (65%). About 48% of respondents maintained their own yards and 36% used a lawn care company. When asking those respondents who maintain their own yards what they do with grass clippings, 68% say they "seldom" or "never" leave the clippings where they land. 70% of respondents say they "always" or "usually" blow clippings back into their yard, 94% said they “never” or “seldom” blow clippings into the middle of the road, 97% said they “seldom” or “never” blow clippings toward a storm drain, and 97% say they “never” or “seldom” blow grass clippings toward a waterbody. The survey also tested taglines and images to encourage keeping grass clippings out of the street and waterbodies, and the best communication channels to provide this information (Uppercase, 2018). The results from this survey will be used to guide the grass clipping campaign.

#### Septic System and Sewer Lateral Maintenance Outreach

The University of Central Florida conducted a survey of Brevard County residents to gather information on septic system-related topics. The survey was conducted between May 2018 and September 2018 through phone calls and door-to-door visits, resulting in a total of 404 completed surveys. Most respondents (70%) said that they have had their septic system pumped out, of which most (39.1%) had their system pumped out in the last 2–4 years or within the last 12 months (38%). Most respondents (51%) answered that they have had their current septic system inspected although many (42%) answered that they have not had their septic system inspected. Of those who responded that their septic systems had been inspected, most were inspected within the past 12 months (41.8%) followed by within the past 2–4 years (37.2%). Most residents (53%) did not receive any information regarding the home’s septic system when they moved into the home. Of the total respondents, 55.8% strongly agreed with the statement “I restrict what I flush in toilets to prevent damage.” The participants strongly agree (44.8%) and agree (42.8%) with the statement “I avoid pouring chemicals and solvents down the sink" (Olive et al., 2018). The results from this survey will be used to help guide implementation of the septic system maintenance education program.

#### Lagoon Loyal Program

The full launch of the Lagoon Loyal website and incentive program was on July 1, 2020. As of October 31, 2020, the Lagoon Loyal website had 6,269 unique visitors who logged a total of 7,888 sessions on the website. The Lagoon Loyal incentive program has a total of 272 citizen members and 73 businesses participating. Members have completed 1,902 lagoon benefiting actions through the site. There have been 224 member check-ins to county and other partner educational events. Members have used the points they earned to redeem 184 coupons from Lagoon Loyal businesses.

#### Measuring Performance

Groundwater monitoring wells have been installed to measure the pre-project pollution levels in multiple project areas. This includes areas where upgrades are underway for the reduction of nutrients in the reclaimed water supplied by two wastewater treatment plants, in several septic areas where permitting is underway to provide sewer service, in sewer areas to estimate pollution from leaky infrastructure, and at six septic upgrade pilot projects.

This countywide groundwater monitoring effort has been ongoing for more than two years. It demonstrates that septic systems and reclaimed water communities have significantly higher TN concentrations in comparison to sewer service areas and natural areas across all regions of the county. Communities on septic systems had significantly higher TP concentrations compared to the other communities across all regions of the county (Figure 435) (Marine Resources Council and Applied Ecology, 2020).

#### Package Plant Rapid Infiltration Basin Upgrade

A denitrification wall was built surrounding a rapid infiltration basin approximately 120 feet from the IRL at Long Point Park in Melbourne Beach. Six monthly measurements of nitrogen and phosphorus from within the rapid infiltration basin were compared to nutrient measurements in the IRL versus in the groundwater at three locations between the basin and the lagoon. Average percent removals have been high when comparing concentrations in the rapid infiltration basin to the groundwater location closest to the lagoon. Ammonia decreased by 62%, nitrite by 99%, nitrate by 82%, TN by 60%, total Kjeldahl nitrogen by 59%, orthophosphate by 72%, and TP by 66%. When comparing the basin concentrations to the groundwater inside the denitrification wall, the ammonia was reduced by 59%, nitrite by 98%, TN by 53%, total Kjeldahl nitrogen by 57%, orthophosphate by 78%, and TP by 61%; however, nitrate increased by 834%. Once the water passes through the denitrification wall, nitrate levels drop substantially (97% immediately). Overall, this project has been successful and further monitoring is planned for another six months. Based on actual costs and current data on nitrogen removal, the cost effectiveness is $136 instead of $802 per pound of TN reduced.

Figure 435. Countywide Groundwater Nutrient Concentrations for TN (top) and TP (bottom)

Figure 435 Long Description

#### Sewer Lateral Rehabilitation

Brevard County Utilities hired Kimley-Horn to conduct a sanitary sewer system smoke testing pilot study within the South Beaches service area in the City of Satellite Beach. The intent of the study was to use smoke testing to identify major contributors of stormwater into the sanitary sewer system and identify the necessary repairs. A smoke blowing machine that produces a non-toxic artificial “smoke” is used to pump smoke into the sewer system through an open manhole. As the smoke travels through the sanitary sewer system, it rises to the surface through any deficiencies in the lateral lines, such as cracks, leaks, and breaks. The South Beaches service area was selected because it had been experiencing elevated sanitary flow rates during storm events due to stormwater flow into the sanitary sewer through broken or missing infrastructure. Smoke testing was performed for the Phase 1 area in April and May 2018 for 5,165 properties. The testing identified 99 deficiencies of which there were 87 broken/missing cleanout caps, 9 broken lateral pipes, 2 damaged gravity sewer pipes, and 1 damaged manhole. Smoke testing was performed for the Phase 2 area in May and July 2018 for 7,592 properties. The testing identified 190 deficiencies of which there were 163 broken or missing cleanout caps, 21 broken lateral pipes, 1 storm connection, and 5 damaged manholes/gravity mains. The County purchased cleanout caps and replaced the damaged or missing caps that were identified, accessible, and had no damage to the cleanout port (Kimley Horn, 2018a and 2018b).

Based on the data collected during the pilot study, the Save Our Indian River Lagoon Trust Fund will cover the costs to repair up to 250 broken cleanout ports or missing caps and 30 broken private lateral lines. The estimated cost for these repairs is $646,200, which is well below the $840,000 budgeted for this project. The lessons learned from this pilot study will be applied to future sewer lateral evaluation and repair projects. Because the broken sewer pipes are buried, the potential repair costs are unknown. This unknown cost has dis-incentivized cash-limited homeowners from starting repairs in a timely manner. In response, Brevard County now has qualified plumbers that can be paid directly by the county to fix these repairs.

The preliminary results from performance data for this area noted that the groundwater sampled at seven of the eight lateral sites had evidence of sewage leaking out of the lateral when the groundwater table was low. Multiple sites had high nitrogen concentration values at or near the break locations, likely directly caused by a sewer leak. Most of the elevated phosphorus was in the readily bioavailable form of ortho-phosphorus (Applied Ecology, 2019). Additional sampling will be conducted after repairs are complete to verify improvements.

#### Septic System Removal

The Breeze Swept septic-to-sewer project in the City of Rockledge removed 143 septic systems installed between 1958 and 1967. This was the first septic-to-sewer conversion project to be undertaken as a strategic measure to reduce the nutrient loading to the IRL. During construction, the contractor noticed that many septic systems were already failing, which posed an increased health and environmental risk. The City of Rockledge authorized Applied Ecology to install five shallow groundwater monitoring wells in June 2017, three within the Breeze Swept community and two additional reference (i.e., control) wells in an adjacent septic community. Post-construction monitoring continued through summer 2019. There were 18 sampling events with a total of 90 samples collected. All samples were sent to a certified lab and analyzed for ammonia, nitrate-nitrite, total Kjeldahl nitrogen, and fecal coliform. The median ammonia, nitrate-nitrite, total Kjeldahl nitrogen, and mean TN concentrations from the post-construction samples taken from wells within the Breeze Swept community decreased with a statistically significant difference while the control wells showed no significant differences in median concentrations of nitrate-nitrite, total Kjeldahl nitrogen, and TN concentrations during the sampling period. These data provide a better understanding of the impact of septic systems on local water quality and help inform future septic-to-sewer conversion projects.

Construction costs for septic-to-sewer projects increased significantly since the original plan was developed in 2016. At that time, the estimated cost per lot for connection to gravity sewer was $20,000. This estimate included construction of the public and private side of the sewer, abandonment of the septic tank, connection fee, and restoration of the site. Based on actual and budgeted costs from within Brevard County and surrounding counties, the new estimated cost per lot is $33,372.

The project in the Breeze Swept community in the City of Rockledge, completed in 2017, cost $23,800 per lot. The West Melbourne Sylvan Estates project increased from an engineer’s estimate of $28,800 to an actual low bid amount of $41,212 per lot. The South Central C sewer project is currently estimated at $55,232 per lot. Indian River County experienced a similar increase in costs for a sewer project in West Wabasso. Phase 1 of West Wabasso was approved in 2011 with an estimated cost of $20,348 per lot. Actual costs for construction in 2014 were $22,942 per lot. Cost estimates for phase 2 of West Wabasso are $46,269 per lot.

There are many opportunities to remove septic systems in areas with existing sewer lines. The plan currently allocates $12,000 to these connection opportunities. Costs to connect to gravity lines were found to be consistent with this estimate; however, costs to connect to force main lines were more. In the 2019 Update, connection costs to force main sewer were increased to $18,000 to more accurately cover the cost of a grinder pump, the pump’s electrical connection, directional drilling of the lateral line, abandonment of the septic tank, connection fee, and restoration of the site.

#### Septic System Upgrades

The average cost of an upgraded septic system was increased from $16,000 to $18,000 in the 2019 Plan Update to more accurately reflect the cost to safely decommission the old tank and install the new tank and drainfield, electrical costs, and restoration of the site. Many of the oldest septic systems that are contributing the most loading to the lagoon do not comply with modern setbacks established by the Florida Department of Health. Bringing these septic systems to current standards in small lots is contributing to the higher average upgrade costs. The estimate of $16,000 is more accurate for new construction. For the eight upgrades completed so far, the average cost was $17,811.

#### Stormwater Treatment

Brevard County was awarded a grant to help upgrade multiple baffle boxes to second generation technology. Eight baffle boxes in Cocoa, Cape Canaveral, Melbourne, and Titusville were retrofitted with screens to collect larger items such as litter, leaves, and twigs from the stormwater entering the baffle box. Three of the baffle box projects were sampled twice each to estimate the pollutant removal effectiveness of the added screens. The baffle box projects chosen for sampling were Central Boulevard (City of Cape Canaveral), Church Street (City of Cocoa), and South Street (City of Titusville). By applying state-approved dry bulk density ratios to the volumes of material captured in the screens, nutrient removal was estimated to be 7.12 pounds of TN per year and 0.57 pounds of TP per year.

#### Muck Removal

Pre-project muck flux data have been collected by researchers at Florida Institute of Technology for more than 20 potential muck dredging sites. These data were considered with other available data to reprioritize muck dredging areas in the 2019 Update.

The goal of the muck removal program is to improve water quality and ecosystem health within the IRL. Muck removal benefits include reducing nitrogen, phosphorus, hydrogen sulfide, turbidity, pathogens, and contaminants; improving dissolved oxygen and pH; as well as uncovering clean, sandy sediments for recolonization by seagrass, shellfish, and a diversity of benthic marine life to support an abundant and productive food web. Improvements in water quality were documented with the Turkey Creek muck removal project with a 39% decrease in turbidity. The pre-project average turbidity based on six years of monthly measurements conducted by the St Johns River Water Management was 3.14 Nephelometric Turbidity Units. Post-project average turbidity, based on two years of monthly measurements, is 1.93 Nephelometric Turbidity Units (Figure 436) (Tetra Tech, 2020). In addition, there was no increase in turbidity during the dredging.

In 2020, Tetra Tech prepared a document with lessons learned for the muck dredging projects implemented between 2014 and 2019. One lesson learned is that the thickness and extent of muck deposits is generally difficult to determine. Therefore, a combination of sediment probes to plan an optimum density and pattern of sediment cores can improve the accuracy of muck sediment isopach mapping. Another lesson learned was related to the use of polymers and flocculants. The contractor methods used at the Mims Boat Ramp did not work for performance-based specifications for nutrient removal. For future projects, more than just bench testing of the chemicals is needed and enhanced contract standards, developed by Brevard County, should be included in future project specifications. Muck sediments with high clay contents can be difficult to dewater. Design efforts should include bench testing of polymer additives to improve flocculation of the suspended sediments and the geotechnical testing of the dredged material slurry to help optimize the dewatering of the dredged material. Significant benefits to TP removal can be realized through the appropriate use of polymers (Tetra Tech, 2020).

Figure 436. Turbidity Levels Before, During, and After Turkey Creek Muck Removal

Figure 436 Long Description

#### In-lagoon Aeration Study

In 2018, Brevard County conducted an aeration study in Sykes Creek. Before aeration, dissolved oxygen levels were measured at 10-foot increments at a depth of 2-feet, both in a southeast and northeast direction extending out 200 feet from the fixed aerator location. Dissolved oxygen levels were measured before the aerator was turned on and run continually for three days. Final dissolved oxygen measurements were collected before the aerator was unplugged and removed. The pre-aeration dissolved oxygen levels ranged from 7.91–8.96 milligrams per liter with an average of 8.59 milligrams per liter. The nearby Ocean Research & Conservation Association Kilroy station in the western portion of the Barge Canal measured dissolved oxygen at about 7.5 milligrams per liter. The final dissolved oxygen levels, post aerator deployment, ranged from 10.30–11.14 milligrams per liter with an average of 10.52 milligrams per liter. The nearby Ocean Research & Conservation Association Kilroy station measured dissolved oxygen of about 9.3 milligrams per liter. Dissolved oxygen levels close to the aerator were not higher than levels more distant from the aerator. Based on these results, it appears that the impact of aeration is minimal. Variations between pre- and post-aeration dissolved oxygen levels were likely attributed to changes in weather conditions and normal variances in dissolved oxygen. The aerator did not effectively move water to increase dissolved oxygen. There were also issues with clogging due to barnacles and algae. In addition, placement of the aerator was difficult due to the need for electricity.

#### Oyster Restoration and Planted Shorelines

Oyster bars are currently built using mesh bags filled with oyster shell, known as cultch. Oyster bars are typically two layers with 25 young adult oysters added to each of the top layer bags. A University of Central Florida research team conducts independent monitoring of oyster bar projects, visually inspecting for oysters growing through the bags and cementing or “bridging” of adjacent oysters, and documenting the presence of predators, algal cover, and sedimentation. Additionally, a subsample of bags is emptied to quantify oyster survival, growth, recruitment, and the abundance as well as the diversity of fish and invertebrates living within the modules.

Monitoring results inform future decisions about oyster bar site selection, design, material type, and the need for seeding. Recruitment is necessary for oyster bars to sustain themselves without additional seeding. Significant recruitment of new oysters has been observed at eight of the ten sites graphed in Figure 437 (University of Central Florida, 2020b). Nine of the ten sites are reported in the University of Central Florida monitoring reports. Riverview Senior Center was funded with grants and is monitored by Brevard Zoo.

The formation of bridges between bags has been noted at Bomalaski, one of the oldest sites. Comparison of data from multiple sites indicates that oyster bars located in narrow canals are exposed to more variable salinities and less recruitment and, although surviving oysters do grow, the numbers of live oysters declines over time (University of Central Florida, 2020a). In contrast, bars constructed in open waters of the lagoon have two to nine times as many oysters as initially seeded. Finally, two projects located within 500 feet of one another are being compared to determine the influence of initial seeding. After three months, recruitment is similar at both sites (University of Central Florida, 2020c).

Figure 437. Distribution of Oyster Sizes, Age, and Average Number Per Unit

Figure 437 Long Description

The University of Central Florida has also monitored planted shorelines projects. Survival at locations throughout the lagoon have ranged between 46–64% for red mangroves and 36–38% for sand cordgrass after 12 months. In more recent projects, survival of red mangroves at 6 months was 86% and sand cordgrass 39%, similar to previous projects at equivalent ages. Competition with terrestrial vegetation and erosion via waves and boat wakes are common causes of loss.

In response to concerns related to the breakdown of plastics in the environment, alternative oyster restoration materials are being examined. Six alternatives to using ultraviolet stabilized plastic mesh bags for securing loose oyster shell, are being tested at three locations in the IRL. With funding from the IRL National Estuary Program and collaborators from the University of Florida, Brevard County and Brevard Zoo Restore Our Shores team built test structures that will be monitored throughout an 18-month study. Modules were hung from docks and consist of multiple configurations of cement, oyster shell, and natural materials (Community Oyster Reef Enhancement modules, jute-reinforced calcium sulfoaluminate/prisms, oyster balls), as well as two gauges of galvanized steel gabions, and controls (NaltexTM bags). Monitoring of degradation, fouling, and oyster recruitment and growth will occur quarterly. Data collected will build on material testing results from other studies, while ensuring they will meet site-specific constraints of the IRL in Brevard County.

Data on oyster reef denitrification rates are very limited in Florida; therefore, a scientist with the University of Florida’s Institute of Food and Agricultural Sciences will sample sediment from three oyster bar projects, one each from the North IRL, Central IRL, and Banana River Lagoon. This work will build on a previous study conducted for Brevard County on intertidal oyster reefs of different ages within the Mosquito Lagoon (Schmidt and Gallagher, 2017). Improved analysis techniques will be employed on the subtidal oyster bars present in Brevard County to obtain sediment denitrification, percent organic matter, oxygen demand, and nitrate, ammonium, and phosphate flux rates across the sediment-water interface.

### Research Needs

Although this project plan does not fund research, it should be recognized that many important research questions need attention. Universities, state agencies, and non-profit organizations are currently leading lagoon research efforts. This plan acknowledges the research needs identified in the Florida Department of Environmental Protection basin management action plans, St. Johns River Water Management District 2011 Superbloom Report, and Indian River Lagoon (IRL) National Estuary Program Comprehensive Conservation and Management Plan Update, which are summarized below.

- Research needs identified in the basin management action plans (Florida Department of Environmental Protection 2013a, 2013b, and 2013c):

- Collect new bathymetry data for the IRL Basin, which would be used in the seagrass depth limit evaluations.

- Continue and increase the frequency of the monitoring along the existing seagrass transects to track seagrass composition, density, and extent.

- Implement phytoplankton, drift algae, macroalgae, and bacteria bloom monitoring in the basin.

- Track watershed loads by monitoring inflow and outflow nutrient concentrations for each jurisdiction.

- Verify the best management practice effectiveness values used in the basin management action plans, as needed.

- Test/verify the total nitrogen (TN), total phosphorus (TP), and seagrass depth regression equations using the seagrass data collected since 1999.

- Collect groundwater load contribution data and conduct groundwater modeling.

- Implement storm event monitoring at the major outfalls.

- Assess potential impacts to seagrass from sediment resuspension due to high boat traffic in parts of the lagoon.

- Collect data on nutrient flux/internal recycling of legacy nutrient loads held within the IRL sediments and exchanged with the water column.

- Research needs identified in 2011 Superbloom Report (St. Johns River Water Management District 2016b):

- Garner an improved understanding of the ideal biological and physiological conditions and tolerances of picocyanobacteria (small cyanobacteria) and Pedinophyceae (green microflagellate), including their ability to use organic forms of nutrients, their ability to fix nitrogen, their nutrient uptake rates, their reproductive rates, and their defenses against grazers.

- Maintain or expand water quality sampling to ensure spatiotemporal variations are captured adequately, which could include continuous monitoring of various parameters to fill gaps between monthly samples.

- Develop an improved understanding of the physiological tolerances of drift algae and seagrasses, especially manmade conditions that could be mitigated to improve health or natural resilience.

- Maintain or expand surveys of drift algae and seagrasses to improve the capacity to evaluate their role in nutrient cycles.

- Improve the ability to model bottom-up influences from external and internal nutrient loads, including atmospheric deposition, surface water runoff, groundwater inputs, diffusive flux from muck, decomposition of drift algae, and cycling and transformation of nitrogen and phosphorus.

- Enhance surveys of bacterioplankton to improve the understanding of nutrient cycling.

- Improve surveys of potential zooplanktonic, infaunal, epifaunal, and fish grazers to enhance the understanding of spatiotemporal variation in top-down control of phytoplankton blooms.

- Evaluate grazing pressure exerted by common species to enhance the understanding of top-down control of phytoplankton blooms.

- Research needs identified in the Comprehensive Conservation and Management Plan revision (IRL National Estuary Program 2019):

- Undertake further studies to quantify the impacts of septic systems on the IRL with a focus on identifying high priority “problem” and “potential problem” areas.

- Develop, improve, and implement best management practices and education programs for stormwater management and freshwater discharges.

- Determine the impacts of atmospheric deposition of nutrients and other pollutants on the nutrient budget, water quality, and resources of the IRL.

- Support implementation, review, and update of IRL total maximum daily loads as needed and as best available science evolves.

- Work to continue, expand, update, and improve the IRL species inventory.

- Research and develop new and improved wetland best management practices with a focus on understanding wetland responses to sea level rise and climate change.

- Continue to support and expand research initiatives and coordinated finfish and shellfish management strategies specific to the IRL.

- Prepare a Risk-Based Vulnerability Assessment and Adaptation Plan for the IRL.

- Develop a comprehensive IRL monitoring plan.

- Advance the ten research priorities in the 2018 Looking Ahead – Science 2030 Report.

- Update the IRL economic analysis produced by the Treasure Coast and East Central Florida Regional Planning Councils every five years.

- Support advancements in hydrological model development, verification, and application.

- Continue evaluation of options to enhance water flow through engineering solutions that have well defined water quality and ecological outcomes.

- Complete muck mapping of the entire IRL, prioritize muck dredging projects and site selection for seagrass and filter feeder restoration projects, and reduce source contributions of sediment and biomass that result in muck formation.

- Track emerging technologies, innovative approaches or alternatives to dredging, muck capping, upstream controls of muck transport, more efficient approaches to dewatering, enhanced pollutant removal in post-dredge water, and enhanced muck management to improve process efficiency and identify beneficial uses of muck.

- Monitor and research to better understand contaminants of emerging concern within the IRL system.

- Research spatially explicit data on the extent and condition of existing filter feeder habitat.

- Research and report on science-based siting, planning, design, and construction criteria for living shorelines.

- Support research and assessment to identify and map suitable habitats and spawning habitats for forage fishes and track population size and health.

## Unfunded Projects

Throughout initial development and annual updates of this plan, there have been projects considered that are not funded due to them being less cost-effective than similar projects that were selected for funding. If some of the recommended projects in the plan receive funding from outside sources, such as grants or legislative appropriations, additional projects could be implemented using the Save Our Lagoon Trust Fund. If funding becomes available, the projects listed in Table 446 through Table 451 include numerous unfunded opportunities sorted by the next most cost-effective projects (based on total nitrogen [TN] and total phosphorus [TP] load reductions in pounds per year [lbs/yr]) available for each major type of pollution reduction strategy.

Table 446: Unfunded Public Outreach and Education Projects

| Project | Cost | Estimated TN Reductions (lbs/yr) | Cost per Pound per year of TN Removed | Estimated TP Reductions (lbs/yr) | Cost per Pound per Year of TP Removed |
| --- | --- | --- | --- | --- | --- |
| Irrigation Education | $300,000 | 1,530 | $196 | Not applicable | Not applicable |
| Stormwater Pond Best Management Practice Maintenance Education | $300,000 | 3,300 | $91 | 400 | $750 |
| Total | $600,000 | 4,830 | $124 (average) | 400 | $1,500 (average) |

Table 447: Unfunded Wastewater Treatment Facility (WWTF) Reclaimed Water Upgrade Projects

| Facility | Cost to Upgrade | TN Removed after Attenuation (lbs/yr) | Cost per Pound per Year of TN Removed | TP Removed after Attenuation (lbs/yr) | Cost per Pound per Year of TP Removed |
| --- | --- | --- | --- | --- | --- |
| Cape Canaveral Air Force Station | $6,000,000 | 3,653 | $1,642 | To be determined | To be determined |
| Brevard County South Beaches WWTF | $6,000,000 | 2,860 | $2,098 | To be determined | To be determined |
| Brevard County South Central Regional WWTF | $6,000,000 | 2,053 | $2,923 | To be determined | To be determined |
| Brevard County Port St. John WWTF | $6,000,000 | 1,788 | $3,356 | To be determined | To be determined |
| Rockledge WWTF | $6,000,000 | 1,084 | $3,460 | To be determined | To be determined |
| Brevard Count Barefoot Bay Water Reclamation Facility | $6,000,000 | 1,597 | $5,535 | To be determined | To be determined |
| Total | $36,000,000 | 13,035 | $2,762 (average) | To be determined | To be determined |

Table 448: Unfunded Package Plant Connection Projects

| Facility Name | Number of Units | Cost to Connect to Sewer | TN Load Reduction (lbs/yr) | Cost per Pound Per Year of TN Removed |
| --- | --- | --- | --- | --- |
| Pelican Bay Mobile Home (aka Riverview) WWTF | 200 | $511,301 | 338 | $1,513 |
| Willow Lakes Recreational Vehicle Park WWTF | 280 | $1,270,407 | 740 | $1,717 |
| River Forest Mobile Home Park | 130 | $407,629 | 172 | $2,370 |
| Merritt Island Utility Company WWTF | 198 | $1,477,411 | 609 | $2,426 |
| Indian River Shores Trailer Park WWTF | 54 | $575,202 | 192 | $2,996 |
| Sterling House Condominium WWTF | 45 | $544,008 | 160 | $3,400 |
| Tropical Trail Village WWTF | 74 | $648,620 | 155 | $4,185 |
| Riverview Mobile Home and Recreational Vehicle Park | 110 | $763,933 | 180 | $4,244 |
| Palm Harbor Mobile Home Park WWTF | 130 | $729,905 | 152 | $4,802 |
| Housing Authority of Brevard County WWTF | 26 | $499,892 | 79 | $6,328 |
| Canebreaker Condo WWTF | 24 | $499,489 | 74 | $6,750 |
| Lighthouse Cove WWTF | 80 | $1,183,350 | 147 | $8,050 |
| Cove At South Beaches Condominium Association WWTF | 80 | $751,651 | 84 | $8,965 |
| Treetop Villas | 28 | $1,104,321 | 69 | $16,028 |
| Enchanted Lakes Estates | 190 | To be determined | No data | No data |
| Camelot Recreational Vehicle Park Inc. | 178 | To be determined | No data | No data |
| Southern Comfort Mobile Home Park | 40 | To be determined | No data | No data |
| Summit Cove Condominium | 84 | To be determined | No data | No data |
| Total | 1,951 | $10,967,119 | 3,151 | $3,481 (average) |

Table 449: Unfunded Sprayfield or Rapid Infiltration Basin Upgrade Projects

| Facility | Type | Estimated Cost to Upgrade | TN Removed from Upgrade (lbs/yr) | Cost per Pound per Year of TN Removed | TP Removed from Upgrade (lbs/yr) | Cost per Pound per Year of TP Removed |
| --- | --- | --- | --- | --- | --- | --- |
| Aquarina Beach Community WWTF | Sprayfield | $75,010 | 481 | $156 | To be determined | To be determined |
| Indian River Shores Trailer Park WWTF | Rapid Infiltration Basin | $38,145 | 160 | $240 | 65 | $591 |
| South Shores Utility | Sprayfield | $300,564 | 771 | $390 | 176 | $1,708 |
| Pelican Bay Mobile Home WWTF | Rapid Infiltration Basin | $222,156 | 525 | $423 | 200 | $1,111 |
| Oak Point Mobile Home Park WWTF | Rapid Infiltration Basin | $65,340 | 153 | $427 | 40 | $1,634 |
| Sterling House Condominium WWTF | Sprayfield | $60,000 | 133 | $451 | 54 | $1,111 |
| River Forest Mobile Home Park WWTF | Sprayfield | $78,405 | 143 | $548 | 46 | $1,704 |
| Cove At South Beaches Condominium Association WWTF | Sprayfield | $51,480 | 70 | $735 | 41 | $1,256 |
| Summit Cove Condominium | Rapid Infiltration Basin | $157,469 | 171 | $921 | To be determined | To be determined |
| Merritt Island Utility Company WWTF | Rapid Infiltration Basin | $495,277 | 505 | $981 | To be determined | To be determined |
| Lighthouse Cove WWTF | Sprayfield | $120,000 | 122 | $984 | 58 | $2,069 |
| Tropical Trail Village WWTF | Rapid Infiltration Basin | $90,169 | 69 | $1,307 | To be determined | To be determined |
| Housing Authority of Brevard County WWTF | Rapid Infiltration Basin | $52,272 | 35 | $1,493 | To be determined | To be determined |
| Treetop Villas | Sprayfield | $105,000 | 48 | $2,183 | 14 | $7,500 |
| Riverview Mobile Home and Recreational Vehicle Park | Sprayfield | $333,234 | 149 | $2,236 | 94 | $3,545 |
| Palm Harbor Mobile Home Park WWTF | Sprayfield | $300,564 | 126 | $2,385 | 129 | $8,840 |
| River Grove Mobile Home Village WWTF | Rapid Infiltration Basin | $182,299 | 42 | $4,340 | 189 | $965 |
| Harris Malabar Facility | Rapid Infiltration Basin | $2,085,000 | 176 | $11,847 | To be determined | To be determined |
| Camelot Recreational Vehicle Park Inc | Sprayfield | Unknown size | To be determined | To be determined | To be determined | To be determined |
| Enchanted Lakes Estates | Sprayfield | $36,000 | To be determined | To be determined | To be determined | To be determined |
| Southern Comfort Mobile Home Park WWTF | Rapid Infiltration Basin | Unknown size | To be determined | To be determined | To be determined | To be determined |
| Space X Launch Complex 39A | Sprayfield | Unknown size | To be determined | To be determined | To be determined | To be determined |
| Total | - | $4,848,384 | 3,879 | $1,250 (average) | 1,106 | $4,384 (average) |

Table 450: Unfunded Septic to Sewer Projects

| Service Area | Number of Lots | Cost | TN Reduction (lbs/yr) | TN Cost per Pound Per Year |
| --- | --- | --- | --- | --- |
| Grant-Valkaria – Zone G | 30 | $1,001,160 | 1,418 | $706 |
| Grant-Valkaria – Zone E | 128 | $4,271,616 | 5,862 | $729 |
| Grant-Valkaria – Zone B | 34 | $1,134,648 | 1,501 | $756 |
| Grant-Valkaria – Zone F | 17 | $567,324 | 688 | $824 |
| Grant-Valkaria – Zone D | 18 | $600,696 | 690 | $871 |
| Grant-Valkaria – Zone A | 42 | $1,401,624 | 1,296 | $1,082 |
| Malabar – Zone B | 64 | $2,135,808 | 1,929 | $1,107 |
| Grant-Valkaria – Zone C | 30 | $1,001,160 | 853 | $1,173 |
| Malabar – Zone A | 430 | $14,349,960 | 11,456 | $1,253 |
| Valkaria – Zone I | 223 | $7,441,956 | 5,380 | $1,383 |
| South Beaches – Zone F | 3 | $100,116 | 70 | $1,435 |
| Valkaria – Zone J | 503 | $16,786,116 | 11,507 | $1,459 |
| Malabar – Zone C | 14 | $467,208 | 289 | $1,617 |
| South Central – Zone B | 180 | $6,006,960 | 3,700 | $1,623 |
| Sharpes – Zone B | 136 | $4,538,592 | 2,692 | $1,686 |
| South Beaches – Zone E | 387 | $12,914,964 | 7,491 | $1,724 |
| Rockledge – Zone C | 91 | $3,036,852 | 1,736 | $1,749 |
| South Beaches – Zone K | 21 | $700,812 | 397 | $1,765 |
| North Merritt Island – Zone F | 34 | $1,550,000 | 830 | $1,867 |
| North Merritt Island – Zone D | 29 | $1,293,000 | 685 | $1,888 |
| City of West Melbourne | 60 | $2,002,320 | 1,041 | $1,923 |
| Pineda | 27 | $1,257,000 | 644 | $1,952 |
| Sykes Creek – Zone IJ | 77 | $1,900,000 | 62 | $1,974 |
| South Beaches – Zone L | 178 | $5,940,216 | 2,973 | $1,998 |
| Sykes Creek – Zone J | 63 | $2,102,436 | 1,028 | $2,045 |
| South Banana – Zone A | 88 | $3,025,000 | 1,444 | $2,095 |
| South Central – Zone BC | 13 | $1,222,000 | 582 | $2,100 |
| South Beaches – Zone G | 112 | $3,737,664 | 1,764 | $2,119 |
| City of West Melbourne – Zone B | 60 | $2,002,320 | 894 | $2,240 |
| Malabar – Zone D | 24 | $800,928 | 352 | $2,278 |
| North Merritt Island – Zone A | 107 | $4,245,000 | 1,821 | $2,331 |
| South Beaches – Zone D | 89 | $2,970,108 | 1,273 | $2,333 |
| South Central – Zone E | 411 | $13,715,892 | 5,761 | $2,381 |
| South Beaches – Zone M | 334 | $11,146,248 | 4,293 | $2,596 |
| Grant-Valkaria – Zone H | 100 | $3,337,200 | 1,272 | $2,624 |
| Malabar – Zone F | 14 | $467,208 | 174 | $2,683 |
| Melbourne Village – Zone B | 224 | $7,475,328 | 2,705 | $2,763 |
| Sykes Creek – Zone H | 74 | $2,469,528 | 887 | $2,783 |
| South Central – Zone I | 72 | $2,170,000 | 772 | $2,811 |
| Sykes Creek – Zone G | 52 | $1,735,344 | 602 | $2,881 |
| South Beaches – Zone N | 103 | $3,437,316 | 1,193 | $2,882 |
| Sykes Creek – Zone C | 81 | $2,703,132 | 929 | $2,909 |
| Melbourne Village – Zone A | 85 | $2,836,620 | 918 | $3,091 |
| South Central – Zone H | 165 | $5,506,380 | 1,779 | $3,096 |
| South Central – Zone G | 196 | $6,540,912 | 2,090 | $3,129 |
| North Merritt Island – Zone C | 71 | $2,369,412 | 737 | $3,217 |
| Merritt Island – Zone H | 285 | $22,500,000 | 5,464 | $4,118 |
| Sykes Creek – Zone S | 164 | $6,600,000 | 1,584 | $4,167 |
| North Merritt Island – Zone B | 56 | $4,690,000 | 1,066 | $4,399 |
| Merritt Island – Zone A | 249 | $16,700,000 | 3,440 | $4,855 |
| South Beaches – Zone C | 118 | $3,937,896 | 683 | $5,763 |
| Total | 6,166 | $232,843,980 | 111,598 | $2,086 (average) |

Table 451: Unfunded Muck Dredging and Interstitial Treatment Projects

| Sub-Lagoon | Indian River Lagoon (IRL) Muck Sites | Dredging Cost Estimate | Interstitial Water Treatment Cost | Total Cost | TN Reduction (lbs/yr) | Cost per Pound of TN Removed | TP Reduction (lbs/yr) | Cost per Pound of TP Removed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Banana | Cocoa Beach Golf (unfunded portion)* | $12,775,000 | $1,941,800 | $14,716,800 | Not applicable | Not applicable | Not applicable | Not applicable |
| Central IRL | Goat Creek | $350,000 | $50,819 | $400,819 | 735 | $545 | 98 | $4,090 |
| North IRL | Pineda to Eau Gallie | $30,625,000 | $4,446,705 | $35,071,705 | 34,965 | $1,003 | 1,554 | $22,569 |
| North IRL | 520 to Pineda | $31,500,000 | $4,573,754 | $36,073,754 | 35,280 | $1,022 | 1,568 | $23,006 |
| Central IRL | Mullet Creek Islands Area | $4,550,000 | $660,653 | $5,210,653 | 4,305 | $1,210 | 574 | $9,078 |
| North IRL | National Aeronautics and Space Administration Causeway West | $4,375,000 | $635,244 | $5,010,244 | 3,903 | $1,284 | 193 | $25,960 |
| North IRL | Pineda | $5,250,000 | $762,292 | $6,012,292 | 4,610 | $1,304 | 492 | $12,220 |
| Banana | Kent Dr | $1,750,000 | $254,097 | $2,004,097 | 1,365 | $1,468 | 182 | $11,012 |
| Banana | National Aeronautics and Space Administration Area | $98,000,000 | $14,229,457 | $112,229,457 | 68,985 | $1,627 | 9,198 | $12,202 |
| Banana | 528 East | $1,225,000 | $177,868 | $1,402,868 | 840 | $1,670 | 112 | $12,526 |
| North IRL | North IRL Venetian Canals/Channels | $13,475,000 | $1,956,551 | $15,431,551 | 9,160 | $1,685 | 1,243 | $12,415 |
| Banana | Newfound Harbor E | $1,575,000 | $228,688 | $1,803,688 | 1,050 | $1,718 | 140 | $12,883 |
| Banana | Banana Venetian Collector Canals/Channels | $119,000,000 | $17,278,627 | $136,278,627 | 78,960 | $1,726 | 10,927 | $12,472 |
| Banana | Patrick AFB Borrow Pit-2 | $4,725,000 | $686,063 | $5,411,063 | 3,045 | $1,777 | 406 | $13,328 |
| Banana | Newfound Harbor S | $4,725,000 | $686,063 | $5,411,063 | 3,045 | $1,777 | 406 | $13,328 |
| Banana | Mathers Bridge Area | $12,250,000 | $1,778,682 | $14,028,682 | 7,875 | $1,781 | 1,050 | $13,361 |
| North IRL | Max Brewer Causeway | $2,800,000 | $406,556 | $3,206,556 | 1,785 | $1,796 | 238 | $13,473 |
| Banana | Newfound Harbor N | $3,150,000 | $457,375 | $3,607,375 | 1,995 | $1,808 | 266 | $13,562 |
| Banana | Cocoa Beach High School | $6,825,000 | $990,980 | $7,815,980 | 4,305 | $1,816 | 574 | $13,617 |
| Central IRL | Central IRL Venetian Collector Canals/Channels | $6,300,000 | $914,750 | $7,214,750 | 3,904 | $1,848 | 537 | $13,435 |
| Banana | Brightwaters | $8,225,000 | $1,194,258 | $9,419,258 | 5,040 | $1,869 | 672 | $14,017 |
| Banana | Patrick AFB Borrow Pit-4 | $525,000 | $76,229 | $601,229 | 315 | $1,909 | 42 | $14,315 |
| Banana | Sunset Café | $3,850,000 | $559,014 | $4,409,014 | 2,310 | $1,909 | 308 | $14,315 |
| Banana | 520 Borrow Pit-1 | $1,400,000 | $203,278 | $1,603,278 | 840 | $1,909 | 112 | $14,315 |
| Banana | Cape Canaveral Hospital | $2,100,000 | $304,917 | $2,404,917 | 1,260 | $1,909 | 168 | $14,315 |
| Banana | 520 Borrow Pit-2 | $700,000 | $101,639 | $801,639 | 420 | $1,909 | 56 | $14,315 |
| Banana | 520 Borrow Pit-3 | $525,000 | $76,229 | $601,229 | 315 | $1,909 | 42 | $14,315 |
| Banana | 520 Borrow Pit-4 | $1,400,000 | $203,278 | $1,603,278 | 840 | $1,909 | 112 | $14,315 |
| Banana | 520 Borrow Pit-5 | $1,050,000 | $152,458 | $1,202,458 | 630 | $1,909 | 84 | $14,315 |
| Banana | 520 Borrow Pit-6 | $525,000 | $76,229 | $601,229 | 315 | $1,909 | 42 | $14,315 |
| Banana | 520 Borrow Pit-7 | $700,000 | $101,639 | $801,639 | 420 | $1,909 | 56 | $14,315 |
| Central IRL | Trout Creek | $175,000 | $25,410 | $200,410 | 105 | $1,909 | 14 | $14,315 |
| Central IRL | Melbourne Causeway North | $875,000 | $127,049 | $1,002,049 | 525 | $1,909 | 70 | $14,315 |
| Central IRL | Front St Park | $875,000 | $127,049 | $1,002,049 | 525 | $1,909 | 70 | $14,315 |
| North IRL | Warwick Dr | $700,000 | $101,639 | $801,639 | 420 | $1,909 | 56 | $14,315 |
| North IRL | Crab Shack | $700,000 | $101,639 | $801,639 | 420 | $1,909 | 56 | $14,315 |
| Banana | Port Canaveral | $9,275,000 | $1,346,716 | $10,621,716 | 4,988 | $2,129 | 245 | $43,354 |
| North IRL | Cocoa South | $5,250,000 | $762,292 | $6,012,292 | 1,947 | $3,088 | 182 | $33,035 |
| Central IRL | Turkey Creek | $4,900,000 | $711,473 | $5,611,473 | 1,750 | $3,207 | 231 | $24,292 |
| North IRL | National Aeronautics and Space Administration Causeway to 528 | $16,625,000 | $2,413,926 | $19,038,926 | 4,694 | $4,056 | 313 | $60,827 |
| North IRL | Rockledge A | $29,575,000 | $4,294,247 | $33,869,247 | 8,093 | $4,185 | 1,184 | $28,606 |
| North IRL | Eau Gallie NW | $19,145,000 | $2,779,826 | $21,924,826 | 3,207 | $6,837 | 244 | $89,856 |
| North IRL | Cocoa 520-528 | $3,850,000 | $559,014 | $4,409,014 | 599 | $7,361 | 40 | $110,225 |
| North IRL | Eau Gallie South | $40,250,000 | $5,844,241 | $46,094,241 | 4,144 | $11,123 | 777 | $59,323 |
| - | Total | $518,420,000 | $75,360,713 | $593,780,713 | 314,234 | $1,890 (average) | 35,032 | $16,961 (average) |

*Note: The funding for the Cocoa Beach Golf project is the balance of funding needed to fully implement this project. Brevard County is looking for sources of funding for this balance.

# Project Funding

## Contingency Fund Reserve

The 2018 Update established a Contingency Fund Reserve that will be included with the development and adoption of the County’s budget each fiscal year. The reserve will amount to inflation plus 5% of the total Trust Fund dollars that are budgeted for all approved projects scheduled to occur or move ahead in that fiscal year. This includes projects in the Save Our Indian River Lagoon Project Plan, including additions captured in annual updates or supplements. The purpose of the reserve is to fund emergency response to harmful algal blooms and major fish kills, to cover reasonable funding shortfalls that may occur during project implementation and would delay implementation or completion of that project unless a ready source of funds is on hand, provide funding for projects that encounter cost-effective opportunities to remove additional nutrients beyond the amount originally planned, or to move projects forward ahead of schedule if ready to proceed.

The Contingency Fund Reserve includes an additional amount of funding to account for the impact of inflation on project delivery costs. Inflation is estimated by applying the Consumer Price Index to project costs, compounded for the number of years between the year the project cost was estimated and the year that the project is expected to be constructed. Since 2016, the Consumer Price Index has varied between 3.25% and 1.3%. An inflation factor of 2.5% is used for the 2021 Plan Update.

If a cost increase for an individual project is less than 10% of the estimated cost or eligible amount of Trust Fund cost-share stated in the Save Our Indian River Lagoon Project Plan or update, then additional funding from the contingency reserve may be allocated to the project, as needed, in accordance with Brevard County policies and administrative orders. For projects that are contracted with municipalities or other partners and encounter cost overruns, the cost-share agreement may be increased up to 10% over the eligible cost-share amount stated in Attachment E of the cost-share contract. This amendment will be executed by the County Commission Chair and the appropriate municipal representative or authorized agent of a partnering organization.

For project cost increases that are more than 10% above the estimated cost or eligible amount of Trust Fund cost-share stated in the Save Our Indian River Lagoon Project Plan or update, County staff will evaluate the project circumstances and present findings and a recommendation to the Citizen Oversight Committee. The Committee will make a recommendation to the County Manager or County Commission (based on respective signature authority adopted in County contracting policy) on whether the project should proceed.

The Contingency Fund Reserve may also be used to increase funding for approved projects that encounter cost-effective opportunities for value added modifications that could occur swiftly if funding could be made available before the next plan update. If a project can be expanded or altered to provide greater nutrient reduction benefits than planned, contingency funds can be allocated at the rate for that project type established in the most recently adopted plan update in the table titled “Cost-share per Pound of Total Nitrogen (TN) Removed by Project Type.” In no case shall the total cost-share from the Trust Fund exceed the total project costs, minus other grants or donations for that project. Amendment approvals would follow one of the three approval processes below:

- If the amount of funds to be added to the cost-share contract exceeds the signature authority of the County Manager, the funding request will be brought to the Citizen Oversight Committee for a recommendation and to the County Commission for authorization to execute a contract amendment.

- If the amount of funds to be added to the cost-share contract is within the signature authority of the County Manager but exceeds 10% of the original contract amount, the funding request will be brought to the Citizen Oversight Committee for a recommendation to the County Manager to process a contract amendment.

- If the amount of funds to be added to the cost-share contract is within the signature authority for the County Manager and less than 10% over the original contract amount, staff will process a contract amendment in accordance with Brevard County contracting policies and administrative orders.

In addition to the Contingency Fund Reserve, if a project is ready to move forward earlier than scheduled in the plan, if such advancement is consistent with temporal sequencing goals in the plan and is recommended by the Citizen Oversight Committee, and if there are sufficient Trust Fund dollars available, the County Manager (for budget changes less than $100,000) or Brevard County Commission have the authority to adjust the project schedule at any time to ensure that approved projects funded in the plan move forward as soon as feasible. This authority allows projects to move forward as soon as they are ready and funding is available without waiting for an annual plan update to modify the schedule. If a project schedule is updated between plan updates, this schedule change will be reflected in the next annual plan update.

If a project is not able to be completed as initially approved in the plan due to extenuating circumstances, such as permitting restrictions, loss of additional funding, or other situations beyond the managing entity’s control, but is able to be downsized instead of fully withdrawn and is recommended by the Citizen Oversight Committee, then the County Manager (for budget changes less than $100,000) or Brevard County Commission have the authority to reduce the project funding. The revised funding amount will be based on the pounds of nitrogen removal estimated for the reduced project multiplied by the eligible cost-share per pound of TN removed that is adopted for that project type in the most recent Save Our Indian River Lagoon Project Plan. If a project is downsized between plan updates, the revised plan costs and nutrient load reductions will be reflected in the next annual plan update.

## Revenue Projection Update

Brevard County calculated a new estimate for Save Our Indian River Lagoon Sales Tax revenues. This estimate is based on the actual revenues for 2017, 2018, 2019, and the first nine months of 2020. The 2020 revenues for the first nine months were used to estimate the revenue for the remaining three months of 2020 using a rate of growth of 1.4%. The estimate then uses a rate of growth of 2% compounded over the remaining life of the tax. The new estimate for the total tax revenue is $488,855,173, or an average of $48.9 million per year. This current estimate is $14.9 million per year more than the $34 million per year estimate in the original Save Our Indian River Lagoon Plan, which was based on 2016 dollars. However, this is $0.5 million per year less than the projection in the 2020 Plan Update.

## Project Funding Allocations

Figure 5-1 shows the funding allocations by project type from the original plan through the 2021 Plan Update. Figure 52 summarizes the funding allocated by category (Reduce, Remove, Restore, and Respond) in this 2021 Plan Update.

Figure 51: Evolution of Project Funding Allocations

Figure 51 Long Description

Figure 52: Funding for Reduce, Remove, Restore, and Respond Projects

# Summary of the Plan through the 2021 Update

## Progress Toward the Local Targets for Maximum Total Loads

The County has been working with its municipalities, Florida Department of Transportation District 5, and Patrick Air Force Base to update total loading estimates to the lagoon and revise the total maximum daily loads for nitrogen and phosphorus using the best available data and more detailed modeling than previously available. Based on this process, five-month total maximum daily loads, which target the load reductions needed during the seagrass growing period (January – May), were proposed in addition to annual total maximum daily loads that protect water quality year-round. These load reductions specifically target water quality conditions needed for restoring lagoon seagrass beds to provide crucial habitat for fish and other marine life. Therefore, as this Save Our Indian River Lagoon Project Plan was developed, the total nitrogen (TN) and total phosphorus (TP) reductions from the project types that Reduce incoming load were compared to the proposed five-month total maximum daily loads for each sub-lagoon. After satisfying the five-month total maximum daily loads, annual load reductions for each project were compared to the 12-month total maximum daily loads. In all cases, the projects identified to meet the five-month total maximum daily loads were sufficient to meet the proposed 12-month total maximum daily loads. As projects are implemented, progress toward meeting the five-month and full-year total maximum daily loads are being tracked.

Only the projects that reduce external loading to the lagoon, not muck removal or living shorelines, were used to meet the total maximum daily loads. Even though decades of treatment projects to reduce nutrient loads have been completed to date, only the reductions associated with basin management action plan projects that were completed between January 1, 2010 (the last year of the Spatial Watershed Iterative Loading model period) and February 29, 2016 (the end of the last basin management action plan reporting period when the Save Our Indian River Lagoon Project Plan was developed) were included in the load reduction calculations as these projects also provide nutrient load reductions that have occurred after the period of record used to develop the proposed total maximum daily load updates. In Zone A of the Central Indian River Lagoon (IRL), the reductions from the St. Johns River Water Management District’s C-1 re-diversion project, which was implemented with cost-share funding from the Florida Department of Environmental Protection and Brevard County, were also included as this project results in significant load reductions that were not included in the February 29, 2016 basin management action plan annual progress report. As shown in Table 61, Table 63, and Table 65, the projects proposed in this plan plus the recently completed basin management action plan projects and C-1 re-diversion project exceed the five-month reductions called for by the proposed total maximum daily load updates.

The total project reductions were also compared to the full year estimated loading to the lagoon from the Spatial Watershed Iterative Loading model. As shown in Table 62, Table 64, and Table 66, the proposed projects in this plan, as well as the recently completed basin management action plan projects and C-1 re-diversion project, achieve significant reductions of the overall loading to the lagoon and exceed the full year reductions called for by the proposed local total maximum daily loads (in pounds per year [lbs/yr]).

Table 61: Banana River Lagoon Project Reductions to Meet Five-Month Total Maximum Daily Load

| Project | TN Reductions (lbs/yr) | TP Reductions (lbs/yr) |
| --- | --- | --- |
| Fertilizer Ordinance Implementation | 2,945 | 603 |
| Future Education | 1,853 | 129 |
| Wastewater Treatment Facility (WWTF) Upgrade for Reclaimed Water | 1,050 | 285 |
| Sewer Laterals | 412 | 78 |
| Rapid Infiltration Basin/Sprayfield | 1,927 | 511 |
| Septic System Removal | 13,057 | 0 |
| Septic System Upgrade | 806 | 0 |
| Stormwater Projects | 14,185 | 2,261 |
| Basin Management Action Plan Projects (2010-February 2016) | 5,303 | 1,440 |
| Total | 41,538 | 5,307 |
| Proposed Total Maximum Daily Load Reductions (five-month) | 30,337 | 2,737 |
| Percent of Proposed Total Maximum Daily Load Reductions Achieved | 136.9% | 193.9% |

Table 62: Banana River Lagoon Project Reductions Compared to Full Year Loading

| Project | TN Reductions (lbs/yr) | TP Reductions (lbs/yr) |
| --- | --- | --- |
| Fertilizer Ordinance Implementation | 7,068 | 1,446 |
| Future Education | 4,447 | 310 |
| WWTF Upgrade for Reclaimed Water | 2,520 | 685 |
| Sewer Laterals | 988 | 188 |
| Rapid Infiltration Basin/Sprayfield | 4,625 | 1,226 |
| Septic System Removal | 31,336 | 0 |
| Septic System Upgrade | 1,934 | 0 |
| Stormwater Projects | 65,944 | 8,664 |
| Basin Management Action Plan Projects (2010-February 2016) | 12,726 | 3,456 |
| Total | 131,588 | 15,975 |
| Starting Load (full year) | 477,020 | 44,269 |
| Percent of Starting Load Reduced | 27.6% | 36.1% |
| Proposed Full-Year Total Maximum Daily Load Percent Reductions | 9.0% | 9.6% |

Table 63: North IRL Project Reductions to Meet Five-Month Total Maximum Daily Load

| Project | TN Reductions (lbs/yr) | TP Reductions (lbs/yr) |
| --- | --- | --- |
| Fertilizer Ordinance Implementation | 8,070 | 1,651 |
| Future Education | 5,078 | 354 |
| WWTF Upgrade for Reclaimed Water | 5,119 | To be determined |
| Sewer Laterals | 1,118 | To be determined |
| Rapid Infiltration Basin/Sprayfield | 1,740 | 381 |
| Package Plant Connection | 590 | To be determined |
| Septic System Removal | 23,898 | 0 |
| Septic System Upgrade | 5,774 | 0 |
| Stormwater Projects | 39,596 | 6,673 |
| Vegetation Harvesting | 336 | 16 |
| Basin Management Action Plan Projects (2010-February 2016) | 16,983 | 3,180 |
| Total | 108,302 | 12,255 |
| Proposed Total Maximum Daily Load Reductions (five-month) | 61,447 | 7,410 |
| Percent of Proposed Total Maximum Daily Load Reductions Achieved | 176.3% | 165.4% |

Table 64: North IRL Project Reductions Compared to Full Year Loading

| Project | TN Reductions (lbs/yr) | TP Reductions (lbs/yr) |
| --- | --- | --- |
| Fertilizer Ordinance Implementation | 19,368 | 3,962 |
| Future Education | 12,187 | 849 |
| WWTF Upgrade for Reclaimed Water | 12,286 | To be determined |
| Sewer Laterals | 2,682 | To be determined |
| Rapid Infiltration Basin/Sprayfield | 4,177 | 915 |
| Package Plant Connection | 1,415 | To be determined |
| Septic System Removal | 57,356 | 0 |
| Septic System Upgrade | 13,857 | 0 |
| Stormwater Projects | 161,735 | 23,234 |
| Vegetation Harvesting | 806 | 39 |
| Basin Management Action Plan Projects (2010-February 2016) | 40,758 | 7,632 |
| Total | 326,627 | 36,631 |
| Starting Load (full year) | 988,847 | 99,340 |
| Percent of Starting Load Reduced | 33.0% | 36.9% |
| Proposed Full-Year Total Maximum Daily Load Percent Reductions | 11.4% | 11.4% |

Table 65: Central IRL Project Reductions to Meet Five-Month Total Maximum Daily Load

| Project | TN Reductions (lbs/yr) | TP Reductions (lbs/yr) |
| --- | --- | --- |
| Fertilizer Ordinance Implementation | 8,108 | 1,659 |
| Future Education | 5,102 | 356 |
| WWTF Upgrade for Reclaimed Water | 20,688 | 5,448 |
| Sewer Laterals | 1,053 | To be determined |
| Rapid Infiltration Basin/Sprayfield | 68 | To be determined |
| Package Plant Connection | 856 | To be determined |
| Septic System Removal | 11,375 | 0 |
| Septic System Upgrade | 9,246 | 0 |
| Stormwater Projects | 15,073 | 2,104 |
| Vegetation Harvesting | 6,932 | 693 |
| C-1 Re-Diversion | 53,892 | 6,295 |
| Basin Management Action Plan Projects (2010-February 2016) | 378 | 243 |
| Total | 132,771 | 16,798 |
| Proposed Total Maximum Daily Load Reductions (five-month) * | 67,547 | 8,151 |
| Percent of Proposed Total Maximum Daily Load Reductions Achieved | 196.6% | 206.1% |

* The total maximum daily load reductions are for Zone A only; however, some of the septic system projects are in Zone SEB. There are sufficient projects to achieve the Zone A reductions without the Zone SEB projects (refer to Section 2.1).

Table 66: Central IRL Project Reductions Compared to Full Year Loading

| Project | TN Reductions (lbs/yr) | TP Reductions (lbs/yr) |
| --- | --- | --- |
| Fertilizer Ordinance Implementation | 19,460 | 3,981 |
| Future Education | 12,245 | 854 |
| WWTF Upgrade for Reclaimed Water | 49,652 | 13,075 |
| Sewer Laterals | 2,526 | To be determined |
| Rapid Infiltration Basin/Sprayfield | 163 | To be determined |
| Package Plant Connection | 2,054 | To be determined |
| Septic System Removal | 27,301 | 0 |
| Septic System Upgrade | 22,190 | 0 |
| Stormwater Projects | 47,680 | 6,313 |
| Vegetation Harvesting | 16,636 | 1,664 |
| C-1 Re-Diversion | 129,341 | 15,108 |
| Basin Management Action Plan Projects (2010-February 2016) | 908 | 582 |
| Total | 330,156 | 41,577 |
| Starting Load (full year) * | 698,937 | 95,051 |
| Percent of Starting Load Reduced | 47.2% | 43.7% |
| Proposed Full-Year Total Maximum Daily Load Percent Reductions | 17.8% | 16.3% |

* The total maximum daily load reductions are for Zone A only; however, some of the septic system are in Zone SEB. There are sufficient projects to achieve the Zone A reductions without the Zone SEB projects (refer to Section 2.1).

In addition to the projects that address the external nutrient loading summarized above, the plan includes muck flux, interstitial water treatment, oyster bars, and planted shoreline projects that will significantly reduce internal nutrient loading within the lagoon itself. The annual reductions from these projects are summarized in Table 67, along with the percentage of nutrients from 2018 estimates of muck flux that would be reduced by these projects.

Table 67: Annual Muck Flux, Muck Interstitial Water, Oyster Bar, and Planted Shoreline Project Benefits Compared to Annual Nutrient Loadings from Muck Flux

| Project Type | Banana River Lagoon TN (lbs/yr) | Banana River Lagoon TP (lbs/yr) | North IRL TN (lbs/yr) | North IRL TP (lbs/yr) | Central A TN (lbs/yr) | Central A TP (lbs/yr) |
| --- | --- | --- | --- | --- | --- | --- |
| Muck Flux Reduction | 142,571 | 13,425 | 59,728 | 4,169 | 5,691 | 221 |
| Average Annual Removal of Nutrients from Interstitial Water | 39,314 | 1,967 | 8,792 | 800 | 0 | 69 |
| Oyster Bars | 10,491 | 323 | 10,724 | 275 | 3,551 | 183 |
| Clams | 423 | 0 | 432 | 0 | 145 | 0 |
| Planted Shorelines | 113 | 38 | 118 | 40 | 225 | 77 |
| Total Project Reductions | 192,912 | 15,753 | 79,785 | 5,281 | 9,612 | 550 |
| Estimated Muck Flux Loading | 393,948 | 43,216 | 247,078 | 17,583 | 16,927 | 2,277 |
| Percent of Muck Flux Reduced | 49.0% | 36.5% | 32.3% | 30.0% | 56.8% | 24.2% |

## Plan Summary

Table 68 summarizes all the project types, as well as their estimated costs, total nitrogen (TN) and total phosphorus (TP) reductions in pounds per year (lbs/yr), and costs per pound of TN and TP removed. The information from this table on the project reductions and cost effectiveness was used to determine the schedule for implementing the projects (see Table 69). Projects that could achieve large reductions quickly, such as fertilizer reductions and wastewater treatment facility (WWTF) upgrades, as well as the most cost-effective septic to sewer, and stormwater projects were prioritized for earliest implementation. This prioritization allows for the reductions to occur as quickly as possible while best using available funding sources. Project scheduling also considered the timing of upstream reductions with downstream removals, where feasible.

The timeline in Table 69 is shown in years after funding from the Save Our Indian River Lagoon sales tax became available. Each year corresponds to the County’s fiscal year, which is October 1st through September 30th. Year 1 started on October 1, 2017, which was just before revenues would have begun to accrue if the funding source had been a property tax, as initially considered. When the referendum approved by the voters was a sales tax, collections began in January 2017 and the first revenue check was received by the County in March 2017. Therefore, a plan update was adopted in March 2017 to begin plan implementation in Year 0. Table 69 includes the cost estimates developed as part of the original plan or provided in the year new or substitute projects were added to the plan.

As noted in Section 4.4.1, an adaptive management approach is being used in the implementation of this plan. As projects are completed and information on the actual construction costs, timeline, and reductions are obtained, the plan will continue to be adjusted, as needed, to ensure that the most cost-effective projects are being used to meet the Indian River Lagoon (IRL) restoration goals.

Table 68: Summary of Projects, Estimated TN and TP Reductions, and Costs

| Project Number | Project | Save Our Lagoon Project Cost | TN Reductions (lbs/yr) | Cost per Pound per Year of TN | TP Reductions (lbs/yr) | Cost per Pound per Year of TP |
| --- | --- | --- | --- | --- | --- | --- |
| - | Public Education | - | - | - | - | - |
| 58a | Expanded Fertilizer Education | $625,000 | 6,613 | $95 | 813 | $769 |
| 58b | Grass Clippings Campaign | $200,000 | 17,800 | $11 | 1,200 | $167 |
| 58c | Septic System Maintenance Education | $300,000 | 4,466 | $67 | To be determined | To be determined |
| 193 | Oyster Gardening Program | $300,000 | Not applicable | Not applicable | Not applicable | Not applicable |
| - | WWTF Upgrades for Reclaimed Water | - | - | - | - | - |
| 99 | Cocoa Beach Water Reclamation Facility Upgrade | $945,000 | 2,520 | $375 | 685 | $1,380 |
| 2016-02a | City of Titusville Osprey WWTF | $8,800,000 | 8,660 | $1,016 | Not applicable | Not applicable |
| 2016-17 | City of Palm Bay Water Reclamation Facility | $3,636,900 | 20,240 | $180 | 102 | $35,656 |
| 59 | City of Melbourne Grant Street Water Reclamation Facility | $6,769,500 | 18,052 | $375 | 9,671 | $700 |
| 2016-2b | City of Titusville Osprey Nutrient Removal Upgrade Phase 2 | $300,000 | 3,626 | $83 | Not applicable | Not applicable |
| 138 | Ray Bullard Water Reclamation Facility Biological Nutrient Removal Upgrades | $4,260,000 | 11,360 | $375 | 3,302 | $1,290 |
| - | Rapid Infiltration Basin/Sprayfield Upgrades | - | - | - | - | - |
| 6 | Long Point Park Upgrade | $22,207 | 163 | $136 | To be determined | To be determined |
| 2016-51 | Port St John Wastewater Treatment Plant | $980,100 | 4,116 | $238 | 915 | $1,071 |
| 204 | Cape Canaveral Air Force Station Regional WWTF | $5,227,200 | 4,625 | $1,130 | 1,226 | $4,264 |
| 2016-20 | Canebreaker Condo | $36,000 | 61 | $590 | To be determined | To be determined |
| - | Package Plant Connection | - | - | - | - | - |
| 197 | South Shores Utility Connection | $1,301,154 | 929 | $1,401 | To be determined | To be determined |
| 199 | River Grove I & II Mobile Home Park Connection | $1,004,640 | 697 | $1,441 | To be determined | To be determined |
| 192 | Oak Point Wastewater Treatment Facility Improvements | $279,000 | 186 | $1,500 | 0 | Not applicable |
| - | Sewer Laterals | - | - | - | - | - |
| 63ab | Satellite Beach Lateral Smoke Testing and Countywide Repair/Replacement | $840,000 | 988 | $850 | 188 | $4,468 |
| 100 | Osprey Basin Lateral Smoke Testing | $200,000 | 640 | Not applicable | Not applicable | Not applicable |
| 114 | Barefoot Bay Lateral Smoke Testing | $90,000 | 864 | Not applicable | Not applicable | Not applicable |
| 115 | South Beaches Lateral Smoke Testing | $200,000 | 1,662 | Not applicable | Not applicable | Not applicable |
| 116 | Merritt Island Lateral Smoke Testing | $250,000 | 2,042 | Not applicable | Not applicable | Not applicable |
| - | Septic System Removal by Sewer Extension | - | - | - | - | - |
| 47 | Sykes Creek - Zone N | $2,603,016 | 2,784 | $935 | To be determined | To be determined |
| 48 | Sykes Creek - Zone M | $1,868,832 | 1,798 | $1,039 | To be determined | To be determined |
| 146 | Merritt Island - Zone C | $1,580,000 | 1,419 | $1,113 | To be determined | To be determined |
| 49 | Sykes Creek - Zone T | $4,939,056 | 3,360 | $1,470 | To be determined | To be determined |
| 2016-29 | South Banana - Zone B | $1,368,252 | 915 | $1,495 | To be determined | To be determined |
| 145 | Merritt Island - Zone F | $1,100,000 | 1,292 | $851 | To be determined | To be determined |
| 147 | Sykes Creek - Zone R | $3,500,000 | 2,925 | $1,197 | To be determined | To be determined |
| 148 | North Merritt Island - Zone E | $3,635,000 | 2,541 | $1,431 | To be determined | To be determined |
| 151 | Merritt Island - Zone G | $16,617,000 | 11,078 | $1,500 | To be determined | To be determined |
| 2016-30 | City of Rockledge | $500,580 | 712 | $703 | To be determined | To be determined |
| 2016-31 | City of Cocoa - Zone K | $1,201,392 | 1,663 | $722 | To be determined | To be determined |
| 109 | City of Titusville - Zones A-G | $1,201,392 | 1,563 | $769 | To be determined | To be determined |
| 150 | South Central - Zone D (Brevard County) | $4,774,500 | 3,387 | $1,410 | To be determined | To be determined |
| 2016-28 | South Central - Zone D (Melbourne) | $265,500 | 177 | $1,500 | To be determined | To be determined |
| 50b | South Central - Zone C | $6,600,000 | 5,146 | $1,283 | To be determined | To be determined |
| 203 | South Central - Zone A | $3,370,572 | 3,655 | $922 | To be determined | To be determined |
| 2016-32 | City of Cocoa - Zone J | $3,136,968 | 3,259 | $963 | To be determined | To be determined |
| 2016-33 | City of Melbourne | $867,672 | 878 | $988 | To be determined | To be determined |
| 2020-34 | South Central - Zone F | $1,701,972 | 1,688 | $1,008 | To be determined | To be determined |
| 2016-27 | Sharpes - Zone A | $6,207,192 | 5,248 | $1,183 | To be determined | To be determined |
| 2016-35 | South Beaches - Zone A | $1,234,764 | 1,306 | $945 | To be determined | To be determined |
| 2016-36 | South Beaches - Zone O | $133,488 | 136 | $982 | To be determined | To be determined |
| 2016-37 | South Beaches - Zone P | $500,580 | 489 | $1,024 | To be determined | To be determined |
| 2016-38 | City of Titusville - Zone H | $1,168,020 | 910 | $1,284 | To be determined | To be determined |
| 2016-40 | Rockledge - Zone B | $5,339,520 | 4,037 | $1,323 | To be determined | To be determined |
| 1 | Breeze Swept Septic to Sewer Connection | $880,530 | 2,002 | $440 | To be determined | To be determined |
| 2 | Merritt Island Septic Phase Out Project | $320,000 | 2,501 | $128 | To be determined | To be determined |
| 61 | Riverside Drive Septic-to-Sewer Conversion | $265,960 | 305 | $872 | To be determined | To be determined |
| 62 | Roxy Avenue Septic-to-Sewer Conversion | $88,944 | 102 | $872 | To be determined | To be determined |
| 152 | Sharpes - Zone B | $4,038,000 | 2,692 | $1,500 | To be determined | To be determined |
| 153 | Cocoa - Zone C | $5,248,500 | 3,499 | $1,500 | To be determined | To be determined |
| 190 | Bowers Septic to Sewer | $147,000 | 120 | $1,225 | To be determined | To be determined |
| 191 | Kent and Villa Espana Septic to Sewer Conversion | $710,000 | 542 | $1,310 | To be determined | To be determined |
| 2016-39 | City of Palm Bay – Zone A | $2,569,644 | 2,136 | $1,203 | To be determined | To be determined |
| 2016-46 | City of Palm Bay – Zone B | $8,309,628 | 6,809 | $1,220 | To be determined | To be determined |
| 4 | Hoag Sewer Conversion | $86,031 | 101 | $852 | To be determined | To be determined |
| 5 | Pennwood Sewer Conversion | $40,632 | 48 | $847 | To be determined | To be determined |
| 60 | Sylvan Estates Septic-to-Sewer Conversion | $1,561,215 | 1,073 | $1,455 | To be determined | To be determined |
| 136 | Micco - Zone B | $9,000,000 | 8,687 | $1,036 | To be determined | To be determined |
| 3 | Micco Sewer Line Extension (Phase I and II) | $2,239,500 | 1,493 | $1,500 | To be determined | To be determined |
| 189 | Avendia del Rio Septic to Sewer | $70,000 | 71 | $986 | To be determined | To be determined |
| - | Septic System Removal by Sewer Connection | - | - | - | - | - |
| 2016-16 | Banana Septic System 144 Quick Connections | $1,908,000 | 3,224 | $592 | To be determined | To be determined |
| 2016-18 | North IRL Septic System 463 Quick Connections | $6,018,000 | 11,339 | $531 | To be determined | To be determined |
| 2016-19 | Central IRL Septic System 269 Quick Connections | $3,354,000 | 6,883 | $487 | To be determined | To be determined |
| - | Septic System Upgrades | - | - | - | - | - |
| 51 | Banana River Lagoon 100 Septic System Upgrades | $1,800,000 | 1,934 | $931 | To be determined | To be determined |
| 52 | North IRL 586 Septic System Upgrades | $10,548,000 | 13,857 | $761 | To be determined | To be determined |
| 53 | Central IRL 939 Septic System Upgrades | $16,900,485 | 22,190 | $762 | To be determined | To be determined |
| - | Stormwater Projects | - | - | - | - | - |
| - | Banana River Lagoon 68 Basin Projects | $14,407,164 | 63,789 | $226 | 8,421 | $1,711 |
| 13 | Central Boulevard Baffle Box | $34,700 | 481 | $72 | 14 | $2,479 |
| 16 | Gleason Park Reuse | $4,224 | 48 | $88 | 9 | $469 |
| 64 | Stormwater Low Impact Development Convair Cove 1 – Blakey Boulevard | $4,650 | 30 | $155 | 3 | $1,550 |
| 65 | Stormwater Low Impact Development Convair Cove 2- Dempsey Drive | $4,495 | 29 | $155 | 3 | $1,498 |
| 66 | Big Muddy at Cynthia Baffle Box | $41,695 | 269 | $155 | 48 | $869 |
| 66b | Big Muddy at Cynthia Baffle Box Expansion | $25,837 | 167 | $155 | 10 | $2,584 |
| 85 | Basin 1304 Bioreactor | $90,000 | 958 | $94 | 127 | $709 |
| 128 | Jackson Court Stormwater Treatment Facility | $8,266 | 56 | $148 | 8 | $1,033 |
| 179 | Lori Laine Basin Pipe Improvement Project | $17,525 | 117 | $150 | 21 | $835 |
| - | North IRL 96 Basin Projects | $22,936,200 | 118,696 | $193 | 15,673 | $1,463 |
| 18 | Denitrification Retrofit of Johns Road Pond | $105,512 | 1,199 | $88 | To be determined | To be determined |
| 14 | Church Street Type II Baffle Box | $88,045 | 937 | $94 | 135 | $652 |
| 19 | St. Teresa Basin Treatment | $272,800 | 3,100 | $88 | 459 | $594 |
| 20 | South Street Basin Treatment | $86,856 | 987 | $88 | 156 | $557 |
| 21 | La Paloma Basin Treatment | $208,296 | 2,367 | $88 | 346 | $602 |
| 22 | Kingsmill-Aurora Phase Two | $367,488 | 4,176 | $88 | 814 | $451 |
| 23 | Denitrification Retrofit of Huntington Pond | $104,720 | 1,190 | $88 | To be determined | To be determined |
| 24 | Denitrification Retrofit of Flounder Creek Pond | $75,328 | 856 | $88 | To be determined | To be determined |
| 34 | Cliff Creek Baffle Box | $347,781 | 3,952 | $88 | 797 | $436 |
| 35 | Thrush Drive Baffle Box | $322,200 | 3,661 | $88 | 773 | $417 |
| 69 | Apollo/GA Baffle Box | $297,522 | 3,381 | $88 | 479 | $621 |
| 89 | Basin 1298 Bioreactor | $86,198 | 917 | $94 | 116 | $743 |
| 90 | Johns Road Pond Biosorption Activated Media | $23,030 | 245 | $94 | 37 | $622 |
| 91 | Burkholm Road Biosorption Activated Media | $64,390 | 685 | $94 | 104 | $619 |
| 92 | Carter Road Biosorption Activated Media | $62,510 | 665 | $94 | 101 | $619 |
| 93 | Wiley Avenue Biosorption Activated Media | $82,735 | 954 | $87 | 144 | $575 |
| 94 | Broadway Pond Biosorption Activated Media | $42,864 | 456 | $94 | 69 | $621 |
| 95 | Cherry Street Baffle Box | $92,120 | 980 | $94 | 174 | $529 |
| 96 | Spring Creek Baffle Box | $99,358 | 1,057 | $94 | 232 | $428 |
| 97 | Titusville High School Baffle Box | $111,813 | 1,190 | $94 | 166 | $674 |
| 98 | Coleman Pond Managed Aquatic Plant System | $11,438 | 1,240 | $9 | 198 | $58 |
| 110 | Osprey Plant Pond Managed Aquatic Plant Systems | $60,000 | 606 | $99 | 88 | $682 |
| 117 | Basin 10 County Line Road Woodchip Bioreactor | $72,773 | 597 | $122 | 90 | $809 |
| 118 | Basin 26 Sunset Road Serenity Park Woodchip Bioreactor | $73,810 | 605 | $122 | 92 | $802 |
| 119 | Basin 141 Irwin Avenue Woodchip Bioreactor | $69,174 | 567 | $122 | 86 | $804 |
| 120 | Draa Field Pond Managed Aquatic Plant Systems | $31,281 | 256 | $122 | 38 | $823 |
| 122 | Basin 22 Hunting Road Serenity Park Woodchip Bioreactor | $40,077 | 329 | $122 | 50 | $802 |
| 124 | Floating Wetlands to Existing Stormwater Ponds | $1,497 | 12 | $125 | 3 | $499 |
| 125 | Diamond Square Stormwater Pond | $10,383 | 85 | $122 | 23 | $451 |
| 127 | Basin 5 Dry Retention | $16,680 | 113 | $148 | 18 | $927 |
| 129 | Forrest Avenue 72-inch Outfall Baseflow Capture/Treatment | $13,956 | 94 | $148 | 12 | $1,163 |
| 169 | Sherwood Park Stormwater Quality Project | $99,708 | 1,762 | $57 | 670 | $149 |
| 174 | St. Johns 2 Baffle Box | $243,070 | 1,992 | $122 | 611 | $398 |
| 175 | High School Baffle Box | $144,326 | 1,183 | $122 | 319 | $452 |
| 176 | Funeral Home Baffle Box | $58,682 | 481 | $122 | 129 | $455 |
| 177 | North and South Lakemont Ponds Floating Wetlands | $13,054 | 107 | $122 | 25 | $522 |
| 178 | Marina B Managed Aquatic Plant Systems | $6,670 | 55 | $121 | 7 | $953 |
| - | Central IRL 8 Basin Projects | $3,258,500 | 19,832 | $164 | 2,617 | $1,245 |
| 15 | Bayfront Stormwater Project | $30,624 | 348 | $88 | 83 | $369 |
| 67 | Grant Place Baffle Box | $82,481 | 937 | $88 | 193 | $427 |
| 68 | Crane Creek/M-1 Canal Flow Restoration | $2,033,944 | 23,113 | $88 | 2,719 | $748 |
| 87 | Fleming Grant Biosorption Activated Media | $56,588 | 602 | $94 | 91 | $622 |
| 88 | Espanola Baffle Box | $105,186 | 1,119 | $94 | 148 | $711 |
| 121 | Basin 2258 Babcock Road Woodchip Bioreactor | $50,203 | 412 | $122 | 62 | $810 |
| 123 | Ray Bullard Water Reclamation Facility Stormwater Management Area | $160,674 | 1,317 | $122 | 400 | $402 |
| - | Muck Removal | - | - | - | - | - |
| 2016-10a | Port Canaveral South | $14,700,000 | 35,382 | $415 | 1,925 | $7,636 |
| 2016-5a | Pineda Banana River Lagoon | $6,825,000 | 15,033 | $454 | 686 | $9,949 |
| 2016-11a | Patrick Air Force Base | $7,175,000 | 6,497 | $1,104 | 382 | $18,783 |
| 168a | Cocoa Beach Golf | $21,350,000 | 29,694 | $719 | 2,058 | $10,374 |
| 41a | Grand Canal Muck | $2,440,971 | 10,185 | $240 | 1,358 | $1,797 |
| 42a | Sykes Creek Muck | $4,705,428 | 19,635 | $240 | 2,618 | $1,797 |
| 70a | Cocoa Beach Muck Dredging – Phase III | $1,376,305 | 4,095 | $336 | 780 | $1,764 |
| 71 | Merritt Island Muck Removal – Phase 1 | $7,733,517 | 8,085 | $957 | 1,540 | $5,022 |
| 72a | Muck Removal of Indian Harbour Beach Canals | $3,631,815 | 3,780 | $961 | 720 | $5,044 |
| 101 | Cocoa Beach Muck Dredging Phase II-B | $5,917,650 | 6,300 | $939 | 840 | $7,045 |
| 144 | Satellite Beach Muck Dredging | $1,884,225 | 3,885 | $485 | 518 | $3,638 |
| 2016-06a | Titusville Railroad West | $3,150,000 | 14,406 | $219 | 588 | $5,357 |
| 2016-07a | National Aeronautics and Space Administration Causeway East | $9,975,000 | 21,872 | $456 | 1,047 | $9,527 |
| 2016-04a | Rockledge A | $4,375,000 | 7,581 | $577 | 825 | $5,303 |
| 2016-08a | Titusville Railroad East | $4,025,000 | 5,393 | $746 | 227 | $17,731 |
| 54a | Eau Gallie Northeast | $8,750,000 | 10,476 | $835 | 1,482 | $5,904 |
| 2016-3a | Muck Re-dredging in Turkey Creek | $137,329 | 5,691 | $24 | 221 | $621 |
| - | Treatment of Interstitial Water | - | - | - | - | - |
| 2016-10b | Port Canaveral South | $2,134,419 | 42,688 | $50 | 3,887 | $549 |
| 2016-5b | Pineda Banana River Lagoon | $990,980 | 19,820 | $50 | 1,804 | $549 |
| 2016-11b | Patrick Air Force Base | $1,041,800 | 20,836 | $50 | 1,897 | $549 |
| 168b | Cocoa Beach Golf | $3,013,100 | 99,098 | $30 | 9,022 | $334 |
| 41b | Grand Canal Interstitial | $15,579,397 | 89,025 | $175 | To be determined | To be determined |
| 42b | Sykes Creek Interstitial | $11,248,704 | 64,278 | $175 | To be determined | To be determined |
| 72b | Muck Interstitial Water Treatment for Indian Harbour Beach Canals | $5,483,600 | 27,418 | $200 | To be determined | To be determined |
| 113 | Satellite Beach Interstitial Water Treatment | $3,057,756 | 29,978 | $102 | 3,059 | $1,000 |
| 2016-06b | Titusville Railroad West | $457,375 | 9,148 | $50 | 833 | $549 |
| 2016-07c | National Aeronautics and Space Administration Causeway East | $1,448,355 | 28,967 | $50 | 2,637 | $549 |
| 2016-04b | Rockledge A | $635,244 | 12,705 | $50 | 1,157 | $549 |
| 2016-08b | Titusville Railroad East | $584,424 | 11,688 | $50 | 1,064 | $549 |
| 54b | Eau Gallie Northeast | $1,270,487 | 25,410 | $50 | 2,313 | $549 |
| 2016-3b | Muck Interstitial Water Treatment for Turkey Creek | Included in muck project | Not applicable | Not applicable | 688 | Not applicable |
| - | Vegetation Harvesting | - | - | - | - | - |
| 111 | Draa Field Vegetation Harvesting | $50,000 | 574 | $87 | To be determined | To be determined |
| 112 | County Wide Stormwater Pond Harvesting | $14,000 | 140 | $100 | 28 | $500 |
| 171 | Mechanical Aquatic Vegetation Harvesting | $1,011,976 | 16,636 | $61 | 1,664 | $608 |
| 172 | Horseshoe Pond Vegetative Harvesting | $8,140 | 74 | $110 | 7 | $1,163 |
| 173 | North and South Lakemont Ponds Vegetation Harvesting | $1,980 | 18 | $110 | 4 | $495 |
| - | Oyster Bars | - | - | - | - | - |
| 2016-55 | Banana River Lagoon County Oyster Bars | $3,151,051 | 7,986 | $395 | 200 | $15,755 |
| 75 | Marina Isles Oyster Bar | $26,700 | 60 | $445 | 20 | $1,335 |
| 76 | Bettinger Oyster Bar | $10,680 | 24 | $445 | 8 | $1,335 |
| 78a | McNabb Park Oyster Bar | $34,056 | 72 | $473 | 24 | $1,419 |
| 79 | Gitlin Oyster Bar | $16,020 | 36 | $445 | 12 | $1,335 |
| 104 | Brevard Zoo Banana River Oyster Project | $583,020 | 1,476 | $395 | 37 | $15,757 |
| 141 | Brevard Zoo Banana River Oyster Project 2 | $264,800 | 662 | $400 | 17 | $15,576 |
| 143 | Brevard Zoo Oyster Reef Adjustments Banana River | $12,800 | 32 | $400 | 1 | $12,800 |
| 188 | Brevard Zoo Banana River Oyster Project 3 | $56,771 | 143 | $397 | 4 | $14,193 |
| 2016-56 | North IRL County Oyster Bars | $2,935,159 | 7,439 | $395 | 186 | $15,780 |
| 83 | Bomalaski Oyster Bar | $8,900 | 20 | $445 | 7 | $1,271 |
| 106 | Brevard Zoo North IRL Oyster Project | $341,280 | 864 | $395 | 22 | $15,513 |
| 139 | Brevard Zoo North IRL Oyster Project 2 | $336,400 | 841 | $400 | 21 | $16,019 |
| 142 | Brevard Zoo Oyster Reef Adjustments North IRL | $27,200 | 68 | $400 | 2 | $13,600 |
| 184 | Brevard Zoo North Indian River Lagoon Oyster Project 3 | $419,232 | 1,056 | $397 | 26 | $16,124 |
| 186 | Brevard Zoo North Indian River Lagoon Individual Oyster Project | $173,092 | 436 | $397 | 11 | $15,736 |
| 2016-57 | Central IRL County Oyster Bars | $471,137 | 1,194 | $395 | 30 | $15,705 |
| 80 | Coconut Point/Environmentally Endangered Lands Oyster Bar | $45,120 | 96 | $470 | 2 | $22,560 |
| 81 | Wexford Oyster Bar | $31,150 | 70 | $445 | 24 | $1,298 |
| 82a | Riverview Park Oyster Bar | $108,790 | 230 | $473 | 78 | $1,395 |
| 73 | Riverview Senior Resort Oyster Bar | $30,304 | 77 | $394 | 2 | $15,152 |
| 105 | Brevard Zoo Central IRL Oyster Project | $161,160 | 408 | $395 | 10 | $16,116 |
| 140 | Brevard Zoo Central IRL Oyster Project 2 | $270,800 | 677 | $400 | 17 | $15,929 |
| 185 | Brevard Zoo Central Indian River Lagoon Tributary Pilot Oyster Project | $230,657 | 581 | $397 | 15 | $15,377 |
| 187 | Brevard Zoo Central Indian River Lagoon Oyster Project 3 | $86,546 | 218 | $397 | 5 | $17,309 |
| - | Planted Shorelines | - | - | - | - | - |
| 77a | Cocoa Beach Country Club Planted Shoreline | $16,080 | 67 | $240 | 23 | $699 |
| 78b | McNabb Park Planted Shoreline | $5,760 | 24 | $240 | 8 | $720 |
| 102 | Brevard Zoo Banana River Plant Project | $3,120 | 13 | $240 | 4 | $780 |
| 132 | Brevard Zoo Banana River Plant Project 2 | $480 | 2 | $240 | 1 | $480 |
| 182 | Newfound Harbor Drive | $1,680 | 7 | $240 | 2 | $840 |
| 103 | Brevard Zoo North IRL Plant Project | $720 | 3 | $240 | 1 | $720 |
| 129 | Brevard Zoo North IRL Plant Project 2 | $9,840 | 41 | $240 | 14 | $703 |
| 180 | Scottsmoor Impoundment | $10,560 | 44 | $240 | 15 | $704 |
| 181 | Riveredge | $4,080 | 17 | $240 | 6 | $680 |
| 183 | Brevard Zoo North Indian River Lagoon Plant Project 3 | $960 | 4 | $240 | 1 | $960 |
| 77b | Lagoon House Shoreline Restoration Planting | $24,000 | 100 | $240 | 34 | $706 |
| 82b | Riverview Park Planted Shoreline | $18,480 | 77 | $240 | 26 | $711 |
| 131 | Brevard Zoo Central IRL Plant Project | $1,920 | 8 | $240 | 3 | $640 |
| 133 | Fisherman's Landing | $4,800 | 20 | $240 | 7 | $686 |
| 135 | Rotary Park | $4,800 | 20 | $240 | 7 | $686 |
| - | Clam Restoration | - | - | - | - | - |
| 194 | Aquaculture Stimulus Program | $60,000 | 1,000 | $60 | To be determined | To be determined |
| - | Projects Monitoring | $10,000,000 | - | - | - | - |
| - | Contingency | $20,258,580 | - | - | - | - |
| - | Inflation | $57,065,372 | - | - | - | - |
|  | Total | $488,855,173 | 1,272,347 | $384 (average) | 105,125 | $4,650 (average) |

Table 69: Timeline for Funding Needs (Table 46 in the Original Save Our Indian River Lagoon Project Plan)

| Project Name/Total Project Cost | Year 0 (Fiscal Year 2016-2017) | Year 1 (Fiscal Year 2017-2018) | Year 2 (Fiscal Year 2018-2019) | Year 3 (Fiscal Year 2019-2020) | Year 4 (Fiscal Year 2020-2021) | Year 5 (Fiscal Year 2021-2022) | Year 6 (Fiscal Year 2022-2023) | Year 7 (Fiscal Year 2023-2024) | Year 8 (Fiscal Year 2024-2025) | Year 9 (Fiscal Year 2025-2026) | Year 10 (Fiscal Year 2026-2027) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Public Education | - | - | - | - | - | - | - | - | - | - | - |
| Fertilizer Management | - | Year 1 of Program* | Year 2 of Program* | Year 3 of Program* | Year 4 of Program | Year 5 of Program | Year 6 of Program | Year 7 of Program | Year 8 of Program | Year 9 of Program | Year 10 of Program |
| $625,000 | - | $0 | $120,951 | $49,477 | $59,096 | $59,096 | $100,000 | $59,095 | $59,095 | $59,095 | $59,095 |
| Grass Clippings | - | Year 1 of Program* | Year 2 of Program* | Year 3 of Program* | Year 4 of Program | Year 5 of Program | Year 6 of Program | Year 7 of Program | Year 8 of Program | Year 9 of Program | Year 10 of Program |
| $200,000 | - | $0 | $20,000 | $0 | $28,000 | $28,000 | $28,000 | $28,000 | $28,000 | $20,000 | $20,000 |
| Septic System Maintenance | - | Year 1 of Program* | Year 2 of Program* | Year 3 of Program* | Year 4 of Program | Year 5 of Program | Year 6 of Program | Year 7 of Program | Year 8 of Program | Year 9 of Program | Year 10 of Program |
| $300,000 | - | $0 | $48,380 | $49,245 | $28,911 | $28,911 | $28,911 | $28,911 | $28,911 | $28,910 | $28,910 |
| Oyster Gardening | - | - | - | Year 1 of Program* | Year 2 of Program | - | - | - | - | - | - |
| $300,000 | - | - | - | $150,000 | $150,000 | - | - | - | - | - | - |
| WWTF Upgrades | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | Cocoa Beach* | - | - | - | - | - | - | - | - |
| $945,000 | - | - | $945,000 | - | - | - | - | - | - | - | - |
| North IRL | - | - | - | Titusville Osprey Design and Permitting | Titusville Osprey Design and Start Construction | Titusville Osprey Construction | - | - | - | - | - |
| $8,000,000 | - | - | - | $1,000,000 | $3,000,000 | $4,000,000 | - | - | - | - | - |
| North IRL | - | - | - | - | Osprey Nutrient Upgrade Phase 2 | - | - | - | - | - | - |
| $300,000 | - | - | - | - | $300,000 | - | - | - | - | - | - |
| Central IRL | - | Palm Bay Permit and Engineering | Palm Bay Construction | Palm Bay Construction | - | - | - | - | - | - | - |
| $3,636,900 | - | $200,000 | $1,200,000 | $2,236,900 | - | - | - | - | - | - | - |
| Central IRL | - | - | - | Melbourne Grant Street | - | - | - | - | - | - | - |
| $6,769,500 | - | - | - | $6,769,500 | - | - | - | - | - | - | - |
| Central IRL | - | - | - | Ray Bullard Biological Nutrient Removal | - | - | - | - | - | - | - |
| $4,260,000 | - | - | - | $4,260,000 | - | - | - | - | - | - | - |
| Rapid Infiltration Basin/ Sprayfield Upgrades | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | - | - | - | - | - | Cape Canaveral Air Force Station | - | - | - |
| $5,227,200 | - | - | - | - | - | - | - | $5,227,200 | - | - | - |
| North IRL | - | - | - | - | Port St John | - | - | - | - | - | - |
| $980,100 | - | - | - | - | $980,100 | - | - | - | - | - | - |
| North IRL | - | - | - | - | Canebreaker Condo | - | - | - | - | - | - |
| $36,000 | - | - | - | - | $36,000 | - | - | - | - | - | - |
| Central IRL | Long Point* | - | - | - | - | - | - | - | - | - | - |
| $22,207 | $22,207 | - | - | - | - | - | - | - | - | - | - |
| Package Plant Connections | - | - | - | - | - | - | - | - | - | - | - |
| North IRL | - | - | - | - | Oak Point | - | - | - | - | - | - |
| $279,000 | - | - | - | - | $279,000 | - | - | - | - | - | - |
| Central IRL | - | - | - | - | - | South Shores | - | - | - | - | - |
| $1,301,154 | - | - | - | - | - | $1,301,154 | - | - | - | - | - |
| Central IRL | - | - | - | - | - | - | River Grove | - | - | - | - |
| $1,004,640 | - | - | - | - | - | - | $1,004,640 | - | - | - | - |
| Sewer Laterals | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | - | - | Satellite Beach Smoke Testing and Countywide Repairs | - | - | - | - | - | - |
| $840,000 | - | - | - | - | $840,000 | - | - | - | - | - | - |
| North IRL | - | - | Titusville Osprey Basin | - | - | - | - | - | - | - | - |
| $200,000 | - | - | $200,000 | - | - | - | - | - | - | - | - |
| North IRL | - | - | - | Merritt Island Lateral Smoke Testing | - | - | - | - | - | - | - |
| $250,000 | - | - | - | $250,000 | - | - | - | - | - | - | - |
| Central IRL | - | - | - | Barefoot Bay Lateral Smoke Testing | - | - | - | - | - | - | - |
| $90,000 | - | - | - | $90,000 | - | - | - | - | - | - | - |
| Central IRL | - | - | - | South Beaches Lateral Smoke Testing | - | - | - | - | - | - | - |
| $200,000 | - | - | - | $200,000 | - | - | - | - | - | - | - |
| Septic Removal | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | Sykes M Engineering | - | Sykes Creek M | - | - | - | - | - | - | - | - |
| $1,868,832 | $250,000 | - | $1,618,832 | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | Sykes Creek N | - | - | - | - | - | - | - | - | - |
| $2,603,016 | - | $2,603,016 | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | Sykes T Engineering | - | - | Sykes Creek T | - | - | - | - | - | - | - |
| $4,939,056 | $250,000 | - | - | $4,689,056 | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | - | - | South Banana B Engineering | South Banana B | - | - | - | - | - |
| $1,368,252 | - | - | - | - | $275,000 | $1,093,252 | - | - | - | - | - |
| Banana River Lagoon | - | - | - | Quick Connects | Quick Connects | Quick Connects | Quick Connects | - | - | - | - |
| $1,908,000 | - | - | - | $190,800 | $572,400 | $572,400 | $572,400 | - | - | - | - |
| Banana River Lagoon | - | - | - | - | Merritt Island C Engineering | Merritt Island C | Merritt Island C | - | - | - | - |
| $1,580,000 | - | - | - | - | $145,000 | $717,500 | $717,500 | - | - | - | - |
| Banana River Lagoon | - | - | - | - | Merritt Island F Engineering | - | Merritt Island F | - | - | - | - |
| $1,100,000 | - | - | - | - | $100,000 | - | $1,000,000 | - | - | - | - |
| Banana River Lagoon | - | - | - | - | Sykes Creek R Engineering | - | - | Sykes Creek R | - | - | - |
| $3,500,000 | - | - | - | - | $320,000 | - | - | $3,180,000 | - | - | - |
| Banana River Lagoon | - | - | - | - | Merritt Island G Engineering | - | - | - | - | Merritt Island G | - |
| $16,617,000 | - | - | - | - | $1,650,000 | - | - | - | - | $14,967,000 | - |
| Banana River Lagoon | - | - | - | - | North Merritt Island E Engineering | - | North Merritt Island E | - | - | - | - |
| $3,635,000 | - | - | - | - | $727,000 | - | $2,908,000 | - | - | - | - |
| North IRL | South Central C Engineering | South Central C | - | - | South Central C | - | - | - | - | - | - |
| $6,600,000 | $450,000 | $4,222,080 | - | - | $1,927,920 | - | - | - | - | - | - |
| North IRL | Breeze Swept* | - | - | - | - | - | - | - | - | - | - |
| $880,530 | $880,530 | - | - | - | - | - | - | - | - | - | - |
| North IRL | Merritt Island Redevelopment Agency | - | - | - | - | - | - | - | - | - | - |
| $320,000 | $320,000 | - | - | - | - | - | - | - | - | - | - |
| North IRL | - | - | Riverside Drive | - | - | - | - | - | - | - | - |
| $265,960 | - | - | $265,960 | - | - | - | - | - | - | - | - |
| North IRL | - | - | Cocoa K | - | - | - | - | - | - | - | - |
| $1,201,392 | - | - | $1,201,392 | - | - | - | - | - | - | - | - |
| North IRL | - | - | Roxy Avenue | - | - | - | - | - | - | - | - |
| $88,944 | - | - | $88,944 | - | - | - | - | - | - | - | - |
| North IRL | - | - | - | Cocoa J | - | - | - | - | - | - | - |
| $3,136,968 | - | - | - | $3,136,968 | - | - | - | - | - | - | - |
| North IRL | - | - | - | Rockledge | - | - | - | - | - | - | - |
| $500,580 | - | - | - | $500,580 | - | - | - | - | - | - | - |
| North IRL | - | - | - | Titusville A-G | - | - | - | - | - | - | - |
| $1,201,392 | - | - | - | $1,201,392 | - | - | - | - | - | - | - |
| North IRL | - | - | - | - | - | - | - | Titusville H | - | - | - |
| $1,168,020 | - | - | - | - | - | - | - | $1,168,020 | - | - | - |
| North IRL | - | - | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | - |
| $6,018,000 | - | - | $300,900 | $300,900 | $902,700 | $902,700 | $902,700 | $902,700 | $902,700 | $902,700 | - |
| North IRL | - | - | - | - | South Central D (Brevard) Engineering | South Central D (Brevard) | - | - | - | - | - |
| $4,774,500 | - | - | - | - | $955,000 | $3,819,500 | - | - | - | - | - |
| North IRL | - | - | - | - | - | - | South Central D (Melbourne) | - | - | - | - |
| $265,500 | - | - | - | - | - | - | $265,500 | - | - | - | - |
| North IRL | - | - | - | - | South Central A Engineering | South Central A | - | - | - | - | - |
| $3,370,572 | - | - | - | - | $675,000 | $2,695,572 | - | - | - | - | - |
| North IRL | - | - | - | - | - | - | South Beaches A | - | - | - | - |
| $1,234,764 | - | - | - | - | - | - | $1,234,764 | - | - | - | - |
| North IRL | - | - | - | - | - | - | South Central F | - | - | - | - |
| $1,701,972 | - | - | - | - | - | - | $1,701,972 | - | - | - | - |
| North IRL | - | - | - | South Beaches O | - | - | - | - | - | - | - |
| $133,488 | - | - | - | $133,488 | - | - | - | - | - | - | - |
| North IRL | - | - | - | South Beaches P | - | - | - | - | - | - | - |
| $500,580 | - | - | - | $500,580 | - | - | - | - | - | - | - |
| North IRL | - | - | - | - | - | - | - | Melbourne | - | - | - |
| $867,672 | - | - | - | - | - | - | - | $867,672 | - | - | - |
| North IRL | - | - | - | - | Sharpes A Engineering | - | - | - | Sharpes A | - | - |
| $6,207,192 | - | - | - | - | $1,245,000 | - | - | - | $4,962,192 | - | - |
| North IRL | - | - | - | - | - | - | - | - | - | Rockledge Zone B | - |
| $5,339,520 | - | - | - | - | - | - | - | - | - | $5,339,520 | - |
| North IRL | - | - | - | - | Sharpes B Engineering | - | - | - | Sharpes B | - | - |
| $4,038,000 | - | - | - | - | $810,000 | - | - | - | $3,228,000 | - | - |
| North IRL | - | - | - | - | Cocoa C Engineering | - | - | - | - | Cocoa C | - |
| $5,248,500 | - | - | - | - | $1,050,000 | - | - | - | - | $4,198,500 | - |
| North IRL | - | - | - | - | Bowers | - | - | - | - | - | - |
| $147,000 | - | - | - | - | $147,000 | - | - | - | - | - | - |
| North IRL | - | - | - | - | Kent and Villa Espana | - | - | - | - | - | - |
| $710,000 | - | - | - | - | $710,000 | - | - | - | - | - | - |
| Central IRL | - | - | - | - | Micco Phases I & II | - | - | - | - | - | - |
| $2,239,500 | - | - | - | - | $2,239,500 | - | - | - | - | - | - |
| Central IRL | Hoag | - | - | - | - | - | - | - | - | - | - |
| $86,031 | $86,031 | - | - | - | - | - | - | - | - | - | - |
| Central IRL | Pennwood | - | - | - | - | - | - | - | - | - | - |
| $40,632 | $40,632 | - | - | - | - | - | - | - | - | - | - |
| Central IRL | - | - | - | - | Palm Bay B | - | - | - | - | - | - |
| $8,309,628 | - | - | - | - | $8,309,628 | - | - | - | - | - | - |
| Central IRL | - | - | - | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | Quick Connects | - |
| $3,354,000 | - | - | - | $254,400 | $516,600 | $516,600 | $516,600 | $516,600 | $516,600 | $516,600 | - |
| Central IRL | - | Sylvan Estates | - | - | - | - | - | - | - | - | - |
| $1,561,215 | - | $1,561,215 | - | - | - | - | - | - | - | - | - |
| Central IRL | - | - | - | - | Palm Bay A | - | - | - | - | - | - |
| $2,569,644 | - | - | - | - | $2,569,644 | - | - | - | - | - | - |
| Central IRL | - | - | - | - | Micco B Engineering | - | Micco B | Micco B | - | - | - |
| $9,000,000 | - | - | - | - | $815,000 | - | $5,000,000 | $3,185,000 | - | - | - |
| Central IRL | - | - | - | - | Avendia del Rio | - | - | - | - | - | - |
| $70,000 | - | - | - | - | $70,000 | - | - | - | - | - | - |
| Septic Upgrades | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | - | - | 20 Upgrades | 20 Upgrades | 20 Upgrades | 20 Upgrades | 20 Upgrades | - | - |
| $1,800,000 | - | - | - | - | $360,000 | $360,000 | $360,000 | $360,000 | $360,000 | - | - |
| North IRL | - | - | - | - | 80 Upgrades | 90 Upgrades | 90 Upgrades | 90 Upgrades | 80 Upgrades | 80 Upgrades | 76 Upgrades |
| $10,548,000 | - | - | - | - | $1,440,000 | $1,620,000 | $1,620,000 | $1,620,000 | $1,440,000 | $1,440,000 | $1,368,000 |
| Central IRL | - | - | - | 2 Upgrades* | 75 Upgrades | 110 Upgrades | 155 Upgrades | 155 Upgrades | 153 Upgrades | 145 Upgrades | 144 Upgrades |
| $16,900,485 | - | - | - | $34,485 | $1,350,000 | $1,980,000 | $2,790,000 | $2,790,000 | $2,754,000 | $2,610,000 | $2,592,000 |
| Stormwater Projects | - | - | - | - | - | - | - | - | - | - | - |
| Banana - Cape Canaveral | Central Boulevard Baffle Box* | - | - | - | - | - | - | - | - | - | - |
| $34,700 | $34,700 | - | - | - | - | - | - | - | - | - | - |
| Banana - Indian Harbour Beach | Gleason Park Reuse* | Big Muddy at Cynthia Baffle Box | Big Muddy Expansion | - | - | - | - | - | - | - | - |
| $71,756 | $4,224 | $41,695 | $25,837 | - | - | - | - | - | - | - | - |
| Banana - Cocoa Beach | - | - | - | - | Convair Cove 1 – Blakey Blvd | - | - | - | - | - | - |
| $4,650 | - | - | - | - | $4,650 | - | - | - | - | - | - |
| Banana - Cocoa Beach | - | - | - | - | Convair Cove 2- Dempsey Drive | - | - | - | - | - | - |
| $4,495 | - | - | - | - | $4,495 | - | - | - | - | - | - |
| Banana - Satellite Beach | - | - | - | Jackson Court | Lori Laine | - | - | - | - | - | - |
| $25,791 | - | - | - | $8,266 | $17,525 | - | - | - | - | - | - |
| Banana - Brevard | - | - | Basin 1304 Bioreactor* | - | - | - | - | - | - | - | - |
| $90,000 | - | - | $90,000 | - | - | - | - | - | - | - | - |
| Banana - Brevard | - | - | - | 5 Projects | 9 Projects | 9 Projects | 9 Projects | 9 Projects | 9 Projects | 9 Projects | 9 Projects |
| $14,407,164 | - | - | - | $955,564 | $1,858,400 | $3,053,600 | $2,529,700 | $1,961,300 | $1,438,400 | $1,300,600 | $1,309,600 |
| North IRL - Cocoa | Church Street Type II Baffle Box* | - | - | Floating Wetlands* | North and South Lakemont | - | - | - | - | - | - |
| $102,596 | $88,045 | - | - | $1,497 | $13,054 | - | - | - | - | - | - |
| North IRL - Cocoa | - | - | - | Diamond Square Pond | - | - | - | - | - | - | - |
| $10,383 | - | - | - | $10,383 | - | - | - | - | - | - | - |
| North IRL - Cocoa | - | - | - | Forrest Avenue Outfall | - | - | - | - | - | - | - |
| $13,956 | - | - | - | $13,956 | - | - | - | - | - | - | - |
| North IRL - Titusville | - | St. Teresa Basin Treatment* | Titusville High School Baffle Box | - | St. Johns 2 Baffle Box | - | - | - | - | - | - |
| $627,683 | - | $272,800 | $111,813 | - | $243,070 | - | - | - | - | - | - |
| North IRL - Titusville | - | South Street Basin Treatment* | Coleman Pond Managed Aquatic Plant System* | Osprey Plant Managed Aquatic Plant Systems | Marina B Managed Aquatic Plants | - | - | - | - | - | - |
| $164,964 | - | $86,856 | $11,438 | $60,000 | $6,670 | - | - | - | - | - | - |
| North IRL - Titusville | - | La Paloma Basin Treatment* | - | Draa Pond Managed Aquatic Plant Systems | - | - | - | - | - | - | - |
| $239,577 | - | $208,296 | - | $31,281 | - | - | - | - | - | - | - |
| North IRL - Melbourne | - | Cliff Creek Baffle Box* | Apollo/GA Baffle Box | - | High School Baffle Box | - | - | - | - | - | - |
| $789,629 | - | $347,781 | $297,522 | - | $144,326 | - | - | - | - | - | - |
| North IRL - Melbourne | - | Thrush Drive Baffle Box | Cherry Street Baffle Box | - | Funeral Home Baffle Box | - | - | - | - | - | - |
| $473,002 | - | $322,200 | $92,120 | - | $58,682 | - | - | - | - | - | - |
| North IRL - Melbourne | - | - | Spring Creek Baffle Box | - | - | - | - | - | - | - | - |
| $99,358 | - | - | $99,358 | - | - | - | - | - | - | - | - |
| North IRL - Indialantic | - | - | - | Basin 5 Dry Retention* | - | - | - | - | - | - | - |
| $16,680 | - | - | - | $16,680 | - | - | - | - | - | - | - |
| North IRL - Brevard | - | Kingsmill-Aurora Phase Two | Basin 1298 Bioreactor* | - | - | - | - | - | - | - | - |
| $453,686 | - | $367,488 | $86,198 | - | - | - | - | - | - | - | - |
| North IRL - Brevard | - | Denitrification Retrofit of Huntington Pond | Johns Road Pond* | Basin 10 County Line Road Bioreactor* | - | - | - | - | - | - | - |
| $200,523 | - | $104,720 | $23,030 | $72,773 | - | - | - | - | - | - | - |
| North IRL - Brevard | - | Denitrification Retrofit of Flounder Creek Pond | Burkholm Road* | Basin 26 Sunset Road Serenity Park Bioreactor | - | - | - | - | - | - | - |
| $213,528 | - | $75,328 | $64,390 | $73,810 | - | - | - | - | - | - | - |
| North IRL - Brevard | - | Denitrification Retrofit of Johns Road Pond | Carter Road* | Basin 141 Irwin Avenue Woodchip Bioreactor | - | - | - | - | - | - | - |
| $237,196 | - | $105,512 | $62,510 | $69,174 | - | - | - | - | - | - | - |
| North IRL - Brevard | - | - | Wiley Avenue | Basin 22 Hunting Road Serenity Park Bioreactor | - | - | - | - | - | - | - |
| $122,812 | - | - | $82,735 | $40,077 | - | - | - | - | - | - | - |
| North IRL - Brevard | - | - | Broadway Pond* | - | - | - | - | - | - | - | - |
| $42,864 | - | - | $42,864 | - | - | - | - | - | - | - | - |
| North IRL - Brevard | - | - | - | 7 Projects | 13 Projects | 13 Projects | 13 Projects | 13 Projects | 13 Projects | 12 Projects | 12 Projects |
| $22,936,200 | - | - | - | $1,026,000 | $5,184,600 | $3,285,200 | $3,070,000 | $2,990,800 | $2,343,300 | $2,505,100 | $2,531,200 |
| Central IRL - Palm Bay | Bayfront Stormwater Project* | - | - | - | - | - | - | - | - | - | - |
| $30,624 | $30,624 | - | - | - | - | - | - | - | - | - | - |
| Central IRL - Melbourne | - | - | Grant Place Baffle Box | Ray Bullard Stormwater Management Area | - | - | - | - | - | - | - |
| $243,155 | - | - | $82,481 | $160,674 | - | - | - | - | - | - | - |
| Central IRL - Melbourne | - | - | Espanola Baffle Box | - | - | - | - | - | - | - | - |
| $105,186 | - | - | $105,186 | - | - | - | - | - | - | - | - |
| Central - St. Johns River Water Management District | - | - | Crane Creek/M-1 Canal Flow Restoration | - | - | - | - | - | - | - | - |
| $2,033,944 | - | - | $2,033,944 | - | - | - | - | - | - | - | - |
| Central IRL - Brevard |  | - | Fleming Grant* | Basin 2258 Babcock Road Bioreactor | - | - | - | - | - | - | - |
| $106,791 |  | - | $56,588 | $50,203 | - | - | - | - | - | - | - |
| Central IRL - Brevard | - | - | - | - | - | 2 Projects | 2 Projects | 2 Projects | 1 Project | 1 Project | - |
| $3,258,500 | - | - | - | - | - | $603,700 | $916,100 | $763,300 | $716,700 | $258,700 | - |
| Vegetation Harvesting | - | - | - | - | - | - | - | - | - | - | - |
| North IRL - Brevard | - | - | - | County Wide Pond Harvesting | Horseshoe Pond | - | - | - | - | - | - |
| $22,140 | - | - | - | $14,000 | $8,140 | - | - | - | - | - | - |
| North IRL - Titusville | - | - | - | Draa Field Vegetation Harvesting | - | - | - | - | - | - | - |
| $50,000 | - | - | - | $50,000 | - | - | - | - | - | - | - |
| North IRL - Cocoa | - | - | - | - | North and South Lakemont Harvesting | - | - | - | - | - | - |
| $1,980 | - | - | - | - | $1,980 | - | - | - | - | - | - |
| Central IRL - Melbourne-Tillman | - | - | - | - | Mechanical Harvesting | - | - | - | - | - | - |
| $1,011,976 | - | - | - | - | $1,011,976 | - | - | - | - | - | - |
| Muck Removal & Interstitial Treatment | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | Cocoa Beach Phase III* | Cocoa Beach Ph II-B | - | - | - | - | - | - | - |
| $7,293,955 | - | - | $1,376,305 | $5,917,650 | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | Merritt Island | - | - | - | - | - | - | - | - |
| $7,733,517 | - | - | $7,733,517 | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | - | - | Indian Harbour Beach | Indian Harbour Beach | - | - | - | - | - | - |
| $9,115,415 | - | - | - | $500,000 | $8,615,415 | - | - | - | - | - | - |
| Banana River Lagoon | - | - | 29% Sykes Creek | - | 71% Sykes Creek | - | - | - | - | - | - |
| $15,954,132 | - | - | $5,954,132 | - | $10,000,000 | - | - | - | - | - | - |
| Banana River Lagoon | - | - | 20% Grand Canal | 25% Grand Canal | 55% Grand Canal | - | - | - | - | - | - |
| $18,020,368 | - | - | $3,020,368 | $5,000,000 | $10,000,000 | - | - | - | - | - | - |
| Banana River Lagoon | - | - | - | 1% Cocoa Beach Golf | 1% Cocoa Beach Golf | 8% Cocoa Beach Golf | 16% Cocoa Beach Golf | 30% Cocoa Beach Golf | - | - | - |
| $24,363,100 | - | - | - | $500,000 | $500,000 | $3,500,000 | $6,863,100 | $13,000,000 | - | - | - |
| Banana River Lagoon | - | - | - | - | - | 2% Port Canaveral South | 25% Port Canaveral South | 48% Port Canaveral South | 25% Port Canaveral South | - | - |
| $16,834,419 | - | - | - | - | - | $400,000 | $4,208,605 | $8,017,209 | $4,208,605 | - | - |
| Banana River Lagoon | - | - | - | - | - | 3% Pineda | 47% Pineda | 50% Pineda | - | - | - |
| $7,815,980 | - | - | - | - | - | $200,000 | $3,707,990 | $3,907,990 | - | - | - |
| Banana River Lagoon | - | - | - | - | - | Patrick Air Force Base | - | - | - | - | - |
| $8,216,800 | - | - | - | - | - | $8,216,800 | - | - | - | - | - |
| Banana River Lagoon | - | - | - | Satellite Beach | Satellite Beach | - | - | - | - | - | - |
| $4,941,981 | - | - | - | $500,000 | $4,441,981 | - | - | - | - | - | - |
| North IRL | - | - | 2% Eau Gallie Northeast | 49% Eau Gallie Northeast | 49% Eau Gallie Northeast | - | - | - | - | - | - |
| $10,020,487 | - | - | $200,409 | $4,910,039 | $4,910,039 | - | - | - | - | - | - |
| North IRL | - | 1% Titusville East | 4% Titusville East | 4% Titusville East | 21% Titusville East | 30% Titusville East | 40% Titusville East | - | - | - | - |
| $4,609,424 | - | $46,094 | $184,377 | $184,377 | $967,979 | $1,382,827 | $1,843,770 | - | - | - | - |
| North IRL | - | 1% Titusville West | 4% Titusville West | 4% Titusville West | 21% Titusville West | 30% Titusville West | 40% Titusville West | - | - | - | - |
| $3,607,375 | - | $36,074 | $144,295 | $144,295 | $757,549 | $1,082,212 | $1,442,950 | - | - | - | - |
| North IRL | - | 1% National Aeronautics and Space Administration East | 4% National Aeronautics and Space Administration East | - | 25% National Aeronautics and Space Administration East | 30% National Aeronautics and Space Administration East | 40% National Aeronautics and Space Administration East | - | - | - | - |
| $11,423,355 | - | $114,234 | $456,934 | - | $2,855,839 | $3,427,006 | $4,569,342 | - | - | - | - |
| North IRL | - | - | - | 4% Rockledge A | 48% Rockledge A | 48% Rockledge A | - | - | - | - | - |
| $5,010,244 | - | - | - | $200,000 | $2,405,122 | $2,405,122 | - | - | - | - | - |
| Central IRL | - | Turkey Creek* | - | - | - | - | - | - | - | - | - |
| $137,329 | - | $137,329 | - | - | - | - | - | - | - | - | - |
| Oyster Bars | - | - | - | - | - | - | - | - | - | - | - |
| Banana - Brevard Zoo | - | Marina Isles* | Brevard Zoo Banana River | Brevard Zoo Banana River Oyster Project 2 | Brevard Zoo Banana River Oyster Project 3 | - | - | - | - | - | - |
| $931,291 | - | $26,700 | $583,020 | $264,800 | $56,771 | - | - | - | - | - | - |
| Banana - Brevard Zoo | - | Bettinger* | - | Brevard Zoo Oyster Reef Adjustments | - | - | - | - | - | - | - |
| $23,480 | - | $10,680 | - | $12,800 | - | - | - | - | - | - | - |
| Banana - Cocoa Beach | - | - | - | - | McNabb | - | - | - | - | - | - |
| $34,056 | - | - | - | - | $34,056 | - | - | - | - | - | - |
| Banana - Brevard Zoo | - | Gitlin* | - | - | - | - | - | - | - | - | - |
| $16,020 | - | $16,020 | - | - | - | - | - | - | - | - | - |
| Banana - Brevard | - | - | - | - | 20,923 square feet Oysters | 29788.1 square feet Oysters | 29788.1 square feet Oysters | 29788.1 square feet Oysters | 29788.1 square feet Oysters | 29788.1 square feet Oysters | 29788.1 square feet Oysters |
| $3,151,051 | - | - | - | - | $330,227 | $470,138 | $470,138 | $470,137 | $470,137 | $470,137 | $470,137 |
| North IRL - Brevard Zoo | - | Bomalaski* | Brevard Zoo North IRL | Brevard Zoo North IRL Oyster Project 2 | Brevard Zoo North Indian River Lagoon Oyster Project 3 | - | - | - | - | - | - |
| $1,105,812 | - | $8,900 | $341,280 | $336,400 | $419,232 | - | - | - | - | - | - |
| North IRL - Brevard | - | - | - | - | 26,567.4 square feet Oysters | 26,567.4 square feet Oysters | 26,567.4 square feet Oysters | 26,567.4 square feet Oysters | 26,567.4 square feet Oysters | 26,567.4 square feet Oysters | 26,567.4 square feet Oysters |
| $2,935,159 | - | - | - | - | $419,309 | $419,309 | $419,309 | $419,308 | $419,308 | $419,308 | $419,308 |
| North IRL - Brevard Zoo | - | - | - | Brevard Zoo Oyster Reef Adjustments | Brevard Zoo North Indian River Lagoon Individual Oyster Project | - | - | - | - | - | - |
| $200,292 | - | - | - | $27,200 | $173,092 | - | - | - | - | - | - |
| Central IRL - Brevard Zoo | - | Coconut Point* | Brevard Zoo Central IRL | Brevard Zoo Central IRL Oyster Project 2 | Brevard Zoo Central Indian River Lagoon Oyster Project 3 | - | - | - | - | - | - |
| $563,626 | - | $45,120 | $161,160 | $270,800 | $86,546 | - | - | - | - | - | - |
| Central IRL - Melbourne | - | Riverview Park | - | - | - | - | - | - | - | - | - |
| $108,790 | - | $108,790 | - | - | - | - | - | - | - | - | - |
| Central IRL - Brevard Zoo | - | Wexford | - | - | Brevard Zoo Central Indian River Lagoon Tributary Pilot Oyster Project | - | - | - | - | - | - |
| $261,807 | - | $31,150 | - | - | $230,657 | - | - | - | - | - | - |
| Central IRL - Brevard | - | Riverview Senior Resort* | - | - | 4,264.8 square feet Oysters | 4,264.8 square feet Oysters | 4,264.8 square feet Oysters | 4,264.2 square feet Oysters | 4,264.2 square feet Oysters | 4,264.2 square feet Oysters | 4,264.2 square feet Oysters |
| $501,441 | - | $30,304 | - | - | $67,306 | $67,306 | $67,305 | $67,305 | $67,305 | $67,305 | $67,305 |
| Planted Shorelines | - | - | - | - | - | - | - | - | - | - | - |
| Banana - Marine Resources Council | - | Cocoa Beach* | - | - | Newfound Harbor | - | - | - | - | - | - |
| $17,694 | - | $16,014 | - | - | $1,680 | - | - | - | - | - | - |
| Banana - Cocoa Beach | - | - | - | - | McNabb | - | - | - | - | - | - |
| $5,760 | - | - | - | - | $5,760 | - | - | - | - | - | - |
| Banana - Brevard Zoo | - | - | Brevard Zoo Banana River | Brevard Zoo Banana River Plant Project 2 | - | - | - | - | - | - | - |
| $3,600 | - | - | $3,120 | $480 | - | - | - | - | - | - | - |
| North IRL - Brevard Zoo | - | - | Brevard Zoo North IRL* | Brevard Zoo North IRL Plant Project 2 | Brevard Zoo North Indian River Lagoon Plant Project 3 | - | - | - | - | - | - |
| $11,520 | - | - | $720 | $9,840 | $960 | - | - | - | - | - | - |
| North IRL - Marine Resources Council | - | - | - | - | Scottsmoor | - | - | - | - | - | - |
| $10,560 | - | - | - | - | $10,560 | - | - | - | - | - | - |
| North IRL - Marine Resources Council | - | - | - | - | Riveredge | - | - | - | - | - | - |
| $4,080 | - | - | - | - | $4,080 | - | - | - | - | - | - |
| Central IRL - Marine Resources Council | - | Lagoon House* | - | Fisherman's Landing* | - | - | - | - | - | - | - |
| $28,761 | - | $23,961 | - | $4,800 | - | - | - | - | - | - | - |
| Central IRL - Melbourne | - | Riverview Park | - | - | - | - | - | - | - | - | - |
| $18,480 | - | $18,480 | - | - | - | - | - | - | - | - | - |
| Central IRL - Brevard Zoo | - | - | - | Brevard Zoo Central IRL Plant Project | - | - | - | - | - | - | - |
| $1,920 | - | - | - | $1,920 | - | - | - | - | - | - | - |
| Central IRL - Marine Resources Council | - | - | - | Rotary Park* | - | - | - | - | - | - | - |
| $4,800 | - | - | - | $4,800 | - | - | - | - | - | - | - |
| Clam Restoration | - | - | - | - | - | - | - | - | - | - | - |
| All | - | - | - | - | Aquaculture Stimulus | - | - | - | - | - | - |
| $60,000 | - | - | - | - | $60,000 | - | - | - | - | - | - |
| Project Monitoring | Year 0 Monitoring* | Year 1 Monitoring* | Year 2 Monitoring* | Year 3 Monitoring* | Year 4 Monitoring | Year 5 Monitoring | Year 6 Monitoring | Year 7 Monitoring | Year 8 Monitoring | Year 9 Monitoring | Year 10 Monitoring |
| $10,000,000 | $17,105 | $165,036 | $363,802 | $734,338 | $1,245,675 | $1,245,674 | $1,245,674 | $1,245,674 | $1,245,67 | $1,245,674 | $1,245,674 |
| Contingency | - | - | - | - | - | - | - | - | - | - | - |
| Banana River Lagoon | - | Cocoa Beach Planted* | - | - | - | - | - | - | - | - | - |
| $66 | - | $66 | - | - | - | - | - | - | - | - | - |
| Central IRL | - | Lagoon House Planted* | - | - | - | - | - | - | - | - | - |
| $39 | - | $39 | - | - | - | - | - | - | - | - | - |
| North IRL | - | - | - | Titusville Osprey WWTF* | - | - | - | - | - | - | - |
| $800,000 | - | - | - | $800,000 | - | - | - | - | - | - | - |
| North IRL - Melbourne | - | - | - | - | Sherwood Park | - | - | - | - | - | - |
| $99,708 | - | - | - | - | $99,708 | - | - | - | - | - | - |
| All | Year 0 Contingency | Year 1 Contingency | Year 2 Contingency | Year 3 Contingency | Year 4 Contingency | Year 5 Contingency | Year 6 Contingency | Year 7 Contingency | Year 8 Contingency | Year 9 Contingency | Year 10 Contingency |
| $20,258,580 | $69,833 | $539,904 | $1,329,482 | $2,383,113 | $4,637,045 | $2,472,679 | $2,605,249 | $2,638,811 | $1,259,446 | $1,817,457 | $505,561 |
| Inflation | - | Year 1 Inflation | Year 2 Inflation | Year 3 Inflation | Year 4 Inflation | Year 5 Inflation | Year 6 Inflation | Year 7 Inflation | Year 8 Inflation | Year 9 Inflation | Year 10 Inflation |
| $57,065,372 | - | $269,952 | $1,346,100 | $3,664,780 | $9,627,701 | $6,498,606 | $8,320,821 | $9,958,121 | $5,501,335 | $9,045,957 | $2,831,999 |
| $488,855,173 | $2,543,931 | $12,163,834 | $32,577,394 | $55,024,541 | $107,105,356 | $58,424,864 | $63,031,040 | $65,373,153 | $31,949,708 | $47,212,563 | $13,448,789 |

* Completed project with actual Save Our Indian River Lagoon Tax Fund cost.

# Appendix A: Funding Needs and Leveraging Opportunities

Brevard County explored a variety of possible mechanisms to fund the Indian River Lagoon (IRL) projects in this plan, including:

- Special Taxing District approved by referendum to allow an ad valorem tax levy and bonds

- Special Act by the legislature allowing ad valorem tax levy by referendum to issue bonds

- Local government surtax (0.5 cent sales tax)

- Altering legislation to allow for Tourist Development Council funding to be used for lagoon restoration

- Municipal Service Taxing Unit/Special District

- Increased stormwater utility assessment

The County placed a referendum on the November 8, 2016 ballot for the 0.5 cent sales tax, and this referendum passed by more than 60% of the vote. The Save Our Indian River Lagoon 0.5 cent sales tax will generate approximately $48.9 million per year. The proposed 1 mill increase would have generated approximately $32 million per year, whereas the proposed increase in 0.5 mill would have only generated $16 million per year. To implement the projects in a timely manner according to the schedule in Table 69, and to accelerate the projects where possible, the County will seek to use funds generated from the sales tax to leverage matching funding from grants and appropriations and/or pay debt service on bonds. If additional funding is provided through matching funds from other sources, additional projects may be implemented, which would increase the overall plan cost, and/or project timelines may be moved up to allow the benefits of those projects to occur earlier than planned.

Examples of other funding programs (many from Florida Department of Environmental Protection, 2019) are:

- Section 319 grant program – The Florida Department of Environmental Protection administers funds received from United States Environmental Protection Agency to implement projects or programs that reduce nonpoint sources of pollution. Projects or programs must benefit Florida’s impaired waters, and local sponsors must provide at least a 40% match or in-kind contribution. Eligible activities include demonstration and evaluation of urban and agricultural stormwater best management practices, stormwater retrofits, and public education.

- State water quality assistance grants – Funding may be available through periodic legislative appropriations to the Florida Department of Environmental Protection. When funds are available, the program prioritizes stormwater construction projects to benefit impaired waters, similar to the Section 319 grant program.

- Water management district funding – Florida’s five regional water management districts offer financial assistance for a variety of water-related projects, for water supply development, water resource development, and surface water restoration. Assistance may be provided from ad valorem tax revenues or from periodic legislative appropriations for alternative water supply development, springs restoration, and Surface Water Improvement and Management projects. The amount of funding available, matching requirements, and types of assistance may vary from year to year.

- IRL National Estuary Program – The IRL Council funds projects each year through their work plan process.

- Tourism + Lagoon Grant Program – The Brevard County Tourism Development Council has approved funding for the development of projects that demonstrate a benefit to the health of the IRL and a positive impact to Brevard County for litter control along shorelines and causeways/entryways, restoration and protection of living shorelines, habitat restoration to support fish and wildlife viewing, and waterway destinations and access for improved and sustainable recreational waterway access. Due to revenue shortfalls in 2020, this program has been placed on an indefinite hold.

- Budget Appropriation – The Florida Legislature may solicit applications directly for projects, including water projects, in anticipation of upcoming legislative sessions. This process is an opportunity to secure legislative sponsorship of project funding through the state budget.

- Clean Water State Revolving Fund loan program – This program provides low-interest loans to local governments to plan, design, and build or upgrade wastewater, stormwater, and nonpoint source pollution prevention projects. Discounted assistance for small communities is available. Interest rates on loans are below market rates and vary based on the economic wherewithal of the community. The Clean Water State Revolving Fund is Florida’s largest financial assistance program for water infrastructure.

- Florida Resilient Coastlines Program – The Florida Department of Environmental Protection offers technical assistance and funding to coastal communities dealing with increasingly complex flooding, erosion, and habitat shifts.

- Florida Rural Water Association Loan Program – This program provides low-interest bond or bank financing for community utility projects in coordination with the Florida Department of Environmental Protection’s State Revolving Fund program. Other financial assistance may also be available.

- Rural Development Rural Utilities Service Guaranteed and Direct Loans and Grants – The United States Department of Agriculture’s program provides a combination of loans and grants for water, wastewater, and solid waste projects to rural communities and small incorporated municipalities.

- Small Cities Community Development Block Grant Program – The Florida Department of Economic Opportunity makes funds available annually for water and sewer projects that benefit low- and moderate-income persons.

- State Housing Initiatives Partnership Program – Florida Housing administers the program, which provides funds to local governments as an incentive to create partnerships that produce and preserve affordable homeownership and multifamily housing. The program is designed to provide very low, low, and moderate income families with assistance. Funding may be used for emergency repairs, new construction, rehabilitation, down payment and closing cost assistance, impact fees, construction and gap financing, mortgage buy-downs, acquisition of property for affordable housing, matching dollars for federal housing grants and programs, and homeownership counseling.

- Rural Development Funding – The United States Department of Agriculture provides funds that will cover the repair and maintenance of private septic systems. The amount of funds available, as well as the specific purposes for which grants are intended, changes from year to year.

# Appendix B: References

Alachua County. 2012. Keeping Grass off the Streets Campaign Social Marketing Public Outreach Campaign Final Report. Alachua County Environmental Protection Department.

Anderson, D. L. 2006. A Review of Nitrogen Loading and Treatment Performance Recommendation for Onsite Wastewater Treatment Systems in the Wekiva Study Area. Hazen and Sawyer, P.C.

Anderson, D. L. 2016. A Review of Nitrogen Loading and Treatment Performance Recommendations for Onsite Wastewater Treatment Systems (OWTS) in the Wekiva Study Area. Wekiva Issue Paper R:\40391-001.

Applied Ecology. 2018. Parcel-, Modified Focus Area, and Community-Based OSTDS Prioritization Analysis in Support of an Updated SOIRL Septic System Conversion and/or Replacement Projects. Prepared for Brevard County Natural Resources Management Department.

Applied Ecology. 2019. Save Our Indian River Lagoon Groundwater Monitoring of Sewer Lateral Retrofit Projects: Reporting Period May through August 2019. Prepared for Brevard County Natural Resources Management Department.

Arnade, L. J. 1999. Seasonal correlation of well contamination and septic tank distance. Ground Water 37: 920-923.

Ayres Associates. 1993. An Investigation of the Surface Water Contamination Potential From On-Site Sewage Disposal Systems (OSDS) in the Turkey Creek Sub-Basin of the Indian River Lagoon Basin. St. Johns River Water Management District SWIM Project IR-1-110.1-D. Report to the Florida Department of Health and Rehabilitative Services under Contract No. LP114 and LP596.

Barile, P. 2018. Widespread sewage pollution of the Indian River Lagoon system, Florida (USA) resolved by spatial analyses of macroalgal biogeochemistry. Marine Pollution Bulletin 128:557–574.

Bilskie, M. V., Bacopoulos, P., and Hagen, S. C. 1990. Astronomic tides and nonlinear tidal dispersion for a tropical coastal estuary with engineered features (causeways): Indian River Lagoon system. Estuarine, Coastal and Shelf Science 216:54-70.

Blue Life Program. Website.

Bostater, C. and Rotkiske, T. 2016. Movement Measurements of Muck and Fluidized Mud at Dredge Sites. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Bostater, C. and Rotkiske, T. 2018. Moving Muck & Fluidized Mud & Tributary Bedload Measurements at Dredge Sites. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Boyd, C. 1969. The nutritive value of three species of water weeds. Economic Botany 23(2): 123-127.

Brehm, J. M., Pasko, D. K., and Eisenhauer, B.W. 2013. Identifying key factors in homeowner’s adoption of water quality best management practices. Environmental Management. 52, 113–122.

Brevard County Natural Resources Management Department. 2017. Today's Leaves and Grass Clippings, Tomorrow's Indian River Lagoon Muck.

Brevard County Utility Services. 2013. Infrastructure Asset Evaluation.

Carsey, T. P., Ferry, R., Goodwin, K. D., Ortner, P. B., Proni, J., Swart, P. K., and Zhang, J. Z. 2005. Brevard County Near Shore Ocean Nutrification Analysis. National Oceanic and Atmospheric Administration/Brevard County Near Shore Nutrification Analysis Project Final Report.

Caschetto, M., Robertson, W., Petitta, M., and Aravena, R. 2018. Partial nitrification enhances natural attenuation of nitrogen in a septic system plume. Science of the Total Environment 625: 801–808.

CDM Smith and Taylor Engineering. 2014. Preliminary Concept Design for Artificial Flushing Projects in the Indian River Lagoon. Phase I – Literature Review/Preliminary Site Selection. Prepared for the St. Johns River Water Management District.

CDM Smith and Taylor Engineering. 2015. Preliminary Concept Design for Artificial Flushing Projects in the Indian River Lagoon. Phase II – Conceptual Design/Project Refinement. Prepared for the St. Johns River Water Management District.

Chang, N., Wanielista, M., Daranpob, A., Xuan, Z., and Hossain, F. 2010. New Performance-Based Passive Septic Tank Underground Drainfield for Nutrient and Pathogen Removal Using Sorption Media. Environmental Engineering Science, Volume: 27 Issue: 6, p. 469-482. doi: 10.1089/ees.2009.0387.

City of DeLand and University of Central Florida. 2018. Final Report Bio-sorption Activated Media for Nitrogen Removal in a Rapid Infiltration Basin – Monitoring Project. Prepared for Florida Department of Environmental Protection: Project Agreement No. NS 003.

Clark, L. B., Gobler, C. J., and Sañudo-Wilhelm, S. A. 2006. Spatial and Temporal Dynamics of Dissolved Trace Metals, Organic Carbon, Mineral Nutrients, and Phytoplankton in a Coastal Lagoon: Great South Bay, New York. Estuaries and Coasts 29:841–854.

Clements, J. C. and Comeau, L. A. 2019. Nitrogen removal potential of shellfish aquaculture harvests in eastern Canada: A comparison of culture methods. Aquaculture Reports. Volume 13, March 2019, 100183.

Cogger, C. G., Hajjar, L. M., Moe, C. L., and Sobsey, M. D. 1988. Septic System Performance on a Coastal Barrier Island. Journal of Environmental Quality 17:401-408.

Cowan, J. L. and Boynton, W. R. 1996. Sediment-water oxygen and nutrient exchanges along the longitudinal axis of Chesapeake Bay: Seasonal Patterns, controlling factors and ecological significance. Estuaries 19:562-580.

Currin, C. A., Chappell, W. S., and Deaton, A. 2010. Developing alternative shoreline armoring strategies: The living shoreline approach in North Carolina, in Shipman, H., Dethier, M.N., Gelfenbaum, G., Fresh, K.L., and Dinicola, R.S., eds., 2010, Puget Sound Shorelines and the Impacts of Armoring—Proceedings of a State of the Science Workshop, May 2009: United States Geological Survey Scientific Investigations Report 2010-5254, p. 91-102.

Dawes, C. J., Hanisak, D., and Kenworthy, J. W. 1995. Seagrass biodiversity in the Indian River Lagoon. Bulletin of Marine Science 57: 59–66.

De, M. and Toor, G. S. 2017. Nitrogen transformations in the mounded drainfields of drip dispersal and gravel trench septic systems. Ecological Engineering. 102. 352-360.

Dewsbury, B. M., Bhat, M. and Fourqurean, J. W. 2016. A review of seagrass economic valuations: gaps and progress in valuation approaches. Ecosystem Services 18: 68–77.

Dietz, M. E., Clausen, J. C., and Filchak, K. K. 2004. Education and changes in residential nonpoint source pollution. Environmental Management 34(5), 684–690.

Donnelly, M., Shaffer, M., Connor, S., and Walters, L. 2018. Shoreline Characterization in the northern Indian River Lagoon. Coastal and Estuarine Ecology Lab Research Data. 2.

Fisher, T. R., Carlson, P. R., and Barber, R. T. 1982. Sediment nutrient regeneration in three North Carolina estuaries. Estuarine, Coastal and Shelf Science 14:101-116.

Fisher, T. R., Gilbert, P. M., Hagy, J.D., Harding, L. W., Houde, E. D., Kimmel, D. G., Miller, W. D., Newell, R. I. E., Roman M. R., Smith, E. M., and Stevenson, J. C. 2005. Eutrophication of Chesapeake Bay: historical trends and ecological interactions. Marine Ecology Progress Series 303:1-29.

Florida Department of Agriculture and Consumer Services. Detail Fertilizer Summary by County. From July 2011 to June 2012.

Florida Department of Agriculture and Consumer Services. Total Fertilizer and Nutrients by County. From July 2011 to June 2012.

Florida Department of Agriculture and Consumer Services. Total Fertilizer and Nutrients for Brevard County for Fiscal Year 2012-2013, Fiscal Year 2013-2014, Fiscal Year 2014-2015, and Fiscal Year 2015-2016. Personal communication on May 17, 2016.

Florida Department of Environmental Protection. 2010. Florida Friendly Best Management Practices for Protection of Water Resources by the Green Industries.

Florida Department of Environmental Protection. 2012. Removal of Aquatic Vegetation for Nutrient Credits in the Indian River Lagoon (IRL) Basin.

Florida Department of Environmental Protection. 2013a. Basin Management Action Plan for the Implementation of Total Maximum Daily Loads for Nutrients Adopted by the Florida Department of Environmental Protection in the Indian River Lagoon Basin, Central Indian River Lagoon.

Florida Department of Environmental Protection. 2013b. Basin Management Action Plan for the Implementation of Total Maximum Daily Loads for Nutrients Adopted by the Florida Department of Environmental Protection in the Indian River Lagoon Basin, Banana River Lagoon.

Florida Department of Environmental Protection. 2013c. Basin Management Action Plan for the Implementation of Total Maximum Daily Loads for Nutrients Adopted by the Florida Department of Environmental Protection in the Indian River Lagoon Basin, North Indian River Lagoon.

Florida Department of Environmental Protection. 2014. Presentation: Indian River Lagoon Basin Management Action Plan New Project Idea Feedback.

Florida Department of Environmental Protection. 2016. Reuse Statutory Authority.

Florida Department of Environmental Protection. 2017. Nitrogen Source Inventory and Loading Estimates for the Contributing Areas of Homosassa Springs Group and Chassahowitzka Springs Group. Division of Environmental Assessment and Restoration, Water Quality Evaluation and Total Maximum Daily Loads Program, Ground Water Management Section.

Florida Department of Environmental Protection. 2018. Statewide Best Management Practice (BMP) Efficiencies for Nonpoint Source Management of Surface Waters. Draft – January 2018.

Florida Department of Environmental Protection. 2019. Water Resources Funding in Florida. Prepared by the Division of Water Restoration Assistance.

Florida Department of Environmental Protection and Water Management Districts. 2010. Draft Environmental Resource Permit Stormwater Quality Applicant’s Handbook: Design Requirements for Stormwater Treatment Systems in Florida.

Florida Department of Health. 2015. Florida Onsite Sewage Nitrogen Reduction Strategies Study, Final Report.

Florida Institute of Technology. 2020. Restore Lagoon Inflow Research (Phase 1) Project Summary. Prepared for the Florida Department of Education.

Forand, N., DuBois, K., Halka, J., Hardaway, S., Janek, G., Karrh, L., Koch, E., Linker, L., Mason, P., Morgereth, E., Proctor, D., Smith, K., Stack, B., Stewart, S., and Wolinski, B. 2014. Recommendations of the Expert Panel to Define Removal Rates for Shoreline Management Projects. Submitted to: Urban Stormwater Work Group Chesapeake Bay Partnership.

Fox, A. L. and Trefry, J. H. 2018. Environmental Dredging to Remove Fine-Grained, Organic-Rich Sediments and Reduce Inputs of Nitrogen and Phosphorus to a Subtropical Estuary. Marine Technology Society Journal 52:42-57.

Fox, A. L. and Trefry J. H. 2019. Lagoon-Wide Application of the Quick-Flux Technique to Determine Sediment Nitrogen and Phosphorus Fluxes (Subtask 4). Impacts of Environmental Muck Dredging 2017-2018. Florida Institute of Technology.

Futch, C. R. 1967. A Survey of the Oyster Resources of Brevard County, Florida. Florida Board of Conservation, Marine Laboratory.

Gao, Y., Cornwell, J. C., Stocker, D. K., and Owens, M. S. 2012. Effects of cyanobacterial-driven pH increases on sediment nutrient fluxes and coupled nitrification denitrification in a shallow fresh water estuary. Biogeosciences 9:2697-2710.

Gehl, R. J., Schmidt, J. P., Stone, L. R., Schlegel, A. J., and Clark, G. A. 2005. In Situ Measurements of Nitrate Leaching Implicate Poor Nitrogen and Irrigation Management on Sandy Soils. Journal of Environmental Quality 34:2243–2254.

Geza, M., Lowe K. S., and McCray, J. E. 2014. STUMOD—a Tool for Predicting Fate and Transport of Nitrogen in Soil Treatment Units. Environ Model Assess 19:243–256.

Giblin, A. E. and Gaines, A. G. 1990. Nitrogen inputs to a marine embayment: the importance of groundwater. Biogeochemistry 10:309-328.

Gilliom, R. J. and Patmont, C. R. 1983. Lake Phosphorus Loading from Septic Systems by Seasonally Perched Groundwater. Water Pollution Control Federation 55:1297-1305.

GPI Southeast. 2010. Final Report Baffle Box Effectiveness Monitoring Project. DEP Contract No. S0236. Prepared for Florida Department of Environmental Protection and Sarasota County Board of County Commissioners.

Grabowski, J. H., Brumbaugh, R. D., Conrad, R. F., Keeler, A. G., Opaluch, J. J., Peterson, C. H., Piehler, M. F., Powers, S. P., and Smyth, A. R. 2012. Economic Valuation of Ecosystem Services Provided by Oyster Reefs. BioScience, Volume 62 No. 10, p. 900-909. doi:10.1525/bio.2012.62.10.10.

Griffin, D. W., Gibson, C. J., Lipp, E. K., and Riley, K. 1999. Detection of Viral Pathogens by Reverse Transcriptase PCR and of Microbial Indicators by Standard Methods in the Canals of the Florida Keys. Applied and Environmental Microbiology 65:4118-4125.

Grizzle, R. E., Greene, J. K., and Coen, L. D. 2008. Seston removal by natural and constructed intertidal eastern oyster (Crassostrea virginica) reefs: A comparison with previous laboratory studies, and the value of in situ methods. Estuaries and Coasts 31:1208-1220.

Harden, H. H., Roeder, E., Hooks, M., and Chanton, J. P. 2008. Evaluation of onsite sewage treatment and disposal systems in shallow karst terrain. Water Research 42: 2585 – 2597.

Harden, H. H., Chanton, J. P., Hicks, R., and Wade, E. 2010. Wakulla County Septic Tank Study Phase II Report on Performance Based Treatment Systems. The Florida State University Department of Earth, Ocean and Atmospheric Science. FDEP Agreement No: WM926.

Harper, H. H. and Baker, D. M. 2007. Evaluation of Current Stormwater Design Criteria within the State of Florida. Prepared for Florida Department of Environmental Protection, Contract No. S0108.

Harris, P. J. 1995. Water quality impacts from on-site waste disposal systems to coastal areas through groundwater discharge. Environmental Geology 26:262-268.

Harrison, M., Stanwyck, E., Beckingham, B., Starry, O., Hanlon, B., and Newcomer, J. 2012. Smart growth and the septic tank: Wastewater treatment and growth management in the Baltimore region. Land Use Policy 29:483– 492.

Hazen and Sawyer. 2015. Evaluation of Full Scale Prototype Passive Nitrogen Reduction Systems (PNRS) and Recommendations for Future Implementation. Report to the Florida Department of Health. Report. Appendices.

Hochmuth, G., Trenholm, L., Rainey, D., Momol, E., Lewis, C., and Niemann, B. 2016. Managing Landscape Irrigation to Avoid Soil and Nutrient Losses. EDIS Publication: SL384.

Indian River Lagoon (IRL) Clam Restoration Project. 2019. Coastal Conservation Association, University of Florida Whitney Lab, Florida Fish and Wildlife Conservation Commission. Website.

Indian River Lagoon (IRL) National Estuary Program. 2019. Looking Ahead to 2030: A 10-Year Comprehensive Conservation and Management Plan for the Indian River Lagoon, Florida.

Johnson, K. 2017. Biological Responses to Muck Dredging in the Indian River Lagoon, Part I. Seagrass Monitoring and Infaunal Surveys. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Johnson, K. and Shenker, S. 2016. Biological Responses to Muck Removal. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Katz, B. G., Griffi, D. W., McMahon, P. B., Harden, H. S., Wade, E., Hicks, R. W., and Chanton, J. P. 2010. Fate of Effluent-Borne Contaminants beneath Septic Tank Drainfields Overlying a Karst Aquifer. Journal of Environmental Quality 39:1181–1195.

Kellogg, M. L., Luckenbach, M. W., Brown, B. L., Carmichael, R. H., Cornwell, J. C., Piehler, M. F., and Owens, M. S. 2013. Quantifying Nitrogen Removal by Oysters Workshop Report. Submitted to National Oceanic and Atmospheric Administration Chesapeake Bay Office.

Kelly, J. R. and Nixon, S. W. 1984. Experimental studies of the effect of organic deposition on the metabolism of a coastal marine bottom community. Marine Ecology Progress Series 17:157-169.

Kemp, W. M. and Boynton, W. R. 1984. Spatial and temporal coupling of nutrient inputs to estuarine primary production. The role of particulate transport and decomposition. Bulletin of Marine Science 35:242-247.

Kemp, W. M., Boynton, W. R., Adolf, J. E., Boesch, D. F., Boicourt, W. C., Brush, G., Cornwell, J. C., Fisher, T. R., Gilbert, P. M., Hagy, J.D., Harding, L. W., Houde, E. D., Kimmel, D. G., Miller, W. D., Newell, R. I. E., Roman M. R., Smith, E. M., and Stevenson, J. C. 2005. Eutrophication of Chesapeake Bay: historical trends and ecological interactions. Marine Ecology Progress Series 303:1-29.

Kendal, C. and McDonnel, J. J. 1998. Isotope Tracers in Catchment Hydrology. Elsevier Science B.V., Amsterdam, 839 p.

Kimley Horn. 2018a. South Beaches Phase 1 Smoke Testing Report. Prepared for Brevard County Utility Services Department.

Kimley Horn. 2018b. South Beaches Phase 2 Smoke Testing Report. Prepared for Brevard County Utility Services Department.

Kroeger, Timm. 2012. Dollars and Sense: Economic Benefits and Impacts from two Oyster Reef Restoration Projects in the Northern Gulf of Mexico. The Nature Conservancy.

Koop, K., Boynton, W. R., Wulff, F., and Carman, R. 1990. Sediment-water oxygen and nutrient exchanges along a depth gradient in the Baltic Sea. Marine Ecology Progress Series 63:65-77.

Lagoon Loyal. Website.

Lambert, M. R., Giller, J. S. J., Skelly, D. K., and Bribiescas, R. G. 2016. Septic systems, but not sanitary sewer lines, are associated with elevated estradiol in male frog metamorphs from suburban ponds. General and Comparative Endocrinology 232:109–114.

Lancellotti, B. V., Loomis, J. W., Hoyt, K. P., Avizinis, E., and Amador, J. A. 2017. Evaluation of Nitrogen Concentration in Final Effluent of Advanced Nitrogen-Removal Onsite Wastewater Treatment Systems (OWTS). Water Air Soil Pollution 228: 383.

Lapointe, B. E., Brewton, R. A., and Wilking, L. E. 2018. Microbial Source Tracking of Bacterial Pollution in the North Fork of the St. Lucie River. Harbor Branch Oceanographic Institute Report.

Lapointe, B. E., Herren, L. W., Debortoli, D. D., and Vogel, M. A. 2015. Evidence of sewage-driven eutrophication and harmful algal blooms in Florida’s Indian River Lagoon. Harmful Algae 43:82–102.

Lapointe, B. E., Herren, L. W., and Paule, A. L., Septic systems contribute to nutrient pollution and harmful algal blooms in the St. Lucie Estuary, Southeast Florida, USA. Harmful Algae 70:1–22.

Lazarus, S. 2017. Wind and microclimate analysis improved site characterization in support of environmental flow modeling. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Lefebvre, L. W., Provancha, J. A., Slone, D. H., and Kenworthy, W. J. 2017. Manatee grazing impacts on a mixed species seagrass bed. Marine Ecology Progress Series 564:29-45.

Lewis, R. R. III, Clark, P. A., Fehring, W. K., Greening, H. S., Johansson, R. O., and Paul, R. T. 1999. The rehabilitation of the Tampa Bay Estuary, Florida, USA, as an example of successful integrated coastal management. Marine Pollution Bulletin 37: 468–473.

Li, L., Spoelstra, J., Robertson, W. D., Schiff, S. L., and Elgood, R. J. 2014. Nitrous Oxide as an Indicator of Nitrogen Transformation in a Septic System Plume. Journal of Hydrology 519:1882-1894.

Lusk, M., Toor, G. S., and Obreza, T. 2011. Onsite Sewage Treatment and Disposal Systems: Phosphorus. University of Florida-Institute of Food and Agricultural Sciences Publication SL349.

Mallin, M. A. 2013. Septic Systems in the Coastal Environment: Multiple Water Quality Problems in Many Areas. Monitoring Water Quality, http://dx.doi.org/10.1016/B978-0-444-59395-5.00004-2.

Mallin, M. A. and McIver, M. R. 2012. Pollutant impacts to Cape Hatteras National Seashore from urban runoff and septic leachate. Marine Pollution Bulletin 64: 1356–1366.

Marine Resources Council and Applied Ecology. 2020. Brevard County Groundwater Monitoring and Modeling Report: Final Report for the Groundwater Pollution, Engaging the Community in Solutions (Florida Department of Environmental Protection Contract #LP05112) and Save Our Indian River Lagoon Project Plan Groundwater Quality Monitoring (Task Order #271010-14-003). Prepared for Brevard County Natural Resources Management Department.

Meeroff, D. E., Bloetscher, F., Bocca, T., and Morin, F. 2008. Evaluation of Water Quality Impacts of On-site Treatment and Disposal Systems on Urban Coastal Waters. Water Air Soil Pollution 192:11–24.

Meile, C., Porubsky, W. P., Walker, R. L., and Payne, K. 2010. Natural attenuation of nitrogen loading from septic effluents: Spatial and environmental controls. Water Research 44:1399-1408.

Morton, T. G., Gold, A. J., and Sullivan, W. M. 1988. Influence of Overwatering and Fertilization on Nitrogen Losses from Home Lawns. Journal of Environmental Quality. vol 17 pg 124-130. doi:10.2134/jeq1988.00472425001700010019x.

Newell, R.I.E. and Koch, E.W. 2004. Modeling seagrass density and distribution in response to changes in turbidity stemming from bivalve filtration and seagrass sediment stabilization. Estuaries 27(5): 793-806.

Odera, E., Martin, E., and Lamm, A. J. 2015. Southern Florida High Water Users’ Public Opinions of Water in Florida. PIE2013/14-11. Gainesville, FL: University of Florida/Institute of Food and Agricultural Sciences Center for Public Issues Education.

Okaloosa County Extension. Accessed: October 5, 2017.

Olive, M., Daniel, L., and Donley, A. 2018. Septic Tank Survey: 2018. University of Central Florida Institute for Social and Behavioral Sciences. Presented to the Marine Resources Council.

Orth, R. J., Carruthers, T. J. B., Dennison, W. C., Duarte, C. M., Fourqurean, J. W., Heck Jr., K. L., Hughes, R., Kendrick, G. A., Kenworthy, J., Olyarnik, S., Short, F. T., Waycott, M., and Williams, S. L. 2006. A global crisis for seagrass ecosystems. BioScience 56:987-996.

Otis, R., Kreissl, J., Frederick, R., Goo, R., Casey, P., and Tonning, B. 2002. Onsite Wastewater Treatment Systems Manual. EPA/625/R-00/008.

Ott, E., Monaghan, P., and Wells, O. 2015. Strategies to Encourage Adoption of Stormwater Pond Best Management Practices by Homeowners. University of Florida-Institute of Food and Agricultural Sciences.

Ouyang, Y. and Zhang, J. 2012. Quantification of Shallow Groundwater Nutrient Dynamics in Septic Areas. Water, Air, & Soil Pollution 223:3181-3193.

Paperno, R., Dutka-Gianelli, J., and Tremain, D. Seasonal Variation in Nekton Assemblages in Tidal and Nontidal Tributaries in a Barrier Island Lagoon System. Estuaries and Coasts 41:1821–1833.

Paterson, R. G., Burby, R. J., and Nelson, A. C. 1991. Sewering the Coast: Bane or Blessing to Marine Water Quality. Coastal Management 19:239-252.

Phillips, P. J., Schubert, C., Argue, D., Fisher, I., Furlong, E. T., Foreman, W., Gray, J., and Chalmers, A. 2015. Concentrations of Hormones, Pharmaceuticals and Other Micropollutants in Groundwater Affected by Septic Systems in New England and New York. Science of the Total Environment 512:43-54.

Praecipio Economics Finance Statistics. 2016. The Blue Life Campaign and its Impact on Stormwater-Related Knowledge, Familiarity, Information and Behavior: Evidence from a Survey-Based Analysis of Brevard County Residents (2012 and 2015). Prepared for the Brevard County Board of County Commissioners.

Reidenbach, M. A., Berg, P., Hume, A., Hansen, J. C. R., and Whitman, E. R. 2013. Hydrodynamics of intertidal oyster reefs: The influence of boundary layer flow processes on sediment and oxygen exchange. Fluids and Environments 3: 225-239.

Restore America’s Estuaries. 2015. Living Shorelines: From Barriers to Opportunities. Arlington, VA.

Richards, S., Paterson, E., Withers, P. J., and Stutter, M. 2016. Septic Tank Discharges as Multi-Pollutant Hotspots in Catchments. Science of the Total Environment 542:854-863.

Ridge, J. T., Rodriguez, A. B., and Fodrie, F. J. 2017. Evidence of exceptional oyster-reef resilience to fluctuations in sea level. Ecology and Evolution 7: 10409-10420.

Rios, J. F., Ye, M., Wang, L., Lee, P. Z., Davis, H., and Hicks, R. 2013. ArcNLET: A GIS-based Software to Simulate Groundwater Nitrate Load from Septic Systems to Surface Water Bodies. Computers & Geosciences 52:108-116.

Robertson, W. D. 1995. Development of steady-state phosphate concentrations in septic system plumes. Journal of Contaminant Hydrology 19:289-305.

Robertson, W. D. 2008. Irreversible Phosphorus Sorption in Septic System Plumes? Ground Water 46:51-60.

Robertson, W. D., Cherry, J. A., and Sudicky, E. A. 1991. Ground‐water Contamination from Two Small Septic Systems on Sand Aquifers. Groundwater 29:82-92.

Robertson, W. D., Schiff, S. L., and Ptacek, C. J. 1998. Review of Phosphate Mobility and Persistence in 10 Septic System Plumes. Round Water 36:1000-1010.

Roeder, E. 2008. Revised Estimates of Nitrogen Inputs and Nitrogen Loads in the Wekiva Study Area. Bureau of Onsite Sewage Programs Florida Department of Health.

Romero, J., Lee, K., Perez, M., Mateo, M. A., and Alcoverro, T. 2006. Nutrient dynamics in seagrass ecosystems. P. 227-254. In A. W. D. Larkum, R. J. Orth, and C. M. Duarte [eds.], Seagrasses: Biology, ecology and conservation. Springer.

Rosen, J., Gibson., M., and Bartrand, T. 2010. Assessment of the Extra-Enteric Behavior of Fecal Indicator Organisms in Ambient Waters. United States Environmental Protection Agency Office of Water (4305T).

Salup, N. Personal communication. December 31, 2019.

Sayemuzzaman, M. and Ye, M. August 2015. Estimation of Nitrogen Loading from Converted Septic Systems (2013-14 and 2014-15) to Surface Waterbodies in Port St. Lucie, FL. Department of Scientific Computing, Florida State University. Prepared for the Florida Department of Environmental Protection. Tallahassee, Florida.

Schmidt, A. L, Wysmyk, J. K. C., Craig, S. E., and Lotze, H. K. 2012. Regional-scale effects of eutrophication on ecosystem structure and services of seagrass beds. Limnology and Oceanography 57(5): 1389-1402.

Schmidt, C. and Gallagher, S. 2017. The denitrification potential and ecosystem services from ten years of oyster bed restoration in the Indian River Lagoon.

Scyphers, S. B., Powers, S. P., Heck, K. L. Jr., and Byron, D. 2011. Oyster Reefs as Natural Breakwaters Mitigate Shoreline Loss and Facilitate Fisheries. PLoS ONE 6(8):e22396. doi:10.1371/journal.pone.0022396.

Seevers, B., Graham, D., Gamon, J., and Conklin, N. 1997. Education through cooperative extension. Albany, NY: Delmar Publishers.

Sharma, S., Goff, J., Moody, R. M., Byron, D. Heck Jr., K. L., Powers, S. P., Ferraro, C., and Cebrian, J. 2016. Do restored oyster reefs benefit seagrass? An experimental study in the Northern Gulf of Mexico. Restoration Ecology doi: 10.1111/rec.12329.

Shenker, J. 2018. Biological Responses to Muck Dredging in the Indian River Lagoon, Part II: Fish Populations and Sea Grass Transplanting Experiment. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Souto, L. 2018. Source to Slime Study in Indian River Lagoon. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

St. Johns River Water Management District. 2016a. Indian River Lagoon: background and history.

St. Johns River Water Management District. 2016b. 2011 Superbloom Report; Evaluating Effects and Possible Causes with Available Data. Prepared by Indian River Lagoon 2011 Consortium.

St. Johns River Water Management District. 2020. Results of SJRWMD Model Runs. Presentation by Mike Register, Director Water Supply Planning & Assessment.

Swann, C. P. 2000. A survey of nutrient behavior among residents in the Chesapeake Bay watershed. In: National conference on tools for urban water resource management and protection., (pp 230-237). Chicago, IL, United States Environmental Protection Agency.

Swain, E. D. and Prinos, S. T. 2018. Using Heat as a Tracer to Determine Groundwater Seepage in the Indian River Lagoon, Florida, April–November 2017. United States Geological Survey Open-File Report 2018–1151.

Tetra Tech. 2015. Letter Report: Nutrient Mitigation Alternatives for Sediment Dewatering. Prepared for Brevard County Natural Resources Management Department.

Tetra Tech. 2020. Brevard County Muck Dredging Projects (2014-2019) Summary Report. Florida Department of Environmental Protection Grant Agreement No. S0714.

Tran, K. C., Euan, J., and Isla, M. L. 2002. Public Perception of Development Issues: Impact of Water Pollution on a Small Coastal Community. Ocean & Coastal Management 45:405-420.

Treat, S. F. and Lewis III, R. R. (eds). 2006. Seagrass restoration: success, failure, and the cost of both. Lewis Environmental Services, Inc. 175 pp.

Trenholm, L. E. and Sartain, J. B. 2010. Turf Nutrient Leaching and Best Management Practices in Florida. HortTechnology, vol. 20, no. 1, 107-110. Prepared by the University of Florida.

Trefry, J. H. 2013. Presentation on Sediment Accumulation and Removal in the Indian River Lagoon. Presentation to the Environmental Preservation and Conservation Senate Committee. Marine and Environmental Systems, Florida Institute of Technology.

Trefry, J. H. 2018. Personal communication.

Trefry, J. H., Fox, A. L., Trocine, R. P., Fox, S. L., and Beckett, K. M. 2019a. Trends for Inputs of Muck Components from Rivers, Creeks and Outfalls to the Indian River Lagoon (Subtask 3). Impacts of Environmental Muck Dredging 2017–2018. Florida Institute of Technology.

Trefry, J. H., Johnson, K. B., Fox, A. L., and Ma, X. 2019b. Optimizing Selection of Sites for Environmental Dredging in the Indian River Lagoon System (Subtask 5). Impacts of Environmental Muck Dredging 2017-2018. Florida Institute of Technology.

Trefry, J. H., Trocine, R. P., Fox, A. L., Fox, S. L., Voelker, J. E., and Beckett, K. M. 2016. The Efficiency of Muck Removal from the Indian River Lagoon and Water Quality after Muck Removal. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Trefry, J. H., Trocine, R. P., Fox, A. L., Fox, S. L., Voelker, J. E., and Beckett, K. M. 2016. Determining the Effectiveness of Muck Removal on Sediment and Water Quality in the Indian River Lagoon, Florida. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Trefry, J. H., Trocine, R. P., Fox, A. L., Fox, S. L., Voelker, J. E., and Beckett, K. M. 2017. Inputs of Nitrogen and Phosphorus from Major Tributaries to the Indian River Lagoon. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

University of Central Florida. 2020a. January Brevard County Save Our Indian River Lagoon Oyster Monitoring Report.

University of Central Florida. 2020b. September Brevard County Save Our Indian River Lagoon Oyster Monitoring Report.

University of Central Florida. 2020c. November Brevard County Save Our Indian River Lagoon Oyster Monitoring Report.

University of Florida College of Engineering. 2011. Quantifying Nutrient Loads Associated with Urban Particulate Matter, and Biogenic/Litter Recovery through Current Municipal Separate Storm Sewer System Source Control and Maintenance Practices. Prepared for Florida Stormwater Association Educational Foundation.

University of Florida-Institute of Food and Agricultural Sciences. 2012. Warm-Season Turfgrass N Rates and Irrigation Best Management Practice Verification. Prepared for the Florida Department of Environmental Protection.

University of Florida-Institute of Food and Agricultural Sciences. 2013a. Using Reclaimed Water to Irrigate Turfgrass – Lessons Learned from Research with Nitrogen. Document SL389.

University of Florida-Institute of Food and Agricultural Sciences. 2013b. Urban Turf Fertilizer Rule for Home Lawn Fertilization. Document ENH1089.

University of Florida-Institute of Food and Agricultural Sciences. 2016. Florida Friendly Landscaping, Low Impact Development.

University of Florida-Institute of Food and Agricultural Sciences. 2017. EDIS SL181-B. Tissue Testing and Interpretation for Florida Turfgrasses.

University of Florida-Institute of Food and Agricultural Sciences. Online Resource Guide for Florida Shellfish Aquaculture. c2014-2015. Accessed December 2019.

United States Census Bureau. 2015. Persons per household, 2010-2014.

United States Environmental Protection Agency. 2000. Wastewater Technology Fact Sheet: Package Plants. EPA 832-F-00-016.

United States Environmental Protection Agency. 2002. Onsite Wastewater Treatment Manual. EPA 625/R-00/008. National Risk Management Research Laboratory, Office of Water, United States Environmental Protection Agency. Washington, DC.

United States Environmental Protection Agency. 2005. Riparian Buffer Width, Vegetative Cover, and Nitrogen Removal Effectiveness.

United States Environmental Protection Agency. 2007. Biological Nutrient Removal Processes and Costs. Fact Sheet EPA823-R-07-002. Office of Water.

Uppercase, Inc. 2018. Martin, Brevard & Volusia Grass Clippings Campaign Survey Research 2018 Draft Report.

Valiela, I. and Costa, J. E. 1988. Eutrophication of Buttermilk Bay, a Cape Cod Coastal Embayment: Concentrations of Nutrients and Watershed Nutrient Budgets. Environmental Management 12:539-553.

Valiela, I., Collins, G., Kremer, J., Lajtha, K., Geist, M., Seely, B., Brawley, J., and Sham, C. H. 1997. Nitrogen Loading from Coastal Watersheds to Receiving Estuaries: New Method and Application. Ecological Applications 7:358-380.

Valiela, I., Geist, M., McClelland, J., and Tomasky, G. 2000. Nitrogen Loading from Watersheds to Estuaries: Verification of the Waquoit Bay Nitrogen Loading Model. Biogeochemistry 49:277-293.

Waite, H. 2017. Investigating the Quantity and Types of Microplastics in the Organic Tissue of Oysters and Crabs in the Indian River Lagoon. Honors in the Major Theses. 157.

Wang, L., Ye, M., Rios, J. F., Fernandes, R., Lee, P. Z., and Hicks, R. W. 2013. Estimation of Nitrate Load from Septic Systems to Surface Water Bodies Using an ArcGIS-based Software. Environmental earth sciences 70:1911-1926.

Wanielista, M., Goolsby, M., Chopra, M., Chang, N., and Hardin, M. 2011. Green Residential Stormwater Management Demonstration: An Integrated Stormwater Management and Graywater System to Reduce the Quantity and Improve the Quality of Residential Water Discharges. University of Central Florida Stormwater Management Academy. Prepared for the Florida Department of Environmental Protection.

Wanielista, M. 2015. A Biosorption Activated Media Called Bold & Gold to Reduce Nutrients in Stormwater. Presentation. University of Central Florida.

Weaver, R. J. and Waite, T. D. 2018. Feasibility of muck removal at fixed locations in the IRL watershed and subsequent ferrate treatment to remove nutrients and contaminants. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Windsor, J. G., Bostater, C., Johnson, K. B., Shenker, J., Trefry, J. H., and Zarillo. G. A., Impacts of Environmental Muck Dredging 2014–2015 Final Project Report to Brevard County Natural Resources Management Department, Funding provided by the Florida legislature as part of DEP Grant Agreement No. S0714 – Brevard County Muck Dredging, Indian River Lagoon Research Institute, Florida Institute of Technology, Melbourne, Florida.

Withers, P. J. A., Jarvie, H. P., and Stoate, C. 2011. Quantifying the Impact of Septic Tank Systems on Eutrophication Risk in Rural Headwaters. Environment International 37:644-653.

Withers, P. J. A., May, L., Jarvie, H. P., Jordan, P., Doody, D., Foy, R. H., Bechmann, M., Cooksley, S., Dils, R., and Deal, N. 2012. Nutrient Emissions to Water from Septic Tank Systems in Rural Catchments: Uncertainties and Implications for Policy. Environmental Science & Policy 24:71-82.

Withers, P. J., Jordan, P., May, L., Jarvie, H. P., and Deal, N. E. 2014. Do Septic Tank Systems Pose a Hidden Threat to Water Quality? Frontiers in Ecology and the Environment 12:123-130.

Xiao, H., Wang, D., Hagen, S. C., Medeiros, S. C., and Hall, C. R. 2016. Assessing the Impacts of Sea-level Rise and Precipitation Change on the Surficial Aquifer in the Low-lying Coastal Alluvial Plains and Barrier Islands, East-central Florida (USA). Hydrogeology Journal 24:1791-1806.

Zanini, L., Robertson, W. D., Ptacek, C. J., Schiff, S. L., and Mayer, T. 1998. Phosphorus characterization in sediments impacted by septic effluent at four sites in central Canada. Journal of Contaminant Hydrology 33:405–429.

Zarillo, G. 2018. Numerical Flushing Experiments Final Report. Submitted to the Indian River Lagoon National Estuary Program and Canaveral Port Authority. Florida Institute of Technology, Melbourne, FL.

Zarillo, G. 2019. Numerical Model Flushing Experiments Addendum Report. Submitted to the Indian River Lagoon National Estuary Program and Canaveral Port Authority. Florida Institute of Technology, Melbourne, FL.

Zarillo, G. and Listopad, C. 2016. Hydrologic and Water Quality Model for Management and Forecasting within Brevard County Waters. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Zarillo, G. and Listopad, C. 2017. Hydrologic and Water Quality Model for Management and Forecasting within Brevard County Waters. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Zarillo, G. A. and Listopad, C. 2019. Sediment & Water Quality Modeling for Nutrients, Muck and Water Clarity Scenario Assessments. Impacts of Environmental Muck Dredging at Florida Institute of Technology Annual Report.

Zhang, X., Liu, X., Zhang, M., Dahlgren, R. A., and Eitzel, M. 2010. A Review of Vegetated Buffers and a Meta-analysis of Their Mitigation Efficacy in Reducing Nonpoint Source Pollution. Journal of Environmental Quality 39:76-84.

Zhu, Y., Ye, M., Roeder, E., Hicks, R. W., Shi, L., and Yang, J. 2016. Estimating Ammonium and Nitrate Load from Septic Systems to Surface Water Bodies within ArcGIS Environments. Journal of Hydrology 532:177-192.

zu Ermgassen, P., Hancock, B., DeAngelis, B., Greene, J., Schuster, E., Spalding, M., and Brumbaugh, R. 2016. Setting objectives for oyster habitat restoration using ecosystem services: A manager’s guide. The Nature Conservancy, Arlington VA. 76pp.

# Appendix C: Seagrasses

## Loss of Seagrass

In partnership, the St. Johns River Water Management District, South Florida Water Management District, and Florida Department of Environmental Protection mapped seagrass from aerial imagery taken in 1943 and every two to three years since 1986 (Figure C-1). Through 2009, the areal footprint of seagrass generally expanded, with some areas nearing their targets, which are benchmarks to evaluate the success of reducing nutrient loads to the Indian River Lagoon (IRL) system. Unfortunately, the areal extent of seagrass in the IRL began to decline in 2011 where mapping documented a loss of almost 43% of the acreage present in 2009. Most of this loss occurred in the reaches adjacent to Brevard County, with extensive losses in Banana River Lagoon (24,000 to 3,000 acres or an 88% reduction) and the IRL down to Sebastian Inlet (50,000 to 20,000 acres or a 60% reduction). The losses occurred during a bloom of phytoplankton (single-celled algae) that reached unprecedented concentrations for a record duration as indicated by concentrations of chlorophyll-a (Figure C-2). Beyond the shallowest water, the bloom effectively reduced the amount of light reaching seagrasses below what they required for survival. Additional intense blooms exacerbated the situation.

Figure C-1: Mean Areal Extent of Seagrass and Mean Length of Transects

Figure C-1 Long Description

Figure C-2: Mean Chlorophyll-a Concentrations

Figure C-2 Long Description

Since 2011, some seagrass have returned. In the IRL along Brevard County, about 9,000 acres have returned or about 30% of the 30,000 acres that were lost. In addition, there has been a similar amount of recovery in Banana River Lagoon (6,000 acres returned out of 21,000 lost or about 30% recovery). Recovery has been hampered by further blooms that include a brown tide (Aureoumbra lagunensis) bloom in 2016, whose effects will be apparent in maps produced from digital photography acquired in 2017. The prognosis is not good because the percentage cover of seagrass reached 5%, which is a record drop from 30–50% (Figure C-1).

Unfortunately, the IRL appears to be following a pattern described for systems that receive increased loads of nutrients (Duarte, 1995; Burkholder et al., 2007). The pattern involves a shift in the composition of the primary producer assemblage, with higher nutrient loads differentially promoting faster growing macroalgae and ultimately phytoplankton (Figure C-3). The macroalgae and phytoplankton can exacerbate loss of seagrasses, especially by shading them. Loss of seagrass and macroalgae makes more nutrients available to phytoplankton through decreased competition (Schmidt et al. 2012), and loss of seagrass means that the sediments can be resuspended, which also reduces light penetration. Overall, the change in the system becomes self-perpetuating. Reducing nutrient loads represents a critical first step in efforts to reverse the shift in primary producers. However, a return to the previous areal coverage of seagrass may take some time, especially if too few recruits are available and sediments are too destabilized for colonization.

Note: Adapted from Burkholder et al. 2007

Figure C-3: Conceptual Model Illustrating a Shift in Biomass Among Major Primary Producers with Increasing Nutrient Enrichment

## Nutrient Content of Seagrass

Halodule wrightii stores nutrients in its aboveground and belowground biological material or biomass. The biomass of this and other seagrasses changes seasonally, with peak growth of aboveground shoots occurring in April and May and the greatest aboveground biomass recorded during summer. These seasonal changes introduce uncertainty into estimates of nutrient storage, but mean values will suffice for estimating return on investment in the long-term (Table C-1). For example, a single shoot of Halodule wrightii may contain up to five or more leaves in the summer, whereas in the winter this same shoot may contain only one leaf (Dunton 1996). For this estimate of nutrient content, we will assume that spring-summer growth and fall-winter senescence are equal. Thus, we will focus on our recent estimates of an average amount of aboveground and belowground biomass or standing stock of Halodule wrightii (Table C-1 and Table C-2).

Table C-1: Estimates of Biomass for Halodule Species

| Location | Total Biomass (grams dry weight per square meter) | Reference |
| --- | --- | --- |
| Texas (Laguna Madre) | 10–400 | Zieman and Zieman, 1989 |
| North Carolina (multiple locations) | 22–208 | Zieman and Zieman, 1989 |
| South Florida and Tampa Bay | 10–300 | Zieman and Zieman, 1989 |
| IRL (Fort Pierce Inlet) | 124–198 | Hefferman and Gibson, 1983 |
| IRL (Grand Harbor/Vero) | 45 | Hefferman and Gibson, 1983 |
| IRL (Link Port) | 20–140 | Virnstein unpublished |
| IRL (Brevard County) | 53* | Morris, Chamberlain, and Jacoby unpublished |
| Texas (Laguna Madre) | 10–400 | Zieman and Zieman, 1989 |

* Mean aboveground biomass = 23 grams dry weight meters-2 = [(mean percent cover × 30.533) × 0.019]; mean belowground biomass = 30 grams dry weight meters-2 = 1.3 × aboveground biomass

Table C-2: Total Biomass in Seagrasses Along Brevard County

| Sub-lagoon | Description | Total Biomass (grams dry weight per square meter) |
| --- | --- | --- |
| Mosquito Lagoon | Brevard County line to southern end of sub-lagoon | 74 |
| Banana River Lagoon | National Aeronautics and Space Administration restricted area | 64 |
| Banana River Lagoon | Remainder of Banana River Lagoon | 44 |
| IRL | North of State Road 405 | 51 |
| IRL | State Road 405 to Pineda Causeway | 35 |
| IRL | Pineda Causeway to Hog Point | 28 |
| IRL | Hog Point to Brevard County line | 51 |
| Mean | Not applicable | 50 |

Duarte (1990) compared nutrient contents of 27 species of seagrass, including Halodule wrightii. He determined that nitrogen and phosphorus represent about 2.2% and 0.2% of the dry weight of aboveground and belowground tissue of Halodule wrightii, respectively. These values are similar to those calculated during a recent study in the IRL (Table C-3). The values can be combined with estimates of biomass to calculate how much nitrogen and phosphorus are sequestered by 100 acres of Halodule wrightii on average (Table C-4).

Table C-3: Estimates of Nutrient Content for Halodule wrightii (percentage of dry weight)

| Location | Carbon Above Ground | Nitrogen Above Ground | Phosphorus Above Ground | Carbon Below Ground | Nitrogen Below Ground | Phosphorus Below Ground |
| --- | --- | --- | --- | --- | --- | --- |
| BRL-1 | 29.60 | 2.02 | 0.17 | 30.60 | 1.24 | 0.14 |
| BRL-2 | 30.60 | 2.36 | 0.24 | 29.08 | 1.47 | 0.27 |
| BRL-3 | 29.60 | 2.66 | 0.26 | 28.09 | 1.48 | 0.25 |
| IRL-1 | 31.74 | 2.39 | 0.18 | 31.69 | 1.42 | 0.15 |
| IRL-2 | 30.08 | 2.56 | 0.26 | 30.48 | 1.74 | 0.27 |
| IRL-3 | 28.26 | 2.08 | 0.25 | 23.86 | 1.36 | 0.20 |
| Mean | 29.98 | 2.35 | 0.23 | 28.97 | 1.45 | 0.21 |

BRL = Banana River Lagoon, IRL = Indian River Lagoon

Table C-4: Average Amount of Nutrients Contained in Seagrass from 1996–2009

| Sub-lagoon | Acres | Seagrass (pounds per 100 acres) | Nitrogen (pounds per 100 acres) | Phosphorus (pounds per 100 acres) |
| --- | --- | --- | --- | --- |
| Southern Mosquito Lagoon | 14,000 | 45,000 | 1,000 | 100 |
| Banana River Lagoon | 21,000 | 45,000 | 1,000 | 100 |
| North IRL | 19,000 | 37,000 | 900 | 90 |
| Central IRL | 7,000 | 36,000 | 900 | 90 |

## Draft Evaluation Criteria for Planting Seagrass

Part of the wisdom accumulated from past seagrass restoration projects is the importance of selecting sites that will support seagrass growth. Key information has been synthesized into an initial guide, with higher scores and more certainty indicating better sites for planting seagrass (Table C-5). Please note that the presence of seagrass leads to a lower score based on the premise that natural recruitment represents the most cost-effective option for restoring seagrass. In addition, a high level of uncertainty can suggest targets for further study. This guide can be refined following pilot studies to determine optimal methods for planting seagrass (e.g., type of planting units, use of chemicals to enhance growth, and density of initial planting) and protecting it from disturbance (e.g., grazing, waves, exposure, and low salinity) until it is established.

## References

Burkholder, J. M., Tomasko, D. A., and Touchette, B. W. 2007. Seagrasses and eutrophication. Journal of Experimental Marine Biology and Ecology 350: 46–72.

Duarte, C. M. 1990. Seagrass nutrient content. Marine Ecology Progress Series 6: 201–207.

Duarte, C. M. 1995. Submerged aquatic vegetation in relation to different nutrient regimes. Ophelia 41: 87–112.

Dunton, K. H. 1990. Production ecology of Ruppia maritima and Halodule wrightii Aschers in two subtropical estuaries. Journal of Experimental Marine Biology and Ecology 143: 147–164.

Hefferman J. J., and R. A. Gibson. 1983. A comparison of primary production rates in Indian River, Florida seagrass systems. Florida Scientist 46: 295–306.

Schmidt, A. L., Wysmyk, J. K. C., Craig, S. E., and Lotze, H. K. 2012. Regional-scale effects of eutrophication on ecosystem structure and services of seagrass beds. Limnology and Oceanography 57(5): 1389-1402.

Zieman, J. C. and Zieman, R. T. 1989. The ecology of seagrass meadows of the west coast of Florida: a community profile. United States Fish and Wildlife Service, Biological Report 85(7.25), September 1989.

Table C-5: Guide for Ranking Potential Seagrass Restoration Sites

| Category | Metric | Timeframe | Attributes for Score = 0 | Attributes for Score = 2 | Attributes for Score = 4 | Attributes for Score = 6 | Score | Uncertainty (1 = low, 3 = high) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Critical Depth Zone 0.5-0.8 meters below mean sea level | Width of Critical Depth Zone (distance perpendicular to shore) | Recent | Very narrow: < 25 meters wide (< 82 feet) | Narrow: 25-50 meters (82-164 feet) | Moderately wide: 50-100 meters (164-328 feet) | Broad: > 100 meters (> 328 feet) |  |  |
| Critical Depth Zone 0.5-0.8 meters below mean sea level | Distance to seagrass (identified via the most recent map or targeted reconnaissance) | Recent | Continuous seagrass at site and within 1 kilometer (land use code = 9116): seagrass is a dominant feature (restoration not needed) | Isolated: no seagrass within 1 kilometers (0.6 miles) so conditions may be unfavorable | Discontinuous seagrass at site and within 1 kilometers (land use code = 9113): seagrass is patchy, so restoration may connect patches | Seagrass nearby: seagrass within 0.5-1.0 kilometers (0.3-0.6 miles) |  |  |
| Critical Depth Zone 0.5-0.8 meters below mean sea level | Percent cover in Critical Depth Zone (derived from the closest transect, paired considerations) | Past (2000-2009) | High: > 30% | Low: 10-20% | Moderate: 20-30% | High: > 30% |  |  |
| Critical Depth Zone 0.5-0.8 meters below mean sea level | Percent cover in Critical Depth Zone (derived from the closest transect, paired considerations) | Last 3 Years | High: > 10% (restoration not needed) | Low: < 10% (restoration may not help) | Low: < 10% (restoration may help but ultimate gain is likely limited) | Low: < 10% (potentially optimum site for restoration) |  |  |
| Potential stressors | Water quality (salinity and light availability derived from the closest station) | Last 3 Years | Bad: salinity < 10 anytime and < 18 for ³ 3 consecutive months or annual mean salinity - 1 standard deviation < 17 Secchi depth £ 0.50 meters (1.6 feet) anytime and £ 0.65 meters (2.1 feet) for ³ 3 consecutive months or annual mean Secchi depth - 1 standard deviation £ 0.65 meters | Poor: salinity < 18 for 3 consecutive months but never < 12 or annual mean salinity - 1 standard deviation³ 17 Secchi depth £ 0.65 meters for < 3 consecutive months but never £ 0.50 meters or annual mean Secchi depth - 1 standard deviation ³ 0.65 meters | Supportive: salinity always ³ 18 Secchi depth always > 0.65 meters and may be 0.65-1.0 meters (2.1-3.3 feet) for 3 consecutive months | Good: salinity consistently ³ 23 Secchi depth consistently > 1.0 meters |  |  |
| Potential stressors | Sediment (assessed via visits to the site or other current information) | Present | Not supportive: anoxic and sulfidic near the surface or easily resuspended or moved | Minimally supportive: hard bottom (e.g., compact sand or shells), not conducive for growth of rhizomes and roots, porewater may lack nutrients | Generally supportive: unconsolidated sediment that holds plants with relatively little resuspension and movement observed, porewater nutrients not limiting | Fully supportive: loosely consolidated sediment with firmly anchored plants if present, anoxic and sulfidic layers located below the zone occupied by roots and rhizomes, porewater rich in nutrients |  |  |
| Potential stressors | Water movement (assessed via visits to the site or other current information) | Present | High currents - possible scouring: frequent and strong currents or waves that may cause ripples in the sediment and uproot new plants | Moderate to high currents: currents and waves bend plants, sweep fragments of seagrass away before they can gain a foothold, and cause some resuspension of sediment | Moderate currents: plants often stand upright, fragments of seagrass may be trapped, sediment typically not resuspended | Low currents: mild currents or waves, sediment not disturbed, no apparent negative effects on any seagrass that is present |  |  |
| Potential stressors | Shoreline characteristics (assessed via visits the site or other current information) | Present | Unnatural shoreline: Critical Depth Zone in close proximity to urban development, including canals, and a hardened shoreline (e.g., riprap or bulkhead) | Semi-natural shoreline: Critical Depth Zone near moderate development and some shoreline is vegetated | Mostly natural shoreline: Critical Depth Zone near low to moderate development, most of the shoreline is vegetated shoreline or the site is associated with living shoreline project | All natural shoreline: vegetated shoreline with very limited development |  |  |
| Potential stressors | Public use (assessed via visits to the site visits or other current information, including recent aerial photographs) | Present | High use: Critical Depth Zone adjacent to or within an area with frequent boating, swimming or fishing (e.g., aerial photographs show prop scars) | Near high use: Critical Depth Zone within 0.5 kilometers (0.3 miles) of a highly used area | Not near high use: Critical Depth Zone more than 0.5 kilometers from a highly used area | Low use: no public facilities nearby and limited signs of use |  |  |
| Potential stressors | Biota (assessed via visits to the site or other current information on grazing or physical disturbance) | Present | Heavy use: site adjacent to deep water or manatee zone, power plant within 10 kilometers (6.2 miles), freshwater nearby, manatees and rays observed frequently, disturbance or grazing evident in > 50% of the area on a weekly-monthly basis | Moderate use: power plant > 10 kilometers away, deep water and manatee zones > 0.5 kilometers away, no freshwater nearby, disturbance or grazing evident in < 50% of the area on a monthly basis | Intermittent use: disturbance or grazing evident in < 25% of the area on a quarterly basis | Rare use: disturbance or grazing hardly evident |  |  |
| Logistics | Enhancement or protection (assessed via visits to the site) | Present | Extensive need: dense planting required due to absence of seagrass, fencing or caging required due to grazing, other enhancement or protection required, including living shorelines, sediment barriers, wave baffles | Substantial need: moderately dense planting required because only 1-2% cover present, fencing or caging required, few additional enhancements or protections required | Moderate need: low density planting sufficient because at least 2% cover present, fencing or caging required for a limited time, other enhancements or protections beneficial but not critical | Limited need: minimal density planting or no planting required because > 2% cover present and protection from grazing may result in spread of seagrass, no other enhancements or protections required |  |  |
| Logistics | Maintenance (assessed via visits to the site) | Anticipated | High maintenance: weekly cleaning | Moderate maintenance: monthly cleaning | Low maintenance: quarterly cleaning | Minimum maintenance: maintain as needed |  |  |
| Logistics | Staging and accessibility (assessed via visits to the site) | Present | Very difficult: substantial impediments that may include boat ramps > 10 kilometer away, soft sediment that is easily disturbed, permitting and access issues | Moderately difficult: boat ramp within 10 kilometers, somewhat firm sediment, tractable permitting and access issues | Relatively simple: boat ramp nearby and few other issues | No issues |  |  |
| Logistics | Monitoring (relevant past, current and future information on water quality and seagrasses available) | Present | No external support: no sampling of seagrass within 5 kilometers (3.1 miles), nearest water quality station not representative of conditions at the site | Minimal external support: seagrass surveyed within 3-5 kilometers (1.9-3.1 miles), water quality station is representative of conditions at the site | Moderate external support: seagrass and water quality sampled within 3 kilometers, so both are representative of conditions at the site | Considerable external support: seagrasses and water quality sampled at or adjacent to the site |  |  |
| Total |  |  |  |  |  |  |  |  |

Notes:

Optimize potential for success by planting: a) within the Critical Depth Zone (e.g., at 0.6-0.8 meters below mean sea level) with due recognition of tides and annual changes in water levels; or b) during the spring (e.g., late March to May) when water clarity is best, water temperatures are warming, and grazing by fish is relatively low

Scoring: if conditions do not match the attributes provided, then assign a score between the two that are most applicable

# Appendix D: Withdrawn Projects

Some of the projects submitted and approved as part of a plan update were determined to be less cost-effective and/or infeasible to implement after further investigation. Stormwater basin delineations were updated in 2019 with some basins merged or renamed in the 2020 Plan Update. Therefore, these projects were removed from the Save Our Indian River Lagoon Project Plan so that the funding could be used for other projects. Table D-1 lists the projects that have been removed from the plan at the request of the responsible entity.

Table D-1: Summary of Project Withdrawals from the Plan

| Year Removed | Project Name | Responsible Entity | Sub-Lagoon | TN Reduction (lbs/yr) | TP Reduction (lbs/yr) | Plan Funding |
| --- | --- | --- | --- | --- | --- | --- |
| 2017 | Stormwater project in Basin 754 | Brevard County | Banana | 734 | 95 | $100,000 |
| 2017 | Stormwater project in Basin 602 | Brevard County | Banana | 1,068 | 109 | $100,000 |
| 2017 | Stormwater project in Basin 1434 | Brevard County | North IRL | 932 | 112 | $125,000 |
| 2017 | Stormwater project in Basin 1151 | Brevard County | North IRL | 1,057 | 141 | $125,000 |
| 2017 | Stormwater project in Basin 1078 | Brevard County | North IRL | 1,250 | 187 | $125,000 |
| 2017 | Stormwater project in Basin 1399 | Brevard County | North IRL | 1,570 | 256 | $125,000 |
| 2017 | Stormwater project in Basin 1301 | Brevard County | North IRL | 1,025 | 154 | $125,000 |
| 2017 | Stormwater project in Basin 1368 | Brevard County | North IRL | 1,311 | 200 | $125,000 |
| 2017 | Stormwater project in Basin 408 | Brevard County | North IRL | 1,179 | 170 | $125,000 |
| 2017 | Stormwater project in Basin 338 | Brevard County | North IRL | 1,902 | 188 | $125,000 |
| 2017 | Stormwater project in Basin 1367 | Brevard County | North IRL | 1,042 | 146 | $100,000 |
| 2017 | Stormwater project in Basin 1384 | Brevard County | North IRL | 923 | 142 | $100,000 |
| 2017 | Stormwater project in Basin 1318 | Brevard County | North IRL | 1,124 | 148 | $100,000 |
| 2017 | Stormwater project in Basin 155 | Brevard County | North IRL | 1,149 | 122 | $100,000 |
| 2017 | Stormwater project in Basin 289 | Brevard County | North IRL | 1,112 | 223 | $100,000 |
| 2017 | Stormwater project in Basin 193 | Brevard County | North IRL | 1,316 | 198 | $100,000 |
| 2017 | Stormwater project in Basin 1441 | Brevard County | North IRL | 1,034 | 149 | $100,000 |
| 2017 | Stormwater project in Basin 660 | Brevard County | North IRL | 844 | 212 | $100,000 |
| 2017 | Stormwater project in Basin 952 | Brevard County | North IRL | 1,251 | 212 | $100,000 |
| 2018 | Holman Road Baffle Box | City of Cape Canaveral | Banana | 71 | 2 | $6,248 |
| 2018 | Center Street Baffle Box | City of Cape Canaveral | Banana | 297 | 9 | $26,136 |
| 2018 | International Drive Baffle Box | City of Cape Canaveral | Banana | 443 | 4 | $34,700 |
| 2018 | Angel Isles Baffle Box | City of Cape Canaveral | Banana | 131 | 3 | $11,528 |
| 2018 | Cherie Down Park Swale | City of Cape Canaveral | Banana | 27 | 9 | $2,376 |
| 2018 | Norwood Baffle Box Retrofit | City of Palm Bay | Central IRL | 1,631 | 254 | $143,528 |
| 2018 | Victoria Pond | City of Palm Bay | Central IRL | 267 | 42 | $23,486 |
| 2018 | Goode Park | City of Palm Bay | Central IRL | 794 | 121 | $69,872 |
| 2018 | Florin Pond | City of Palm Bay | Central IRL | 75 | 11 | $6,600 |
| 2018 | Airport Boulevard Dry Retrofit | City of Melbourne | North IRL | 99 | 23 | $8,718 |
| 2018 | Nasa Boulevard Pond Retrofit | City of Melbourne | Central IRL | 1,097 | 157 | $96,532 |
| 2018 | General Aviation Drive Retrofit | City of Melbourne | Central IRL | 158 | 10 | $13,937 |
| 2018 | L-1 Canal Bank Stabilization | Brevard County | North IRL | 995 | 383 | $87,560 |
| 2018 | Stormwater project in Basin 979 | Brevard County | Banana | 3,275 | 448 | $225,000 |
| 2018 | Stormwater project in Basin 1280 | Brevard County | Banana | 1,735 | 236 | $175,000 |
| 2018 | Stormwater project in Basin 1063 | Brevard County | Banana | 1,235 | 192 | $100,000 |
| 2018 | Stormwater project in Basin 970 | Brevard County | Banana | 1,092 | 185 | $100,000 |
| 2018 | Stormwater project in Basin 995 | Brevard County | Banana | 1,048 | 169 | $100,000 |
| 2018 | Stormwater project in Basin 1309 | Brevard County | Banana | 1,016 | 152 | $100,000 |
| 2018 | Stormwater project in Basin 754 | Brevard County | Banana | 734 | 95 | $100,000 |
| 2018 | Stormwater project in Basin 602 | Brevard County | Banana | 1,068 | 109 | $100,000 |
| 2018 | Stormwater project in Basin 1430 | Brevard County | North IRL | 2,255 | 335 | $175,000 |
| 2018 | Stormwater project in Basin 327 | Brevard County | North IRL | 1,999 | 283 | $125,000 |
| 2018 | Stormwater project in Basin 1582 | Brevard County | Central IRL | 2,402 | 443 | $200,000 |
| 2019 | Cocoa Beach Muck Dredging – Phase III Interstitial | City of Cocoa Beach | Banana | 2,942 | To be determined | $514,809 |
| 2019 | Indian River Drive Oyster Bar (reduction from 1,900 to 140 feet) | Brevard County | North IRL | 422 | 10 | $166,672 |
| 2019 | Indian River Drive Planted Shoreline (reduction from 1,900 to 140 feet) | Brevard County | North IRL | 118 | 41 | $20,620 |
| 2019 | Stormwater project in Basin 905 | Brevard County | Banana | 1,143 | 178 | $150,000 |
| 2019 | Stormwater project in Basin 492 | Brevard County | Banana | 1,020 | 117 | $100,000 |
| 2019 | Stormwater project in Basin 522 | Brevard County | Banana | 795 | 110 | $125,000 |
| 2019 | Stormwater project in Basin 705 | Brevard County | Banana | 650 | 95 | $100,000 |
| 2019 | Stormwater project in Basin 821 | Brevard County | Banana | 627 | 123 | $100,000 |
| 2019 | Stormwater project in Basin 820 | Brevard County | Banana | 597 | 112 | $100,000 |
| 2019 | Stormwater project in Basin 338 | Brevard County | North IRL | 4,226 | 188 | $125,000 |
| 2019 | Stormwater project in Basin 155 | Brevard County | North IRL | 2,553 | 122 | $100,000 |
| 2019 | Stormwater project in Basin 47 | Brevard County | North IRL | 1,348 | 139 | $125,000 |
| 2019 | Stormwater project in Basin 219 | Brevard County | North IRL | 956 | 113 | $125,000 |
| 2020 | Cape Canaveral Air Force Station WWTF Upgrade | Cape Canaveral Air Force Station | Banana | 25,627 | To be determined | $6,000,000 |
| 2020 | Malabar - Zone B | Brevard County | Central IRL | 1,929 | Not applicable | $2,135,808 |
| 2020 | Malabar - Zone A | Brevard County | Central IRL | 11,456 | Not applicable | $14,349,960 |
| 2020 | South Beaches - Zone F | Brevard County | Central IRL | 70 | Not applicable | $100,116 |
| 2020 | Carver Cove Swale | City of Cape Canaveral | Banana | 32 | 9 | $2,816 |
| 2020 | Cocoa Palms Low Impact Development | City of Cape Canaveral | Banana | 13 | 10 | $1,144 |
| 2020 | M1 Canal Biosorption Activated Media | Brevard County | Central IRL | 1,433 | 191 | $66,300 |
| 2020 | Oliver Oyster Bar | Brevard Zoo | North IRL | 116 | 39 | $51,620 |
| 2020 | Coconut Point/Environmentally Endangered Lands Oyster Bar (reduction from 27,125 square feet to 2,400 square feet) | Brevard Zoo | Central IRL | 989 | 367 | $464,830 |
| 2020 | Turkey Creek Shoreline Restoration – Oysters | City of Palm Bay | Central IRL | 309 | 8 | $122,055 |
| 2020 | Eden Isles Lane Oyster Bar | Brevard Zoo | Banana | 49 | 17 | $21,805 |
| 2020 | Turkey Creek Shoreline Restoration – Planted | City of Palm Bay | Central IRL | 104 | 36 | $24,960 |
| 2020 | Stormwater project in Basin 388 | Brevard County | Banana | 1,390 | 138 | $100,000 |
| 2020 | Stormwater project in Basin 451 | Brevard County | Banana | 1,168 | 121 | $100,000 |
| 2020 | Stormwater project in Basin 815 | Brevard County | Banana | 698 | 113 | $100,000 |
| 2020 | Stormwater project in Basin 829 | Brevard County | Banana | 630 | 145 | $100,000 |
| 2020 | Stormwater project in Basin 865 | Brevard County | Banana | 454 | 151 | $100,000 |
| 2020 | Stormwater project in Basin 889 | Brevard County | Banana | 539 | 85 | $100,000 |
| 2020 | Stormwater project in Basin 901 | Brevard County | Banana | 1,658 | 196 | $150,000 |
| 2020 | Stormwater project in Basin 912 | Brevard County | Banana | 1,025 | 34 | $100,000 |
| 2020 | Stormwater project in Basin 929 | Brevard County | Banana | 304 | 41 | $100,000 |
| 2020 | Stormwater project in Basin 933 | Brevard County | Banana | 302 | 38 | $100,000 |
| 2020 | Stormwater project in Basin 934 | Brevard County | Banana | 365 | 42 | $100,000 |
| 2020 | Stormwater project in Basin 938 | Brevard County | Banana | 424 | 160 | $100,000 |
| 2020 | Stormwater project in Basin 940 | Brevard County | Banana | 816 | 106 | $100,000 |
| 2020 | Stormwater project in Basin 943 | Brevard County | Banana | 708 | 90 | $100,000 |
| 2020 | Stormwater project in Basin 944 | Brevard County | Banana | 614 | 83 | $100,000 |
| 2020 | Stormwater project in Basin 955 | Brevard County | Banana | 522 | 60 | $100,000 |
| 2020 | Stormwater project in Basin 957 | Brevard County | Banana | 586 | 53 | $100,000 |
| 2020 | Stormwater project in Basin 958 | Brevard County | Banana | 164 | 26 | $100,000 |
| 2020 | Stormwater project in Basin 960 | Brevard County | Banana | 537 | 80 | $100,000 |
| 2020 | Stormwater project in Basin 961 | Brevard County | Banana | 431 | 57 | $100,000 |
| 2020 | Stormwater project in Basin 963 | Brevard County | Banana | 2,092 | 396 | $150,000 |
| 2020 | Stormwater project in Basin 969 | Brevard County | Banana | 528 | 78 | $100,000 |
| 2020 | Stormwater project in Basin 973 | Brevard County | Banana | 2,048 | 311 | $175,000 |
| 2020 | Stormwater project in Basin 975 | Brevard County | Banana | 521 | 75 | $100,000 |
| 2020 | Stormwater project in Basin 977 | Brevard County | Banana | 558 | 59 | $100,000 |
| 2020 | Stormwater project in Basin 980 | Brevard County | Banana | 836 | 127 | $100,000 |
| 2020 | Stormwater project in Basin 981 | Brevard County | Banana | 993 | 179 | $100,000 |
| 2020 | Stormwater project in Basin 982 | Brevard County | Banana | 642 | 68 | $100,000 |
| 2020 | Stormwater project in Basin 988 | Brevard County | Banana | 621 | 108 | $100,000 |
| 2020 | Stormwater project in Basin 989 | Brevard County | Banana | 1,030 | 110 | $100,000 |
| 2020 | Stormwater project in Basin 990 | Brevard County | Banana | 634 | 102 | $100,000 |
| 2020 | Stormwater project in Basin 992 | Brevard County | Banana | 1,244 | 195 | $100,000 |
| 2020 | Stormwater project in Basin 1000 | Brevard County | Banana | 277 | 40 | $100,000 |
| 2020 | Stormwater project in Basin 1001 | Brevard County | Banana | 401 | 54 | $100,000 |
| 2020 | Stormwater project in Basin 1010 | Brevard County | Banana | 374 | 55 | $100,000 |
| 2020 | Stormwater project in Basin 1014 | Brevard County | Banana | 333 | 50 | $100,000 |
| 2020 | Stormwater project in Basin 1016 | Brevard County | Banana | 920 | 136 | $100,000 |
| 2020 | Stormwater project in Basin 1018 | Brevard County | Banana | 389 | 54 | $100,000 |
| 2020 | Stormwater project in Basin 1026 | Brevard County | Banana | 1,073 | 180 | $100,000 |
| 2020 | Stormwater project in Basin 1033 | Brevard County | Banana | 1,113 | 152 | $100,000 |
| 2020 | Stormwater project in Basin 1038 | Brevard County | Banana | 157 | 25 | $100,000 |
| 2020 | Stormwater project in Basin 1039 | Brevard County | Banana | 708 | 104 | $100,000 |
| 2020 | Stormwater project in Basin 1041 | Brevard County | Banana | 273 | 47 | $100,000 |
| 2020 | Stormwater project in Basin 1048 | Brevard County | Banana | 107 | 20 | $100,000 |
| 2020 | Stormwater project in Basin 1070 | Brevard County | Banana | 113 | 12 | $100,000 |
| 2020 | Stormwater project in Basin 1071 | Brevard County | Banana | 1,082 | 144 | $100,000 |
| 2020 | Stormwater project in Basin 1082 | Brevard County | Banana | 264 | 39 | $100,000 |
| 2020 | Stormwater project in Basin 1098 | Brevard County | Banana | 341 | 53 | $100,000 |
| 2020 | Stormwater project in Basin 1104 | Brevard County | Banana | 701 | 106 | $100,000 |
| 2020 | Stormwater project in Basin 1117 | Brevard County | Banana | 282 | 43 | $100,000 |
| 2020 | Stormwater project in Basin 1120 | Brevard County | Banana | 313 | 50 | $100,000 |
| 2020 | Stormwater project in Basin 1121 | Brevard County | Banana | 186 | 27 | $100,000 |
| 2020 | Stormwater project in Basin 1125 | Brevard County | Banana | 307 | 51 | $100,000 |
| 2020 | Stormwater project in Basin 1133 | Brevard County | Banana | 562 | 90 | $100,000 |
| 2020 | Stormwater project in Basin 1142 | Brevard County | Banana | 534 | 73 | $100,000 |
| 2020 | Stormwater project in Basin 1152 | Brevard County | Banana | 245 | 30 | $100,000 |
| 2020 | Stormwater project in Basin 1159 | Brevard County | Banana | 134 | 20 | $100,000 |
| 2020 | Stormwater project in Basin 1167 | Brevard County | Banana | 180 | 28 | $100,000 |
| 2020 | Stormwater project in Basin 1175 | Brevard County | Banana | 394 | 42 | $100,000 |
| 2020 | Stormwater project in Basin 1183 | Brevard County | Banana | 272 | 39 | $100,000 |
| 2020 | Stormwater project in Basin 1188 | Brevard County | Banana | 166 | 29 | $100,000 |
| 2020 | Stormwater project in Basin 1198 | Brevard County | Banana | 365 | 62 | $100,000 |
| 2020 | Stormwater project in Basin 1220 | Brevard County | Banana | 396 | 61 | $100,000 |
| 2020 | Stormwater project in Basin 1223 | Brevard County | Banana | 561 | 86 | $100,000 |
| 2020 | Stormwater project in Basin 1225 | Brevard County | Banana | 122 | 19 | $100,000 |
| 2020 | Stormwater project in Basin 1231 | Brevard County | Banana | 300 | 58 | $100,000 |
| 2020 | Stormwater project in Basin 1248 | Brevard County | Banana | 306 | 46 | $100,000 |
| 2020 | Stormwater project in Basin 1250 | Brevard County | Banana | 188 | 26 | $100,000 |
| 2020 | Stormwater project in Basin 1251 | Brevard County | Banana | 448 | 66 | $100,000 |
| 2020 | Stormwater project in Basin 1262 | Brevard County | Banana | 443 | 80 | $100,000 |
| 2020 | Stormwater project in Basin 1265 | Brevard County | Banana | 743 | 98 | $100,000 |
| 2020 | Stormwater project in Basin 1270 | Brevard County | Banana | 187 | 28 | $100,000 |
| 2020 | Stormwater project in Basin 1296 | Brevard County | Banana | 241 | 48 | $100,000 |
| 2020 | Stormwater project in Basin 1302 | Brevard County | Banana | 172 | 25 | $100,000 |
| 2020 | Stormwater project in Basin 1303 | Brevard County | Banana | 166 | 24 | $100,000 |
| 2020 | Stormwater project in Basin 1305 | Brevard County | Banana | 119 | 25 | $100,000 |
| 2020 | Stormwater project in Basin 1310 | Brevard County | Banana | 583 | 106 | $100,000 |
| 2020 | Stormwater project in Basin 1311 | Brevard County | Banana | 104 | 15 | $100,000 |
| 2020 | Stormwater project in Basin 1314 | Brevard County | Banana | 170 | 26 | $100,000 |
| 2020 | Stormwater project in Basin 1317 | Brevard County | Banana | 1,679 | 143 | $125,000 |
| 2020 | Stormwater project in Basin 1319 | Brevard County | Banana | 117 | 16 | $100,000 |
| 2020 | Stormwater project in Basin 1327 | Brevard County | Banana | 352 | 52 | $100,000 |
| 2020 | Stormwater project in Basin 1328 | Brevard County | Banana | 617 | 89 | $100,000 |
| 2020 | Stormwater project in Basin 1332 | Brevard County | Banana | 303 | 47 | $100,000 |
| 2020 | Stormwater project in Basin 1334 | Brevard County | Banana | 795 | 130 | $100,000 |
| 2020 | Stormwater project in Basin 1336 | Brevard County | Banana | 470 | 68 | $100,000 |
| 2020 | Stormwater project in Basin 1337 | Brevard County | Banana | 1,121 | 186 | $100,000 |
| 2020 | Stormwater project in Basin 1338 | Brevard County | Banana | 256 | 37 | $100,000 |
| 2020 | Stormwater project in Basin 1343 | Brevard County | Banana | 1,388 | 142 | $100,000 |
| 2020 | Stormwater project in Basin 1346 | Brevard County | Banana | 189 | 28 | $100,000 |
| 2020 | Stormwater project in Basin 1350 | Brevard County | Banana | 1,049 | 165 | $100,000 |
| 2020 | Stormwater project in Basin 1351 | Brevard County | Banana | 129 | 19 | $100,000 |
| 2020 | Stormwater project in Basin 1357 | Brevard County | Banana | 338 | 56 | $100,000 |
| 2020 | Stormwater project in Basin 1362 | Brevard County | Banana | 476 | 71 | $100,000 |
| 2020 | Stormwater project in Basin 1366 | Brevard County | Banana | 1,483 | 242 | $100,000 |
| 2020 | Stormwater project in Basin 1371 | Brevard County | Banana | 273 | 39 | $100,000 |
| 2020 | Stormwater project in Basin 1372 | Brevard County | Banana | 720 | 113 | $100,000 |
| 2020 | Stormwater project in Basin 1378 | Brevard County | Banana | 744 | 104 | $100,000 |
| 2020 | Stormwater project in Basin 2421 | Brevard County | Banana | 343 | 49 | $100,000 |
| 2020 | Stormwater project in Basin 83 | Brevard County | North IRL | 452 | 61 | $100,000 |
| 2020 | Stormwater project in Basin 100 | Brevard County | North IRL | 888 | 115 | $100,000 |
| 2020 | Stormwater project in Basin 105 | Brevard County | North IRL | 549 | 72 | $100,000 |
| 2020 | Stormwater project in Basin 212 | Brevard County | North IRL | 693 | 89 | $100,000 |
| 2020 | Stormwater project in Basin 228 | Brevard County | North IRL | 684 | 131 | $100,000 |
| 2020 | Stormwater project in Basin 262 | Brevard County | North IRL | 794 | 126 | $100,000 |
| 2020 | Stormwater project in Basin 263 | Brevard County | North IRL | 469 | 65 | $100,000 |
| 2020 | Stormwater project in Basin 288 | Brevard County | North IRL | 732 | 78 | $100,000 |
| 2020 | Stormwater project in Basin 289 | Brevard County | North IRL | 1,112 | 223 | $100,000 |
| 2020 | Stormwater project in Basin 290 | Brevard County | North IRL | 1,116 | 193 | $100,000 |
| 2020 | Stormwater project in Basin 291 | Brevard County | North IRL | 485 | 82 | $100,000 |
| 2020 | Stormwater project in Basin 294 | Brevard County | North IRL | 551 | 84 | $100,000 |
| 2020 | Stormwater project in Basin 335 | Brevard County | North IRL | 1,187 | 206 | $100,000 |
| 2020 | Stormwater project in Basin 353 | Brevard County | North IRL | 497 | 86 | $100,000 |
| 2020 | Stormwater project in Basin 354 | Brevard County | North IRL | 555 | 115 | $100,000 |
| 2020 | Stormwater project in Basin 392 | Brevard County | North IRL | 840 | 155 | $100,000 |
| 2020 | Stormwater project in Basin 408 | Brevard County | North IRL | 1,179 | 170 | $125,000 |
| 2020 | Stormwater project in Basin 454 | Brevard County | North IRL | 1,996 | 302 | $150,000 |
| 2020 | Stormwater project in Basin 510 | Brevard County | North IRL | 586 | 92 | $100,000 |
| 2020 | Stormwater project in Basin 512 | Brevard County | North IRL | 364 | 53 | $100,000 |
| 2020 | Stormwater project in Basin 513 | Brevard County | North IRL | 1,137 | 183 | $100,000 |
| 2020 | Stormwater project in Basin 544 | Brevard County | North IRL | 624 | 98 | $100,000 |
| 2020 | Stormwater project in Basin 568 | Brevard County | North IRL | 534 | 85 | $100,000 |
| 2020 | Stormwater project in Basin 578 | Brevard County | North IRL | 430 | 68 | $100,000 |
| 2020 | Stormwater project in Basin 594 | Brevard County | North IRL | 833 | 135 | $100,000 |
| 2020 | Stormwater project in Basin 597 | Brevard County | North IRL | 800 | 142 | $100,000 |
| 2020 | Stormwater project in Basin 624 | Brevard County | North IRL | 860 | 134 | $100,000 |
| 2020 | Stormwater project in Basin 626 | Brevard County | North IRL | 1,602 | 193 | $150,000 |
| 2020 | Stormwater project in Basin 644 | Brevard County | North IRL | 686 | 94 | $100,000 |
| 2020 | Stormwater project in Basin 660 | Brevard County | North IRL | 844 | 212 | $100,000 |
| 2020 | Stormwater project in Basin 677 | Brevard County | North IRL | 709 | 136 | $100,000 |
| 2020 | Stormwater project in Basin 751 | Brevard County | North IRL | 532 | 121 | $100,000 |
| 2020 | Stormwater project in Basin 759 | Brevard County | North IRL | 614 | 98 | $100,000 |
| 2020 | Stormwater project in Basin 796 | Brevard County | North IRL | 639 | 98 | $100,000 |
| 2020 | Stormwater project in Basin 805 | Brevard County | North IRL | 645 | 94 | $100,000 |
| 2020 | Stormwater project in Basin 806 | Brevard County | North IRL | 622 | 100 | $100,000 |
| 2020 | Stormwater project in Basin 827 | Brevard County | North IRL | 639 | 96 | $100,000 |
| 2020 | Stormwater project in Basin 838 | Brevard County | North IRL | 658 | 135 | $100,000 |
| 2020 | Stormwater project in Basin 840 | Brevard County | North IRL | 619 | 84 | $100,000 |
| 2020 | Stormwater project in Basin 862 | Brevard County | North IRL | 416 | 72 | $100,000 |
| 2020 | Stormwater project in Basin 871 | Brevard County | North IRL | 366 | 53 | $100,000 |
| 2020 | Stormwater project in Basin 884 | Brevard County | North IRL | 437 | 68 | $100,000 |
| 2020 | Stormwater project in Basin 889 | Brevard County | North IRL | 539 | 85 | $100,000 |
| 2020 | Stormwater project in Basin 890 | Brevard County | North IRL | 533 | 110 | $100,000 |
| 2020 | Stormwater project in Basin 894 | Brevard County | North IRL | 794 | 116 | $100,000 |
| 2020 | Stormwater project in Basin 896 | Brevard County | North IRL | 581 | 123 | $100,000 |
| 2020 | Stormwater project in Basin 902 | Brevard County | North IRL | 276 | 35 | $100,000 |
| 2020 | Stormwater project in Basin 903 | Brevard County | North IRL | 631 | 88 | $100,000 |
| 2020 | Stormwater project in Basin 920 | Brevard County | North IRL | 511 | 87 | $100,000 |
| 2020 | Stormwater project in Basin 921 | Brevard County | North IRL | 743 | 96 | $100,000 |
| 2020 | Stormwater project in Basin 922 | Brevard County | North IRL | 601 | 107 | $100,000 |
| 2020 | Stormwater project in Basin 938 | Brevard County | North IRL | 424 | 160 | $100,000 |
| 2020 | Stormwater project in Basin 939 | Brevard County | North IRL | 502 | 71 | $100,000 |
| 2020 | Stormwater project in Basin 940 | Brevard County | North IRL | 816 | 106 | $100,000 |
| 2020 | Stormwater project in Basin 952 | Brevard County | North IRL | 1,251 | 212 | $100,000 |
| 2020 | Stormwater project in Basin 960 | Brevard County | North IRL | 537 | 80 | $100,000 |
| 2020 | Stormwater project in Basin 962 | Brevard County | North IRL | 527 | 75 | $100,000 |
| 2020 | Stormwater project in Basin 980 | Brevard County | North IRL | 836 | 127 | $100,000 |
| 2020 | Stormwater project in Basin 985 | Brevard County | North IRL | 687 | 99 | $100,000 |
| 2020 | Stormwater project in Basin 987 | Brevard County | North IRL | 1,099 | 172 | $100,000 |
| 2020 | Stormwater project in Basin 993 | Brevard County | North IRL | 611 | 93 | $100,000 |
| 2020 | Stormwater project in Basin 1002 | Brevard County | North IRL | 1,181 | 159 | $100,000 |
| 2020 | Stormwater project in Basin 1016 | Brevard County | North IRL | 920 | 136 | $100,000 |
| 2020 | Stormwater project in Basin 1027 | Brevard County | North IRL | 560 | 84 | $100,000 |
| 2020 | Stormwater project in Basin 1029 | Brevard County | North IRL | 685 | 93 | $100,000 |
| 2020 | Stormwater project in Basin 1032 | Brevard County | North IRL | 719 | 115 | $100,000 |
| 2020 | Stormwater project in Basin 1033 | Brevard County | North IRL | 1,113 | 152 | $100,000 |
| 2020 | Stormwater project in Basin 1034 | Brevard County | North IRL | 902 | 132 | $100,000 |
| 2020 | Stormwater project in Basin 1037 | Brevard County | North IRL | 533 | 105 | $100,000 |
| 2020 | Stormwater project in Basin 1039 | Brevard County | North IRL | 708 | 104 | $100,000 |
| 2020 | Stormwater project in Basin 1067 | Brevard County | North IRL | 463 | 67 | $100,000 |
| 2020 | Stormwater project in Basin 1071 | Brevard County | North IRL | 1,082 | 144 | $100,000 |
| 2020 | Stormwater project in Basin 1073 | Brevard County | North IRL | 428 | 61 | $100,000 |
| 2020 | Stormwater project in Basin 1076 | Brevard County | North IRL | 595 | 91 | $100,000 |
| 2020 | Stormwater project in Basin 1077 | Brevard County | North IRL | 1,687 | 289 | $150,000 |
| 2020 | Stormwater project in Basin 1080 | Brevard County | North IRL | 861 | 134 | $100,000 |
| 2020 | Stormwater project in Basin 1081 | Brevard County | North IRL | 1,281 | 210 | $100,000 |
| 2020 | Stormwater project in Basin 1112 | Brevard County | North IRL | 1,032 | 166 | $100,000 |
| 2020 | Stormwater project in Basin 1113 | Brevard County | North IRL | 416 | 93 | $100,000 |
| 2020 | Stormwater project in Basin 1124 | Brevard County | North IRL | 681 | 99 | $100,000 |
| 2020 | Stormwater project in Basin 1128 | Brevard County | North IRL | 279 | 77 | $100,000 |
| 2020 | Stormwater project in Basin 1150 | Brevard County | North IRL | 476 | 57 | $100,000 |
| 2020 | Stormwater project in Basin 1151 | Brevard County | North IRL | 1,057 | 141 | $125,000 |
| 2020 | Stormwater project in Basin 1172 | Brevard County | North IRL | 852 | 123 | $100,000 |
| 2020 | Stormwater project in Basin 1197 | Brevard County | North IRL | 609 | 82 | $100,000 |
| 2020 | Stormwater project in Basin 1213 | Brevard County | North IRL | 904 | 131 | $100,000 |
| 2020 | Stormwater project in Basin 1214 | Brevard County | North IRL | 727 | 84 | $100,000 |
| 2020 | Stormwater project in Basin 1215 | Brevard County | North IRL | 382 | 52 | $100,000 |
| 2020 | Stormwater project in Basin 1219 | Brevard County | North IRL | 512 | 60 | $100,000 |
| 2020 | Stormwater project in Basin 1220 | Brevard County | North IRL | 396 | 61 | $100,000 |
| 2020 | Stormwater project in Basin 1221 | Brevard County | North IRL | 545 | 85 | $100,000 |
| 2020 | Stormwater project in Basin 1222 | Brevard County | North IRL | 888 | 171 | $100,000 |
| 2020 | Stormwater project in Basin 1224 | Brevard County | North IRL | 401 | 111 | $100,000 |
| 2020 | Stormwater project in Basin 1228 | Brevard County | North IRL | 501 | 83 | $100,000 |
| 2020 | Stormwater project in Basin 1231 | Brevard County | North IRL | 300 | 58 | $100,000 |
| 2020 | Stormwater project in Basin 1233 | Brevard County | North IRL | 605 | 101 | $100,000 |
| 2020 | Stormwater project in Basin 1240 | Brevard County | North IRL | 638 | 100 | $100,000 |
| 2020 | Stormwater project in Basin 1241 | Brevard County | North IRL | 584 | 83 | $100,000 |
| 2020 | Stormwater project in Basin 1244 | Brevard County | North IRL | 576 | 78 | $100,000 |
| 2020 | Stormwater project in Basin 1245 | Brevard County | North IRL | 356 | 49 | $100,000 |
| 2020 | Stormwater project in Basin 1251 | Brevard County | North IRL | 448 | 66 | $100,000 |
| 2020 | Stormwater project in Basin 1253 | Brevard County | North IRL | 379 | 54 | $100,000 |
| 2020 | Stormwater project in Basin 1259 | Brevard County | North IRL | 450 | 106 | $100,000 |
| 2020 | Stormwater project in Basin 1262 | Brevard County | North IRL | 443 | 80 | $100,000 |
| 2020 | Stormwater project in Basin 1273 | Brevard County | North IRL | 1,964 | 288 | $175,000 |
| 2020 | Stormwater project in Basin 1291 | Brevard County | North IRL | 518 | 79 | $100,000 |
| 2020 | Stormwater project in Basin 1292 | Brevard County | North IRL | 386 | 60 | $100,000 |
| 2020 | Stormwater project in Basin 1293 | Brevard County | North IRL | 461 | 67 | $100,000 |
| 2020 | Stormwater project in Basin 1294 | Brevard County | North IRL | 628 | 94 | $100,000 |
| 2020 | Stormwater project in Basin 1295 | Brevard County | North IRL | 800 | 121 | $100,000 |
| 2020 | Stormwater project in Basin 1301 | Brevard County | North IRL | 1,025 | 154 | $125,000 |
| 2020 | Stormwater project in Basin 1307 | Brevard County | North IRL | 431 | 47 | $100,000 |
| 2020 | Stormwater project in Basin 1312 | Brevard County | North IRL | 549 | 120 | $100,000 |
| 2020 | Stormwater project in Basin 1313 | Brevard County | North IRL | 619 | 92 | $100,000 |
| 2020 | Stormwater project in Basin 1316 | Brevard County | North IRL | 557 | 68 | $100,000 |
| 2020 | Stormwater project in Basin 1318 | Brevard County | North IRL | 1,124 | 148 | $100,000 |
| 2020 | Stormwater project in Basin 1324 | Brevard County | North IRL | 1,422 | 176 | $150,000 |
| 2020 | Stormwater project in Basin 1330 | Brevard County | North IRL | 639 | 89 | $100,000 |
| 2020 | Stormwater project in Basin 1331 | Brevard County | North IRL | 1,000 | 159 | $100,000 |
| 2020 | Stormwater project in Basin 1339 | Brevard County | North IRL | 857 | 103 | $100,000 |
| 2020 | Stormwater project in Basin 1344 | Brevard County | North IRL | 459 | 61 | $100,000 |
| 2020 | Stormwater project in Basin 1348 | Brevard County | North IRL | 723 | 102 | $100,000 |
| 2020 | Stormwater project in Basin 1354 | Brevard County | North IRL | 597 | 86 | $100,000 |
| 2020 | Stormwater project in Basin 1359 | Brevard County | North IRL | 887 | 142 | $100,000 |
| 2020 | Stormwater project in Basin 1361 | Brevard County | North IRL | 524 | 79 | $100,000 |
| 2020 | Stormwater project in Basin 1363 | Brevard County | North IRL | 715 | 123 | $100,000 |
| 2020 | Stormwater project in Basin 1367 | Brevard County | North IRL | 1,042 | 146 | $100,000 |
| 2020 | Stormwater project in Basin 1372 | Brevard County | North IRL | 720 | 113 | $100,000 |
| 2020 | Stormwater project in Basin 1378 | Brevard County | North IRL | 744 | 104 | $100,000 |
| 2020 | Stormwater project in Basin 1380 | Brevard County | North IRL | 929 | 134 | $100,000 |
| 2020 | Stormwater project in Basin 1382 | Brevard County | North IRL | 622 | 88 | $100,000 |
| 2020 | Stormwater project in Basin 1384 | Brevard County | North IRL | 923 | 142 | $100,000 |
| 2020 | Stormwater project in Basin 1389 | Brevard County | North IRL | 822 | 134 | $100,000 |
| 2020 | Stormwater project in Basin 1390 | Brevard County | North IRL | 612 | 92 | $100,000 |
| 2020 | Stormwater project in Basin 1391 | Brevard County | North IRL | 887 | 142 | $100,000 |
| 2020 | Stormwater project in Basin 1395 | Brevard County | North IRL | 768 | 114 | $100,000 |
| 2020 | Stormwater project in Basin 1398 | Brevard County | North IRL | 449 | 74 | $100,000 |
| 2020 | Stormwater project in Basin 1401 | Brevard County | North IRL | 953 | 147 | $100,000 |
| 2020 | Stormwater project in Basin 1403 | Brevard County | North IRL | 558 | 88 | $100,000 |
| 2020 | Stormwater project in Basin 1413 | Brevard County | North IRL | 528 | 78 | $100,000 |
| 2020 | Stormwater project in Basin 1416 | Brevard County | North IRL | 1,799 | 229 | $150,000 |
| 2020 | Stormwater project in Basin 1417 | Brevard County | North IRL | 771 | 117 | $100,000 |
| 2020 | Stormwater project in Basin 1418 | Brevard County | North IRL | 832 | 111 | $100,000 |
| 2020 | Stormwater project in Basin 1423 | Brevard County | North IRL | 487 | 73 | $100,000 |
| 2020 | Stormwater project in Basin 1425 | Brevard County | North IRL | 690 | 113 | $100,000 |
| 2020 | Stormwater project in Basin 1426 | Brevard County | North IRL | 720 | 116 | $100,000 |
| 2020 | Stormwater project in Basin 1428 | Brevard County | North IRL | 440 | 65 | $100,000 |
| 2020 | Stormwater project in Basin 1429 | Brevard County | North IRL | 477 | 55 | $100,000 |
| 2020 | Stormwater project in Basin 1434 | Brevard County | North IRL | 932 | 112 | $125,000 |
| 2020 | Stormwater project in Basin 1435 | Brevard County | North IRL | 328 | 43 | $100,000 |
| 2020 | Stormwater project in Basin 1439 | Brevard County | North IRL | 1,413 | 183 | $175,000 |
| 2020 | Stormwater project in Basin 1441 | Brevard County | North IRL | 1,034 | 149 | $100,000 |
| 2020 | Stormwater project in Basin 1445 | Brevard County | North IRL | 1,493 | 198 | $175,000 |
| 2020 | Stormwater project in Basin 1459 | Brevard County | North IRL | 895 | 132 | $100,000 |
| 2020 | Stormwater project in Basin 1463 | Brevard County | North IRL | 1,321 | 195 | $100,000 |
| 2020 | Stormwater project in Basin 1491 | Brevard County | North IRL | 641 | 93 | $100,000 |
| 2020 | Stormwater project in Basin 1498 | Brevard County | North IRL | 483 | 74 | $100,000 |
| 2020 | Stormwater project in Basin 2419 | Brevard County | North IRL | 381 | 43 | $100,000 |
| 2020 | Stormwater project in Basin 2420 | Brevard County | North IRL | 450 | 121 | $100,000 |
| 2020 | Stormwater project in Basin 2421 | Brevard County | North IRL | 343 | 49 | $100,000 |
| 2020 | Stormwater project in Basin 1439 | Brevard County | Central IRL | 1,413 | 183 | $200,000 |
| 2020 | Stormwater project in Basin 1445 | Brevard County | Central IRL | 1,493 | 198 | $200,000 |
| 2020 | Stormwater project in Basin 1470 | Brevard County | Central IRL | 2,813 | 452 | $200,000 |
| 2020 | Stormwater project in Basin 1508 | Brevard County | Central IRL | 2,459 | 356 | $200,000 |
| 2020 | Stormwater project in Basin 1562 | Brevard County | Central IRL | 3,314 | 449 | $275,000 |
| 2020 | Stormwater project in Basin 1615 | Brevard County | Central IRL | 2,815 | 390 | $200,000 |
| 2020 | Stormwater project in Basin 1803 | Brevard County | Central IRL | 2,227 | 318 | $200,000 |
| 2020 | Stormwater project in Basin 1825 | Brevard County | Central IRL | 1,896 | 394 | $200,000 |
| 2021 | Cape Shores Swales | City of Cape Canaveral | Banana | 31 | 15 | $2,746 |
| 2021 | Justamere Road Swale | City of Cape Canaveral | Banana | 6 | 3 | $528 |
| 2021 | Hitching Post Berms | City of Cape Canaveral | Banana | 29 | 22 | $2,552 |
| 2021 | Oyster Bar | Brevard County | Banana | 120 | 3 | $47,350 |
| 2021 | Stewart Road Dry Retrofit | City of Melbourne | North IRL | 208 | 47 | $18,344 |
| 2021 | Basin 1349 | Brevard County | North IRL | 1,747 | 268 | $354,400 |
| 2021 | Basin 1409 | Brevard County | North IRL | 1,375 | 209 | $293,800 |
| 2021 | Indian River Drive Oyster Bar | Brevard County | North IRL | 34 | 1 | $13,258 |
| 2021 | Indian River Drive Planted Shoreline | Brevard County | North IRL | 9 | 3 | $2,240 |
| 2021 | Basin 2191 | Brevard County | Central IRL | 1,925 | 185 | $326,500 |
| 2021 | Basin 1511 | Brevard County | Central IRL | 2,409 | 378 | $410,300 |

# Appendix E: Long Descriptions of Figures

## Figure 11: Decline of Commercial Fishing in Brevard County

The graph shows the declining value of the commercial fishery in Brevard County using Florida Fish and Wildlife Conservation Commission data from 1995 through 2019. The commercial fishery values drop over time while fish kill counts increase with the largest peaks in 2007 and 2016. The following table is an estimate of the values represented in the graph and are not the exact values.

| Reporting Year | Value of Commercial Fishery |
| --- | --- |
| 1995 | $21,808,095 |
| 1996 | $24,052,219 |
| 1997 | $15,027,821 |
| 1998 | $11,264,215 |
| 1999 | $14,765,165 |
| 2000 | $15,879,487 |
| 2001 | $13,096,088 |
| 2002 | $6,253,406 |
| 2003 | $7,155,669 |
| 2004 | $8,219,153 |
| 2005 | $6,314,361 |
| 2006 | $6,216,198 |
| 2007 | $5,127,527 |
| 2008 | $8,207,268 |
| 2009 | $6,166,197 |
| 2010 | $6,499,390 |
| 2011 | $8,354,718 |
| 2012 | $7,932,126 |
| 2013 | $7,278,107 |
| 2014 | $6,588,523 |
| 2015 | $7,960,368 |
| 2016 | $6,647,791 |
| 2017 | $8,444,720 |
| 2018 | $6,747,679 |
| 2019 | $7,925,947 |

Return to Figure 11.

## Figure 22. Summary of the Save Our Indian River Lagoon Outputs and Outcomes

Graphic showing output of Public Education will result in years 0–5 early adopters lead, years 6–10 supporters join, and years 10+ lagoon friendly lifestyles are normal. Output of Reclaimed Water Upgrades, Sewer Later Rehabilitation, Septic System Removal and Upgrades, Stormwater Treatment will result in years 0–5 cleaner ground and surface water, years 6–10 cleaner lagoon water, and years 10+ lush seagrass beds. Outputs of Muck Removal and Treatment of Muck Interstitial Water will result in years 0–5 exposed sandy sediments and tons of pollution removed, years 5–10 plentiful bottom dwelling marine life, and years 10+ abundant fishes. Output of Oyster Reefs and Living Shorelines will result in years 0–5 increased filtration, years 5–10 faster storm recovery, years 10+ healthy stability. Outputs of Project Performance Monitoring and Plan Updates will result in years 0–5 increased efficiency and cost effectiveness, years 5–10 lagoon report card shows improvement, and years 10+ IRL economy grows.

Return to Figure 22.

## Figure 41: Grass Clippings Example for a Typical Lot

Example graphic showing the potential for grass clippings to get onto and be left on a road. For a 100 foot by 100 foot lot with a 2,500 square foot home and driveway produces, it will produce an estimated 3,000 pounds of grass clippings per year containing 75 pounds of total nitrogen and 10.4 pounds of total phosphorus. Grass clippings can be blown into the road from an approximately 2-foot-wide strip of lawn.

Return to Figure 41.

## Figure 42: Septic System Removal Projects in Banana River Lagoon

Map showing the locations of the 11 highest priority and high priority sewer locations within the northern portion of the Banana River Lagoon. These include North Merritt – Zone B, North Merritt Zone A, North Merritt Zone D, Sykes Creek Zone C, North Merritt Zone E, North Merritt Zone F, Sykes Creek Zone IJ, Sykes Creek Zone N, Merritt Island Zone C, Merritt Island Zone F, and Sykes Creek Zone M. The 4 areas with the highest loading, which include Sykes Creek Zone N, Merritt Island Zone C, Merritt Island Zone F, and skies Creek Zone M, are funded for septic removal. The map also shows the locations of all individual septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. Most of them are concentrated along the water in the west and south east portions of Merritt Island with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds. There are some of those scattered across the north center portion of Merritt Island as well. There is a line running north to south in the west that shows the drainage divide. The Bennett Causeway runs east to west through the middle of the map and North Courtenay Parkway runs north to south.

Return to Figure 42.

## Figure 43: Septic System Removal Projects in Banana River Lagoon, continued

Map showing the locations of the 9 highest priority and high priority sewer locations within the southern portion of the Banana River Lagoon. These locations include Merritt Island Redevelopment Agency Phase 1, Merritt Island Redevelopment Agency Phase 2 Cone Road, Sykes Creek Zone R, Sykes Creek Zone S, Sykes Creek Zone G, Sykes Creek Zone T, South Banana Zone B, South Banana Zone A, and Merritt Island Zone H. The 7 areas with the highest loading, which include Merritt Island Redevelopment Agency Phase 2 Cone Road, Sykes Creek Zone R, Sykes Creek Zone S, Sykes Creek Zone G, Sykes Creek Zone T, and South Banana Zone B, are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water including the center of Merritt Island are 0–10 pounds. There is a line running north to south in the west that shows the drainage divide. South Tropical Trail runs north to south through most of the septic areas on this map.

Return to Figure 43.

## Figure 44: Septic System Removal Projects in Banana River Lagoon, continued

Map showing the locations of the highest priority and high priority sewer locations within the central portion of the Banana River Lagoon. These locations include Merritt Island Zone H and Merritt Island Zone A. Neither of those areas are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. Most of Merritt Island is 10–30 pounds with a scattering of 30–50 pounds in the north portion. There are also a few spots of 0–10 pounds in the center north part of the island. There is a line running north to south in the west that shows the drainage divide. Pineda Causeway runs east to west and Rockledge Boulevard runs north to south in this area.

Return to Figure 44.

## Figure 45: Septic System Removal Projects in North IRL

Map showing the locations of the 4 highest priority and high priority sewer locations within the northern portion of the North Indian River Lagoon. These areas include Titusville Zone A, Titusville Zone B, Titusville Zone C, and Titusville Zone H. All are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. The zones previously mentioned have loading in the 10–30 and 30–50 range. There is a sparse scatter of 0–10 zones over the rest of the map with two dense concentrations in the northern half of the map. There is a line running north to south in the west that shows the drainage divide. Garden Street runs east to west in the northern portion of the map and Cheney Highway/Orlando Road runs east to west in the southern part of the map. South Street loops through the map area.

Return to Figure 45.

## Figure 46: Septic System Removal Projects in North IRL, continued

Map showing the locations of the 7 highest priority and high priority sewer locations within the north-central portion of the North Indian River Lagoon. These areas include Titusville Zone D, Titusville Zone E, Titusville Zone F, Titusville Zone G, Sharpes Zone A, Sharpes Zone B and Cocoa Zone C. All areas are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds. There is a line running north to south in the west that shows the drainage divide. National Aeronautics and Space Administration Causeway is at the top of the map and Indian River Drive/North Cocoa Boulevard runs north to south.

Return to Figure 46.

## Figure 47: Septic System Removal Projects in North IRL, continued

Map showing the locations of the 6 highest priority and high priority sewer locations within the central portion of the central North Indian River Lagoon. These areas include Cocoa Zone C, Cocoa Zone J, Cocoa Zone K, City of Rockledge Breeze Swept, City of Rockledge, and Rockledge Zone B. All are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds. There is a line running north to south in the west that shows the drainage divide. Bennett Causeway runs east to west in the northern portion of the map and King Street/Hubert Humphrey Causeway/Merritt Island Causeway runs east to west in the southern portion of the map. Cocoa Boulevard runs north to south in the western portion of the map and North Courtenay Parkway runs north to south in the eastern portion of the map.

Return to Figure 47.

## Figure 48: Septic System Removal Projects in North IRL, continued

Map showing the locations of the 7 highest priority and high priority sewer locations within the south-central portion of the North Indian River Lagoon. These areas include City of Rockledge Breeze Swept, City of Rockledge, Rockledge Zone B, Rockledge Zone C, South Central Zone A, South Central Zone B, and South Central Zone BC. The areas of City of Rockledge Breeze Swept, City of Rockledge, Rockledge Zone B, and South Central Zone A were funded. The map also shows the locations of all septic systems with loading estimates of 0-10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds. Rockledge Zone C is not along the water and has areas near the center that are 10–30 or 30–50 pounds and the areas near the east and west sides are 0–10 pounds. There is a line running north to south in the west that shows the drainage divide. The Merritt Island Causeway runs east to west at the top of the map. Cocoa Boulevard/Rockledge Boulevard runs north to south in the western portion of the map and South Tropical Trail runs north to south in the eastern portion of the map.

Return to Figure 48.

## Figure 49: Septic System Removal Projects in North IRL, continued

Map showing the locations of the 10 highest priority and high priority sewer locations within the southern portion of the North Indian River Lagoon. These include South Central Zone BC, South Central Zone C, South Central Zone Pineda, South Central Zone I, South Central Zone D (Brevard), South Central Zone D (Melbourne), City of Melbourne Riverside, City of Melbourne Zone A, City of Melbourne Villa Espana, and City of Melbourne Kent. All but South Central Zone BC, South Central Zone Pineda, and South Central Zone I are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds. There is a line running north to south in the west that shows the drainage divide. Pineda Causeway runs east to west in the middle of the map. Rockledge Drive runs north to south in the western portion of the map and South Tropical Trail runs north to south in the eastern portion.

Return to Figure 49.

## Figure 410: Septic System Removal Projects in North IRL, continued

Map showing the locations of the 11 highest priority and high priority sewer locations within the southern portion of the North Indian River Lagoon. These areas include City of Melbourne Riverside, City of Melbourne Zone A, City of Melbourne Villa Espana, City of Melbourne Kent, South Central Zone E, South Central Zone G, City of Melbourne Bowers, South Central Zone F, South Beaches Zone A, South Beaches Zone P, and South Beaches Zone O. All but South Central Zone E and South Central Zone G are funded. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds. There are clusters of all three types of loading away from the water in the west-central and southwest part of the map. There is a line running north to south in the west that shows the drainage divide. Eau Gallie Boulevard runs east to west in the middle of the map. Dixie Highway runs north to south in the western portion of the map and Patrick Drive runs north to south in the eastern portion.

Return to Figure 410.

## Figure 411: Septic System Removal Projects in Central IRL

Map showing the locations of the 9 highest priority and high priority sewer locations within the northern portion of the Central Indian River Lagoon. The funded areas include City of Melbourne Roxy, City of Melbourne Pennwood, City of Melbourne Hoag, and City of Melbourne Avenida del Rio. The unfunded areas include City of West Melbourne Zone A, Melbourne Village Zone B, City of West Melbourne Sylvan Estates, South Central Zone H, and Melbourne Village Zone A. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering some of the areas near the water with the areas closest to the water being 30–50 pounds. The areas further away from the water are 0–10 pounds and 10–30 pounds mostly clustered in the center of the map just west of the Melbourne Causeway along U.S. 192 and approximately 4 miles west of U.S. 192 in West Melbourne. New Haven Avenue/Melbourne Causeway runs east to west through the middle of the map. Babcock Street runs north to south in the middle of the map and Dixie Highway runs north to south closer to the eastern portion of the map.

Return to Figure 411.

## Figure 412: Septic System Removal Projects in Central IRL, continued

Map showing the locations of the 10 highest priority and high priority sewer locations within the southern portion of the Central Indian River Lagoon. The funded areas include City of Palm Bay Zone A and B. The unfunded areas include Malabar Zones F, D, C, A, B, as well as South Zone A, South Zone B, and Grant Valkaria Zone H. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering about 30% of the map with a few areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water are 0–10 pounds and tightly clustered in the western part of the map west of Babcock Street in the Malabar area. There are clusters of all three types of loading away from the water in the central and south central part of the map. Babcock Street runs north to south in the western portion of the map and Dixie Highway runs north to south in the western portion.

Return to Figure 412.

## Figure 413: Septic System Removal Projects in Central IRL, continued

Map showing the locations of the 15 highest priority and high priority sewer locations within the south central portion of the Central Indian River Lagoon. The unfunded areas on this map include South Beaches Zones C, D, F, N, L, K, and M. Other unfunded areas are Malabar Zones F, D, C, A, B; South Zone B; and Grant Valkaria Zones H and G. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering half of the areas near the water on the barrier island on the eastern portion of the map. There are isolated clusters of high loading areas along the waterfront on the mainland or western side of the map. There are clusters of all three types of loading away from the water in the west-central and south west part of the map. Highway A1A runs north to south in the middle of the map.

Return to Figure 413.

## Figure 414: Septic System Removal Projects in Central IRL, continued

Map showing the locations of the 11 highest priority and high priority sewer locations within the southern portion of the Central Indian River Lagoon. The unfunded areas include Grant Valkaria Zones G, D, F, C, B, E, A, as well as South Beaches Zones E and G. The funded areas include Micco Zones A and B. The map also shows the locations of all septic systems with loading estimates of 0–10 pounds, 10–30 pounds, and 30–50 pounds. They are covering most of the areas near the water and along the Saint Sebastian River with the areas closest to the water being either 10–30 pounds or 30–50 pounds. The areas further away from the water in the northwestern portion of the map are 30–50 pounds. There are clusters of all three types of loading away from the water in the north western and southern part of the map. Dixie Highway runs north to south in the middle of the map and Highway A1A runs north to south in the western portion of the map.

Return to Figure 414.

## Figure 415: Quick Connection Septic System Removal Locations in North Brevard County

Map showing the locations of properties eligible to receive reimbursement to connect to a sewer system in the northern portion of the north Indian River Lagoon. Dots scattered along the map indicate whether the owner can connect to a force main or gravity type sewer and whether the parcel is a high priority. On this map the dots are mostly near the water. Approximately half are for force main connections and half are for gravity sewer connections. There is a line running north to south in the west that shows the drainage divide. These sites are located north and south of Nasa Causeway on the western side of the lagoon.

Return to Figure 415.

## Figure 416: Quick Connection Septic System Removal Locations in Central Brevard County

Map showing the locations of properties eligible to receive reimbursement to connect to a sewer system in the central Indian River Lagoon. Dots scattered along the map indicate whether the owner can connect to a force main or gravity type sewer and whether the parcel is a high priority. On this map the dots are mostly near the water and tightly clustered in the northern portion of the map on Merritt Island. There are a few scattered near the water in the southern portion of the map south of the Pineda Causeway. Approximately half are for force main connections and half are for gravity sewer connections. There is a line running north to south in the west that shows the drainage divide. The sites are located near the Merritt Island Causeway to the northern portion of the map and Pineda Causeway to the southern portion of the map.

Return to Figure 416.

## Figure 417: Quick Connection Septic System Removal Locations in South Brevard County

Map showing the locations of properties eligible to receive reimbursement to connect to a sewer system in the southern portion of the Indian River Lagoon in Brevard County. Dots scattered along the map indicate whether the owner can connect to a force main or gravity type sewer and whether the parcel is a high priority. On this map the dots are mostly near the water and tightly clustered in the northern portion of the map near Melbourne and Eau Gallie. There are a few scattered near the water in the central portion of the map near Malabar. Approximately 20% are for force main connections and approximately 80 percent are for gravity sewer connections. There is a line running north to south in the west that shows the drainage divide.

Return to Figure 417.

## Figure 418: Example In-Ground Nitrogen-Reducing Biofilter Septic System

This a diagram showing how an in-ground nitrogen reducing biofilter is constructed. It shows a septic tank to the left with a pipe leading out of it with an arrow showing the direction of water flow to the drainfield. The drainfield area is depicted as an eighteen inch layer of soil above a twelve inch layer of woodchips or other denitrification media. There is a layer below these that shows an empty space which indicates native soil that should be at least six inches above the seasonal high water table.

Return to Figure 418.

## Figure 419: Septic System Upgrades in North Brevard County

Map showing the locations of properties eligible to receive reimbursement to install an upgraded septic system in the northern portion of Brevard County along the Indian River Lagoon. Dots scattered along the map indicate whether the owner is eligible to receive reimbursement. On this map the dots are mostly near the water and scattered from north to south. There is a line running north to south in the west that shows the drainage divide. The National Aeronautics and Space Administration Causeway runs east to west near the southern part of the map.

Return to Figure 419.

## Figure 420: Septic System Upgrades in Central Brevard County

Map showing the locations of properties eligible to receive reimbursement to install an upgraded septic system in the central portion of Brevard County along the Indian River Lagoon. Dots scattered along the map indicate whether the owner is eligible to receive reimbursement. On this map the dots are mostly near the water and scattered from north to south on Merritt Island. There is a line running north to south in the west that shows the drainage divide. The Bennett Causeway and Merritt Island Causeway run east to west in the northern portion of the map. Rockledge Parkway runs north to south on the western side and Courtenay Parkway runs north to south on the eastern side of the lagoon.

Return to Figure 420.

## Figure 421: Septic System Upgrades in South Brevard County

Map showing the locations of properties eligible to receive reimbursement to install an upgraded septic system in the southern portion of Brevard County along the Indian River Lagoon. Dots scattered along the map indicate whether the owner is eligible to receive reimbursement. On this map the dots are mostly near the water and scattered from north to south on along U.S. 1 and about one to three miles inland. There is a line running north to south in the west that shows the drainage divide. The Eau Gallie Causeway and 5th Avenue run east to west near the top of the map Babcock Street runs north to south in the middle of the map.

Return to Figure 421.

## Figure 422: Stormwater Projects in North Brevard County

Map showing the selected basins for stormwater treatment in the northern portion of the Banana River Lagoon and North Indian River Lagoon in Brevard County. Project areas cover roughly 60% of the shoreline on the mainland and are all part of the North Indian River Lagoon. Project areas cover roughly 75% of North Merritt Island and half are part of the North Indian River Lagoon while the other half are part of the Banana River Lagoon. Project areas cover roughly 85% of the Barrier Island and all are part of the Banana River Lagoon.

Return to Figure 422.

## Figure 423: Stormwater Projects in Central Brevard County

Map showing the selected basins for stormwater treatment in the southern portion of the Banana River Lagoon and North Indian River Lagoon in Brevard County. Project areas cover roughly 50% of the shoreline on the mainland and are all part of the North Indian River Lagoon. Project areas cover roughly 70% of South Merritt Island and half are part of the North Indian River Lagoon while the other half are part of the Banana River Lagoon. Project areas cover roughly 80% of the Barrier Island and all are part of the Banana River Lagoon.

Return to Figure 423.

## Figure 424: Stormwater Projects in South Brevard County

Map showing the selected basins for stormwater treatment in the Central Indian River Lagoon for Brevard County. There is one project area on the Barrier Island on the north end of the map that is part of the Banana River Lagoon. Project areas for the Central Indian River Lagoon cover roughly 30% of the shoreline and are concentrated in the north half of the mainland with two sections also on the Barrier Island. Ten project areas are scattered inland from the shoreline in the southern half of the map.

Return to Figure 424.

## Figure 425: Location of Muck Removal Projects in the Northern Banana River Lagoon

Map of the northern Banana River Lagoon in Brevard County showing the locations of the funded and unfunded muck removal projects. There are four unfunded projects in the very northern part of the Banana River Lagoon near the top of the map. Towards the bottom of the map, just south of State Highway 528, there are two funded projects: Port Canaveral South is along the Barrier Island shoreline and Merritt Island Phase I is along the Merritt Island shoreline. Additional unfunded projects are located at the bottom of the map, as well as the canals on Merritt Island.

Return to Figure 425.

## Figure 426: Location of Muck Removal Projects in the Southern Banana River Lagoon

Map of the southern Banana River Lagoon in Brevard County showing the locations of the funded and unfunded muck removal projects. Towards the top of the map, just south of State Highway 528, are three funded projects. Port Canaveral South is along the Barrier Island shoreline. Merritt Island Phase I is just to the south and west along the Merritt Island shoreline. The Sykes Creek project is a little further south and west from that project. Further south, below State Highway 520, is the Cocoa Beach IIB project along the Barrier Island shoreline. South of that is the Cocoa Beach Phase III project. To the west of that is the Cocoa Beach Golf project. About six miles south along the Barrier Island is the Patrick Air Force Base project. To the west of that is the Pineda Banana River Lagoon project near the Merritt Island shoreline. South of that project, and south of State Highway 404 is the Grand Canal project on the Barrier Island. South of that project is the Satellite Beach project followed by the Indian Harbour Beach project.

Return of Figure 426.

## Figure 427: Location of Muck Removal Projects in North IRL

Map of the North River Lagoon in Brevard County showing the locations of the funded and unfunded muck removal projects. There are five funded projects. Titusville Railroad West is at the top of the map along the mainland shoreline. Just east of that on the Merritt Island shoreline is the Titusville Railroad East project. The National Aeronautics and Space Administration Causeway East project is about 10 miles south along the Merritt Island shoreline and just north of State Highway 405. The Rockledge A project is about 15 miles south along the Merritt Island shoreline. The Eau Gallie Northeast project is about 9 miles south and near the bottom of the map near the Merritt Island shoreline.

Return to Figure 427.

## Figure 428: Location of Muck Removal Projects in Central IRL

Map of the Central Indian River Lagoon in Brevard County showing the locations of the funded and unfunded muck removal projects. The only funded project is the Turkey Creek project, which is about 3 miles south of U.S. Highway 192 along the mainland shoreline.

Return to Figure 428.

## Figure 429: Phase I Potential Enhanced Circulation Project Locations

Map of Brevard County showing a 40 square mile area where potential enhanced circulation projects could be located. The St. Johns River Water Management District identified potential projects the following areas: one in the south part of the Mosquito Lagoon, one in the north part of the Banana River, two in Cape Canaveral, one at Patrick Airforce Base, and one at Malabar. They identified four internal projects with one at the north end of Merritt Island, two around Haulover Canal, and one in central Merritt Island. CDM Smith identified 23 additional potential project locations both internal and external spread throughout Brevard County with a heavy concentration around central Merritt Island.

Return to Figure 429.

## Figure 430: Shoreline Survey to Identify Locations Appropriate for Oyster Bars and Planted Shorelines

Map of Brevard County showing the shoreline survey edge types including bulkhead and seawall, hardened slope and riprap, and no structures. No structures were found mainly in the north portion of the county on the mainland and also around the central part of Merritt Island near the Space Center. There were also small concentrations on the south part of Merritt Island in the Banana River Lagoon and on the southern portion of the Barrier Islands. The rest of the shoreline was interspersed with both bulkhead and seawall types and hardened slope and riprap types. A large concentration of bulkhead and seawall was found on the west shore of Merritt Island, along Sykes Creek, in Cocoa Beach, and much of the west coast of the central Barrier Island.

Return to Figure 430.

## Figure 431: Estimated Economic Value of Some Seagrass Services

Graphic showing the economic value provided by seagrass adapted from Dewsbury et. al. 2016. Seagrass provide direct grazing by turtles, manatees, fish, and snails has an unknown economic value. It is also nursery grounds for fish and crabs benefit coral reefs commercial fisheries and recreation for a $4,600 per acre per year economic value. Additionally, it sequesters carbon which reduces carbon dioxide for a $162 per acre per year economic value. It also reduces wave energy which leads to sediment stability and improved water quality for an unknown economic benefit. Finally, it cycles and sequesters nutrients for an economic value of $7,695 per acre per year. Seagrass provides a total economic benefit of $12,457 per acre per year. In 2007 there were 72,400 acres providing a total benefit of more than $902,000,000.

Return to Figure 431.

## Figure 433: Completed Projects in North Brevard County

Map of North Brevard County showing locations of 24 completed projects. County Line Road Bioreactor is located at the north end on the west shore of the Indian River Lagoon. One mile south of that is Johns Road biosorption activated media. Three miles south is Burkholm Road biosorption activated media. A half mile south of that is Carter Road biosorption activated media. One mile south of that is Wiley Avenue biosorption activated media. A half mile south of that is Mims muck removal. About three miles south of that is Kennedy Point Park living shoreline. A half mile south and west of that is Coleman Pond managed aquatic plant system. Two miles south of that is South Street baffle box. One mile south of that is St. Theresa baffle box. A half mile south of that is the La Paloma baffle box. One mile south of that is the Nicol Park living shoreline. About five miles south of that is the Broadway Pond biosorption activated media. Six miles south of that is the Cocoa floating wetlands. Two miles south of that is the Church Street baffle box. About a quarter mile south of that is the St. Marks living shoreline. Two miles south of that is the Breeze Swept septic removal. In the southern part of Merritt Island is the Island Pointe and Hehir living shorelines with the Merritt Island Redevelopment Agency Septic Removal Phase 1 project about a half mile further south. In the southern part of the barrier island is the Central Boulevard baffle box. About four miles south of that is the Bettinger oyster reef. About a mile south of that is the Cocoa Beach Water Reclamation Facility Upgrade, Cocoa Beach Country Club living shoreline, and Cocoa Beach muck dredging Phase III.

Return to Figure 433.

## Figure 434: Completed Projects in South Brevard County

Map of south Brevard County showing locations of 23 completed projects. Near the top of the map is the Rotary Park living shoreline and Basin 1298 bioreactor on the western shore of the lagoon. Four miles south is the Cliff Creek baffle box. Five miles south of that is the Lagoon House living shoreline. One mile south of that is the Bayfront stormwater project and Turkey Creek muck removal. One mile south of that is the Riverview Senior Resort oyster bar. Six miles south of that is the Fisherman's Landing living shoreline. Three miles south and west of that is the Fleming Grant biosorption activated media. Near the top of the map, at the southern end of Merritt Island, is the Sands living shoreline. Near the top of the map on the barrier island is the Basin 1304 bioreactor. About one mile south of that is the Gitlin oyster bar. About mile south of that is the Marina Isles oyster bar. About a half mile south of that is the Bomalaski and Dragon Point oyster bars and the Gleason Park reuse upgrade. About three miles south of that is the Basin 5 dry retention followed by the Riverside Drive oyster bars 1–12 along about 1.5 miles. About 4 miles south of that is the Coconut Point oyster bar. A half mile south of that is the Hog Point oyster bar. Three miles south of that is the Maritime Hammock oyster bar. Four miles south of that is the Long Point package plant upgrade.

Return to Figure 434.

## Figure 436. Turbidity Levels Before, During, and After Turkey Creek Muck Removal

A line graph showing the turbidity improvements in Turkey Creek after dredging. The pre-project period from July 2009 through January 2016 had an average turbidity of 3.14 Nephelometric Turbidity Units. Muck removal occurred from January 2016 through March 2019 and had an average turbidity of 3.11 Nephelometric Turbidity Units. In the post-project period of March 2019 through January 2020, the average turbidity was 1.93 Nephelometric Turbidity Units.

Return to Figure 436.

## Figure 437. Distribution of Oyster Sizes, Age, and Average Number Per Unit

A bar chart showing the distribution of oyster sizes, as of most recent monitoring, for oyster sites located in the Banana River Lagoon, North Indian River Lagoon, and Central Indian River lagoon. At each site, there are two bars for the number of oysters at the start of the bar creation and the number at the time of sampling. The number of settlers, subadults, adults, and large adults are shown. The following table summarizes the values shown in the bar graph.

| Location | Oyster Age (Years) | Settler | Subadult | Adult | Large Adult |
| --- | --- | --- | --- | --- | --- |
| Bettinger | 0.00 | 0.0000 | 2.4000 | 22.6000 | 0.0000 |
| Bettinger | 1.50 | 0.0000 | 0.0000 | 11.2000 | 4.4000 |
| Gitlin | 0.00 | 1.0000 | 11.8750 | 22.8750 | 1.2500 |
| Gitlin | 1.50 | 0.0000 | 0.0000 | 5.3750 | 1.3750 |
| Marina Isles | 0.00 | 0.0000 | 3.3333 | 23.1110 | 1.1111 |
| Marina Isles | 0.75 | 2.7778 | 17.7780 | 23.6670 | 1.7778 |
| Bomalaski | 0.08 | 26.8000 | 6.0000 | 16.8000 | 0.4000 |
| Bomalaski | 2.00 | 6.0000 | 11.6000 | 19.2000 | 1.8000 |
| Ahmed/Niland | 0.00 | 0.0000 | 0.4286 | 23.5000 | 1.0714 |
| Ahmed/Niland | 0.25 | 5.0714 | 5.5714 | 20.1430 | 1.5714 |
| MacNiell/Pitner | 0.00 | 0.0000 | 0.0000 | 0.0000 | 0.0000 |
| MacNiell/Pitner | 0.25 | 7.6154 | 6.7692 | 0.3077 | 0.0000 |
| Coconut Point | 0.00 | 0.0000 | 0.1000 | 22.2000 | 2.7000 |
| Coconut Point | 0.50 | 22.0000 | 15.7000 | 4.1000 | 0.4000 |
| Hog Point | 0.00 | 0.0000 | 0.0000 | 21.6000 | 3.4000 |
| Hog Point | 0.50 | 19.4000 | 23.2000 | 6.8000 | 0.6000 |
| Maritime Hammock | 0.00 | 0.0000 | 0.8000 | 22.6000 | 1.6000 |
| Maritime Hammock | 0.50 | 26.0000 | 15.6000 | 7.6000 | 0.8000 |
| Riverview Senior | 0.00 | 0.4000 | 3.0667 | 21.8000 | 0.1333 |
| Riverview Senior | 2.00 | 36.5000 | 6.6667 | 5.7500 | 0.1667 |

Return to Figure 437.

## Figure 435. Countywide Groundwater Nutrient Concentrations for TN (top) and TP (bottom)

Bar graphs showing the total nitrogen (TN) and total phosphorus (TP) concentrations in groundwater for four areas: natural or undeveloped, septic system communities, sewer communities, and reclaimed water communities. The following table summarizes the values shown in the bar graphs.

| Area | TN Concentration (mg/L) | TP Concentration (mg/L) |
| --- | --- | --- |
| Natural, Undeveloped Area | 0.379 | 0.081 |
| Septic Communities | 5.6 | 0.701 |
| Sewer Communities | 1.918 | 0.159 |
| Reclaimed Water Communities | 6.046 | 0.206 |

Return to Figure 435.

## Figure 51: Evolution of Project Funding Allocations

Series of pie charts showing the percent distribution of funding from the original plan to each of the plan updates in 2017, 2018, 2019, 2020, and 2021. Public education makes up about 0% of the total funding in all years. Wastewater facility upgrades for reclaimed water were 3% of the costs in the original plan and 2017 Supplement, 4% in the 2018 Update, 7% in the 2019 Update, and 6% in the 2020 2021 Updates. Rapid infiltration basins/sprayfield upgrades were added in the 2019 Update as 1% of the cost and 2% in the 2020 and 2021 Updates. Package plant connections were added in the 2021 Update and represent 1% of the costs. Sewer laterals were added in the 2019 Update and represent about 0% of the cost. Septic system removal was 14% of the cost in the original plan and 2017 Supplement, 13% in the 2018 Update, 26% in the 2019 Update, and 30% in the 2020 and 2021 Updates. Septic system upgrades were 7% of the cost in the original plan and 2017 Supplement, 6% in the 2018 and 2019 Updates, and 7% in the 2020 and 2021 Updates. Stormwater projects were 4% of the costs in the original plan and 2017 and 2018 Updates, 11% in the 2019 Update, and 12% in the 2020 and 2021 Updates. Muck removal was 66% of the cost in the original plan and 2017 Supplement, 58% in the 2018 Update, 30% in the 2019 Update, 27% in the 2020 Update, and 26% in the 2021 Update. Treatment of interstitial water was added in the 2019 Update at 13% of the costs, 12% in the 2020 Update, and 11% in the 2021 Update. Oyster bars and living shorelines were 3% of the costs in the original plan through the 2019 Update, 2% in the 2020 Update, and 3% in the 2021 Update. Project monitoring was 3% of the costs in the original plan through the 2019 Update, and 2% in the 2020 and 2021 Updates.

Return to Figure 51.

## Figure C-1: Mean Areal Extent of Seagrass and Mean Length of Transects

A line and bar graph comparing seagrass extent in acres versus the mean transect length in meters. The date range is 1943 and then every other year from 1992 to 2018. In 1942 the seagrass extent was about 75,000 acres. In 1992 the extent was about 65,000 acres. The acreage gradually climbed to a peak of around 80,000 and 79,000 in 2008 and 2010, respectively. The acreage then drastically dropped in 2012 to about 42,000. It slowly increased to about 58,000 in 2016 and then dropped to about 34,000 acres in 2018. The mean transect length followed a similar trend in years starting at about 100 meters in 194 with a peak around 180 meters in 2016 and 2018. It dropped to around 70 meters in 2012 and increased to 100 in 2016. It then dropped to about 60 in 2018. The following table is an estimate of the numbers shown in the graph and does not represent the actual data.

| Year | Seagrass extent (acres) | Mean transect length (meters) |
| --- | --- | --- |
| 1943 | 75,000 | No data |
| 1992 | 65,000 | No data |
| 1994 | 60,000 | 100 |
| 1996 | 67,000 | 120 |
| 2000 | 70,000 | 140 |
| 2004 | 75,000 | 130 |
| 2006 | 75,000 | 130 |
| 2008 | 80,000 | 180 |
| 2010 | 79,000 | 180 |
| 2012 | 42,000 | 70 |
| 2014 | 52,000 | 80 |
| 2016 | 58,000 | 100 |
| 2018 | 34,000 | 60 |

Return to Figure C-1.

## Figure C-2: Mean Chlorophyll-a Concentrations

Line graph of mean chlorophyll a in micrograms per liter showing lines for the Mosquito Lagoon (ML), Banana River Lagoon (BRL), North Indian River Lagoon (NIRL), North Central Indian River Lagoon (NCIRL), Sebastian (Seb), and South Central Indian River Lagoon (SCIRL). The time span is yearly from 1997 to 2018. The values for each area overlap greatly making it difficult to discern individual values, only a range of values. 1997 had values ranging from 0 to 10 with no discernable peak. 1998 ranged from 0 to 20 with the highest being NCIRL. 1999 ranged mainly from 0 to 15 with one peak in Seb around 40. 2000 ranged from 0 to 30 with the highest in SCIRL. 2001 ranged from 0 to 55 with the highest in NCIRL. 2002 ranged from 0 to 50 with the highest in NIRL. 2003 and 2004 ranged from 0 to 25 with no discernable peak areas. 2005 ranged from 0 to 50 with the highest in NIRL. 2006 ranged from 0 to 20 with the highest in NIRL. 2007 ranged from 0 to 20 with the highest in Seb. 2008 ranged from 0 to 25 with the highest in NCIRL. 2009 ranged from 0 to 30 with no discernable peak. 2010 ranged from 0 to 50 with the highest in NCIRL. 2011 ranged from 0 to 80 with the highest in NIRL. 2012 ranged from 0 to 140 with the highest in ML. 2013 ranged from 0 to 45 with the highest in NIRL and ML. 2014 ranged from 0 to 40 with the highest in NIRL 2015 ranged from 0 to 30 with no discernable peak. 2016 ranged from 0 to 130 with the highest in BRL. 2017 ranged from 0 to 40 with no discernable peak. 2018 ranged from 0 to 100 with the highest in BRL.

Return to Figure C-2.